Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install Relays & Switches in domestic & industrial applications |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Implement Relays in circuits - Implement switches in circuits |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Implement Relays in circuits - Design a circuit which can automate the DC load by using SSR and mechanical Relays. - Design a circuit which can automate the DC load and AC load by using Dpdt Relay. - Implement switches in circuits - Design a circuit which can cutoff the DC load by using Limit switch. - Design a circuit which can cutoff the DC load and AC load by using Spdt switch. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| Competency Standard | Install Relays & Switches in domestic & industrial applications |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Implement Relays in circuits - Implement switches in circuits |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Design a circuit which can automate the DC load by using SSR and mechanical Relays. |  |  |
| - Design a circuit which can automate the DC load and AC load by using Dpdt Relay. |  |  |
| - Design a circuit which can cutoff the DC load by using Limit switch. |  |  |
| - Design a circuit which can cutoff the DC load and AC load by using Spdt switch. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install Relays & Switches in domestic & industrial applications |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Implement Relays in circuits - Implement switches in Circuits |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Design a circuit which can automate the DC load by using SSR and mechanical Relays. |  |  |  |  |  |
|  | Design a circuit which can automate the DC load and AC load by using Dpdt Relay. |  |  |  |  |  |
|  | Design a circuit which can cutoff the DC load by using Limit switch. |  |  |  |  |  |
|  | Design a circuit which can cutoff the DC load and AC load by using Spdt switch. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install Relays & Switches in domestic & industrial applications |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define any three applications of switches and relays. |  |  |
|  | Define relays use in industry |  |  |
|  | Describe types of relays used to switch electric power circuit. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________