Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install Temperature & Pressure Measuring Instrument/Devices |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Install the Temperature/Pressure measuring instruments. - Measure the Temperature using Thermocouple & RTD. - Install Pressure Transducer & Transmitters. - Install Pressure Switch. |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Install the Temperature/Pressure measuring instruments. - Analyze the type of Instrument to be installed. - Select the appropriate type of instrument and the Scale of measurement. - Record the output values. Measure the Temperature using Thermocouple & Resistance Thermocouple. - Analyze the type of thermocouple to be installed - Install the required thermocouple as per installation manual - Analyze accuracy, power and flexibility of thermocouples - Plot the temperature graph as required. Install Pressure Transducer & Transmitters. - Analyze the type of Pressure measuring instrument - Install the Pressure transducer as per the installation guidelines - Install the pressure Transmitter as per Installation guidelines - Test & Calibrate the installed pressure measuring instrument Install Pressure Switch - Analyze the type of pressure switch to be installed - Install the pressure switch as per instructions manual - Test and Calibrate the pressure switch |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| Competency Standard | Install Temperature & Pressure Measuring Instrument/Devices |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install the Temperature/Pressure measuring instruments. - Measure the Temperature using Thermocouple & RTD. - Install Pressure Transducer & Transmitters. - Install Pressure Switch. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Analyze and select the type of Instrument to be installed |  |  |
| - Analyze the type of thermocouple to be installed |  |  |
| - Install the required thermocouple as per installation manual |  |  |
| - Analyze accuracy, power and flexibility of thermocouples |  |  |
| - Record the output values |  |  |
| - Plot the temperature graph as required. |  |  |
| - Analyze the type of Pressure measuring instrument |  |  |
| - Install the Pressure transducer as per the installation guidelines |  |  |
| - Install the pressure Transmitter as per Installation guidelines |  |  |
| - Analyze the type of pressure switch to be installed |  |  |
| - Test and Calibrate the pressure switch |  |  |
| - Test & Calibrate the installed pressure measuring instrument |  |  |
| - Install the pressure switch as per instructions manual |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install Temperature & Pressure Measuring Instrument/Devices |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install the Temperature/Pressure measuring instruments. - Measure the Temperature using Thermocouple & RTD. - Install Pressure Transducer & Transmitters. - Install Pressure Switch. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Analyzed and select the type of Instrument to be installed |  |  |  |  |  |
|  | Analyzed the type of thermocouple to be installed |  |  |  |  |  |
|  | Installed the required thermocouple as per installation manual |  |  |  |  |  |
|  | Analyzed accuracy, power and flexibility of thermocouples |  |  |  |  |  |
|  | Recorded the output values |  |  |  |  |  |
|  | Plotted the temperature graph as required. |  |  |  |  |  |
|  | Analyzed the type of Pressure measuring instrument |  |  |  |  |  |
|  | Installed the Pressure transducer as per the installation guidelines |  |  |  |  |  |
|  | Installed the pressure Transmitter as per Installation guidelines |  |  |  |  |  |
|  | Analyzed the type of pressure switch to be installed |  |  |  |  |  |
|  | Tested and Calibrate the pressure switch |  |  |  |  |  |
|  | Tested& Calibrate the installed pressure measuring instrument |  |  |  |  |  |
|  | Installed the pressure switch as per instructions manual |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install Temperature & Pressure Measuring Instrument/Devices |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | State the working Principle of thermocouple? |  |  |
|  | What is the abbreviation of RTD? |  |  |
|  | Differentiate between absolute pressure and atmospheric pressure? |  |  |
|  | State the temperature range of RTD? |  |  |
|  | State three types of Pressure Transducers? |  |  |
|  | What is the function of pressure / temperature transmitter? |  |  |
|  | State the difference between three wire and four wire RTD? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________