Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install Level Measuring Instrument/Devices |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Install the Level Measurement device - Install the optical Instrument for Level Measurement - Install the Ultrasonic Level measuring Instruments - Install the float instruments for Level measurement - Install the capacitive Level measuring device |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Install the Level Measurement device - Analyze the type of level measurement Instrument - Classify the level measurement sensors - Install the level measuring instruments as per the installations guidelines - Test & Calibrate the level measuring device Install the optical Instrument for Level Measurement - Analyze the type of Optical instrument for level measurement - Install the optical instrument as per installations guidelines - Test and calibrate the optical instrument Install the Ultrasonic Level measuring Instruments - Analyze the type of Ultrasonic instrument for level measurement - Install the Ultrasonic instrument as per installations guidelines - Test and calibrate the Ultrasonic instrument Install the float instruments for Level measurement - Analyze the type of float level measuring device - Install the float level measuring device as per installations manual - Check & Calibrate the float level measuring device Install the capacitive Level measuring device - Analyze the type of capacitive level measuring device - Install the capacitive level measuring device as per the installations manual - Check and calibrate the capacitive level measuring device |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| Competency Standard | Install Level Measuring Instrument/Devices |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install the Level Measurement device - Install the optical Instrument for Level Measurement - Install the Ultrasonic Level measuring Instruments - Install the float instruments for Level measurement - Install the capacitive Level measuring device |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Analyze the type of Optical instrument for level measurement |  |  |
| - Install the optical instrument as per installations guidelines |  |  |
| - Test and calibrate the optical instrument |  |  |
| - Analyze the type of Ultrasonic instrument for level measurement |  |  |
| - Install the Ultrasonic instrument as per installations guidelines |  |  |
| - Test and calibrate the Ultrasonic instrument |  |  |
| - Analyze the type of float level measuring device |  |  |
| - Install the float level measuring device as per installations manual |  |  |
| - Analyze & Calibrate the float level measuring device |  |  |
| - Analyze the type of capacitive level measuring device |  |  |
| - Install the capacitive level measuring device as per the installations manual |  |  |
| - Analyze and calibrate the capacitive level measuring device |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install Level Measuring Instrument/Devices |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install the Level Measurement device - Install the optical Instrument for Level Measurement - Install the Ultrasonic Level measuring Instruments - Install the float instruments for Level measurement - Install the capacitive Level measuring device |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Analyzed the type of Optical instrument for level measurement |  |  |  |  |  |
|  | Installed the optical instrument as per installations guidelines |  |  |  |  |  |
|  | Tested and calibrate the optical instrument |  |  |  |  |  |
|  | Analyzed the type of Ultrasonic instrument for level measurement |  |  |  |  |  |
|  | Installed the Ultrasonic instrument as per installations guidelines |  |  |  |  |  |
|  | Tested and calibrate the Ultrasonic instrument |  |  |  |  |  |
|  | Analyzed the type of float level measuring device |  |  |  |  |  |
|  | Installed the float level measuring device as per installations manual |  |  |  |  |  |
|  | Analyzed& Calibrate the float level measuring device |  |  |  |  |  |
|  | Analyzed the type of capacitive level measuring device |  |  |  |  |  |
|  | Installed the capacitive level measuring device as per the installations manual |  |  |  |  |  |
|  | Analyzed and calibrate the capacitive level measuring device |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install Level Measuring Instrument/Devices |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe the advantages of Optical Level Instrument? |  |  |
|  | Write Steps for the Calibration of Float Level Instrument? |  |  |
|  | Working Principle of Ultrasonic Level Measuring Instrument? |  |  |
|  | State the steps for installation of capacitive level measuring Instrument? |  |  |
|  | State the different techniques for level measurement? |  |  |
|  | Difference between direct and Indirect level measurement method? |  |  |
|  | Why we need measurement of process variables in industry? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________