Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install the Flow Level Measuring Instrument/Devices |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Install the Flow Measuring instrument - Install Differential Pressure Flow Meters - Install the Piston & Gear Flow Meters - Install the Sluice Gate & Weir Flow Meters |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Install the Flow Measuring instrument - Analyze the type of flow measuring device - Install the flow measuring device(Air and Liquid) as per the installations manual - Check and calibrate the flow measuring device Install Differential Pressure Flow Meters - Analyze the type of differential pressure flow meter - Install the differential pressure flow meter as per installations guideline - Check and calibrate the differential pressure flow meter Implement the Piston & Gear Flow Meters - Analyze the type of Piston flow meter - Install the Piston flow meter as per installations guideline - Check and calibrate the Piston flow meter Install the Sluice Gate & Weir Flow Meters - Analyze the type of Sluice Gate &Weir flow meter - Install the Sluice Gate &Weir flow meter as per installations guideline - Check and calibrate the Sluice Gate &Weir flow meter |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| Competency Standard | Install the Flow Level Measuring Instrument/Devices |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install the Flow Measuring instrument - Install Differential Pressure Flow Meters - Install the Piston & Gear Flow Meters - Install the Sluice Gate & Weir Flow Meters |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Analyze the type of differential pressure flow meter |  |  |
| - Install the differential pressure flow meter as per installations guideline |  |  |
| - Check and calibrate the differential pressure flow meter |  |  |
| - Analyze the type of Piston flow meter |  |  |
| - Install the Piston flow meter as per installations guideline |  |  |
| - Check and calibrate the Piston flow meter |  |  |
| - Analyze the type of Sluice Gate & Weir flow meter |  |  |
| - Install the Sluice Gate & Weir flow meter as per installations guideline |  |  |
| - Check and calibrate the Sluice Gate & Weir flow meter |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install the Flow Level Measuring Instrument/Devices |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install the Flow Measuring instrument - Install Differential Pressure Flow Meters - Install the Piston & Gear Flow Meters - Install the Sluice Gate & Weir Flow Meters |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Analyzed the type of differential pressure flow meter |  |  |  |  |  |
|  | Installed the differential pressure flow meter as per installations guideline |  |  |  |  |  |
|  | Checked and calibrate the differential pressure flow meter |  |  |  |  |  |
|  | Analyzed the type of Piston flow meter |  |  |  |  |  |
|  | Installed the Piston flow meter as per installations guideline |  |  |  |  |  |
|  | Checked and calibrate the Piston flow meter |  |  |  |  |  |
|  | Analyzed the type of Sluice Gate & Weir flow meter |  |  |  |  |  |
|  | Installed the Sluice Gate & Weir flow meter as per installations guideline |  |  |  |  |  |
|  | Checked and calibrate the Sluice Gate & Weir flow meter |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install the Flow Level Measuring Instrument/Devices |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | State the function of VenturiTube? |  |  |
|  | Write the working principle of Flow nozzle? |  |  |
|  | State three difference between piston flow meter and rotameter? |  |  |
|  | What is the calibration procedure of Piston flow meter? |  |  |
|  | Enlist four different types of flow meter? |  |  |
|  | Differentiate between laminar flow and turbulent flow? |  |  |
|  | Difference between open channel flow meter and close channel flow meter? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________