Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Perform different measurements (Level 3) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Take measurement with dial calliper - Take measurement with dial thickness gauge - Take measurement with dial Indicator - Exercise on gauge blocks - Exercise on tool makers microscope - Practice on Profile Projector - Practice Of Digital Instruments - Measure with coordinate measuring machine - Calculate tolerance and allowances |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Take measurement with dial calliper - Set the pointer on zero properly - Set the work piece correctly - Read the dial scale accurately - Record the results Take measurement with dial thickness gauge - Remove zero error - Set the work piece properly - Measure the size accurately - Record the results Take measurement with dial Indicator - Set the Indicator on magnetic stand - Set the pointer on zero - Set the pointer on work piece - Read the dial scale Exercise on gauge blocks - Adjust the gauge block as per desired size - Hold the specimen in position - Measure the angle accurately sine bar and gauge blocks Exercise on tool makers microscope - Prepare the microscope for examining the job - Hold the job on anvil - Observe the size and profile of the job by setting eye piece - Record the observations Practice on Profile Projector - Make complete setting of work piece on Profile Projector - Set the axis - Observe the size Practice Of Digital Instruments - Select digital instrument and specimen for measurement. - Take measurement of specimen with digital instrument Measure with coordinate measuring machine - Hold the job properly. - Set and locate zero point. - Take the dimensions for different coordinates properly. - Take point to point/linear measurements. - Take measurements profile in 2D and 3D. Calculate tolerance and allowances - Measure the job for upper and lower limits. - Calculate the maximum and minimum size. - Calculate tolerance and allowance - Represent tolerance in results |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| Competency Standard | Perform different measurements (Level 3) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Take measurement with dial calliper - Take measurement with dial thickness gauge - Take measurement with dial Indicator - Exercise on gauge blocks - Exercise on tool makers microscope - Practice on Profile Projector - Practice Of Digital Instruments - Measure with coordinate measuring machine - Calculate tolerance and allowances |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Set the pointer on zero properly |  |  |
| - Set the work piece correctly |  |  |
| - Read the dial scale accurately |  |  |
| - Record the results |  |  |
| - Remove zero error |  |  |
| - Set the work piece properly |  |  |
| - Measure the size accurately |  |  |
| - Record the results |  |  |
| - Set the Indicator on magnetic stand |  |  |
| - Set the pointer on zero |  |  |
| - Set the pointer on work piece |  |  |
| - Read the dial scale |  |  |
| - Adjust the gauge block as per desired size |  |  |
| - Hold the specimen in position |  |  |
| - Measure the angle accurately sine bar and gauge blocks |  |  |
| - Prepare the microscope for examining the job |  | Represent tolerance in results |
| - Hold the job on anvil |  |  |
| - Observe the size and profile of the job by setting eye piece |  |  |
| - Record the observations |  |  |
| - Make complete setting of work piece on Profile Projector |  |  |
| - Set the axis |  |  |
| - Observe the size |  |  |
| - Select digital instrument and specimen for measurement. |  |  |
| - Take measurement of specimen with digital instrument |  |  |
| - Hold the job properly. |  |  |
| - Set and locate zero point. |  |  |
| - Take the dimensions for different coordinates properly. |  |  |
| - Take point to point/linear measurements. |  |  |
| - Take measurements profile in 2D and 3D. |  |  |
| - Measure the job for upper and lower limits. |  |  |
| - Calculate the maximum and minimum size. |  |  |
| - Calculate tolerance and allowance |  |  |
| - Represent tolerance in results |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Perform different measurements (Level 3) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Take measurement with dial calliper - Take measurement with dial thickness gauge - Take measurement with dial Indicator - Exercise on gauge blocks - Exercise on tool makers microscope - Practice on Profile Projector - Practice Of Digital Instruments - Measure with coordinate measuring machine - Calculate tolerance and allowances |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Set the pointer on zero properly |  |  |  |  |  |
|  | Set the work piece correctly |  |  |  |  |  |
|  | Read the dial scale accurately |  |  |  |  |  |
|  | Record the results |  |  |  |  |  |
|  | Remove zero error |  |  |  |  |  |
|  | Set the work piece properly |  |  |  |  |  |
|  | Measure the size accurately |  |  |  |  |  |
|  | Record the results |  |  |  |  |  |
|  | Set the Indicator on magnetic stand |  |  |  |  |  |
|  | Set the pointer on zero |  |  |  |  |  |
|  | Set the pointer on work piece |  |  |  |  |  |
|  | Read the dial scale |  |  |  |  |  |
|  | Adjust the gauge block as per desired size |  |  |  |  |  |
|  | Hold the specimen in position |  |  |  |  |  |
|  | Measure the angle accurately sine bar and gauge blocks |  |  |  |  |  |
|  | Prepare the microscope for examining the job |  |  |  |  |  |
|  | Hold the job on anvil |  |  |  |  |  |
|  | Observe the size and profile of the job by setting eye piece |  |  |  |  |  |
|  | Record the observations |  |  |  |  |  |
|  | Make complete setting of work piece on Profile Projector |  |  |  |  |  |
|  | Set the axis |  |  |  |  |  |
|  | Observe the size |  |  |  |  |  |
|  | Select digital instrument and specimen for measurement. |  |  |  |  |  |
|  | Take measurement of specimen with digital instrument |  |  |  |  |  |
|  | Hold the job properly. |  |  |  |  |  |
|  | Set and locate zero point. |  |  |  |  |  |
|  | Take the dimensions for different coordinates properly. |  |  |  |  |  |
|  | Take point to point/linear measurements. |  |  |  |  |  |
|  | Take measurements profile in 2D and 3D. |  |  |  |  |  |
|  | Measure the job for upper and lower limits. |  |  |  |  |  |
|  | Calculate the maximum and minimum size. |  |  |  |  |  |
|  | Calculate tolerance and allowance |  |  |  |  |  |
|  | Represent tolerance in results |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Perform different measurements (Level 3) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What are the 4 types of measurements that dial caliper can be used for? |  |  |
|  | What are the different Grades of gauge block? |  |  |
|  | What is an optical comparator used for? |  |  |
|  | Which of the following is attached to dial face for Rapid checking of parts? |  |  |
|  | - Tolerance Pointers - Contact Pointers - Special stems - Lever attachments |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________