Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Operate the Measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Identify the measuring instrument - Dismantle / Assemble the Instruments - Dismantle/ Assemble the moving iron type instrument - Operate the Analog measuring instruments - Use the digital measuring instruments - Operate the Oscilloscope and function generator (time based circuit) - Test & Measure the active & passive components |
| Time: 04Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Identify the measuring instrument - Classify the instrument type (analog/digital). - Check the type of power source needed. - Test/assemble the device with proper procedure (as per manual). - Perform test run as described in the procedure - Note measuring units/parameters of the device. - Identify the readability of the instrument w.r.t range. - Dismantle / Assemble the Instruments - Use standard tools described in user manual - Perform isolation of Instruments(if applicable) - Apply disassembling techniques - Identify and tag the parts/components/wires of instruments. - Apply assembling techniques. - Check for the proper operation/ functionality - Dismantle/ Assemble the moving iron type instrument - Use standard tools described in user manual - Perform on non-magnetic /isolated Instruments. - Apply disassembling techniques - Identify and tag the magnetic parts/components/wires of instruments. - Draw sketches of removable parts (magnet / niddle/scale ) - Apply assembling techniques. - Check for the proper operation/ functionality - Operate the Analog measuring instruments - Identify the type of quantity to be measures. - Identify the relevant measuring instrument. - Test point identification for measurement. - Connect the instrument according to the prescribed method. - Apply the procedure for reading the value on the display - Select the relevant measuring instrument as per parameter to be measured. - Use Ampere meter, Watt meter, Voltage meter, Lux Meter, Energy Meter, Ohm Meter for various measurements - Lux meter for light intensity measurement. - Apply the Megger meter for continuity and insulation resistance measurement. - Use the Power factor meter for power factor of loads in AC circuits. - Use the digital measuring instruments - Identify the type of quantity to be measures. - Select the relevant measuring instrument. - Identify the test point - Connect the instrument according to the prescribed method. - Apply the procedure for reading the value on the display - Power factor meter for power factor of loads in AC circuits. - Operate the Oscilloscope and function generator (time based circuit) - Identify components and controls of oscilloscope. - Adjust screen resolution and calibrate screen with probes. - Measure the AC/DC signal on oscilloscope using function generator. - Design a time variant circuit using IC for oscilloscope. - Design a time variant DC square wave circuit using IC for oscilloscope. - Test & Measure the active & passive components - Identify the components - Identify the value with respect to visual identification - Classify the component according to power, tolerance accuracy & linearity - Check the component as per the SOP. - Inspect the component parameters on test bench |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| Competency Standard | Operate the Measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Operate the Measuring Instruments - Identify the measuring instrument - Dismantle / Assemble the Instruments - Dismantle/ Assemble the moving iron type instrument - Operate the Analog measuring instruments - Use the digital measuring instruments - Operate the Oscilloscope and function generator (time based circuit) - Test & Measure the active & passive components |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Classify the instrument type (analog/digital). |  |  |
| - Check the type of power source needed. |  |  |
| - Test/assemble the device with proper procedure (as per manual). |  |  |
| - Check for the proper operation/ functionality of instrument. |  |  |
| - Perform test run as described in the procedure. |  |  |
| - Identify the relevant measuring instrument. |  |  |
| - Note measuring units/parameters of the device. |  |  |
| - Identify the readability of the instrument w.r.t range. |  |  |
| - Use standard tools described in user manual to operate Instrument. |  |  |
| - Perform isolation of Instruments (if applicable). |  |  |
| - Apply disassembling techniques. |  |  |
| - Identify and tag the parts/components/wires of instruments. |  |  |
| - Apply assembling techniques. |  |  |
| - Check for the proper operation/ functionality. |  |  |
| - Perform on non-magnetic /isolated Instruments. |  |  |
| - Draw sketches of removable parts (magnet / niddle/scale ) |  |  |
| - Test point identification for measurement. |  |  |
| - Apply the procedure for reading the value on the display type instruments. (Oscilloscope) |  |  |
| - Select the relevant measuring instrument as per parameter to be measured such as; Ampere meter, Watt meter, Voltage meter, Lux Meter (for light intensity measurement), Energy Meter, Ohm Meter for various measurements. |  |  |
| - Apply the Megger meter for continuity and insulation resistance measurement. |  |  |
| - Use the Power factor meter for power factor of loads in AC circuits. |  |  |
| - Identify components and controls of oscilloscope and connect the special parameters instrument according to the prescribed method. |  |  |
| - Apply the procedure for reading the value on the display. |  |  |
| - Measure the AC/DC signal on oscilloscope using function generator. |  |  |
| - Design a time variant DC square wave circuit using IC for oscilloscope. |  |  |
| - Identify the value of electronic component with respect to visual identification. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Operate the Measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Operate the Measuring Instruments - Identify the measuring instrument - Dismantle / Assemble the Instruments - Dismantle/ Assemble the moving iron type instrument - Operate the Analog measuring instruments - Use the digital measuring instruments - Operate the Oscilloscope and function generator (time based circuit) - Test & Measure the active & passive components |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Classified the instrument type (analog/digital). |  |  |  |  |  |
|  | Checked the type of power source needed. |  |  |  |  |  |
|  | Tested/assembled the device with proper procedure (as per manual). |  |  |  |  |  |
|  | Checked for the proper operation/ functionality of instrument. |  |  |  |  |  |
|  | Performed test run as described in the procedure. |  |  |  |  |  |
|  | Identified the relevant measuring instrument. |  |  |  |  |  |
|  | Noted measuring units/parameters of the device. |  |  |  |  |  |
|  | Identified the readability of the instrument w.r.t range. |  |  |  |  |  |
|  | Used standard tools described in user manual to operate Instrument. |  |  |  |  |  |
|  | Performed isolation of Instruments (if applicable). |  |  |  |  |  |
|  | Applied disassembling techniques. |  |  |  |  |  |
|  | Identified and tag the parts/components/wires of instruments. |  |  |  |  |  |
|  | Applied assembling techniques. |  |  |  |  |  |
|  | Checked for the proper operation/ functionality. |  |  |  |  |  |
|  | Performed on non-magnetic /isolated Instruments. |  |  |  |  |  |
|  | Drew sketches of removable parts (magnet / niddle/scale ) |  |  |  |  |  |
|  | Tested point identification for measurement. |  |  |  |  |  |
|  | Applied the procedure for reading the value on the display type instruments. (Oscilloscope) |  |  |  |  |  |
|  | Selected the relevant measuring instrument as per parameter to be measured such as; Ampere meter, Watt meter, Voltage meter, Lux Meter (for light intensity measurement), Energy Meter, Ohm Meter for various measurements. |  |  |  |  |  |
|  | Applied the Megger meter for continuity and insulation resistance measurement. |  |  |  |  |  |
|  | Used the Power factor meter for power factor of loads in AC circuits. |  |  |  |  |  |
|  | Identified components and controls of oscilloscope and connect the special parameters instrument according to the prescribed method. |  |  |  |  |  |
|  | Applied the procedure for reading the value on the display. |  |  |  |  |  |
|  | Measured the AC/DC signal on oscilloscope using function generator. |  |  |  |  |  |
|  | Designed a time variant DC square wave circuit using IC for oscilloscope. |  |  |  |  |  |
|  | Identified the value of electronic component with respect to visual identification. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Operate the Measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define absolute and secondary instruments. |  |  |
|  | Define the given (documented) data for specific component. |  |  |
|  | Define the laws of electric circuits. |  |  |
|  | Elaborate reading and measuring techniques for the circuit through oscilloscope/function generator. |  |  |
|  | Describe the use of various meters like ohm meter, ampere meter, lux meter, energy meter, power meter, power factor meter, frequency meter, energy meter etc. |  |  |
|  | Draw Electrical/ electronic symbols |  |  |
|  | Carryout Tagging techniques of connections |  |  |
|  | Elaborate the control knobs of Oscilloscope for electrical /electronic signals. |  |  |
|  | Measure time and amplitude from the Oscilloscope measurement screen. |  |  |
|  | Explain the various parts and components of the instrument. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________