Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Applications of Operation Amplifier (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Construct a Non-inverting amplifier using operational amplifier - Construct an Inverting amplifier using operational amplifier - Construct a differentiator circuit using operational amplifier - Construct an integrator circuit using operational amplifier - Construct a Comparator circuit using operational amplifier |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Construct a Non-inverting amplifier using operational amplifier - Identify the Operational amplifier terminals (Inverting, Non-inverting Inputs & Outputs) with the Help of Datasheet - Identify different parameters (Current, Voltage, and power rating) of Op-Amp using datasheet. - Draw the Schematic diagram of non-Inverting Op-Amp. - Select the components for Non-Inverting Op-Amp. - Implement Non-Inverting Op-Amp circuit. - Perform the operations of Non-Inverting Op-Amp circuit. - Measure the output voltage & gain - Generate the Output report Construct an Inverting amplifier using operational amplifier - Identify the Operational amplifier terminals (Inverting, Non-inverting Inputs & Outputs) with the Help of Datasheet - Identify different parameters (Current, Voltage, and power rating) of Op-Amp using datasheet. - Draw the Schematic diagram of Inverting Op-Amp. - Select the components for Inverting Op-Amp. - Implement Inverting Op-Amp circuit. - Perform the operations of Inverting Op-Amp circuit. - Measure the output voltage & gain - Generate the Output report Construct a differentiator circuit using operational amplifier - Draw the Schematic diagram of differentiator circuit using Op-Amp. - Select the components for differentiator circuit. - Implement differentiator circuit. - Perform the operations of differentiator circuit. - Measure the output waveform - Draw the characteristic curves of differentiator circuit. - Generate the Output report Construct an integrator circuit using operational amplifier - Draw the Schematic diagram of integrator circuit using Op-Amp. - Select the components for integrator circuit. - Implement integrator circuit. - Perform the operations of integrator circuit. - Measure the output waveform - Draw the characteristic curves of integrator circuit. - Generate the Output report Construct a Comparator circuit using operational amplifier - Draw the Schematic diagram of Comparator circuit using Op-Amp. - Select the components for Comparator circuit. - Implement Comparator circuit. - Perform the operations of Comparator circuit. - Check the output for different input conditions |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| Competency Standard | Applications of Operation Amplifier (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Construct a Non-inverting amplifier using operational amplifier - Construct an Inverting amplifier using operational amplifier - Construct a differentiator circuit using operational amplifier - Construct a integrator circuit using operational amplifier - Construct a Comparator circuit using operational amplifier |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify the Operational amplifier terminals (Inverting, Non-inverting Inputs & Outputs) with the Help of Datasheet |  |  |
| - Identify different parameters (Current, Voltage, and power rating) of Op-Amp using datasheet. |  |  |
| - Draw the Schematic diagram of non-Inverting Op-Amp. |  |  |
| - Select the components for Non-Inverting Op-Amp. |  |  |
| - Implement Non-Inverting Op-Amp circuit. |  |  |
| - Perform the operations of Non-Inverting Op-Amp circuit. |  |  |
| - Measure the output voltage & gain |  |  |
| - Generate the Output report |  |  |
| - Identify the Operational amplifier terminals (Inverting, Non-inverting Inputs & Outputs) with the Help of Datasheet |  |  |
| - Identify different parameters (Current, Voltage, and power rating) of Op-Amp using datasheet. |  |  |
| - Draw the Schematic diagram of Inverting Op-Amp. |  |  |
| - Select the components for Inverting Op-Amp. |  |  |
| - Implement Inverting Op-Amp circuit. |  |  |
| - Perform the operations of Inverting Op-Amp circuit. |  |  |
| - Measure the output voltage & gain |  |  |
| - Generate the Output report |  |  |
| - Draw the Schematic diagram of differentiator circuit using Op-Amp. |  |  |
| - Select the components for differentiator circuit. |  |  |
| - Implement differentiator circuit. |  |  |
| - Perform the operations of differentiator circuit. |  |  |
| - Measure the output waveform |  |  |
| - Draw the characteristic curves of differentiator circuit. |  |  |
| - Generate the Output report |  |  |
| - Draw the Schematic diagram of integrator circuit using Op-Amp. |  |  |
| - Select the components for integrator circuit. |  |  |
| - Implement integrator circuit. |  |  |
| - Perform the operations of integrator circuit. |  |  |
| - Measure the output waveform |  |  |
| - Draw the characteristic curves of integrator circuit. |  |  |
| - Generate the Output report |  |  |
| - Draw the Schematic diagram of Comparator circuit using Op-Amp. |  |  |
| - Select the components for Comparator circuit. |  |  |
| - Implement Comparator circuit. |  |  |
| - Perform the operations of Comparator circuit. |  |  |
| - Check the output for different input conditions |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Applications of Operation Amplifier (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Construct a Non-inverting amplifier using operational amplifier - Construct an Inverting amplifier using operational amplifier - Construct a differentiator circuit using operational amplifier - Construct a integrator circuit using operational amplifier - Construct a Comparator circuit using operational amplifier |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified the Operational amplifier terminals (Inverting, Non-inverting Inputs & Outputs) with the Help of Datasheet |  |  |  |  |  |
|  | Identified different parameters (Current, Voltage, and power rating) of Op-Amp using datasheet. |  |  |  |  |  |
|  | Drew the Schematic diagram of non-Inverting Op-Amp. |  |  |  |  |  |
|  | Selected the components for Non-Inverting Op-Amp. |  |  |  |  |  |
|  | Implemented Non-Inverting Op-Amp circuit. |  |  |  |  |  |
|  | Performed the operations of Non-Inverting Op-Amp circuit. |  |  |  |  |  |
|  | Measured the output voltage & gain |  |  |  |  |  |
|  | Generated the Output report |  |  |  |  |  |
|  | Identified the Operational amplifier terminals (Inverting, Non-inverting Inputs & Outputs) with the Help of Datasheet |  |  |  |  |  |
|  | Identified different parameters (Current, Voltage, and power rating) of Op-Amp using datasheet. |  |  |  |  |  |
|  | Drew the Schematic diagram of Inverting Op-Amp. |  |  |  |  |  |
|  | Selected the components for Inverting Op-Amp. |  |  |  |  |  |
|  | Implemented Inverting Op-Amp circuit. |  |  |  |  |  |
|  | Performed the operations of Inverting Op-Amp circuit. |  |  |  |  |  |
|  | Measured the output voltage & gain |  |  |  |  |  |
|  | Generated the Output report |  |  |  |  |  |
|  | Drew the Schematic diagram of differentiator circuit using Op-Amp. |  |  |  |  |  |
|  | Selected the components for differentiator circuit. |  |  |  |  |  |
|  | Implemented differentiator circuit. |  |  |  |  |  |
|  | Performed the operations of differentiator circuit. |  |  |  |  |  |
|  | Measured the output waveform |  |  |  |  |  |
|  | Drew the characteristic curves of differentiator circuit. |  |  |  |  |  |
|  | Generated the Output report |  |  |  |  |  |
|  | Drew the Schematic diagram of integrator circuit using Op-Amp. |  |  |  |  |  |
|  | Selected the components for integrator circuit. |  |  |  |  |  |
|  | Implemented integrator circuit. |  |  |  |  |  |
|  | Performed the operations of integrator circuit. |  |  |  |  |  |
|  | Measured the output waveform |  |  |  |  |  |
|  | Drew the characteristic curves of integrator circuit. |  |  |  |  |  |
|  | Generated the Output report |  |  |  |  |  |
|  | Drew the Schematic diagram of Comparator circuit using Op-Amp. |  |  |  |  |  |
|  | Selected the components for Comparator circuit. |  |  |  |  |  |
|  | Implemented Comparator circuit. |  |  |  |  |  |
|  | Performed the operations of Comparator circuit. |  |  |  |  |  |
|  | Checked the output for different input conditions |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Applications of Operation Amplifier (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | In inverting amplifier, phase difference between input and output voltages must be |  |  |
|  | - 30° - 45° - 90° - 180° |  |  |
|  | For non-inverting amplifier input and output is |  |  |
|  | - out of phase - in phase - have phase difference of 180° - have phase difference of 90° |  |  |
|  | The circuits of an inverting amplifying comprises of ___________number of resistors. |  |  |
|  | - 1 - 2 - 3 - 4 |  |  |
|  | The circuits of annon inverting amplifying comprises of ___________number of resistors. |  |  |
|  | - 1 - 2 - 3 - 4 |  |  |
|  | The input applied to an Inverting amplifier is ______________ |  |  |
|  | - Equal to output - Equal to Inverted output - Not equal to output - Output is equal to input |  |  |
|  | Differentiation amplifier produces |  |  |
|  | - Output waveform as integration of input waveform - Input waveform as integration of output waveform - Output waveform as derivative of input waveform - Input waveform as derivative of output waveform |  |  |
|  | The expression for the differentiator time constant is |  |  |
|  | - CR - 1/CR - R/C - C/R |  |  |
|  | Depending on the value of input and reference voltage a comparator can be named as |  |  |
|  | - Voltage follower - Digital to analog converter - Schmitt trigger d) Voltage level detector |  |  |
|  | An OP-AMP comparator is a circuit that compares the signal voltage on one of its inputs with a _ |  |  |
|  | - Non-inverting voltage at output - Reference voltage on the other - Virtual input - Output |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________