Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology. |
| --- | --- |
| Competency Standard | Measure Temperature and Humidity |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Convert various Temperature scales - Operate various types of Thermometers - Measure humidity using different humidity meters |
| Time: 04Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Convert various Temperature scales - Differentiate between heat and temperature - Identity measuring units for Heat and Temperature - Perform conversion between scales i.e. Kelvin, Celsius and Fahrenheit scales - Identify three reference point of temperatures - Verify the theoretical and practical outputs - Operate various types of Thermometers - Identify and differentiate various types of temperature sensors. - Operate and read the output of the various sensors. - Compare performance and accuracy of Mercury bulb thermometer with sensor’s base thermometers - Measure humidity using different humidity meters - Setup wet and dry bulb psychrometer/ hygrometer. - Identify the type of sensor for temperature sensing - Perform relative and absolute measurement using wet and dry bulb thermometer. - Identify Hygrometer (transducer type) components, Sensor type, Output & Input - Measure Humidity inside close container - Compare the measured humidity results |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| Competency Standard | Measure Temperature and Humidity |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Convert various Temperature scales. - Operate various types of Thermometers. - Measure humidity using different humidity meters. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Differentiate between heat and temperature |  |  |
| - Identify measuring units for Heat and Temperature |  |  |
| - Perform conversion between scales i.e. Kelvin, Celsius and Fahrenheit scales |  |  |
| - Identify three reference point of temperatures |  |  |
| - Verify the theoretical and practical outputs |  |  |
| - Identify and differentiate various types of temperature sensors. |  |  |
| - Operate and read the output of the various sensors. |  |  |
| - Compare performance and accuracy of Mercury bulb thermometer with sensor’s base thermometers |  |  |
| - Setup wet and dry bulb psychrometer/ hygrometer. |  |  |
| - Identify the type of sensor for temperature sensing |  |  |
| - Perform relative and absolute measurement using wet and dry bulb thermometer. |  |  |
| - Identify Hygrometer (transducer type) components, Sensor type, Output & Input |  |  |
| - Measure Humidity inside close container |  |  |
| - Compare the measured humidity results |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Measure Temperature and Humidity |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Convert various Temperature scales. - Operate various types of Thermometers. - Measure humidity using different humidity meters. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Differentiated between heat and temperature. |  |  |  |  |  |
|  | Identified measuring units for Heat and Temperature. |  |  |  |  |  |
|  | Performed conversion between scales i.e. Kelvin, Celsius and Fahrenheit scales. |  |  |  |  |  |
|  | Identified three reference point of temperatures. |  |  |  |  |  |
|  | Verified the theoretical and practical outputs. |  |  |  |  |  |
|  | Identified and differentiated various types of temperature sensors. |  |  |  |  |  |
|  | Operated and read the output of the various sensors. |  |  |  |  |  |
|  | Compared performance and accuracy of Mercury bulb thermometer with sensor’s base thermometers |  |  |  |  |  |
|  | Setup wet and dry bulb psychrometer/ hygrometer. |  |  |  |  |  |
|  | Identified the type of sensor for temperature sensing |  |  |  |  |  |
|  | Performed relative and absolute measurement using wet and dry bulb thermometer. |  |  |  |  |  |
|  | Identified Hygrometer (transducer type) components, Sensor type, Output & Input |  |  |  |  |  |
|  | Measured Humidity inside close container |  |  |  |  |  |
|  | Compared the measured humidity results |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Measure Temperature and Humidity |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define heat and temperature and their units. |  |  |
|  | Give formulae for temperature unit conversion. |  |  |
|  | What are the basic types of temperature sensors? |  |  |
|  | Define Humidity and its unit. |  |  |
|  | Define Temperature dependency on Humidity. |  |  |
|  | What is the practical range for humidity? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________