Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Measure The Density & Power of Hydrogen Ion (pH) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Analyze Density by various techniques - Measure specific gravity in relation with density - Measure the pH by different techniques |
| Time: 04Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Analyze Density by various techniques - Differentiate digital and glass hydrometer. - Perform measurements for different liquids. - Setup filling ball apparatus and identify their building blocks. - Measuring density of oil by filling ball apparatus. - Setup fixed volume weight apparatus for density measurement. - Perform measurement of density for various liquid by “fixed volume weight apparatus”. - Compare the measured results. - Perform analysis and find the causes of variation in results (if any). - Generate a report. - Measure specific gravity in relation with density - Setup displacer method apparatus. - Perform measurements for various liquids. - Perform measurement of density by “fixed volume weight apparatus”. - Compare the measured results. - Find the causes of variation in results (if any). - Generate an output report. - Measure the pH by different techniques - Identify the litmus paper technique to measure the pH of solution. - Identify the default color of litmus paper. - Identify the color variation of litmus paper in the Reference literature. - Prepare solutions of acidic / basic concentrations. - Dip litmus paper in the solution in periodic way and observe the change in color. - Record the values. - Identify digital pH meter based on Electrode. - Apply the calibration procedure of the instrument. - Measure the pH of all prepared solutions by digital pH meter. - Compare the results measured by litmus paper and digital pH meter. - Analyze the variation in data, experimental time / complications and prepare write up. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| Competency Standard | Measure The Density & Power of Hydrogen Ion (pH) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Analyze Density by various techniques - Measure specific gravity in relation with density - Measure the pH by different techniques |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Differentiate digital and glass hydrometer |  |  |
| - Perform measurements for different liquids |  |  |
| - Setup filling ball apparatus and identify their building blocks. |  |  |
| - Measuring density of oil by filling ball apparatus. |  |  |
| - Setup fixed volume weight apparatus for density measurement |  |  |
| - Perform measurement of density for various liquid by “fixed volume weight apparatus”. |  |  |
| - Compare the measured results |  |  |
| - Perform analysis and find the causes of variation in results (if any). |  |  |
| - Generate a report |  |  |
| - Setup displacer method apparatus. |  |  |
| - Perform measurements for various liquids |  |  |
| - Perform measurement of density by “fixed volume weight apparatus”. |  |  |
| - Compare the measured results |  |  |
| - Find the causes of variation in results (if any). |  |  |
| - Generate an output report |  |  |
| - Identify the litmus paper technique to measure the pH of solution. |  |  |
| - Identify the default color of litmus paper |  |  |
| - Identify the color variation of litmus paper in the Reference literature |  |  |
| - Prepare solutions of acidic / basic concentrations. |  |  |
| - Dip litmus paper in the solution in periodic way and observe the change in color |  |  |
| - Record the values |  |  |
| - Identify digital pH meter based on Electrode. |  |  |
| - Apply the calibration procedure of the instrument |  |  |
| - Measure the pH of all prepared solutions by digital pH meter |  |  |
| - Compare the results measured by litmus paper and digital pH meter. |  |  |
| - Analyze the variation in data, experimental time / complications and prepare write up. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Measure The Density & Power of Hydrogen Ion (pH) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Analyze Density by various techniques - Measure specific gravity in relation with density - Measure the pH by different techniques |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Differentiated digital and glass hydrometer |  |  |  |  |  |
|  | Performed measurements for different liquids |  |  |  |  |  |
|  | Setup filling ball apparatus and identified their building blocks. |  |  |  |  |  |
|  | Measured the density of oil by filling ball apparatus. |  |  |  |  |  |
|  | Setup fixed volume weight apparatus for density measurement |  |  |  |  |  |
|  | Performed measurement of density for various liquid by “fixed volume weight apparatus”. |  |  |  |  |  |
|  | Compared the measured results for hydrometer practical. - Performed analysis and find the causes of variation in results (if any). - Generated a report |  |  |  |  |  |
|  | Setup displacer method apparatus. |  |  |  |  |  |
|  | Performed measurements for various liquids with the displacer method apparatus. |  |  |  |  |  |
|  | Performed measurement of density by “fixed volume weight apparatus”. |  |  |  |  |  |
|  | Compared the measured results for densities. |  |  |  |  |  |
|  | Found the causes of variation in density results (if any). |  |  |  |  |  |
|  | Generated an output report for density experiment. |  |  |  |  |  |
|  | Identified the litmus paper technique to measure the pH of solution. |  |  |  |  |  |
|  | Identified the default color of litmus paper |  |  |  |  |  |
|  | Identified the colour variation of litmus paper in the Reference literature |  |  |  |  |  |
|  | Prepared solutions of acidic / basic concentrations. |  |  |  |  |  |
|  | Dipped litmus paper in the solution in periodic way and observed the change in colour |  |  |  |  |  |
|  | Record the pH values of acidic/basic solutions. |  |  |  |  |  |
|  | Identified digital pH meter based on Electrode. |  |  |  |  |  |
|  | Applied the calibration procedure of the instrument |  |  |  |  |  |
|  | Measured the pH of all prepared solutions by digital pH meter |  |  |  |  |  |
|  | Compared the results measured by litmus paper and digital pH meter. |  |  |  |  |  |
|  | Analyzed the variation in data, experimental time / complications and prepared write up. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Measure The Density & Power of Hydrogen Ion (pH) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Definedensity measurement techniques. |  |  |
|  | Write down the instruments used in density measurement techniques. |  |  |
|  | What is the litmus paper technique for measuring pH.? |  |  |
|  | What is the procedure of pH meter based on Electrode? |  |  |
|  | What are the steps for the calibration procedure of pH meter (based on Electrode)? |  |  |
|  | What is the specific gravity in relation with density? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________