Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Measure The Concentration Of Environmental Gases |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Measure the concentration of important gases - Analyze “Flue Gas Analyzer” instrument |
| Time: 04Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Analyze flue Gas analyzer instrument - Identify the basic building block for the “Flue Gas Analyzer” components. - Identify type of sensor usedto detect different gases, i.e.Carbon Mono-Oxide (CO), Carbon Dioxide (CO2), Oxygen (O), Nitrogen (N) etc. - Calibrate (see user manual) the instrument with known concentrations of detector type gas. - Obtain concentration for the all gases using separate detectors and record the measured values (percentage data). - Compare the measured values with the above data and reference values (environmental standards). - Analyze and interpret the discrepancies, errors and deviations. - Generate an output report for “Flue Gas Analyzer”. - Measure the concentration of important gases - Identify Thermal andEvolved Gas Analyzer (TEGA) instrument and its important building blocks, - Use TEGA to identify Oxygen (O) and its parameter for the environmental conditions inside close environment. - Identify Para-magnetic oxygen detector instrument with it basic building blocks - Arrange unknown concentration of Oxygen and measured their concentration by using “paramagnetic oxygen detector and record data. Compare results with TEGA results. - Use TEGA to identify Carbon monoxides (CO) and its parameter for the environmental conditions inside close environment. - Identify Carbon monoxide analyzer instrument with it basic building blocks - Setup and arrange unknown concentration of carbon monoxide and measured their concentration by using “carbon monoxide analyzer instrument and record data. Compare results with TEGA results. - Use TEGA to identify carbon dioxides (CO2) and its parameter for the environmental conditions inside close environments. - Identify Carbon dioxide analyzer instrument with its basic building blocks - Setup and arrange unknown concentration of carbon dioxide and measured their concentration by using “carbon dioxide analyzer instrument and record data. Compare results with TEGA results. - Use TEGA to identify Nitrogen and its parameters for the environmental conditions inside close environments. - Identify Nitrogen analyzer instrument with its basic building blocks - Setup and arrange unknown concentration of Nitrogen and measured their concentration by using “Nitrogen” analyzer instrument and record data. Compare results with TEGA results. - Compare, analyze and interpret the data and comments on the deviation and discrepancies in relation with the reference data and instrumental techniques. - Create an output report from individual gases data. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| Competency Standard | Measure The Concentration Of Environmental Gases |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Measure the concentration of important gases - Analyze flue Gas analyzer instrument. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify the basic building block for the “Flue Gas Analyzer” components. |  |  |
| - Identify type of sensor used to detect different gases, i.e. Carbon Mono-Oxide (CO), Carbon Dioxide (CO2), Oxygen (O), Nitrogen (N) etc. |  |  |
| - Calibrate (see user manual) the instrument with known concentrations of detector type gas. |  |  |
| - Obtain concentration for the all gases using separate detectors and record the measured values (percentage data). |  |  |
| - Compare the measured values with the above data and reference values (environmental standards). |  |  |
| - Analyze and interpret the discrepancies, errors and deviations. |  |  |
| - Generate an output report for “Flue Gas Analyzer”. |  |  |
| - Identify Thermal and Evolved Gas Analyzer (TEGA) instrument and its important building blocks, |  |  |
| - Use TEGA to identify Oxygen (O) and its parameter for the environmental conditions inside close environment. |  |  |
| - Identify Para-magnetic oxygen detector instrument with it basic building blocks |  |  |
| - Arrange unknown concentration of Oxygen and measured their concentration by using “paramagnetic oxygen detector and record data. Compare results with TEGA results. |  |  |
| - Use TEGA to identify Carbon monoxides (CO) and its parameter for the environmental conditions inside close environment. |  |  |
| - Identify Carbon monoxide analyzer instrument with it basic building blocks |  |  |
| - Setup and arrange unknown concentration of carbon monoxide and measured their concentration by using “carbon monoxide analyzer instrument and record data. Compare results with TEGA results. |  |  |
| - Use TEGA to identify carbon dioxides (CO2) and its parameter for the environmental conditions inside close environments. |  |  |
| - Identify Carbon dioxide analyzer instrument with its basic building blocks |  |  |
| - Setup and arrange unknown concentration of carbon dioxide and measured their concentration by using “carbon dioxide analyzer instrument and record data. Compare results with TEGA results. |  |  |
| - Use TEGA to identify Nitrogen and its parameters for the environmental conditions inside close environments. |  |  |
| - Identify Nitrogen analyzer instrument with its basic building blocks |  |  |
| - Setup and arrange unknown concentration of Nitrogen and measured their concentration by using “Nitrogen” analyzer instrument and record data. Compare results with TEGA results. |  |  |
| - Compare, analyze and interpret the data and comments on the deviation and discrepancies in relation with the reference data and instrumental techniques. |  |  |
| - Create an output report from individual gases data. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Measure The Concentration Of Environmental Gases |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Measure the concentration of important gases - Analyze flue Gas analyzer instrument. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified the basic building block for the “Flue Gas Analyzer” components. |  |  |  |  |  |
|  | Identified type of sensor used to detect different gases, i.e. Carbon Mono-Oxide (CO), Carbon Dioxide (CO2), Oxygen (O), Nitrogen (N) etc. |  |  |  |  |  |
|  | Calibrated (see user manual) the instrument with known concentrations of detector type gas. |  |  |  |  |  |
|  | Obtained concentration for the all gases using separate detectors and recorded the measured values (percentage data). |  |  |  |  |  |
|  | Compared the measured values with the above data and reference values (environmental standards). |  |  |  |  |  |
|  | Analyzed and interpreted the discrepancies, errors and deviations. |  |  |  |  |  |
|  | Generated an output report for “Flue Gas Analyzer”. |  |  |  |  |  |
|  | Identified Thermal and Evolved Gas Analyzer (TEGA) instrument and its important building blocks, |  |  |  |  |  |
|  | Used TEGA to identify Oxygen (O) and its parameter for the environmental conditions inside close environment. |  |  |  |  |  |
|  | Identified Para-magnetic oxygen detector instrument with its basic building blocks |  |  |  |  |  |
|  | Arranged unknown concentration of Oxygen and measured their concentration by using “paramagnetic oxygen detector and record data. Compared results with TEGA results. |  |  |  |  |  |
|  | Used TEGA to identify Carbon monoxides (CO) and its parameter for the environmental conditions inside close environment. |  |  |  |  |  |
|  | Identified Carbon monoxide analyzer instrument with its basic building blocks |  |  |  |  |  |
|  | Setup and arranged unknown concentration of carbon monoxide and measured their concentration by using “carbon monoxide analyzer instrument and recorded data. Compared results with TEGA results. |  |  |  |  |  |
|  | Used TEGA to identify carbon dioxides (CO2) and its parameter for the environmental conditions inside close environments. |  |  |  |  |  |
|  | Identified Carbon dioxide analyzer instrument with its basic building blocks |  |  |  |  |  |
|  | Setup and arranged unknown concentration of carbon dioxide and measured their concentration by using “carbon dioxide analyzer instrument and record data. Compared results with TEGA results. |  |  |  |  |  |
|  | Used TEGA to identify Nitrogen and its parameters for the environmental conditions inside close environments. |  |  |  |  |  |
|  | Identified Nitrogen analyzer instrument with its basic building blocks |  |  |  |  |  |
|  | Setup and arranged unknown concentration of Nitrogen and measured their concentration by using “Nitrogen” analyzer instrument and record data. Compared results with TEGA results. |  |  |  |  |  |
|  | Compared, analyzed and interpreted the data and comments on the deviation and discrepancies in relation with the reference data and instrumental techniques. |  |  |  |  |  |
|  | Created an output report from individual gases data. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Measure The Concentration Of Environmental Gases |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Flue Gases. |  |  |
|  | Define Concentration of gases in environment (percentage) |  |  |
|  | Define detectors for Carbon Mono-Oxide. |  |  |
|  | Define detectors for Carbon Di-Oxide. |  |  |
|  | Define detectors for Oxygen. |  |  |
|  | Define detectors for Nitrogen. |  |  |
|  | What are the sampling method for Flue Gas Analyzer? |  |  |
|  | Define sampling method for Thermal and Evolved Gas Analyzer |  |  |
|  | How to check the individual result of environmental gases as compared to TEGA using trend analysis. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________