Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Calibrate the Measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Perform the test run on given Instrument - Calibrate &repair the gauges (pneumatic/ electronic) - Calibrate the thermocouple and temperature Sensor (RTD) - Calibrate the magnetic level switch - Calibrate the control valve &valve positioner - Calibrate the electromagnetic type flow meter - Calibrate pH meter - Prepare the Graphs, comparison/ conversion table |
| Time: 04Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Perform the test run on the given instrument - Check the device physically. - Check the device with multi-meter. - Connect device with power source (if applicable). - Perform test run as described in the procedure - Note parameters of the device. - Calibrate &repair the gauges (pneumatic/ electronic) - Check the gauge physically. - Check with multi-meter. - Apply standard pressure or connect device with power source (if applicable). - Perform test run as described in the procedure. - Note parameters of the device - Calibrate the thermocouple & temperature Sensor(RTD) - Check the thermocouple physically. - Check with multi-meter. - Apply standard temperature and connect device with power source (if applicable). - Perform standardized test as described in the procedure. - Note parameters of the thermal sensor. - Calibrate the magnetic level switch - Check the magnetic level switch physically. - Check with compass/ magnet. - Submerge the switch in the tank and observe the state of the contact (via multi-meter). - Perform standardized test as described in the procedure. - Note parameters of the magnetic level switch. - Calibrate the control valve &valve positioner - Check the control valve and its positioner physically. - Check the valve with power source and multi-meter. - Check the state of the valve for its normal operation. - Check the state of the valve for its positioning (x-axis, y-axis z-axis) by applying valve positioner. - Perform standardized test as described in the procedure. - Note the operating range of the valve for its optimum operation. - Calibrate the electromagnetic type flow meter - Check the electromagnetic flow meter physically. - Check the electromagnetic flow meter by applying power (using multi-meter). - Check the state of the electromagnetic flow meter’s sensor’s normal operation. - Check the state of the sensor across the specimen. - Perform standardized test as described in the procedure - Note the operating range of the flow meter for its optimum operation. - Calibrate pH meter - Check the pH meter physically. - Check the pH meter by applying power (using multi-meter). - Check the state of the pH meter’s sensor’s normal operation. - Check the state of the sensor across the buffers/specimen. - Perform standardized test as described in the procedure - Note the operating range of the pH meter for its optimum operation - Prepare the Graphs, comparison/ conversion table - Make arrangement of data as per standard measurement. (for various ranges) - Develop a graph according to need (dependent/ independent variable) - Select the unit conversion and calculation to make legends. - Mark the ranges and parameters of the data for graphs. - Mark the origin of the graph for plotting the meaning full result. - Conclude the result from the plotted graph. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| Competency Standard | Calibrate the Measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Perform the test run on given Instrument 2. Calibrate &repair the gauges (pneumatic/ electronic) 3. Calibrate the thermocouple &emperature Sensor (RTD) 4. Calibrate the magnetic level switch 5. Calibrate the control valve &valve positioner 6. Calibrate the electromagnetic type flow meter 7. Calibrate pH meter 8. Prepare the Graphs, comparison/ conversion table |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check the instrument/device/ equipment physically. |  |  |
| - Check the instrument/device/ equipment with multi-meter. |  |  |
| - Connect instrument/device/ equipment with power source (if applicable). |  |  |
| - Perform test run as described in the procedure |  |  |
| - Note parameters of the instrument/device/ equipment. |  |  |
| - Check the gauge physically. |  |  |
| - Check the gauge physically&Check with meter. |  |  |
| - Apply standard pressure or connect instrument/device/ equipment with power source (if applicable). |  |  |
| - Perform test run as described in the procedure on pressure or pneumatic instrument/equipment |  |  |
| - Check the thermocouple physically. Check with multi-meter |  |  |
| - Apply standard temperature and connect instrument/device/ equipment with power source (if applicable). |  |  |
| - Perform standardized test as described in the procedure. |  |  |
| - Note parameters of the thermal sensor. |  |  |
| - Check the magnetic level switch physically. |  |  |
| - Check with compass/ magnet. |  |  |
| - Submerge the magnetic switch in the tank and observe the state of the contact (via multi-meter). |  |  |
| - Perform standardized test as described in the procedure on given equipment. |  |  |
| - Note parameters of the magnetic level switch. |  |  |
| - Check the control valve and its positioner physically. |  |  |
| - Check /operate magnetic valve with power source and multi-meter. |  |  |
| - Check the state of the valve for its normal operation. |  |  |
| - Check the state of the valve for its positioning (x-axis, y-axis z-axis) by applying valve positioner. |  |  |
| - Perform standardized test as described in the procedure for given valve. |  |  |
| - Note the operating range of the valve for its optimum operation. |  |  |
| - Check the electromagnetic flow meter physically. |  |  |
| - Check the electromagnetic flow meter by applying power (using multi-meter). |  |  |
| - Check the state of the electromagnetic flow meter’s sensor’s normal operation. |  |  |
| - Check the state of the sensor across the specimen. |  |  |
| - Perform standardized test as described in the procedure |  |  |
| - Note the operating range of the flow meter for its optimum operation. |  |  |
| - Check the pH meter physically. |  |  |
| - Check the pH meter by applying power (using multi-meter). |  |  |
| - Check the state of the pH meter’s sensor’s normal operation. |  |  |
| - Check the state of the sensor across the buffers/specimen. |  |  |
| - Perform standardized test on given instrument as described in the procedure |  |  |
| - Note the operating range of the pH meter for its optimum operation |  |  |
| - Createarrangement of data as per standard measurement. (for various ranges) |  |  |
| - Develop a graph according to need (dependent/ independent variable) |  |  |
| - Select the unit conversion and calculation to make legends. |  |  |
| - Mark the ranges and parameters of the data for graphs. |  |  |
| - Mark the origin of the graph for plotting the meaning full result. |  |  |
| - Conclude the result from the plotted graph |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Calibrate the Measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Perform the test run on given Instrument 2. Calibrate &repair the gauges (pneumatic/ electronic) 3. Calibrate the thermocouple and temperature Sensor (RTD) 4. Calibrate the magnetic level switch 5. Calibrate the control valve &valve positioner 6. Calibrate the electromagnetic type flow meter 7. Calibrate pH meter 8. Prepare the Graphs, comparison/ conversion table |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Checked the instrument/device/ equipment physically. |  |  |  |  |  |
|  | Checked the instrument/device/ equipment with multi-meter. |  |  |  |  |  |
|  | Connected instrument/device/ equipment with power source (if applicable). |  |  |  |  |  |
|  | Performed test run as described in the procedure |  |  |  |  |  |
|  | Noted parameters of the instrument/device/ equipment. |  |  |  |  |  |
|  | Checked the gauge physically. |  |  |  |  |  |
|  | Checked the gauge physically&Check with meter. |  |  |  |  |  |
|  | Applied standard pressure or connect instrument/device/ equipment with power source (if applicable). |  |  |  |  |  |
|  | Performed test run as described in the procedure on pressure or pneumatic instrument/equipment |  |  |  |  |  |
|  | Checked the thermocouple physically. Check with multi-meter |  |  |  |  |  |
|  | Applied standard temperature and connect instrument/device/ equipment with power source (if applicable). |  |  |  |  |  |
|  | Performed standardized test as described in the procedure. |  |  |  |  |  |
|  | Noted parameters of the thermal sensor. |  |  |  |  |  |
|  | Checked the magnetic level switch physically. |  |  |  |  |  |
|  | Checked with compass/ magnet. |  |  |  |  |  |
|  | Submerged the magnetic switch in the tank and observe the state of the contact (via multi-meter). |  |  |  |  |  |
|  | Performed standardized test as described in the procedure on given equipment. |  |  |  |  |  |
|  | Noted parameters of the magnetic level switch. |  |  |  |  |  |
|  | Checked the control valve and its positioner physically. |  |  |  |  |  |
|  | Checked /operated the magnetic valve with power source and multi-meter. |  |  |  |  |  |
|  | Checked the state of the valve for its normal operation. |  |  |  |  |  |
|  | Checked the state of the valve for its positioning (x-axis, y-axis z-axis) by applying valve positioner. |  |  |  |  |  |
|  | Performed standardized test as described in the procedure for given valve. |  |  |  |  |  |
|  | Noted the operating range of the valve for its optimum operation. |  |  |  |  |  |
|  | Checked the electromagnetic flow meter physically. |  |  |  |  |  |
|  | Checked the electromagnetic flow meter by applying power (using multi-meter). |  |  |  |  |  |
|  | Checked the state of the electromagnetic flow meter’s sensor’s normal operation. |  |  |  |  |  |
|  | Checked the state of the sensor across the specimen. |  |  |  |  |  |
|  | Performed standardized test as described in the procedure |  |  |  |  |  |
|  | Noted the operating range of the flow meter for its optimum operation. |  |  |  |  |  |
|  | Checked the pH meter physically. |  |  |  |  |  |
|  | Checked the pH meter by applying power (using multi-meter). |  |  |  |  |  |
|  | Checked the state of the pH meter’s sensor’s normal operation. |  |  |  |  |  |
|  | Checked the state of the sensor across the buffers/specimen. |  |  |  |  |  |
|  | Performed standardized test on given instrument as described in the procedure |  |  |  |  |  |
|  | Noted the operating range of the pH meter for its optimum operation |  |  |  |  |  |
|  | Created arrangement of data as per standard measurement. (for various ranges) |  |  |  |  |  |
|  | Developed a graph according to need (dependent/ independent variable) |  |  |  |  |  |
|  | Selected the unit conversion and calculation to make legends. |  |  |  |  |  |
|  | Marked the ranges and parameters of the data for graphs. |  |  |  |  |  |
|  | Marked the origin of the graph for plotting the meaning full result. |  |  |  |  |  |
|  | Concluded the result from the plotted graph |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Calibrate the Measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define common instrument Electrical / electronic depending upon parameter measurement (sensor types). |  |  |
|  | Explain the Layout drawings for circuits/ block diagrams for instruments. Carryout Tagging techniques of connections. |  |  |
|  | Draw Electrical/ electronic symbols and describe the use of various tools used. |  |  |
|  | Explain types and structure & parts of sensors/electrode - types and structure of control valve, - types and structure of magnetic level switch, - flow meter and law of electro magnetism , - explain working principle of magnetic level switch, - working principle of pH meter and definition of pH with laws, - working principle of control valve & valve positioner), |  |  |
|  | Describe device measuringdisplay type: LCD, LED, Niddle, indicating instrument |  |  |
|  | Describe/ elaborate data recording function and graph plotting. Explain information getting procedure of device. |  |  |
|  | Explain Electrical/ electronic & functional -drawing symbols |  |  |
|  | Describe characteristics of electrical / electronic components and explain operation/calibration techniques. |  |  |
|  | Explain the various parts and components of the instrument. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________