Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 5 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Operate a Boiler Control System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): Prepare the boiler for operation Start and monitor boiler operation Analyze and respond to abnormal performance Handover the boiler operations Carry out an operational shutdown Prepare the boiler for an internal inspection |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Prepare the boiler for operation - Identify Health and safety hazards & report to responsible personnel. - Purge the boiler according to workplace procedure - Perform pre-operational checks & confirm operational status of boiler and related equipment - Start and monitor boiler operation - Start the boiler safely as per manufacturer's specifications - Operate the plant within limits of manufacturer's specifications - Monitor the Equipment to confirm operating condition - Test the water quality and adjust as required - Ensure that the workplace meets housekeeping standards - Analyze and respond to abnormal performance - Analyze operating data and plant operating conditions to identify causes of abnormal performance - Take corrective action in response to Hazards - Implement emergency procedures as required - Handover the boiler operations - Maintain the workplace in accordance with statutory requirements and workplace procedures - Carry out Handing over according to workplace procedure - Carry out an operational shutdown - Shut down the boiler according to workplace procedures - Identify the maintenance requirements & report according to workplace reporting procedure - Prepare the boiler for an internal inspection - Shut down the boiler according to workplace procedures - Clean the boiler is internally and externally according to workplace procedures - Remove the valves and fittings - Place the boiler in the appropriate storage mode according to manufacturer's recommendations - Generate a record report |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 5 in Instrumentation Technology |
| Competency Standard | Operate a Boiler Control System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare the boiler for operation - Start and monitor boiler operation - Analyze and respond to abnormal performance - Handover the boiler operations - Carry out an operational shutdown - Prepare the boiler for an internal inspection |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify Health and safety hazards & report to responsible personnel. |  |  |
| - Purge the boiler according to workplace procedure |  |  |
| - Perform pre-operational checks & confirm operational status of boiler and related equipment |  |  |
| - Start the boiler safely as per manufacturer's specifications |  |  |
| - Operate the plant within limits of manufacturer's specifications |  |  |
| - Monitor the Equipment to confirm operating condition |  |  |
| - Test the water quality and adjust as required |  |  |
| - Ensure that the workplace meets housekeeping standards |  |  |
| - Analyze operating data and plant operating conditions to identify causes of abnormal performance |  |  |
| - Take corrective action in response to Hazards |  |  |
| - Implement emergency procedures as required |  |  |
| - Maintain the workplace in accordance with statutory requirements and workplace procedures |  |  |
| - Carry out Handing over according to workplace procedure |  |  |
| - Shut down the boiler according to workplace procedures |  |  |
| - Identify the maintenance requirements & report according to workplace reporting procedure |  |  |
| - Shut down the boiler according to workplace procedures |  |  |
| - Clean the boiler is internally and externally according to workplace procedures |  |  |
| - Remove the valves and fittings |  |  |
| - Place the boiler in the appropriate storage mode according to manufacturer's recommendations |  |  |
| - Generate a record report |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: ____________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 5 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Operate a Boiler Control System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Prepare the boiler for operation - Start and monitor boiler operation - Analyze and respond to abnormal performance - Handover the boiler operations - Carry out an operational shutdown - Prepare the boiler for an internal inspection |  |  |  |
| --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  | Yes | No | Remarks |
|  | Identify Health and safety hazards & report to responsible personnel. |  |  |  |
|  | Purge the boiler according to workplace procedure |  |  |  |
|  | Perform pre-operational checks & confirm operational status of boiler and related equipment |  |  |  |
|  | Start the boiler safely as per manufacturer's specifications |  |  |  |
|  | Operate the plant within limits of manufacturer's specifications |  |  |  |
|  | Monitor the Equipment to confirm operating condition |  |  |  |
|  | Test the water quality and adjust as required |  |  |  |
|  | Ensure that the workplace meets housekeeping standards |  |  |  |
|  | Analyze operating data and plant operating conditions to identify causes of abnormal performance |  |  |  |
|  | Take corrective action in response to Hazards |  |  |  |
|  | Implement emergency procedures as required |  |  |  |
|  | Maintain the workplace in accordance with statutory requirements and workplace procedures |  |  |  |
|  | Carry out Handing over according to workplace procedure |  |  |  |
|  | Shut down the boiler according to workplace procedures |  |  |  |
|  | Identify the maintenance requirements & report according to workplace reporting procedure |  |  |  |
|  | Shut down the boiler according to workplace procedures |  |  |  |
|  | Clean the boiler is internally and externally according to workplace procedures |  |  |  |
|  | Remove the valves and fittings |  |  |  |
|  | Place the boiler in the appropriate storage mode according to manufacturer's recommendations |  |  |  |
|  | Generate a record report |  |  |  |
| Competent |  | Not Yet Competent |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 5 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Operate a Boiler Control System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name any two types of boiler control system |  |  |
|  | Define the working principle of boiler |  |  |
|  | What are the operating controls on a boiler |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________