Instruction Sheet for the Candidate

| Qualification | National Vocational Diploma Level 5 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Analyze The Gas Chromatography |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1. Operate Gas chromatograph (GC) by instrument. 2. Characterize Liquid chromatography (LC) instrument |
| Time: 04Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Operate Gas chromatograph (GC) by instrument. - Identify Burner assembly - Identify column and its characteristic parameters. - Understand the mechanism and working principle of Burner assembly. - Identify and understand the working mechanism of carrier gas assembly. - Identify the type of used Detector assembly and read it application parameters and detection mechanism, i.e. Photo multiplier tube (PMT) etc. - Identify Signal processing /conditioning circuits - Identify Data processing and control software parameters and settings. - Perform measurements by Gas spectrograph for various gases and record the data. - Perform measurements by Column type Gas spectrograph for various gaseous and record the data. - Differentiate between the data measured by “Gas Chromatograph” and “column type chromatograph” and write a report. - Compare, analyze and interpret all measured data and comments on the deviation and discrepancies in relation with the reference database stored in the machine. - Construct an output report - Characterize Liquid chromatography instrument - Identify Column assembly (Burner Assembly). - Identify column and it characteristic parameters. - Understand the mechanism and working principle of Column/Burner assembly. - Identify and understand the working mechanism of reference solutions(carrier gas) assembly. - Identify the type of used Detector assembly and read it application parameters and detection mechanism, i.e. Photo multiplier tube (PMT) etc. - Identify Signal processing /conditioning circuits - Identify Data processing and control software parameters and settings. - Identify Data comparison, analysis and interpretation. - Perform measurements (spectrograph) for various Liquid/ gases and record the data. - Compare, analyzed and interpret the data and comments on the deviation and discrepancies in relation with the reference database stored in the machine. - Create an output report |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Diploma Level 5 in Instrumentation Technology |
| Competency Standard | Analyze The Gas Chromatography |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Operate Gas chromatograph (GC) by instrument. - Characterize Liquid chromatography (LC) instrument |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify Burner assembly for Gas Chromatograph (GC) |  |  |
| - Identify GC column and it characteristic parameters. |  |  |
| - Understand the mechanism and working principle of Burner assembly in GC. |  |  |
| - Identify and understand the working mechanism of carrier gas assembly in GC. |  |  |
| - Identify the type of used Detector assembly in GC and read it application parameters and detection mechanism, i.e. Photo multiplier tube (PMT) etc. |  |  |
| - Identify Signal processing /conditioning circuits of GC. |  |  |
| - Identify Data processing and control software parameters and settings in GC Instrument. |  |  |
| - Perform measurements by Gas spectrograph for various gases and record the data. |  |  |
| - Perform measurements by Column type Gas spectrograph for various gases and record the data. |  |  |
| - Differentiate between the data measured by “Gas Chromatograph” and “column type chromatograph” and write a report. |  |  |
| - Compare, analyze and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database stored in the GC machine. |  |  |
| - Construct an output report from GC Instrument Data. |  |  |
| - Identify Column assembly(Burner Assembly) of Liquid Chromatograph (LC). |  |  |
| - Identify LC column and its characteristic parameters. |  |  |
| - Understand the mechanism and working principle of Column assembly in LC. |  |  |
| - Identify and understand the working mechanism of carrier gas assembly. |  |  |
| - Identify the type of used Detector assembly in LC and read it application parameters and detection mechanism, i.e. Photo multiplier tube (PMT) etc. |  |  |
| - Identify Signal processing /conditioning circuits in LC. |  |  |
| - Identify Data processing and control software parameters and settings in LC. |  |  |
| - Identify Data comparison, analysis and interpretation from LC. |  |  |
| - Compare, analyzed and interpret the data and comments on the deviation and discrepancies in relation with the reference database stored in the LC machine. |  |  |
| - Create an output report from LC |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Diploma Level 5 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Analyze The Gas Chromatography |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Operate Gas chromatograph (GC) by instrument. - Characterize Liquid chromatography (LC) instrument |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified Burner assembly for Gas Chromatograph (GC) |  |  |  |  |  |
|  | IdentifiedGC column and it characteristic parameters. |  |  |  |  |  |
|  | Understood the mechanism and working principle of Burner assembly in GC. |  |  |  |  |  |
|  | Identified and understood the working mechanism of carrier gas assembly in GC. |  |  |  |  |  |
|  | Identified the type of used Detector assembly in GC and read it application parameters and detection mechanism, i.e. Photo multiplier tube (PMT) etc. |  |  |  |  |  |
|  | Identified Signal processing /conditioning circuits of GC. |  |  |  |  |  |
|  | Identified Data processing and control software parameters and settings in GC Instrument. |  |  |  |  |  |
|  | Performed measurements by Gas spectrograph for various gases and record the data. |  |  |  |  |  |
|  | Performed measurements by Column type Gas spectrograph for various gases and recorded the data. |  |  |  |  |  |
|  | Differentiated between the data measured by “Gas Chromatograph” and “column type chromatograph” and wrote a report. |  |  |  |  |  |
|  | Compared, analyzed and interpreted the all measured data and comments on the deviation and discrepancies in relation with the reference database stored in the GC machine. |  |  |  |  |  |
|  | Constructed an output report from GC Instrument Data. |  |  |  |  |  |
|  | IdentifiedColumn Assembly (Burner Assembly) of Liquid Chromatograph (LC). |  |  |  |  |  |
|  | IdentifiedLC column and its characteristic parameters. |  |  |  |  |  |
|  | Understood the mechanism and working principle of Column assembly in LC. |  |  |  |  |  |
|  | Identified and understood the working mechanism of carrier gas assembly. |  |  |  |  |  |
|  | Identified the type of used Detector assembly in LC and read it application parameters and detection mechanism, i.e. Photo multiplier tube (PMT) etc. |  |  |  |  |  |
|  | Identified Signal processing /conditioning circuits in LC. |  |  |  |  |  |
|  | Identified Data processing and control software parameters and settings in LC. |  |  |  |  |  |
|  | Identified Data comparison, analysis and interpretation from LC. |  |  |  |  |  |
|  | Compared, analyzed and interpreted the data and comments on the deviation and discrepancies in relation with the reference database stored in the LC machine. |  |  |  |  |  |
|  | Created an output report from LC |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Diploma Level 5 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Analyze The Gas Chromatography |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the basic principle of Gas Chromatography? |  |  |
|  | Differentiate between gas chromatography and liquid chromatography. |  |  |
|  | What are the main characteristics of Column and Flame in Gas Chromatography? |  |  |
|  | Define Liquid Chromatography. |  |  |
|  | What are the main characteristics of Column and reference solution in Liquid Chromatography? |  |  |
|  | What are the sensors and detection mechanism of Gas Chromatography? |  |  |
|  | What are the sensors and detection mechanism of Liquid Chromatography? |  |  |
|  | Interpret and discuss the result of Gas Chromatograph. |  |  |
|  | Interpret and discuss the result of Liquid Chromatograph. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________