Instruction Sheet for the Candidate

| Qualification | National Vocational Diploma Level 5 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Perform The Spectroscopic Characterization |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Operate the Dispersive type Spectrometer in (Visible). - Operate the Interferometer type spectrometer. - Operate the FTIR (Four Transform Infrared) Spectrometer. - Operate the Refractometer. - Analyze the spectra using luminance meter. |
| Time: 04Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Operate the Dispersive type Spectrometer in (Visible) - Identify Optical box containing Prism or grating, lenses and mirrors, detector type, signal conditioning unit, sample compartment and data processing unit. - Setup the spectrometer in visible range and observe the visible beam path. - Identify the sample and or reference compartment. - Locate the dispersed spectra after grating or prism and change it position by moving the mirrors positions or prism or grating rotation degree. - Move back or forth and or up-down in order to change the position of colors on the slit entering the sample or reference compartment. - Observe the beam entering in the sample compartment after passing through the slits and observe the change in colors with rotation changing. Identify column and it characteristic parameters. - Observe the beam exiting from the sample compartment and reaching to the Detector and check the output of the Detector or circuit and record the millivolt. - Prepare or arrange the sample and reference material for the spectrometer. - Measure the reference and data or spectra separately and calculate the results. - Compare, analyzed and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database. - Conclude and write a report. - Operate the Interferometer type spectrometer - Identify Optical box containing Interferometer, lenses and mirrors, detector type, signal conditioning unit, sample compartment and data processing unit. - Setup the spectrometer in visible range and observe the visible beam path. - Locate the output spectra from Interferometer and change it movable mirror position and observe the change in output. - Observe the beam entering in the sample compartment after passing through the slits and observe the change in colors with rotation changing. - Observe the beam exiting from the sample compartment and reaching to the Detector and check the output of the Detector or circuit and record the millivolt. - Prepare or arrange the sample and reference material for the spectrometer. - Measure the reference and data or spectra separately and calculate the processed spectra. - Compare the experimental time, accuracy and resolution of the data with the Dispersive type spectrometer. - Compare, analyzed and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database. - Create output report. - Operate the FTIR (Four Transform Infrared) Spectrometer - Identify Optical box containing Interferometer, lenses and mirrors, detector type, signal conditioning unit, sample compartment and data processing unit. - Locate or arrange infrared detector device and observe it working principle. - Setup the spectrometer in visible range and observe the visible beam path. - Locate the output spectra from Interferometer by using Infrared detecting device and change it movable mirror position and observe the change in output. - Observe the beam entering in the sample compartment after passing through the slits and observe the change in colors with rotation changing. - Observe the beam exiting from the sample compartment and reaching to the Detector and check the output of the Detector or circuit and record the millivolt. - Identify and observer Fourier transformation of the signal or spectra. - Prepare or arrange the sample and reference material for the spectrometer. - Measure the reference and data or spectra separately and calculate the processed spectra. - Compare, analyzed and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database. - Compare the experimental time, accuracy and resolution with the dispersive type infrared spectrometer (if available). - Conclude and write a report. - Operate the Refractometer - Identify Sensor and its type parameters, Input - output blocks, sample compartment, signal processing or conditioning units, processing units. - Locate and observe the beam path (if possible) in relation with the sample compartment and detector circuit. - Prepare or arrange sample (liquid) and reference materials and literature database. - Measure the data or spectra for the various samples and references and calculate the resultant data or spectra. - Compare, analyzed and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database. - Conclude and write a report. - Analyze the spectra using luminance meter - Identify Sensor and its type parameters, Input - output blocks, signal processing or conditioning units, data processing units. - Prepare or arrange sample (bio material) and reference material and their literature’s database. - Measure the data or spectra for the various bio-materials and record the data or spectra. - Compare, analyzed and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database. - Create an output. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Analytical Instruments(Instrumentation Technology Level-5) |
| Competency Standard | Perform The Spectroscopic Characterization |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Operate the Dispersive type Spectrometer in (Visible). - Operate the Interferometer type spectrometer. - Operate the FTIR (Four Transform Infrared) Spectrometer. - Operate the Refractometer. - Analyze the spectra using luminance meter. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify Optical box containing Prism or grating, lenses and mirrors, detector type, signal conditioning unit, sample compartment and data processing unit. |  |  |
| - Setup the spectrometer in visible range and observe the visible beam path. |  |  |
| - Identify the sample and or reference compartment |  |  |
| - Locate the dispersed spectra after grating or prism and change its position by moving the mirrors positions or prism or grating rotation degree. |  |  |
| - Move back or forth and up or down in order to change the position of colors on the slit entering the sample or reference compartment. |  |  |
| - Observe the beam exiting from the sample compartment and reaching to the Detector and check the output of the Detector or circuit and record the millivolt. |  |  |
| - Prepare or arrange the sample and reference material for the spectrometer. |  |  |
| - Measure the reference and data or spectra separately and calculate the results. |  |  |
| - Compare, analyze and interpret all measured data and give comments on the deviation and discrepancies in relation with the reference database.Conclude and write a report. |  |  |
| - Identify Optical box containing Interferometer, lenses and mirrors, detector type, signal conditioning unit, sample compartment and data processing unit. |  |  |
| - Setup the spectrometer in visible range and observe the visible beam path. |  |  |
| - Locate the output spectra from Interferometer and change its movable mirror position and observe the change in output. |  |  |
| - Observe the beam entering in the sample compartment after passing through the slits and observe the change in colors with rotation changing. |  |  |
| - Observe the beam exiting from the sample compartment and reaching to the Detector and checked the output of the Detector or circuit and record the millivolt. |  |  |
| - Prepare or arrange the sample and reference material for the spectrometer. |  |  |
| - Measure the reference and data or spectra separately and calculate the processed spectra. |  |  |
| - Compare the experimental time, accuracy and resolution of the data with the Dispersive type spectrometer. |  |  |
| - Compare, analyze and interpret all measured data and comments on the deviation and discrepancies in relation with the reference database. |  |  |
| - Create output report consisting of all measured data and comments on the deviation and discrepancies in relation with the reference database. |  |  |
| - Locate or arrange infrared detector device and observe its working principle. |  |  |
| - Setup the spectrometer in visible range and observe the visible beam path. |  |  |
| - Identify and observe Fourier transformation of the signal or spectra. |  |  |
| - Prepare or arrange the sample and reference material for the spectrometer. |  |  |
| - Measure the reference and data or spectra separately and calculate the processed spectra. |  |  |
| - Compare, analyze and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database. |  |  |
| - Compare the experimental time, accuracy and resolution with the dispersive type infrared spectrometer (if available). |  |  |
| - Conclude the reference material for the spectrometer and write a report. |  |  |
| - Identify Sensor and its type parameters, Input - output blocks, sample compartment, signal processing or conditioning units, processing units. |  |  |
| - Locate and observe the beam path (if possible) in relation with the sample compartment and detector circuit. |  |  |
| - Prepare or arrange sample (liquid) and reference materials and literature database. |  |  |
| - Measure the data or spectra for the various samples and references and calculate the resultant data or spectra. |  |  |
| - Compare, analyze and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database. |  |  |
| - Compilethe data or spectra for the various samplesand write a report. |  |  |
| - Identify Sensor and its type parameters, Input - output blocks, signal processing or conditioning units, data processing units. |  |  |
| - Prepare or arrange sample (bio material) and reference material and their literature’s database. |  |  |
| - Measure the data or spectra for the various bio-materials and record the data or spectra. |  |  |
| - Compare, analyze and interpretall measured data and comments on the deviation and discrepancies in relation with the reference database. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Analytical Instruments(Instrumentation Technology Level-5) |
| --- | --- |
| Competency Standard | Perform The Spectroscopic Characterization |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - 1. Operate the Dispersive type Spectrometer in (Visible). - Operate the Interferometer type spectrometer. - Operate the FTIR (Four Transform Infrared) Spectrometer. - Operate the Refractometer. - Analyze the spectra using luminance meter. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified Optical box containing Prism or grating, lenses and mirrors, detector type, signal conditioning unit, sample compartment and data processing unit. |  |  |  |  |  |
|  | Setup the spectrometer in visible range and observed the visible beam path. |  |  |  |  |  |
|  | Identified the sample and or reference compartment |  |  |  |  |  |
|  | Located the dispersed spectra after grating or prism and changed it position by moving the mirrors positions or prism or grating rotation degree. |  |  |  |  |  |
|  | Moved back or forth and up or down in order to change the position of colors on the slit entering the sample or reference compartment. |  |  |  |  |  |
|  | Observed the beam exiting from the sample compartment and reaching to the Detector and checked the output of the Detector or circuit and recorded the millivolt. |  |  |  |  |  |
|  | Prepared or arranged the sample and reference material for the spectrometer. |  |  |  |  |  |
|  | Measured the reference and data or spectra separately and calculated the results. |  |  |  |  |  |
|  | Compared, analyzed and interpreted all measured data and gave comments on the deviation and discrepancies in relation with the reference database.Concluded and wrote a report. |  |  |  |  |  |
|  | Identified Optical box containing Interferometer, lenses and mirrors, detector type, signal conditioning unit, sample compartment and data processing unit. |  |  |  |  |  |
|  | Setup the spectrometer in visible range and observed the visible beam path. |  |  |  |  |  |
|  | Located the output spectra from Interferometer and changed its movable mirror position and observed the change in output. |  |  |  |  |  |
|  | Observed the beam entering in the sample compartment after passing through the slits and observed the change in colors with rotation changing. |  |  |  |  |  |
|  | Observed the beam exiting from the sample compartment and reaching to the Detector and checked the output of the Detector or circuit and recorded the millivolt. |  |  |  |  |  |
|  | Prepared or arranged the sample and reference material for the spectrometer. |  |  |  |  |  |
|  | Measured the reference and data or spectra separately and calculated the processed spectra. |  |  |  |  |  |
|  | Compared the experimental time, accuracy and resolution of the data with the Dispersive type spectrometer. |  |  |  |  |  |
|  | Compared, analyzed and interpreted all measured data and comments on the deviation and discrepancies in relation with the reference database. |  |  |  |  |  |
|  | Created output report consisting of all measured data and comments on the deviation and discrepancies in relation with the reference database. |  |  |  |  |  |
|  | Located or arranged infrared detector device and observed its working principle. |  |  |  |  |  |
|  | Setup the spectrometer in visible range and observed the visible beam path. |  |  |  |  |  |
|  | Identified and observed Fourier transformation of the signal or spectra. |  |  |  |  |  |
|  | Prepared or arranged the sample and reference material for the spectrometer. |  |  |  |  |  |
|  | Measured the reference and data or spectra separately and calculated the processed spectra. |  |  |  |  |  |
|  | Compared, analyzed and interpreted the all measured data and comments on the deviation and discrepancies in relation with the reference database. |  |  |  |  |  |
|  | Compared the experimental time, accuracy and resolution with the dispersive type infrared spectrometer (if available). |  |  |  |  |  |
|  | Concluded the reference material for the spectrometer and wrote a report. |  |  |  |  |  |
|  | Identified Sensor and its type parameters, Input - output blocks, sample compartment, signal processing or conditioning units, processing units. |  |  |  |  |  |
|  | Located and observed the beam path (if possible) in relation with the sample compartment and detector circuit. |  |  |  |  |  |
|  | Prepared or arranged sample (liquid) and reference materials and literature database. |  |  |  |  |  |
|  | Measured the data or spectra for the various samples and references and calculated the resultant data or spectra. |  |  |  |  |  |
|  | Compared, analyzed and interpreted the all measured data and comments on the deviation and discrepancies in relation with the reference database. |  |  |  |  |  |
|  | Compiled the data or spectra for the various samples and wrote a report. |  |  |  |  |  |
|  | Identified Sensor and its type parameters, Input - output blocks, signal processing or conditioning units, data processing units. |  |  |  |  |  |
|  | Prepared or arranged sample (bio material) and reference material and their literature’s database. |  |  |  |  |  |
|  | Measured the data or spectra for the various bio-materials and recorded the data or spectra. |  |  |  |  |  |
|  | Compared, analyzed and interpreted all measured data and comments on the deviation and discrepancies in relation with the reference database. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Analytical Instruments(Instrumentation Technology Level-5) |
| --- | --- |
| Competency Standard | Perform The Spectroscopic Characterization |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define basic spectroscopic techniques and its applications. |  |  |
|  | What are the working mechanism and operation of the spectro-photo meter? |  |  |
|  | Define mono-chromatic light. |  |  |
|  | Define laws of spectroscopy (transmittance and observance law). |  |  |
|  | Define Lens and mirror types and their laws. |  |  |
|  | Define the plot of Fourier Transform Signal. |  |  |
|  | Draw a Block diagram dual beam signal. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________