Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | - Apply the AC Fundamentals - Install Different types of Transformers - Install Relays and Switches in various domestic and Industrial circuits - Verify the DC Fundamentals |
| Purpose of Assessment | SummativeAssessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): Task 1 Design the circuit to operate resistive load (bulb) with three phase Supply using phase selector switch. Task 2 Design the circuit to test the transformer out using variance as per given data - Set the variance on 20, 40, 60 VAC and observe the out on transformer. - Identify the type of transformer on the bases of observation. |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Task 1 Design the circuit to operate resistive load (bulb) with three phase Supply using phase selector switch. - Check connection and components. - Check the operation as per instruction. - Observe the output. - Perform the connection as per requirement. - Observe the response of the transformer as per input. - Record the response for identification. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # Principles of Electrical & Electronics (IT-125) # (Instrumentation Technology Level-5) |
| Competency Standard | - Apply the AC Fundamentals - Install Different types of Transformers - Install Relays and Switches in various domestic and Industrial circuits - Verify the DC Fundamentals |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | Task-1 Design the circuit to operate resistive load (bulb) with three phase Supply using phase selector switch. Task 2 Design the circuit to test the transformer out using variance as per given data - Set the variance on 20, 40, 60 VAC and observe the out on transformer - Identify the type of transformer on the bases of observation. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check connection and components. |  |  |
| - Check the operation as per instruction. |  |  |
| - Observe the output. |  |  |
| - Perform the connection as per requirement. |  |  |
| - Observe the response of the transformer as per input. |  |  |
| - Record the response for identification. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | - Apply the AC Fundamentals - Install Different types of Transformers - Install Relays and Switches in various domestic and Industrial circuits - Verify the DC Fundamentals |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Task-1 Design the circuit to operate resistive load (bulb) with three phase Supply using phase selector switch. Task 2 Design the circuit to test the transformer out using variance as per given data - Set the variance on 20, 40, 60 VAC and observe the out on transformer - Identify the type of transformer on the bases of observation. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check connection and components. |  |  |  |  |  |
|  | Check the operation as per instruction. |  |  |  |  |  |
|  | Observe the output. |  |  |  |  |  |
|  | Perform the connection as per requirement. |  |  |  |  |  |
|  | Observe the response of the transformer as per input. |  |  |  |  |  |
|  | Record the response for identification. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # Principles of Electrical & Electronics (IT-125) # (Instrumentation Technology Level-5) |
| --- | --- |
| Competency Standard | - Apply the AC Fundamentals - Install Different types of Transformers - Install Relays and Switches in various domestic and Industrial circuits - Verify the DC Fundamentals |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | In a circuit containing R, L and C, power loss can take place in. |  |  |
|  | The R.M.S value and Mean value is the same in case of . |  |  |
|  | Power factor of electric bulb. |  |  |
|  | Ohm is a unit of. |  |  |
|  | Write R-L-C full form. |  |  |
|  | What is the function of transformer? |  |  |
|  | What is function of step-up transformer |  |  |
|  | Define working principle of transformer |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________