Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Operate the Measuring Instruments |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Perform dismantle and assembleprocedure to the given instrument(e.g. moving iron type instrument) - Perform test and measurement on time based electronic circuit (using standard meters and obtained results with the help of oscilloscope etc.). |
| Time: 04Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Perform dismantle and assemble procedure to the given instrument (e.g. moving iron type instrument). - Classify given instrument type (analog/digital).Check power source needed. - Use standard tools described in user manual and perform isolation of Instruments(if applicable) - Apply disassembling techniques. Also, Identify and tag the parts/components/wires of instruments. - Apply assembling techniques.Perform test run as described in the procedure.Identify the readability of the instrument w.r.t range. - Check for the proper operation/ functionality. Note measuring units/parameters of the device,(if required draw sketches of removable parts -magnet / niddle/scale). - Perform test and measurement on time based electronic circuit (using standard meters and obtained results with the help of oscilloscope etc.). - Check and identifythe component as per the SOPfor the givencircuit, note tolerance accuracy & linearity.Developed required Circuit on test bench, - Check for the proper operation/ functionality, Identify the relevant measuring instrument. Mark few test points for measurement. - Select the relevant measuring instrument as per parameter to be measured. e.g. Ampere meter, Watt meter, Voltage meter, Lux Meter, Energy Meter, Ohm Meter or Megger meter .Connect the measuring instrument according to the prescribed method. Apply the procedure for reading the value on the used instrument. - Operate the Oscilloscope on circuit, use screen resolution Measure the AC/DC signal on oscilloscope from Circuit. Observed circuit input and output through Oscilloscope. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Electrical & Electronic Measuring Instruments(Instrumentation Technology Level-5) |
| Competency Standard | Operate the Measuring Instruments |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | - Perform dismantle and assemble procedure to the given instrument (e.g. moving iron type instrument) - Perform test and measurement on time based electronic circuit (using standard meters and obtained results with the help of oscilloscope etc.). |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Classify given instrument type (analog/digital).Check power source needed. |  |  |
| - Use standard tools described in user manual and perform isolation of Instruments(if applicable) |  |  |
| - Apply disassembling techniques. Also, Identify and tag the parts/components/wires of instruments. |  |  |
| - Apply assembling techniques. Perform test run as described in the procedure. Identify the readability of the instrument w.r.t range. |  |  |
| - Check for the proper operation/ functionality. Note measuring units/parameters of the device,(if required draw sketches of removable parts -magnet / niddle/scale). |  |  |
| - Check and identify the component as per the SOP for the given circuit, note tolerance accuracy & linearity. Developed required Circuit on test bench, |  |  |
| - Check for the proper operation/ functionality, Identify the relevant measuring instrument. Mark few test points for measurement. |  |  |
| - Select the relevant measuring instrument as per parameter to be measured. e.g. Ampere meter, Watt meter, Voltage meter, Lux Meter, Energy Meter, Ohm Meter or Megger meter . Connect the measuring instrument according to the prescribed method. Apply the procedure for reading the value on the used instrument. |  |  |
| - Operate the Oscilloscope on circuit, use screen resolution Measure the AC/DC signal on oscilloscope from Circuit. Observed circuit input and output through Oscilloscope. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Operate the Measuring Instruments |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform dismantle and assemble procedure to the given instrument (e.g. moving iron type instrument) - Perform test and measurement on time based electronic circuit (using standard meters and obtained results with the help of oscilloscope etc.). |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Classified given instrument type (analog/digital).Check power source needed. |  |  |  |  |  |
|  | Used standard tools described in user manual and perform isolation of Instruments(if applicable) |  |  |  |  |  |
|  | Applied disassembling techniques. Also, Identify and tag the parts/components/wires of instruments. |  |  |  |  |  |
|  | Applied assembling techniques. Perform test run as described in the procedure. Identify the readability of the instrument w.r.t range. |  |  |  |  |  |
|  | Classified given instrument type (analog/digital).Check power source needed. |  |  |  |  |  |
|  | Checked and identified the component as per the SOP for the given circuit, note tolerance accuracy & linearity. Developed required Circuit on test bench, |  |  |  |  |  |
|  | Checked for the proper operation/ functionality, Identify the relevant measuring instrument. Mark few test points for measurement. |  |  |  |  |  |
|  | Selected the relevant measuring instrument as per parameter to be measured. e.g. Ampere meter, Watt meter, Voltage meter, Lux Meter, Energy Meter, Ohm Meter or Megger meter . Connect the measuring instrument according to the prescribed method. Apply the procedure for reading the value on the used instrument. |  |  |  |  |  |
|  | Operated the Oscilloscope on circuit, use screen resolution Measure the AC/DC signal on oscilloscope from Circuit. Observed circuit input and output through Oscilloscope. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 3 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Operate the Measuring Instruments |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define absolute and secondary instruments. |  |  |
|  | Define the given (documented) data for specific component. |  |  |
|  | Define the laws of electric circuits. |  |  |
|  | Elaborate reading and measuring techniques for the circuit through oscilloscope/function generator. |  |  |
|  | Describe the use of various meters like ohm meter, ampere meter, lux meter, energy meter, power meter, power factor meter, frequency meter, energy meter etc. |  |  |
|  | Draw Electrical/ electronic symbols |  |  |
|  | Carryout Tagging techniques of connections |  |  |
|  | Elaborate the control knobs of Oscilloscope for electrical /electronic signals. |  |  |
|  | Measure time and amplitude from the Oscilloscope measurement screen. |  |  |
|  | Explain the various parts and components of the instrument. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________