Instruction Sheet for the Candidate

| Qualification | National Vocational Diploma Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | - Calibrate the Measuring Instruments - Service the Measuring Instruments |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Calibrate the given meter (e.g. flow meter, pH meter) - Test given instrument ,diagnose its fault and repair it |
| Time: 04Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Calibrate the given meter (e.g. flow meter, pH meter) - Check the given meter by applying power, check its sensors conditions/state and perform initial calibration - Operate the meter in given range(s) and obtain observation from sensors and plotgraph from data Also, conclude the result from the plotted graph. - Check the instrument/device/equipment physically.Perform the test run on the given instrumentasper SOP.Connect instrument/device/equipment with power source (if applicable). - Perform isolation of instrument/device/equipments (if applicable). Apply disassembling procedures.Tag the wires of instrument/device/equipment. - Diagnose the faultInspect physical condition of instrument/device/equipment ,check for electrical faults check mechanical fault & check any sensor if connected. - Inspect the hardware visually for any damage or unusual orientation.Tag the faulty component - Draw Block Diagram of sensor board & connections - Identify the construction and working of electrical interface Fix the fault in sensor interface.Fix the fault in operator panelFix the fault in power section.Fix the fault in display circuit.Fix the fault in beeperFix the fault in recording unit - Assemble the Instrument through proper assembling procedure for givenInstrument ,Perform test run. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Diploma Level 4 in Instrumentation Technology |
| Competency Standard | - Calibrate the Measuring Instruments - Service the Measuring Instruments |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | - Calibrate the given meter (e.g. flow meter, pH meter) - Test given instrument (Flow meter) ,diagnose its fault and repair it |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Calibrate the given meter (e.g. flow meter, pH meter) |  |  |
| - Check the given meter by applying power, check its sensors conditions/state and perform initial calibration |  |  |
| - Operate the meter in given range(s) and obtain observation from sensors and plotgraph from data Also, conclude the result from the plotted graph. |  |  |
| - Check the instrument/device/equipment physically.Perform the test run on the given instrumentasper SOP.Connect instrument/device/equipment with power source (if applicable). |  |  |
| - Perform isolation of instrument/device/equipments (if applicable). Apply disassembling procedures.Tag the wires of instrument/device/equipment. |  |  |
| - Diagnose the faultInspect physical condition of instrument/device/equipment ,check for electrical faults |  |  |
| - check mechanical fault & check any sensor if connected. |  |  |
| - Inspect the hardware visually for any damage or unusual orientation.Tag the faulty component |  |  |
| - Draw Block Diagram of sensor board & connections |  |  |
| - Identify the construction and working of electrical interface Fix the fault in sensor interface.Fix the fault in operator panelFix the fault in power section.Fix the fault in display circuit.Fix the fault in beeperFix the fault in recording unit |  |  |
| - Assemble the Instrument through proper assembling procedure for givenInstrument ,Perform test run. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: ______________________________

Assessors Judgment Guide

| Qualification | National Vocational Diploma Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | - Calibrate the Measuring Instruments - Service the Measuring Instruments |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Calibrate the given meter (e.g. flow meter, pH meter) - Test given instrument (Flow meter) ,diagnose its fault and repair it |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Calibrate the given meter (e.g. flow meter, pH meter) |  |  |  |  |  |
|  | Check the given meter by applying power, check its sensors conditions/state and perform initial calibration |  |  |  |  |  |
|  | Operate the meter in given range(s) and obtain observation from sensors and plotgraph from data Also, conclude the result from the plotted graph. |  |  |  |  |  |
|  | Check the instrument/device/equipment physically.Perform the test run on the given instrumentasper SOP.Connect instrument/device/equipment with power source (if applicable). |  |  |  |  |  |
|  | Perform isolation of instrument/device/equipments (if applicable). Apply disassembling procedures.Tag the wires of instrument/device/equipment. |  |  |  |  |  |
|  | Diagnose the faultInspect physical condition of instrument/device/equipment ,check for electrical faults |  |  |  |  |  |
|  | check mechanical fault & check any sensor if connected. |  |  |  |  |  |
|  | Inspect the hardware visually for any damage or unusual orientation.Tag the faulty component |  |  |  |  |  |
|  | Draw Block Diagram of sensor board & connections |  |  |  |  |  |
|  | Identify the construction and working of electrical interface Fix the fault in sensor interface.Fix the fault in operator panelFix the fault in power section.Fix the fault in display circuit.Fix the fault in beeperFix the fault in recording unit |  |  |  |  |  |
|  | Assemble the Instrument through proper assembling procedure for givenInstrument ,Perform test run. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Diploma Level 4 in Instrumentation Technology |
| --- | --- |
| Competency Standard | - Calibrate the Measuring Instruments - Service the Measuring Instruments |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is calibration? |  |  |
|  | Why calibration is necessary? |  |  |
|  | What is the application of flow meter? |  |  |
|  | What is the resistance of electrode used in PH meter? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________