National Vocational Certificate Level 1&2 in Instrumentation Technology

(Instrument Operator)

Competency Standards Document

Quality Assessed by:

Mr. Muqeem-ul-Islam

Director General (SS&C NAVTTC HQ, Islamabad)

CONTENTS

| Sr. No | TABLE OF CONTENTS | Pages |
| --- | --- | --- |
| 1. | Introduction | 3 |
| 2. | Purpose of the qualification | 4 |
| 3. | Date of Validation | 4 |
| 4. | Date of Review | 4 |
| 5. | Code of Qualification | 5 |
| 6. | Qualification Development Committee | 6 |
| 7. | Qualification Validation Committee | 7 |
| 8. | Entry Requirements | 7 |
| 9. | Regulations for the Qualification and Schedule of Units | 7 |
| 10. | Packaging of the qualification/Mapping/Common | 8-13 |
| CORE COMPETENCY STANDARDS |  |  |

0714E&A1.  Maintain Occupational Health and Safety	11

0714E&A2.  Adopt Safety Regulations, Labour Protection Laws, Environmental Protection Laws at Workplace	14

0714E&A3.  Verify the DC Fundamentals	21

0714E&A4.  Apply the AC Fundamentals	24

0714E&A5.  Install Relays and Switches in various domestic and Industrial circuits	26

0714E&A6.  Install Different types of Transformers	28

0714E&A7.  Operate Measuring Instruments	30

0714E&A8.  Connect Tubing and Fittings	32

0714E&A9.  Perform Basic Machining Operations	35

0714E&A10. Apply Basic Computer skills to create a variety of Document	37

0714E&A11. Maintain Tools & Equipment	40

0714E&A12.  Make Cable/Wire Joints	42

0714E&A13.  Prepare and Install Distribution Boards	45

0714E&A14.  Carryout Basic Electrical Installation	47

0714E&A15.  Install Simple Electrical Wiring	50

0714E&A16.  Perform Testing of Electrical Wiring	54

0714E&A17. Repair/ Maintenance of Electrical Installations	58

0714E&A18.  Carry Out Electrical Planning and Estimation	62

- INTRODUCTION

Instrumentation Technology is specifically designed for students of Electronics/Electrical and touches upon a variety of fundamental topics. This course will cover a major portion of Instrumentation Technology. This training program will also build upon these general concepts to cover object-oriented Instrumentation terminology.

This specialization (Level 1-5) covers topics ranging from basic Electrical & Electronics Measuring Instrumentation, basic engineering drawing & CAD, Instrumentation drawing, Instrumentation servicing & calibration,  Industrial Instrumentation . You will learn fundamental concepts of Microprocessor applications. We also get practical exposure of Boiler Installation & operation.     By the end of this course, trainee will understand the basics of Instrumentation Technology & able to work in an Industry.

The National Skills Strategy (NSS) aims at achieving a paradigm shift from time-bound   and supply led to competency-based and demand driven training in Pakistan. Competency-based training approach focuses on the demonstration of actual skills required in the workplace/industry. To achieve this strategy, NAVTTC in collaboration with GIZ is involved in the development process of CBT program to ensure competent skilled labor in demand driven vocational trades.

- National Vocational Qualification Framework (NVQF) as designed in consultation with the stakeholders including academia, researchers, industry, chambers and TEVTAs. Its aim is to identify knowledge & skills required for a qualification, determine equivalence, provide guidelines for Recognition of Prior Learning (RPL) and assure quality of training. NVQF designed for the Vertical and horizontal progression for learners, recognition of qualification, meeting with the national and international standards, facilitate conversion of informal training to formal training through RPL, improvement in quality of training and increased options for learners for selecting training programs in different trades. Competency Standards are performance specification that identify the knowledge and competencies an individual need to succeed in the workplace.

2. PURPOSE OF THE QUALIFICATION

The purpose of this qualification is to give the student a thorough understanding and skills of the Instrumentation Technology in three years training program. The Instrumentation technology industry needs skilled labor for meeting the national and international standards. It is therefore important to stress the need for a multidisciplinary approach to meet the challenges within the sector. Upon successful completion of this course the trainee should be able to know:

- Basic principles of Electricity & Electronics

- Installation of process variable measuring Instruments

- Instrumentation servicing & Calibration.

- Interface sensors & Transducer

- Improve the Digital & soft skills  of the trainees

Install & operate Boiler Instrumentation system

- Improve the quality and effectiveness of training and assessment for information technology    industry skilled labour

- Enhance Entrepreneurial skills of the trainee & will be able to start their own Business.

3. DATE OF VALIDATION

These national qualifications have been validated by the Qualification Development Committee (QVC) on 27-29 May, 2019 in Lahore and will remain currency until 28 May 2029.

4. DATE OF REVIEW

These national qualifications shall be reviewed in May, 2022

5. CODE OF QUALIFICATION

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling and analyzing cross-nationally comparable statistics on education and training. ISCED codes for these qualifications are assigned as follows:

| ISCED Classification for “Instrumentation Technology” level 5 (Diploma) |  |
| --- | --- |
| Code | Description |
| 0714E&A(5) | National Vocational Diploma level 5, in “Instrumentation Technology” |
| 0714E&A(4) | National Vocational Certificate level 4, in “Instrumentation Technology” |
| 0714E&A(3) | National Vocational Certificate level 3, in “Instrumentation Technology” |
| 0714E&A(2) | National Vocational Certificate level 2, in “Instrumentation Technology” |
| 0714E&A(1) | National Vocational Certificate level 1, in “Instrumentation Technology” |

6. QUALIFICATION DEVELOPMENT COMMITTEE

The following members participated in the qualifications development workshop 2019 in Karachi

| S. No. | Name & Designation | Organization |
| --- | --- | --- |
|  | Mr. Danish Attiq, Project Manager | Skill Tech International, Karachi |
|  | Engr Bilal Mehmood, Senior Instructor | Skill Tech International, Karachi |
|  | Engr Auragzeb Ansari, Assistant Professor | Usman Institute of Technology, Karachi |
|  | Engr Hassan Ali Rizvi, Assistant Manager | Lucky Cement Limited Karachi |
|  | Mr. Umair, Maintenance Engineer | SAPT, Karachi |
|  | Mr. Babar Sayeed, Chief Instructor | PSTC Karachi |
|  | Mr. Adeel Ahmed, Manager Production | Habib Oil Mills, Karachi |
|  | Mr. Sohail Akhtar, SSO | PCSIR, Karachi |
|  | Mr. Syed Farhan Hamid, Senior Instructor | PSTC Karachi |
|  | Mr. Muhammad Yasir, Assistant Director NAVTTC | NAVTTC, Islamabad |
|  | Mr. Ayub Nasir, DACUM facilitator | FWO |
|  | Dr. Abid Karim, Senior Scientific Officer | PCSIR, Karachi |
|  | Dr. Zeeshan , HOD, electronics | Dawood Engineering University Karachi |

7. QUALIFICATION VALIDATION COMMITTEE

The following members participated in the qualification validation workshop from 27-29 May 2019, in Lahore:

| S.No. | Name & Designation | Organization |
| --- | --- | --- |
|  | Hafiz ur Rehman Associate Professor | KP- TEVTA |
|  | Aijaz Ahmed Zia D&A Engineer | INTECH Process Automation |
|  | Abdur Rehman Research Assistant | PBTE Lahore |
|  | Syed Farhan Hamid Ali Sr.Instructor/Assistant DACUM Facilitator | Pak Swiss Training Centre Karachi |
|  | Pir Bakhush khan HoD/SSO | Centre for Development of Laboratory Equipments Lahore, Lahore Laboratory complex |
|  | Engr. Liaquat Ali Jamroo Director Academics | STEVTA |
|  | Muhammad Arshad Principal | PSTC Lahore |
|  | Muhammad Yasir Assitant Director | NAVTTC HQ |

8. ENTRY REQUIREMENTS

Entry requirements of this qualification is Middle.

9. REGULATIONS FOR THE QUALIFICATION AND SCHEDULE OF UNITS

Not applicable

10. PACKAGING OF QUALIFICATION

The national vocational qualifications are packaged as per following:

| Competency Standards | Occupation | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| Level 2 |  |  |  |  |  |  |  |
| Maintain Occupational Health and Safety | Safety supervisor | Level 2 | Functional | 6 | 21 | 27 | 2.7 |
| Adopt Safety Regulations, Labour Protection Laws, Environmental Protection Laws at Workplace |  | Level 2 | Functional | 9 | 21 | 30 | 3 |
| Develop Professionalism |  | Level 2 | Generic | 6 | 21 | 27 | 2.7 |
| Verify the DC Fundamentals | Jr. Technician | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Apply the AC Fundamentals |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Install Relays & Switches in domestic & industrial applications |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Install different type of transformers |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Operate the Measuring Instruments |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Connect Tubing & Fittings |  | Level 2 | Technical | 6 | 30 | 36 | 3.6 |
| Perform basic machining operations |  | Level 2 | Technical | 6 | 30 | 36 | 3.6 |
| Apply basic computer skills to create a variety of documents | Computer Application | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Maintain Tools & Equipment. | Basic Electrical Wiring (Single Phase) | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Make Cable/Wire Joints |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Prepare and Install Distribution Boards |  | Level 2 | Technical | 6 | 30 | 36 | 3.6 |
| Carryout Basic Electrical Installation |  | Level 2 | Technical | 6 | 30 | 36 | 3.6 |
| Install Simple Electrical Wiring |  | Level 2 | Technical | 6 | 30 | 36 | 3.6 |
| Perform Testing of Electrical Wiring |  | Level 2 | Technical | 6 | 30 | 36 | 3.6 |
| Repair/ Maintenance of Electrical Installations |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Carryout Electrical planning and estimation |  | Level 2 | Technical | 9 | 21 | 30 | 3 |
| Total |  |  |  | 120 | 480 | 600 | 60 |
| Percentage |  |  |  | 20 | 80 |  |  |

11. COMMON COURSES WITH RESPECTIVE LEVELS

LEVEL2

LEVEL3

LEVEL4

LEVEL5

12. MAPPING OF THE QUALIFICATION

# 0714E&A1.  Maintain Occupational Health and Safety

Overview:

After this Competency Standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

| Competency Units | Performance Criteria |
| --- | --- |
| - Ensure personal protective equipment (PPE) | - Arrange personal protective equipment as per requirements - Wear correct personal protective equipment - Store PPE at appropriate place after use. |
| - Maintain First-aid Box | - Ensure availability of first aid box - Check first aid box for requisite emergency - Check expiry of medicines - Perform first aid treatment against electric shocks - Perform first aid treatment/bandages against minor injuries. |
| - Maintain Fire Extinguisher | - Check expiry of fire extinguisher - Operate fire extinguisher - Replace fire extinguisher - Ensure that the fire brigade is at stand by(for major emergency) |
| - Ensure Safeguard of Machines | - Maintain radiator shield - Maintain alternator fan shield - Maintain heat resister material on silencer - Cover main circuit breaker - Lock canopy doors |
| - Adopt company policies and procedures | - Ensure company’s safety policy - Adopt company safety procedure - Advocate worker with company safety policy - Implement Safety sign board as per standard |
| - Attain health & safety training | - Take required health and safety training - Implement work hazardous material information system (WHMIS) - Adopt first aid cardio respiratory, resuscitation and CPR |
| - Prepare for emergencies | - Take emergency response training - Ensure practice of emergency exercises - Check the emergency alarms - Ensure regular practice of gathering the workers in assembly area during the emergency. |
| - Respond to emergencies | - Follow emergency plan - Communicate instructions to co workers - Assess risk and determine course of action - Operate emergency equipment and supplies - Ensure that the ambulance is at stand by(for emergency) |

Knowledge & Understanding

The student must have knowledge regarding:

- Company policies and procedures

- Emergency equipment, supplies and their operation

- Factors affecting Health & Safety in the workplace.

- First-Aid-Box.

- Hazardous chemical control procedures

- Methods of communication during emergency

- Methods of first aid cardio respiratory Procedure

- Methods of treatment against electric shock

- Methods of treatment against minor injuries

- Personal Protective Equipment (PPE)

- Response various types of emergencies

- Safety measures

- Types of emergencies

- Types of Fire Extinguisher

- Types of work site Hazards

- Work permit/no objection certificate(NOC)

Tool and Equipment

| SN | Tools |
| --- | --- |
|  | Emergency Alarm/Bell |
|  | Emergency response Plan |
|  | Fall Protection Plan |
|  | Fire Extinguisher |
|  | First Aid Box |
|  | Hearing protection |
|  | Protection suite |
|  | Respiratory mask |
|  | Safety goggles |
|  | Safety shoes |
|  | Stretcher |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Handle and set Lightening for Current affair program

- Types of hazards that are most likely to cause harm to health and safety

- Health and safety signs and precautions

- Techniques and methods to identify the risks of hazards at workplace

- Safety reporting procedures and documentation

- Describe fire-fighting methods

- Demonstrate use of appropriate Personal Protective Equipment (PPE) for the assigned job

- Demonstrate removal and disposal of PPE.

# 0714E&A2.  Adopt Safety Regulations, Labour Protection Laws, Environmental Protection Laws at Workplace

Overview:

After this Competency Standard, the Trainee will be able to develop skill and competence required to maintain Occupational Safety, Health and Environment at the workplace according to the National and International Protection Agencies Standards and take remedial measures for Personal, Occupational and Environmental Protection. The Trainee will be able to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1: Implement International Safety Standards in your work environment | - Recognize Electrical Safety hazards as per International Electro- Technical Commission (IEC) Standards - Determine Environmental Pollution risk factors as per Protection Agency (EPA) standards - Identify Electrical Safety Hazards as per Institute of Electrical and Electronics Engineers (IEE) standards - Categorize the Electrical Safety Hazards as per Electrical Safety Foundation International(ESFI) standards - Identify Labor Protection Laws as per International Labor Organization(ILO) rules - Identify the steps to minimize the Electrical hazards and Environmental Pollution. - Prepare a report for all the above activity. |
| CU2: Implement National Safety Standards in your work environment | - Identify Factory associated hazard as per Chapter 3 of Factories Act, 1934 - Determine Environmental Pollution factors as per Pakistan Environmental Protection Act, 1997 - Recognize the Labor protection laws as per Labor Protection Policy 2006 - Identify the workplace hazards as per Occupational health and safety (OHS) standards - Identify the steps to minimize the Electrical hazards, Environmental Pollution and Labor Safety - Prepare a report for all the above activity. |
| CU3: Implement International and National Labor Protection Laws | - Identify Labor Protection Laws as per International Labor Organization(ILO) rules - Recognize the Labor protection laws as per Labor Protection Policy 2006 - Identify the Bonded Labor and Child Labor policy. - Determine the leaves policy and compensation policy for the Labor. - Recognize the minimum wage for the Labor - Identify the remedial steps for protection and prosperity of Labor. - Prepare a report for all the above activity. |
| CU4: Implement National and International Environmental protection laws | - Determine Environmental Pollution risk factors as per Protection Agency (EPA) standards - Identify the steps to minimize the Electrical hazards and Environmental Pollution. - Determine Environmental Pollution factors as per Pakistan Environmental Protection Act, 1997 - Identify the requirements for Initial Environmental Examination (IEE) - Identify the requirements for Environmental Impact Assessment (EIA) - Prepare a report for all the above activity. |
| CU5: Prepare for emergencies | - Take emergency response training - Ensure practice of emergency exercises - Ensure the availability of first aid box and fire extinguisher - Check the expiry of medicines and fire extinguishers - Check the emergency alarms - Ensure regular practice of gathering the workers in assembly area during the emergency. |
| CU6: Respond to emergencies | - Follow emergency plan - Communicate instructions to co workers - Assess risk and determine course of action - Operate emergency equipment and supplies - Ensure that the ambulance and fire brigade is at stand by (for major emergency) |
| CU7: Adopt company policies and procedures | - Ensure company’s safety policy - Adopt company safety procedure - Advocate worker with company safety policy - Implement Safety sign board as per standard |

Knowledge & Understanding

The student must have knowledge regarding:

- Company policies and procedures

- Emergency equipment, supplies and their operation

- Factories Act 1934

- Factors affecting Health & Safety in the workplace.

- First-Aid-Box.

- Hazardous chemical control procedures

- IEC/EPA/IEE/ESFI Standards

- Labor Protection Policy 2006

- Methods of communication during emergency

- Methods of first aid cardio respiratory Procedure

- Methods of treatment against electric shock

- Methods of treatment against minor injuries

- Occupational health and safety (OHS) standards

- Pakistan Environmental Protection Act, 1997

- Personal Protective Equipment (PPE)

- Response various types of emergencies

- Safety measures

- Types of emergencies

- Types of work site Hazards

- Understand various safe guards

- Uses of Fire Extinguisher

- Work permit/no objection certificate(NOC

Tool and Equipment

| SN | Tools |
| --- | --- |
|  | Emergency Alarm/Bell |
|  | Emergency response Plan |
|  | Fall Protection Plan |
|  | Fire Extinguisher |
|  | First Aid Box |
|  | Hearing protection |
|  | Protection suite |
|  | Respiratory mask |
|  | Safety goggles |
|  | Safety shoes |
|  | Stretcher |

- Emergency Alarm/Bell

- Protection suite

- Emergency response Plan

- Fall Protection Plan

- Fire Buckets

- Fire Extinguisher

- Hearing protection

- International Safety Standards Manual

- National Safety Standards Manual

- Respiratory mask

- Safety goggles

- Safety shoes

- Stretcher

- WHMIS Handbook

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Handle and set Lightening for Current affair program:

- Types of hazards that are most likely to cause harm to health and safety

- Health and safety precautions

- Health and safety signs and symbols

- Techniques and methods to identify the risks of hazards at workplace

- Dealing with hazards to avoid any accident or injury

- Safety reporting procedures and documentation

- Describe fire-fighting methods

- Demonstrate use of appropriate Personal Protective Equipment (PPE)

0714E&A3- Develop Professionalism

Overview:

This competency standard covers the skills and knowledge required to Demonstrate work ethic, Aware of factors affecting personal health, Resolve problems or disagreements with others, participate in professional development, Work with others, Work independently, Speak and listen effectively, interpret documentation, communicate using signals, and communicate Using electronic equipment.

| Competency Units | Performance Criteria |
| --- | --- |
| - Demonstrate work ethic | P1. Follow principles of work ethics in all situations P2. Adopt professional behavior |
| - Select factors affecting personal health | P1. Follow factors affecting personal health P2. Aware about the situations/conditions that cause stress in professional and personal life |
| - Resolve problems or disagreements with others | - Communicate effectively - Adopt peaceful approach - Regulate cause of problem or disagreement - Resolve issues |
| - Participate in professional development | P1. Assess own knowledge and skills P2. Acquire information about training opportunities P3. Adopt to Learn through various methods, such as on job training, reading, courses and co-workers |
| - Work with others | P1. Work as a team member to achieve common goals P2. Keep mind open. P3. Participate in work place meetings P4. Communicate accurately and clearly P5. Co-ordinate job related activities P6. Cooperate with others |
| - Work independently | P1. Confirm and clarify assignment P2. Take initiative, anticipate and prepare for next steps in job P3. Identify and resolve potential and actual problems P4. Communicate with other site personnel P5. Complete assignment |
| - Speak and listen effectively | P1. Listen carefully to Explain said P2. Confirm understanding, such as repeat instructions P3. Communicate message clearly and accurately to others P4. Exchange information with others, such as supervisor, signaler, general public, inspectors, other operators and trade people |
| - Interpret documentation | P1. Access and maintain documents P2. Provide complete, legible and accurate information in documents P3. Interpret equipment inspection documentation from previous shifts before conducting pre-operational inspection |
| - Communicate with signals | P1. Identify and work with signals P2. Communicate with audible signals, such as back-up alarm, and site emergency horn P3. Communicate with hand signals |
| - Communicate with electronic equipment | P1. Check communication devices to verify operating condition, such as complete radio checks P2. Deliver and receive messages using communication equipment P3. Follow communication protocol |

Knowledge & Understanding

The student must have knowledge regarding:

- Applicable legislation, such as harassment

- Audible and warning signals used on job site

- Conflict resolution techniques.

- Explain Principles of work ethic and expectations.

- Factors/situations/conditions that cause stress in professional and personal life

- Impact of fatigue on job performance.

- Importance of complete, legible, and accurate documentation

- Importance of effective communication

- Own role and responsibilities

- Role and responsibilities of signalers

- Roles of individuals on job site, such as supervisor, inspector, other trades people

- Types of communication equipment used on job site

- Types of documentation required, such as log books, safety reports, maintenance reports, inspection reports, time cards

- Work assignment, location, and working conditions

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Handle and set Lightening for Current affair program Own current mental, emotional, and physical state.

- Working conditions on construction site.

- Effective communication.

- Maintain log books, safety reports, maintenance reports, inspection reports, time cards

- Signalers on job site

- Audible and warning signals used on job site

- Communication equipment used on job site

# 0714E&A3.  Verify the DC Fundamentals

Overview

After this competency standard the student will be able to identify variety of circuits related to DC Fundamentals and their usage in industry.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Verify Ohm’s Law | - Identify the Resistor - Calculate the resistance of available resistor via Color coding chart - Draw the different* circuits with the aid of Resistors. - (Series Circuit, Parallel Circuit, Series-Parallel Circuit) - Interface the resistor with LED for demonstrating the Ohm’s Law. - Install the Voltmeter, Ammeter and Wattmeter in Resistors based circuits for calculations of results and parameters. |
| 2.Implement the variable resistor as a potentiometer and Rheostat | - Identify the Variable Resistor Read the value of Resistor also measure by using Multi-meter. - Connect variable resistor with Multi-meter and check the resistance variation by using viper of Variable Resistor of good condition of variable resistor. - Use variable resistor to control the DC motor voltage level - Connect variable resistor with DC motor for controlling the current level of motor. |
| 3.Use inductors in circuit | - Classify the inductor and its types - Use inductors in series and parallel circuits - Draw LC Circuit for demonstration of LC affects. - Calculate capacitance of capacitor and inductor circuits theoretically and practically. - Use inductance as a damping circuit |
| 4.Use capacitors in electrical circuits | - Classify the capacitors, its types and capacity. - Use Capacitors in series and parallel circuits - Draw RC Circuit for demonstration of ON/OFF Delay and Decayed Timer circuits. - Calculations of capacitor based circuits theoretically and practically. |
| 5.Apply theorems on circuits | - Apply Kirchhoff’s Current Law on circuits for developing the concept effectively. - Apply Kirchhoff’s Voltage Law on circuits for developing the concept effectively. - Apply superposition theorem on circuits for developing the concept effectively. - Apply maximum power transfer theorem on circuits for developing the concept effectively. - Apply thevenin’s theorem on circuits for developing the concept effectively. - Apply Norton’s theorem on circuits for developing the concept effectively - Apply Mesh theorem on circuits for developing the concept effectively. - Star Delta and Delta Star Transformations of circuits. |
| 6.Apply Heat and Light sensors in circuits | - Design an LDR based Dark/Light detector circuit. - Design a thermistor (NTC or PTC) based Heat Sensor circuit. |

Knowledge and understanding:

•	Understand Capacity of resistance and its types

•	Understand Heat and Light sensors and their types

•	Understand Multi-meter & power Supply AC/DC

•	Understand Resistor and its types

•	Understand the capacitor and its types

•	Understand the Color coding chart of Resistor

•	Understand the data manual, Capacitors chart

•	Understand the inductor and its types

•	Understand the KVL, KCL, superposition theorem, maximum power transfer theorem,   thevenin’s theorem, Norton’s theorem, Mesh theorem, star delta and delta star transformations.

•	Understand the procedure for using variable resistor as a potentiometer

•	Understand the procedure for using variable resistor as a Rheostat/variable control

•	Understand the procedures for implementation of theorems on circuits

Tools & Equipment

| SN |  |
| --- | --- |
|  | Chart of Resistors |
|  | Digital Trainer box |
|  | Variable Resistors |
|  | Inductors |
|  | Power supply AC/DC |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Verify Ohm’s law

- Design a Thermistor

# 0714E&A4.  Apply the AC Fundamentals

Overview

After this competency standard the student will be able to identify variety of circuits related to AC Fundamentals and their usage in industry.

| Competency Units | Performance Criteria |
| --- | --- |
| Measure Alternating Current and Voltage | Perform a task on electric board & three phase panel via Multi-meter Identify the AC and DC Voltage. Differentiate the AC and DC Generator practically via suitable task |
| Analyze the AC Circuits | Perform a task with AC loads (resistive, capacitive and inductive). Calculate the AC parameters Perform a task for understanding RLC Series and Parallel circuits with AC source. Demonstrate the resonance in parallel and series circuits & calculate the related parameters. |

Knowledge and understanding

- Understand Alternating Current and Voltage.

- Understand the principle working of AC and DC generator and their applications.

- Understand multi-meter & power Supply.

- Understand the principle parameters of AC Circuits

- Understand multi-meter, sequence tester, megger & power Supply.

- AC/DC Clamp meter

Tools & Equipment

| SN |  |
| --- | --- |
|  | Megger |
|  | Power supply |
|  | Phase sequence tester |
|  | Trainer and Multi-meter |
|  | AC/DC Clamp meter |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Analyze phase sequence

- Measure voltage, current and power using clamp meter

# 0714E&A5.  Install Relays and Switches in various domestic and Industrial circuits

Overview:

After this competency standard the student will be able to identify variety of relays and switches and their usage in industry.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Implement Relays in circuits | Design a circuit which can automate the DC load by using SSR and mechanical Relays. Design a circuit which can automate the DC load and AC load by using Dpdt Relay. |
| 2.Implement switches | Design a circuit which can cutoff the DC load by using Limit switch. Design a circuit which can cutoff the DC load and AC load by using Spdt switch. |

Knowledge and understanding

Knowledge about Relay and its types Understand multi-meter & power Supply Understand Multi-meter & power Supply

Tools & Equipment

| SN |  |
| --- | --- |
|  | Multi-meter |
|  | Power supply |
|  | Relays(SSR AC to AC) |
|  | Relays(SSR AC to DC) |
|  | Digital Trainer |
|  | AC/DC Clamp meter |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Draw circuit diagram of limit switch

- Measure the resistance by Multi meter

# 0714E&A6.  Install Different types of Transformers

Overview

After this competency standard the student will be able to identify variety of transformers and their usage in industry.

| Competency Units | Performance Criteria |
| --- | --- |
| - Use transformer with diode | - Design a circuit which can perform the half wave rectification with the help of diode and transformer. - Design a circuit which can perform the full wave rectification with the help of bridge rectifier and transformer. - Record their waveforms on digital oscilloscope. |
| - Make Star and Delta connection of three phase transformer | - Plan a delta connection on primary side of transformer and star connection on secondary side of transformer - Demonstrate the PMT. - Record waveforms and parameters. |

Knowledge and understanding

- Knowledge about transformer and its types

- Knowledge of oscilloscope

- Knowledge about three phase transformer and its types

- Understand Multi-meter & megger.

Tools & Equipment

| SN |  |
| --- | --- |
|  | Transformers and diodes |
|  | Multimeter |
|  | Power supply |
|  | Digital Oscilloscope |
|  | Megger |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Make step-up transformer

# 0714E&A7.  Operate Measuring Instruments

Overview: This competency standard covers the skills and knowledge related to Calibration in measurement technology and metrology is the comparison of measurement values delivered by a device under test with those of a calibration standard of known accuracy. The term calibration means just the act of comparison, and does not include any subsequent adjustment.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Operate Ampere meter | - Identify ampere meter. - Make a parallel circuit with three different resistors on breadboard and connect with the power supply. - Adjust proper range setting of ampere meter as per load. - Connect ampere meter in series to each resistor to measure the current. - Turn on the supply and note the reading of current against each resistor. |
| - CU2. Operate Volt meter | - Identify volt meter. - Make a series circuit with three different resistors on bread board. - Adjust proper range setting of Volt meter as per load. - Connect volt meter across any resistor in circuit - Turn on the supply and note the reading of voltage drop against each resistor. |
| - CU3. Operate ohm meter. | - Identify Ohm meter. - Adjust proper range of ohm meter as per resistance value. - Disconnect the resistor from the circuit - Connect ohm meter with resistor in series and parallel combination. - Record the reading. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define current and its unit.

- Describe series circuit.

- Enlist the name of various meters

- Describe purpose of ampere meter

- Describe how ampere meter is connected in the circuit.

- Define voltage and its unit.

- Describe parallel circuit.

- Describe purpose of volt meter

- Describe how voltmeter is connected in the circuit.

- Define resistance and its unit

- Describe purpose of ohm meter

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform turn on the supply and note the reading of current/voltage against each resistor.

- Perform to Adjust the scale for measurements.

- Perform probe selection for appropriate measurement.

Tools and Equipment

The tools and equipment required for this competency standard are given below:

| S. No. | Items |
| --- | --- |
|  | Voltmeters |
|  | Ammeter |
|  | Ohmmeters |
|  | Multi meters. |
|  | Resistors of different values. |

# 0714E&A8.  Connect Tubing and Fittings

Overview:

After this competency standard the student will be able to select appropriate device or equipment, Obtain measurements using a range of measuring devices.

| Competency Units | Performance Criteria |
| --- | --- |
| - Measure the parameters using different instruments | - Determine measurement requirements from specifications. - Select appropriate instrument for the measurement - Apply correct measuring techniques as required. - Record the measurements as per requirements. - Generate an output report. |
| - Use the Hand & Power Tools | P1. Select the appropriate hand/power tool. P2. Use hand/power tools to achieve desired outcome P3. Identify the unsafe & faulty tools and forward them for repair P4. Store hand tools safely in appropriate location as per organizational SOPs P5. Perform adjustment/ alignments over a range of Hand/ power tools. P6. Sharpen the hand/power tools using appropriate techniques. |
| - Prepare the tubes for operations | P1. Gather materials, required for the work. P2. Select tools, equipment and testing devices required for operation. P3. Check the workability of tools. P4. Perform calculations for bends and radius. |
| - Attach Fittings to the tubing | P1. Perform following operations to prepare the tube for installation. Cut, flare, swage, bend, braze P2. Attach the tubing as per the circuit diagram. P3. Perform the Test Run on Equipment P4. Check for leakages & rectify where applicable. |

Knowledge and understanding

- Define the Clamping /securing methods

- Define the procedures of Piping, Cutting, Bending, Joining, Soldering and brazing

- Define the solder types

- Define the zeroing techniques measuring  instruments

- Define types of tubes.

- Describe applications of a range of measuring  instruments

- Describe faults and defects in hand and power tools

- Explain applications of different hand and power tools in a general engineering context

- Explain benefits and limits of cutting and shaping metal with auxiliary equipment

- Explain measuring techniques for different parameters.

- Explain Procedures for marking unsafe or faulty tools for repair

- Explain soldering techniques

- Explain steps for tube Cutting, Bending & Joining

- Explain the safe handling and storing a range of measuring  instruments

- Explain the Soldering and brazing equipment, Process & gas types.

Tools & Equipment

| SN |  |
| --- | --- |
|  | Combination squares |
|  | Depth gauge meter etc |
|  | Dial indicators |
|  | Digital Vernier Caliper |
|  | Flaring Tool |
|  | Micrometer |
|  | Protractors |
|  | Set squares |
|  | Soldering & brazing equipment |
|  | Steel rule |
|  | Swaging tools |
|  | Tapes |
|  | Tube benders for different diameter. |
|  | Tube cutter |
|  | Vernier Calliper |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Perform soldering

- Perform the test run on equipment

# 0714E&A9.  Perform Basic Machining Operations

Overview:

After this competency standard the student will be able to prepare material and perform machining operations of drilling, Lathe and Grinding.

| Competency Units | Performance Criteria |
| --- | --- |
| - Prepare material & machine for operations | P1. Sketch & interpret the mechanical drawings P2. Select materials according to the specifications. P3. Mark & center punch the work piece P4. Select the appropriate machine for operation P5. Set speed and feed on the machine. P6. Check the workability of machine and its tools & accessories. P7. Perform a test run on the machine |
| - Operate the Drilling machine | P1. Select the suitable Drill bit for operation P2. Perform drilling operation as per operations manual of machine P3. Perform counter sinking/ counter Boring P4. Perform Reaming operation. P5. Perform post-operative measures on the machine and work piece. |
| - Perform Grinding operations | P1. Select the suitable Grinding wheel for operation P2. Perform Grinding operation as per operations manual of machine P3. Perform operations for checking the surface finish P4. Perform post-operative measures on the machine and work piece. |
| - Operate the Lathe machine | P1. Select the suitable turning/boring tools for operation P2. Perform Turning operation as per operations manual of machine P3. Perform Facing operation as per operations manual of machine P4. Perform Drilling/Boring operation as per operations manual of machine P5. Perform Reaming operation. P5. Perform post-operative measures on the machine and work piece. |

Knowledge and understanding

- Define the work holding devices.

- Describe working principles of Grinding machines

- Explain drawing to mark the work piece

- Explain the drill bits, Speed and feed for different materials

- Explain the need for counter sinking/ counter boring operations

- Explain the need for reaming operations

- Explain the offhand grinding

- Explain the securing techniques of work pieces

- Explain the surface finish, fits and tolerance

- Explain working principles and use of drilling machine

- Explain working principles of Lathe machine for different operations

Tools & Equipment

| SN |  |
| --- | --- |
|  | Bench drilling machine |
|  | Drill bits & Reamers |
|  | Engine Lathe |
|  | Grinding Accessories |
|  | Grinding wheels |
|  | Hand Drilling machine |
|  | Lathe machine ,accessories and tools |
|  | Marking table |
|  | Measuring & marking tools |
|  | Milling Machine and accessories |
|  | Pedestal drilling machine |
|  | Safety gear |
|  | Surface & Cylindrical grinding machines with accessories |
|  | Tool Lathe |
|  | Turning Tools |
|  | Wheel balancing & dressing attachment |
|  | Work holding devices Hand tools |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Operate Lathe Machine

- Operate Drill Machine

# 0714E&A10. Apply Basic Computer skills to create a variety of Document

Overview:

After completing this competency, the student will be able to apply computing fundamentals and concepts & key critical thinking skills and will be hands on experienced in practicing ethical and appropriate behavior required for the responsible use of technology.

| Competency Units | Performance Criteria |
| --- | --- |
| - Determination of computer requirements and assemble procedures | - Classify the hardware components of Computer. - Assemble the motherboard and other peripherals in casing. - Install the computer software for operations of peripherals. |
| - Installation, Testing and inspection of operating system and applications. | - Install the required operating System with Device drivers. - Install and execute test of required Application Software - Install the necessary plug-ins and other software’s and Making the Ghost of Hard Disk and data recovery - Check the appropriate operation and execution of system as per standard and demonstrate the test results for the (system requirements) customer satisfaction. |
| - Apply Input Methods and Execute Basic Computer Operations | - Record the speed, accuracy via utilizing keyboarding techniques. - Use system tools and program interface - Utilize resources to obtain assistance - Implement proper network user I.D and procedures, protocol - Identify the file formats and extensions. - Copy, Paste and send to data from various sources or storage devices - Design a (requirement) paperwork to purchase a computer using hardware and software specifications - Installation of drivers according to system requirement. |
| - Prepare/Construct Documents using Spreadsheet Applications | - Create, design, Format and edit spreadsheets, charts and graphs - Create basic functions/formulas - Manipulate multiple worksheets in a workbook - Apply advanced functions/formulas |
| - Construct (prepare) Documents using power point presentation/ Applications | - Demonstrate oral presentation Using a specified slide number, duration and a selected theme and back ground - Design, create, and deliver a self-running electronic slideshow - Design &create Effective Power Point Presentation using advance features. |
| - Construct (prepare) Documents using Database Applications | - Create and manipulate a database - Modify database using queries - Use import/export features - Construct Business Documents using Presentation Applications - Apply design and layout principles to presentations |
| - Use the Communication Networks | - Integrate input from software applications - Design the Online Classroom Portals - Exercise internet surfing. - Identify copyright principles before accepting - Utilize online productivity tools - Apply the security applications. |

Knowledge and understanding

  - Describe the basic input and out devices and their use.

  - Describe the basics of PDF reports, Web publishing and Ribbon interface.

  - Describe the client-server databases.

  - Describe the facts of internet applications and usages of online communication.

  - Explain the basic hardware configuration required for operating software.

  - Explain the basics of creating documents in Spreadsheet in Excel, word and PDF Applications.

  - Explain the concepts of public domain, copy protection, licensing etc.

  - Explain the database import/export to other Office apps.

  - Explain the safe internet browsing.

  - Understand computer requirements.

  - Understand the installation and configuration procedures of computer hardware and operating system

  - Understand the uses and functions/formulas, charts and graphs

  - Understand, creating the PowerPoint presentations, Formatting and editing, adding, subtracting slide text etc.

Tools & Equipment

| SN |  |
| --- | --- |
| 1 | Videos/ Demos |
| 2 | Computer Accessories |
| 3 | Presentations |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Generate Spreadsheet

- Prepare presentation on Power point

- Perform Internet Browsing

# 0714E&A11. Maintain Tools & Equipment

Overview: This competency standard covers the skills and knowledge related to arrange tools/equipment, maintain tool box, insulate tools/equipment, calibrate measuring tools and manage proper inventory of used/unused tools/equipment. Trainee will be expected to follow the procedures to maintain the tools/equipment.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Arrange Tools and Equipment | - Identify tools and equipment - Interpret job card - Prepare list of tools and equipment as per requirement - Collect tools and equipment from store |
| - CU2. Maintain Tool Box | - Check physical conditions of tools and equipment before use - Perform preventive maintenance as per standards - Perform corrective maintenance of tools as per requirements - Clean tools and equipment after use - Place tools and equipment at appropriate place |
| - CU3. Insulate Tools and Equipment | - Select insulated tools and equipment - Adopt insulated tools and equipment as per standards |
| - CU4. Calibrate measuring tools | - Check calibration status of the measuring tools - Perform calibration of measuring tools as per standards - Record calibration test results |
| - CU5. Manage Inventory of tools and equipment | - Check tools and equipment as per record - Report for faulty tools and equipment to supervisor - Generate demand for deficit tools and equipment - Maintain all records of tools and Equipment |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain Various tools and equipment and their functions

- Define Job card/work order

- Arrangement of tools/equipment as per job is required

- Differentiate between corrective and preventive maintenance

- Arrange tools and equipment in tool box

- Storage methods of tools and equipment

- Insulation procedure

- Types of insulation

- Methods of insulated tools and equipment.

- Types of calibration

- Methods of equipment calibration

- Methods of tools and equipment inventory

- Report writing of faulty tools and equipment

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Describe functions of various tools and equipment

- Define job card

- Perform storage of tools and equipment at appropriate

- Describe Types of insulation

- Use of insulated tools and equipment

- Describe method of equipment calibration

- Perform Report writing

Tools and Equipment

The tools and equipment required for this competency standard are given below:

| S. No. | Items |
| --- | --- |
|  | Cables |
|  | Wires. |
|  | Wire stripper. |
|  | Solder wire. |
|  | Soldering paste |
|  | Plier. |
|  | Nose plier. |
|  | Insulation remover. |
|  | Solder. |

# 0714E&A12.  Make Cable/Wire Joints

Overview: This competency standard covers the skills and knowledge related to make joints of cable during wiring and breakage of wires, Make Cross/Twist joint, Make Straight/Married joint, Make T- Joint, Make Rat tail joint, Make Britannia joint.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Make Cross/Twist joint | - Select the cable. - Strip the wire according to 50mm. - Twist the conductors. - Solder the conductor - Insulate the joint |
| - CU2. Make Straight/Married joint | - Select the cable. - Strip wire to 75mm according to joint requirement. - Intermingle the conductors to 60mm into each other. - Twist 60mm conductors leaving behind 15mm of each cable. - Solder the conductor. - Insulate the joint. |
| - CU3. Make T-Joint | - Select the cable - Remove the insulation of cable 1 to 50mm from where a connection is required - Separate conductors of cable 1 equally - Take another 12 mm stripped wire 2 - Insert between two equally half conductors of cable 1 and twist. Half conductors clockwise and half anti-clock wise of cable 2 - Solder the joint |
| - CU4. Make Rat tail joint | - Select the single conductor wires - Strip both the wires to 5mm - Twist the conductor - Insulate the joint - Solder the joint |
| - CU5. Make Britannia joint | - Select the cable. - Strip both cables to 75mm. - Bend the tips of both cable right angle about to 6mm. - Hold the two cables overlap 50mm with tips in opposite direction. - Take another bare conductor of 1mm and wrap around in both directions to 6mm. - Solder the joint. - Insulate the joint. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define conductor.

- Differentiate between cable and wire.

- Describe the type of soldering.

- Differentiate between stripping and insulation removing.

- Describe the type of joints.

- Describe the procedure of jointing & soldering.

- Explain the composition of solder and soldering flux

- Define Britannia joint

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform Striping of cables.

- Perform Twisting of cable.

- Perform Soldering of joints

Tools and Equipment

The tools and equipment required for this competency standard are given below:

| S. No. | Items |
| --- | --- |
|  | Cables |
|  | Wires. |
|  | Wire stripper. |
|  | Solder wire. |
|  | Soldering paste |
|  | Plier. |
|  | Nose plier. |
|  | Insulation remover. |
|  | Solder. |

# 0714E&A13.  Prepare and Install Distribution Boards

Overview: This competency standard covers the skills and knowledge required to prepare and install distribution board according to provide protection and load division to wiring, prepare estimate for wiring material, Prepare Distribution Board, Install Distribution Board and wiring.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Prepare estimate for wiring material. | - Develop Basic Drawing - Perform Estimation of Materials - Calculate Labour Cost |
| - CU2. Prepare Distribution Board | - Select Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases - Select Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity - Select outgoing Miniature Circuit Breaker (MCB) according to load - Provide space for future MCB - Select Voltmeter, ampere meter and indicator according to load and phases - Select wire according to load and for wiring in Distribution Board (DB) - Make neutral common for all load - Connect accessories according to the circuit diagram |
| - CU3. Install Distribution Board and wiring | - Fix the distribution board - Take wire from DB to load without joint - Distribute load equally on all phases |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define distribution board.

- Describe D.B. w.r.t. size, current rating, voltage, No. of C.Bs and phases etc.

- Define sensitivity of RCCB.

- Define MCB.

- Differentiate fuse and breaker.

- Define wiring accessories

- State purpose of each accessory.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Use accurate Miniature Circuit Breaker (MCB) for load.

- Make a common neutral.

- Identify parts of distribution board.

- Develop Bill of Quantity (BOQ).

Tools and Equipment

The tools and equipment required for this competency standard are given below:

| S. No. | Items |
| --- | --- |
|  | Cables |
|  | Wires. |
|  | Wire stripper. |
|  | Solder wire. |
|  | Soldering paste |
|  | Plier |
|  | Nose plier. |
|  | Insulation remover. |
|  | Solder. |
|  | MCB |
|  | MCCB |
|  | RCD |
|  | ELCB |
|  | DB |
|  | Socket and switches |

# 0714E&A14.  Carryout Basic Electrical Installation

Overview: This competency standard covers the skills and knowledge required to lay cables, perform single & three phase connections, basic electric wiring and wiring test for carrying out basic electrical Air Condition (AC) installation. The trainee will be required to follow company guidelines as well as the procedure for carrying out basic electrical AC installation.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Lay Cables | - Interpret electrical drawing / document - Identify cables - Lay cables - Perform earthling |
| - CU2. Perform single-phase Connection | - Select cable gauge - Select cables colours - Connect cables - Insulate Joints |
| - CU3. Perform three phase Connection | - Select cable Gauge - Select cables colours - Connect cables - Insulate Joints |
| - CU4. Perform Basic Electrical wiring | - Measure cables as per requirement - Connect cables - Perform joints - Insulate Joints |
| - CU5. Conduct wiring Test | - Operate multi-meter for voltage and current - Perform continuity test - Perform polarity test - Perform earthling test - Perform insulation test - Record test results |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain Types of cables

- Explain Gauges of cables

- Define single phase connection

- Describe Types of joints

- Define conductor and insulator

- Define three phase connection

- Describe cable gauging

- Describe color code of cables / phase sequence.

- Define Methods of Wiring

- Describe Types of wiring

- Describe Types of connections

- Describe Types of wiring tests

- Describe various wiring test

- Describe Color of cables

- Distinguish between different    wiring systems

- Describe necessary materials required for each type of wiring.

- Explain the uses of each type of wiring.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform Single phase connection

- Perform Three phase connection

- Identify Color code of cables / Phase sequence

- Identify Cable gauging

- Identify Types of wiring

- Identify Types of connections

Tools and Equipment

The tools and equipment required for this competency standard are given below:

| S. No. | Items |
| --- | --- |
|  | Cables |
|  | Solder |
|  | Wire stripper |
|  | Plier |
|  | Wires |
|  | Nose plier |
|  | Solder wire |
|  | Soldering paste |
|  | Insulation remover |

# 0714E&A15.  Install Simple Electrical Wiring

Overview: This competency standard covers the skills and knowledge required to make single pole switch circuit, make single pole switch socket circuit, make two-way switch circuit, make series/test lamp circuit. Make intermediate switch circuit. Make of Tunnel circuit, Make of impulse switch circuit.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Make single pole switch circuit. | - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply |
| - CU2. Make single pole switch socket circuit. | - Draw wiring diagram of single pole switch socket circuit. - Draw Current path diagram of single pole switch socket circuit. - Draw layout diagram of single pole switch socket circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply |
| - CU3. Make two-way switch circuit. | - Draw wiring diagram of two-way switch circuit. - Draw Current path diagram of two-way switch circuit. - Draw layout diagram of two-way switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply |
| - CU4. Make series/test lamp circuit. | - Draw wiring diagram of series circuit. - Draw Current path diagram of series circuit. - Draw layout diagram of series circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply |
| - CU5. Make intermediate switch circuit. | - Draw wiring diagram of intermediate switch circuit. - Draw Current path diagram of intermediate switch circuit. - Draw layout diagram of intermediate switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply |
| - CU6. Make of Tunnel circuit | - Draw wiring diagram of tunnel circuit. - Draw Current path diagram of tunnel circuit. - Draw layout diagram of tunnel circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply |
| - CU7. Make impulse switch circuit. | - Draw wiring diagram of impulse switch circuit. - Draw Current path diagram of impulse switch circuit. - Draw layout diagram of impulse switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define single pole switch.

- Explain single pole switch circuit and its use.

- Define current, voltage, power and resistance.

- Describe two-way circuit.

- Define two-way switch

- Define single pole switch.

- Explain impulse switch circuit and its use.

- Describe socket.

- Define series circuit.

- Define parallel circuit.

- Define impulse switch.

- Define push button.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform intermediate switch circuit connections.

- Perform single pole switch circuit connections.

- Define current, voltage, power and resistance.

- Explain impulse switch circuit and its use.

Tools and Equipment

The tools and equipment required for this competency standard are given below:

| S. No. | Items |
| --- | --- |
|  | Electrician Tool kit. |
|  | PVC Pipe/Duct. |
|  | PVC clamp. |
|  | Wooden/PVC board. |
|  | PVC wire according to load |
|  | Circuit Breaker. |
|  | Screw |
|  | Single pole switch. |
|  | Lamp holder |
|  | Lamp |
|  | AVO meter. |
|  | Test Indicator |

# 0714E&A16.  Perform Testing of Electrical Wiring

Overview: This competency standard covers the skills and knowledge required to Perform Earth leakage Test, Perform Open Circuit Test, Perform Short Circuit Test, Perform Continuity/Loop Test, Perform Visual Test, Perform Insulation Test, Perform Polarity Test, Perform Earth Resistance Test, Perform Murray Loop Test, and Perform BLAVIER & Earth Loop Test.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Perform Earth leakage Test. | - Ensure the socket must be at least 13A for RCD plug in. - Adjust the sensitivity of RCD. - Ensure tripping time must not exceed than 200msec. - Plug the RCD in socket and switch on socket outlet. - Ensure P-N and P-E light up. - Press the test button. - Ensure that RCD will trip and reading must be shown less than 200msec. - Move the selection switch to 180o. - Press the test button. - Ensure that RCD will trip and reading must be shown less than 200msec. - Move selection switch to 00. - Press the test button. - Ensure that RCD will trip and reading must be shown less than 200msec. |
| - CU2. Perform Open Circuit Test | - Disconnect the supply source, neutral conductor and earth conductor from distribution fuse box. - Connect ohmmeter between starting and ending terminals of live conductor. - Ensure the reading must be near to 0 ohm. - Repeat P2 to P3 for neutral and earth conductor. |
| - CU3. Perform Short Circuit Test | - Disconnect the supply source, neutral conductor and earth conductor from distribution fuse box. - Connect one terminal of ohmmeter with live conductor. - Connect the other terminals of ohmmeter with neutral conductor. - Ensure the reading must be infinity (No reading). - Connect ohmmeter between live conductor and earth conductor. - Ensure the reading must be infinity (No reading) |
| - CU4. Perform Continuity/Loop Test | - Connect all metal clad switches, metal parts, conduits with earth. - Open the main switch. - Turn on all the switches. - Connect earth continuity tester with conduit and independent earth. - Measure the resistance value with tester which must not be more than 1 ohm. |
| - CU5. Perform Visual Test | - Check the wires joints. - Check if there is any spark. - Check over heating of wires. - Check all the appliances are on or fluctuating. - Check all indications of meters. - Check Voltages on all phases. - Check the DB and Breakers. - Check the main supply is coming properly. |
| - CU6. Perform Insulation Test | - Switch off the main breaker. - Short circuit all lighting connections. - Connect merger between line and earth. - Rotate the merger to generate the voltage. - Read the merger dial and ensure that the insulation resistance should not be less than 50M ohm of any single circuit. |
| - CU7. Perform Polarity Test | - Switch off the main switch. - Disconnect all loads. - Switch on all circuit control switches. - Connect ohm meter between main line and all the terminal of sockets and load points one by one. - Ensure meter reading value must be less than 1 ohm. |
| - CU8. Perform Earth Resistance Test | - Place 3 electrodes in earth at distance of 10m apart between every electrode. - Connect terminal E of earth resistance tester to first electrode. - Connect terminal P of earth resistance tester to the second electrode. - Connect terminal C of the earth resistance tester with third electrode. - Measure the resistances after applying specific voltage. - Repeat P1 to P5 by interacting earthling regions. - Ensure 3 readings must be equal. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define RCD

- Define sensitivity

- Explain P-E and P-N

- Explain the function of RCD.

- Explain the function of distribution box.

- Explain the function of fuse.

- Explain which meters are used for open circuit and short circuits test.

- Explain the purpose of continuity test.

- Explain the purpose of polarity test.

- Explain the purpose of insulation resistance test.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform Earth leakage Test, Open Circuit Test, Short Circuit Test, Continuity/Loop Test,

- Perform Visual Test, Perform Insulation Test, Perform Polarity Test,

- Perform Earth Resistance Test, Perform Murray Loop Test,

- Perform BLAVIER & Earth Loop Test

Tools and Equipment

The tools and equipment required for this competency standard are given below:

| S. No. | Items |
| --- | --- |
|  | Sockets |
|  | RCD |
|  | Loads |
|  | Supply source |
|  | Distribution Box |
|  | Ohmmeter |
|  | Earth resistance tester |
|  | Continuity |
|  | Tester. |
|  | Breakers |

# 0714E&A17. Repair/ Maintenance of Electrical Installations

Overview: This competency standard covers the skills and knowledge required to Analyse Fault in Electrical Installations, troubleshooting of electrical equipment’s and Carry out Preventive Maintenance. Carry out repair and maintenance of electrical installations at workplace in accordance with the manufacturer’s instructions and organizational requirements.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Analyze Fault in Electrical Installations & Troubleshooting of electrical equipment’s | - Inspect visually the electrical wiring, fixtures, equipment, soldering, connection, appliances and machinery for discovering the faults and defects - Check the installation for consistency with the electrical drawing - Draw the layout of equipment’s before disassembling of electrical components - Check the faulty components with scope or meter - Re assembled the components as per drawing and the installation - Check the fault indication at relay for HT installation - Test electrical equipment as specified in the manufacturer’s manual and record the results - Prepare a list of items/material(s) required for repair /replacement as per specifications - Draw circuit diagram of electrical equipment be disassembling - Make necessary adjustments in the control and protective switchgear - Replace defective control & protective switch gear, cables and accessories with standard items - Replace defective earth electrode & faulty/damaged earthling conductors - Test installed electrical equipment for safe and optimum performance according to standards & regulations - Record the results of the test performed on a standard format |
| - CU2. Carry out Preventive Maintenance | - Perform Preventive maintenance as specified by the manufacturers or SOP - Check out the equipment logging sheet and updates logging - Update Maintenance/service records as per requirement |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Interpretation of layout diagrams, technical sketches, graphic symbols and wiring diagrams, and manufacturer’s specifications etc.

- Describe types of electrical tools used for troubleshooting and preventive maintenance purposes

- Describe types of electrical measuring

- Describe instruments used in testing electrical installations

- Describe types of electrical wiring systems for domestic& industrial purposes

- Describe methods of tracing the fault

- Describe types of electrical control and protective switchgear and accessories used in electrical circuits

- Describe types and principles of operation of circuit breakers used in electrical installations and their applications

- Describe types of electrical wires and cables and their ratings

- Describe types of electrical accessories and their application on electrical installations

- Describe types of earthling systems used in domestic& industrial electrical installations

- Describe Importance of testing electrical installations Importance of corrective & preventive maintenance

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform fault identification and take corrective action

- Carry out the preventive maintenance

- Perform service/repair record keeping

Tools and Equipment

The tools and equipment required for this competency standard are given below:

| S. No. | Items |
| --- | --- |
|  | Specific Gravity Chart |
|  | Splicing Machine |
|  | Spring tension checking meter |
|  | Tachometer |
|  | Soldering Lead |
|  | Soldering Iron |
|  | Set of Screw Drivers |
|  | Set of Nose Pliers |
|  | Safety Shoes |
|  | Ring Spanner Set |
|  | RPM Meter |
|  | Safety Helm |
|  | Safety Goggles |
|  | Safety Belt |
|  | IR Temperature Gun |
|  | Mini Hydraulic Press Machine |
|  | OTDR Mete |
|  | Multimeter |
|  | Overall Combination |
|  | Phase Sequence Meter |
|  | Philips Screw drivers Set |
|  | L Scale |
|  | Lux Meter |
|  | Lugs Punching Machine (Hydraulic and Manual) |
|  | Medgar (Insulation Tester) |
|  | Micron Meter |
|  | Magnetic Conductor |
|  | Ammeter |
|  | Hydrometer |
|  | Hole saw |
|  | Handsaw |
|  | Hammer |
|  | Hacksaw |
|  | Grinder |
|  | Battery Charger |
|  | Gloves |
|  | Generator |
|  | Flux |
|  | Filler gauge |
|  | Files (set) |
|  | Earth Tester |
|  | Battery Cleaning Ki |
|  | Duct Rod |
|  | Disk Grinder |
|  | Combination Plier Set |
|  | Clamp Meter |
|  | Circuit Boards |
|  | Bearing Puller |
|  | Bench Vice |
|  | Chisel |
|  | Cells tester |
|  | Cable Knife |
|  | Cable / Wire Gauge |

# 0714E&A18.  Carry Out Electrical Planning and Estimation

Overview: This competency standard covers the skills and knowledge required to analyse customer requirement and specification, Plan and estimate domestic electric work, Plan and estimate commercial   electric work and Plan and estimate industrial electric work.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Analyze customer requirement and specification | - Draw the general value chain of the end user. - Highlight the various stages and set of activities in the value chain drawing - Enlist the electrical appliances/materials required in electrical development process - Identify critical stages in the development - Identify the safety aspect required in the critical stages of the development - Enlist the possible energy efficient appliance/devices and global trends in electrical works - Analyse the client requirement at broad level. - Generate a report of various stages of electrical works. - Proposed appliance/materials as per global trends and clarify the technical specification. |
| - CU2. Plan and estimate domestic electric work | - Plan the client requirement at broad level from the proposal. - Plan the electrical appliances/materials / used in different stages of the electrical development process - Plan and estimate electrical wiring - Estimate Installation and Material Cost - Estimate Power consumption for lighting and appliances - Plan a main and sub distribution board. - Ensure safety system. |
| - CU3. Plan and estimate commercial electric work. | - Analyse the client requirement at broad level from the proposal. - Plan the electrical equipment /appliances/materials / used in different stages of the commercial electrical work - Plan and estimate electrical wiring - Estimate Installation and Material Cost - Estimate Power consumption for centralize lighting, heating, cooling system and other appliances. - Plan a main and sub distribution board. - Ensure safety measures in development process. - Enlist the material required. |
| - CU4. Plan and estimate industrial electric work. | - Analyse the client requirement at broad level from the proposal. - Plan the electrical equipment /appliances/materials / used in different stages of the commercial electrical work - Plan and estimate electrical wiring - Estimate Installation and Material Cost - Estimate Power consumption for centralize lighting, heating, cooling system and other appliances. - Plan 3-phase line for heavy loads - Plan a separate control panel box for heavy machinery. - Plan a main and sub distribution board. - Design a safety system for protection of machinery and labour. - Assign colour scheme for safety measures |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define the term ‘value chain’ of industry.

- Define human machine interface (HMI)

- Define the Standard operating procedure (SOP) of the organization for control panel development process.

- Describe how to prepare a General arrangement drawing

- Define IEC standards

- Describes the standard of electrical components.

- Describes equipment properties.

- Describe the rules and regulation of work.

- Define Electrical Specifications component used.

- Describes the input and output of tool of electronic.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Analyze customer requirement and specification

- Perform planning and estimation of domestic/commercial and industrial electric work.

Tools and Equipment

The tools and equipment required for this competency standard are given below:

| S. No. | Items |
| --- | --- |
|  | Reference Material |
|  | Clipboard |
|  | Calculation Sheet |
|  | Calculator |
|  | Psychometric Charts and Tables |
|  | Protective gear such as helmets, goggles, gloves, rubber shoes, etc. |