National Vocational Certificate Level 4 in Instrumentation Technology

(Instrumentation Technician)

Quality Assessed by:

Mr. Muqeem-ul-Islam

Director General (SS&C NAVTTC HQ, Islamabad)

CONTENTS

| Sr. No | TABLE OF CONTENTS | Pages |
| --- | --- | --- |
| 1. | Introduction | 4 |
| 2. | Purpose of the qualification | 4 |
| 3. | Date of Validation | 5 |
| 4. | Date of Review | 5 |
| 5. | Code of Qualification | 5 |
| 6. | Qualification Development Committee | 6 |
| 7. | Qualification Validation Committee | 7 |
| 8. | Entry Requirements | 7 |
| 9. | Regulations for the Qualification and Schedule of Units | 7 |
| 10. | Packaging of the qualification/Mapping/Common | 8-13 |
| CORE COMPETENCY STANDARDS |  |  |

Principles of Electrical & Electronics	11

0714E&A3.  Verify the DC Fundamentals	11

0714E&A4.  Apply the AC Fundamentals	13

Soft Skills:	14

0714E&A54.	Develop workplace policy and procedures for sustainability	14

0714E&A55.	Maintain Professionalism in the Workplace	16

0714E&A56.	Manage personal work priorities and professional development	18

0714E&A57.	Manage workforce planning	19

0714E&A58.	Undertake project work	21

0714E&A59.	Prepare and implement negotiation	23

0714E&A60.	Manage Meetings.	26

0714E&A61.	Organize schedules	28

0714E&A62.	Identify and communicate trends in career development	29

0714E&A63.	Apply Specialist Interpersonal and Counselling Interview Skills	33

Instrumentation Drawing	37

0714E&A69- Use Engineering drawing techniques to produce Instrumentation Drawings	37

Instruments Servicing & Calibration (IT-353)	40

0714E&A70- Calibrate the Measuring Instruments	40

Semiconductor devices & Electronic Circuits	42

0714E&A73- Characterize Diodes Application	42

0714E&A74- Characterize Various FET Amplifiers.	45

0714E&A75- Characterize BJT Amplifiers.	47

0714E&A76- Characterize various Oscillators.	51

0714E&A77- Design an Operation Amplifier.	53

Analytical Instruments	55

0714E&A78- Measure Temperature and Humidity:	55

0714E&A79- Measure the Density & Power of Hydrogen ion (pH)	57

0714E&A80- Measure the concentration of Environmental Gases	59

- INTRODUCTION

Instrumentation Technology is specifically designed for students of Electronics/Electrical and touches upon a variety of fundamental topics. This course will cover a major portion of Instrumentation Technology. This training program will also build upon these general concepts to cover object-oriented Instrumentation terminology.

This specialization (Level 1-5) covers topics ranging from basic Electrical & Electronics Measuring Instrumentation, basic engineering drawing & CAD, Instrumentation drawing, Instrumentation servicing & calibration,  Industrial Instrumentation . You will learn fundamental concepts of Microprocessor applications. We also get practical exposure of Boiler Installation & operation.     By the end of this course, trainee will understand the basics of Instrumentation Technology & able to work in an Industry.

The National Skills Strategy (NSS) aims at achieving a paradigm shift from time-bound   and supply led to competency-based and demand driven training in Pakistan. Competency-based training approach focuses on the demonstration of actual skills required in the workplace/industry. To achieve this strategy, NAVTTC in collaboration with GIZ is involved in the development process of CBT program to ensure competent skilled labor in demand driven vocational trades.

- National Vocational Qualification Framework (NVQF) as designed in consultation with the stakeholders including academia, researchers, industry, chambers and TEVTAs. Its aim is to identify knowledge & skills required for a qualification, determine equivalence, provide guidelines for Recognition of Prior Learning (RPL) and assure quality of training. NVQF designed for the Vertical and horizontal progression for learners, recognition of qualification, meeting with the national and international standards, facilitate conversion of informal training to formal training through RPL, improvement in quality of training and increased options for learners for selecting training programs in different trades. Competency Standards are performance specification that identify the knowledge and competencies an individual need to succeed in the workplace.

2. PURPOSE OF THE QUALIFICATION

The purpose of this qualification is to give the student a thorough understanding and skills of the Instrumentation Technology in three years training program. The Instrumentation technology industry needs skilled labour for meeting the national and international standards. It is therefore important to stress the need for a multidisciplinary approach to meet the challenges within the sector. Upon successful completion of this course the trainee should be able to know:

- Basic principles of Electricity & Electronics

- Installation of process variable measuring Instruments

- Instrumentation servicing & Calibration.

- Interface sensors & Transducer

- Improve the Digital & soft skills  of the trainees

Install & operate Boiler Instrumentation system

- Improve the quality and effectiveness of training and assessment for information technology    industry skilled labour

- Enhance Entrepreneurial skills of the trainee & will be able to start their own Business.

3. DATE OF VALIDATION

These national qualifications have been validated by the Qualification Development Committee (QVC) on 27-29 May, 2019 in Lahore and will remain currency until 28 May 2029.

4. DATE OF REVIEW

These national qualifications shall be reviewed in May, 2022

5. CODE OF QUALIFICATION

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling and analyzing cross-nationally comparable statistics on education and training. ISCED codes for these qualifications are assigned as follows:

| ISCED Classification for “Instrumentation Technology” level 5 (Diploma) |  |
| --- | --- |
| Code | Description |
| 0714E&A(5) | National Vocational Certificate level 5, in “Instrumentation Technology” |
| 0714E&A(4) | National Vocational Certificate level 4, in “Instrumentation Technology” |
| 0714E&A(3) | National Vocational Certificate level 3, in “Instrumentation Technology” |
| 0714E&A(2) | National Vocational Certificate level 2, in “Instrumentation Technology” |
| 0714E&A(1) | National Vocational Certificate level 1, in “Instrumentation Technology” |

6. QUALIFICATION DEVELOPMENT COMMITTEE

The following members participated in the qualifications development workshop 2019 in Karachi

| S. No. | Name & Designation | Organization |
| --- | --- | --- |
|  | Mr. Danish Attiq, Project Manager | Skill Tech International, Karachi |
|  | Engr Bilal Mehmood, Senior Instructor | Skill Tech International, Karachi |
|  | Engr Auragzeb Ansari, Assistant Professor | Usman Institute of Technology, Karachi |
|  | Engr Hassan Ali Rizvi, Assistant Manager | Lucky Cement Limited Karachi |
|  | Mr. Umair, Maintenance Engineer | SAPT, Karachi |
|  | Mr. Babar Sayeed, Chief Instructor | PSTC Karachi |
|  | Mr. Adeel Ahmed, Manager Production | Habib Oil Mills, Karachi |
|  | Mr. Sohail Akhtar, SSO | PCSIR, Karachi |
|  | Mr. Syed Farhan Hamid, Senior Instructor | PSTC Karachi |
|  | Mr. Muhammad Yasir, Assistant Director NAVTTC | NAVTTC, Islamabad |
|  | Mr. Ayub Nasir, DACUM facilitator | FWO |
|  | Dr. Abid Karim, Senior Scientific Officer | PCSIR, Karachi |
|  | Dr. Zeeshan , HOD, electronics | Dawood Engineering University Karachi |

6. QUALIFICATION VALIDATION COMMITTEE

The following members participated in the qualification validation workshop from 27-29 May 2019, in Lahore:

| S.No. | Name & Designation | Organization |
| --- | --- | --- |
|  | Hafiz ur Rehman Associate Professor | KP- TEVTA |
|  | Aijaz Ahmed Zia D&A Engineer | INTECH Process Automation |
|  | Abdur Rehman Research Assistant | PBTE Lahore |
|  | Syed Farhan Hamid Ali Sr.Instructor/Assistant DACUM Facilitator | Pak Swiss Training Centre Karachi |
|  | Pir Bakhush khan HoD/SSO | Centre for Development of Laboratory Equipments Lahore, Lahore Laboratory complex |
|  | Engr. Liaquat Ali Jamroo Director Academics | STEVTA |
|  | Muhammad Arshad Principal | PSTC Lahore |
|  | Muhammad Yasir Assitant Director | NAVTTC HQ |

7. ENTRY REQUIREMENTS

Entry requirements of this qualification is National Vocational Certificate Level 3 in Instrumentation Technology

8. REGULATIONS FOR THE QUALIFICATION AND SCHEDULE OF UNITS

Not applicable

9. PACKAGING OF QUALIFICATION

The national vocational qualifications are packaged as per following:

| Competency Standards | Occupation | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| Develop Workplace Policy and Procedures for Sustainability | Soft skills/ Human Resource | Level 4 | Generic | 6 | 30 | 36 | 3.6 |
| Maintain Professionalism in the Workplace |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |
| Manage Personal Work Priorities and Professional Development |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |
| Manage Workforce Planning |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |
| Undertake Project Work |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |
| Prepare and Implement Negotiation |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |
| Manage Meetings |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |
| Organize Schedules |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |
| Identify and Communicate Trends in Career Development |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |
| Apply Specialist Interpersonal and Counseling Interview Skills |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |
| Apply fundamental laws of DC in electrical circuits | Foreman | Level 4 | Generic | 15 | 45 | 60 | 6 |
| Apply fundamental laws of AC in electrical circuits |  | Level 4 | Generic | 15 | 45 | 60 | 6 |
| Use Engineering drawing techniques to produce Instrumentation Drawings |  | Level 4 | Generic | 10 | 45 | 55 | 5.5 |
| Interface the Sensor & Transducers |  | Level 4 | Generic | 10 | 45 | 55 | 5.5 |
| Characterize Diodes Application | Electronics Technician | Level 4 | Technical | 15 | 60 | 75 | 7.5 |
| Characterize various FET amplifiers |  | Level 4 | Technical | 15 | 60 | 75 | 7.5 |
| Characterize various BJT amplifiers |  | Level 4 | Technical | 15 | 60 | 75 | 7.5 |
| Characterize various Oscillators |  | Level 4 | Technical | 10 | 60 | 70 | 7 |
| Design an Operational Amplifier |  | Level 4 | Technical | 15 | 60 | 75 | 7.5 |
| Measure the Temperature & humidity | Measurements Technician | Level 4 | Technical | 15 | 45 | 60 | 6 |
| Measure the Density and Power of Hydrogen Ion (pH) |  | Level 4 | Technical | 15 | 45 | 60 | 6 |
| Measure the concentration of environmental gases |  | Level 4 | Technical | 15 | 45 | 60 | 6 |
| Calibrate the Measuring instruments (Metrological Instruments) |  | Level 4 | Technical | 15 | 45 | 60 | 6 |
| Total |  |  |  | 240 | 960 | 1200 | 120 |
| Percentage |  |  |  | 20 | 80 |  |  |

10. COMMON COURSES WITH RESPECTIVE LEVELS

LEVEL2

LEVEL3

LEVEL4

LEVEL5

11. MAPPING OF THE QUALIFICATION

# Principles of Electrical & Electronics

# 0714E&A1.  Verify the DC Fundamentals

Overview

After this competency standard the student will be able to identify variety of circuits related to DC Fundamentals and their usage in industry.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Verify Ohm’s Law | - Identify the Resistor - Calculate the resistance of available resistor via Color coding chart - Draw the different* circuits with the aid of Resistors. - (Series Circuit, Parallel Circuit, Series-Parallel Circuit) - Interface the resistor with LED for demonstrating the Ohm’s Law. - Install the Voltmeter, Ammeter and Wattmeter in Resistors based circuits for calculations of results and parameters. |
| 2.Implement the variable resistor as a potentiometer and Rheostat | - Identify the Variable Resistor Read the value of Resistor also measure by using Multi-meter. - Connect variable resistor with Multi-meter and check the resistance variation by using viper of Variable Resistor of good condition of variable resistor. - Use variable resistor to control the DC motor voltage level - Connect variable resistor with DC motor for controlling the current level of motor. |
| 3.Use inductors in circuit | - Classify the inductor and its types - Use inductors in series and parallel circuits - Draw LC Circuit for demonstration of LC affects. - Calculate capacitance of capacitor and inductor circuits theoretically and practically. - Use inductance as a damping circuit |
| 4.Use capacitors in electrical circuits | - Classify the capacitors, its types and capacity. - Use Capacitors in series and parallel circuits - Draw RC Circuit for demonstration of ON/OFF Delay and Decayed Timer circuits. - Calculations of capacitor based circuits theoretically and practically. |
| 5.Apply theorems on circuits | - Apply Kirchhoff’s Current Law on circuits for developing the concept effectively. - Apply Kirchhoff’s Voltage Law on circuits for developing the concept effectively. - Apply superposition theorem on circuits for developing the concept effectively. - Apply maximum power transfer theorem on circuits for developing the concept effectively. - Apply thevenin’s theorem on circuits for developing the concept effectively. - Apply Norton’s theorem on circuits for developing the concept effectively - Apply Mesh theorem on circuits for developing the concept effectively. - Star Delta and Delta Star Transformations of circuits. |
| 6.Apply Heat and Light sensors in circuits | - Design an LDR based Dark/Light detector circuit. - Design a thermistor (NTC or PTC) based Heat Sensor circuit. |

Knowledge and understanding:

•	Understand  Capacity of resistance and its types

•	Understand Heat and Light sensors and their types

•	Understand Multi-meter & power Supply AC/DC

•	Understand Resistor and its types

•	Understand the capacitor and its types

•	Understand the Color coding chart of Resistor

•	Understand the data manual, Capacitors chart

•	Understand the inductor and its types

•	Understand the KVL, KCL, superposition theorem, maximum power transfer theorem,                 thevenin’s theorem, Norton’s theorem, Mesh theorem, star delta and delta star transformations.

•	Understand the procedure for using variable resistor as a potentiometer

•	Understand the procedure for using variable resistor as a Rheostat/variable control

•	Understand the procedures for implementation of theorems on circuits

Tools & Equipment

| SN |  |
| --- | --- |
|  | Chart of Resistors |
|  | Digital Trainer box |
|  | Variable Resistors |
|  | Inductors |
|  | Power supply AC/DC |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Verify Ohm’s law

- Design a Thermistor

# 0714E&A2.  Apply the AC Fundamentals

Overview

After this competency standard the student will be able to identify variety of circuits related to AC Fundamentals and their usage in industry.

| Competency Units | Performance Criteria |
| --- | --- |
| Measure Alternating Current and Voltage | Perform a task on electric board & three phase panel via Multi-meter Identify the AC and DC Voltage. Differentiate the AC and DC Generator practically via suitable task |
| Analyze the AC Circuits | Perform a task with AC loads (resistive, capacitive and inductive). Calculate the AC parameters Perform a task for understanding RLC Series and Parallel circuits with AC source. Demonstrate the resonance in parallel and series circuits & calculate the related parameters. |

Knowledge and understanding

- Understand Alternating Current and Voltage.

- Understand the principle working of AC and DC generator and their applications.

- Understand multi-meter & power Supply.

- Understand the principle parameters of AC Circuits

- Understand multi-meter, sequence tester, megger & power Supply.

- AC/DC Clamp meter

Tools & Equipment

| SN |  |
| --- | --- |
|  | Megger |
|  | Power supply |
|  | Phase sequence tester |
|  | Trainer and Multi-meter |
|  | AC/DC Clamp meter |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Analyze phase sequence

- Measure voltage, current and power using clamp meter

# Soft Skills:

# Develop workplace policy and procedures for sustainability

Overview: This competency standard covers the skills and knowledge required to develop and implement a workplace sustainability policy and to modify the policy to suit changed circumstances. It applies to individuals with managerial responsibilities who undertake work developing approaches to create, monitor and improve strategies and policies within workplaces and engage with a range of relevant stakeholders and specialists.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Develop workplace sustainability policy | - Define scope of sustainability policy - Gather information from a range of sources to plan and develop policy - Identify and consult stakeholders as a key component of the policy development process - include appropriate strategies in policy at all stages of work for minimizing resource use, reducing toxic material and hazardous chemical use and employing life cycle management approaches - Make recommendations for policy options based on likely effectiveness, timeframes and cost - Develop policy that reflects the organization s commitment to sustainability as an integral part of business planning and as a business opportunity - Agree to appropriate methods of implementation, outcomes and performance indicators |
| - CU2. Communicate workplace sustainability policy | - Promote workplace sustainability policy, including its expected outcome, to key stakeholders - Inform those involved in implementing the policy about expected outcomes, activities to be undertaken and assigned responsibilities |
| - CU3. Implement workplace sustainability policy | - Develop and communicate procedures to help implement workplace sustainability policy - Implement strategies for continuous improvement in resource efficiency - Establish and assign responsibility for recording systems to track continuous improvements in sustainability approaches |
| - CU4. Review workplace sustainability policy implementation | - Review workplace sustainability policy implementation - Investigate successes or otherwise of policy - Monitor records to identify trends that may require remedial action and use to promote continuous improvement of performance - Modify policy and or procedures as required to ensure improvements are made |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define outline the environmental or sustainability legislation, regulations and codes of practice applicable to the organization identify internal and external sources of information and explain how they can be used to plan and develop the organization s sustainability policy

- Explain policy development processes and practices

- Describe organizational systems and procedures that relate to sustainability

- Describe typical barriers to implementing policies and procedures in an organization and possible strategies to address them.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to develop workplace policy and procedures for sustainability. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Scope and develop organizational policies and procedures that comply with legislative requirements and support the organization s sustainability goals covering at a minimum:

  - minimizing resource use

  - resource efficiency

  - reducing toxic material and hazardous chemical use

  - employing life cycle management approaches

  - continuous improvement

- Plan and implement sustainability policy and procedures including:

  - agreed outcomes

  - performance indicators

  - activities to be undertaken

  - assigned responsibilities

  - record keeping, review and improvement processes

- Consult and communicate with relevant stakeholders to generate engagement with sustainability policy development, implementation and continuous improvement

- Review and improve sustainability policies.

# Maintain Professionalism in the Workplace

Overview: This competency standard covers the skills and knowledge required to maintain a professional image in the workplace, including behaving ethically, demonstrating motivation, respecting timeframes and maintaining personal appearance.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Respect work timeframes | - Demonstrate punctuality in meeting, set working hours and times. - Utilize working hours only for working and follow company regulations. - Complete work tasks within deadlines according to order of priority - Supervisors are informed of any potential delays in work times or projects. |
| - CU2. Maintain personal appearance and hygiene | - Clean hair, body and nails regularly. - Wear suitable cloths for the workplace, and respect local and cultural contexts - Meet specific company dress code requirements |
| - CU3. Maintain adequate distance with colleagues and clients | - Respect personal space of colleagues and clients with reference to local customs and cultural contexts. - Keep sufficient distance from others - Avoid cross transmission of infections (especially through respiration). |
| - CU4. Work in an ethical manner | - Follow company values/ethics codes of ethics and/or conduct, policies and guidelines. - Use company resources in accordance with company ethical standards. - Conduct personal behavior and relationships in accord with ethical standards and company policies. - Undertake work practices in compliance with company ethical standards, organizational policy and guidelines. - Instruct co-workers on ethical, lawful and reasonable directives. - Share Company values/practices with co-workers using appropriate behaviour and language. - Report work incidents/situations and/or resolved in accordance with company protocol/guidelines. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define outline the environmental or sustainability legislation, regulations and codes of practice Explain application of good manners and right conduct

- Explain basic practices for oral and personal hygiene

- Describe common products used for oral and personal hygiene

- Describe the company code of conduct/values

- Describe the Company regulations, performance and ethical standards

- Explain work responsibilities/job functions

- Describe communication skills

- Describe workplace hygiene standards

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to maintain professionalism in the workplace the evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Clarify and affirm work values/ethics/concepts consistently in the workplace;

- Comply with required working times;

- Conduct work practices satisfactorily and consistently, in compliance with work ethical standards, organizational policy and guidelines;

- Develop suitable hygiene

Keep adequate distance while interacting with colleagues and clients.

# Manage personal work priorities and professional development

Overview: This competency standard covers the skills and knowledge required to create systems and process to organize information and prioritize tasks. It applies to individuals working in managerial positions who have excellent organizational skills. The work ethic of individuals in this role has a significant impact on the work culture and patterns of behaviour of others as managers at this level are role models in their work environment.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Establish personal work goals | - Serve as a positive role model in the workplace through personal work planning - Ensure personal work goals, plans and activities reflect the organization s plans, and own responsibilities and accountabilities - Measure and maintain personal performance in varying work conditions, work contexts and when contingencies occur |
| - CU2. Set and meet own work priorities | - Take initiative to prioritize and facilitate competing demands to achieve personal, team and organizational goals and objectives - Use technology efficiently and effectively to manage work priorities and commitments - Maintain appropriate work-life balance, and ensure stress is effectively managed and health is attended to |
| - CU3. Develop and maintain professional competence | - Assess personal knowledge and skills against competency standards to determine development needs, priorities and plans - Seek feedback from employees, clients and colleagues and use this feedback to identify and develop ways to improve competence - P3 Identify, evaluate, select and use development opportunities suitable to personal learning style/s to develop competence - Participate in networks to enhance personal knowledge, skills and work relationships - Identify and develop new skills to achieve and maintain a competitive edge |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain principles and techniques involved in the management and organization of:

- Define performance measurement

- Describe personal behavior, self-awareness and personality traits identification

- Describe personal development plan

- Describe personal goal setting

- Describe time management

- Describe management development opportunities and options for self

- Describe methods for achieving a healthy work-life balance

- Define organization policies, plans and procedures

- Explain types of learning style/s and how they relate to the individual

- Describe types of work methods and practices that can improve personal performance.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to manage personal work priorities and professional development. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Demonstrate use business technology to create and use systems and processes to organize and priorities tasks and commitments

- measure and maintain personal work performance including assessing competency against competency standards and seeking feedback

- maintain an appropriate work-life balance to manage personal health and stress

- participate in networks

- develop a personal development plan which includes career objectives and an action plan

- Develop new skills.

# Manage workforce planning

Overview: This competency standard covers the skills and knowledge required to manage planning in relation to an organization’s workforce including researching requirements, developing objectives and strategies, implementing initiatives and monitoring and evaluating trends. It applies to individuals who are human resource managers or staff members with a role in a policy or planning unit that focuses on workforce planning.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Research workforce requirements | - Review current data on staff turnover and demographics - Assess factors that may affect workforce supply - Establish the organization’s requirements for a skilled and diverse workforce |
| - CU2. Develop workforce objectives and strategies | - Review organizational strategy and establish aligned objectives for modification or retention of the workforce - Consider strategies to address unacceptable staff turnover, if required - Define objectives to retain required skilled labour - Define objectives for workforce diversity and cross-cultural management - Define strategies to source skilled labour - Communicate objectives and rationale to relevant stakeholders - Obtain agreement and endorsement for objectives and establish targets - Develop contingency plans to cope with extreme situations |
| - CU3. Implement initiatives to support workforce planning objectives | - Implement action to support agreed objectives for recruitment, training, redeployment and redundancy - Develop and implement strategies to assist workforce to deal with organizational change - Develop and implement strategies to assist in meeting the organization’s workforce diversity goals - Implement succession planning system to ensure desirable workers are developed and retained - Implement programs to ensure workplace is an employer of choice |
| - CU4. Monitor and evaluate workforce trends | - Review workforce plan against patterns in exiting employee and workforce changes - Monitor labour supply trends for areas of over- or under-supply in the external environment - Monitor effects of labour trends on demand for labour - Survey organizational climate to gauge worker satisfaction - Refine objectives and strategies in response to internal and external changes and make recommendations in response to global trends and incidents - Regularly review government policy on labour demand and supply - Evaluate effectiveness of change processes against agreed objectives. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain current information about external labor supply relevant to the specific industry or skill requirements of the organization

- Describe industrial relations relevant to the specific industry

- Describe labor force analysis and forecasting techniques

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to manage workforce planning. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Review and interpret information from a range of internal and external sources to identify:

  - current staff turnover and demographics

  - labor supply trends factors that may affect workforce supply

  - organization’s workforce requirements objectives and strategies

- Manage workforce planning including developing, implementing, monitoring and reviewing strategies to meet workforce needs

- Review relevant trends and supply and demand factors that will impact on an organization’s workforce

- Develop a workforce plan that includes relevant research and specific strategies to ensure access to a skilled and diverse workforce.

# Undertake project work

Overview: This competency standard covers the skills and knowledge required to undertake a straightforward project or a section of a larger project. It covers developing a project plan, administering and monitoring the project, finalizing the project and reviewing the project to identify lessons learned for application to future projects. This unit applies to individuals who play a significant role in ensuring a project meets timelines, quality standards, budgetary limits and other requirements set for the project.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Define project | - Access project scope and other relevant documentation - Define project stakeholders - Seek clarification from delegating authority of issues related to project and project parameters - Identify limits of own responsibility and reporting requirements - Clarify relationship of project to other projects and to the organization’s objectives - Determine and access available resources to undertake project |
| - CU2. Develop project plan | - Develop project plan in line with the project parameters - Identify and access appropriate project management tools - Formulate risk management plan for project, including Work Health and Safety (WHS) - Develop and approve project budget - Consult team members and take their views into account in planning the project - Finalize project plan and gain necessary approvals to commence project according to documented plan |
| - CU3. Administer and monitor project | - Take action to ensure project team members are clear about their responsibilities and the project requirements - Provide support for project team members, especially with regard to specific needs, to ensure that the quality of the expected outcomes of the project and documented time lines are met - Establish and maintain required recordkeeping systems throughout the project - Implement and monitor plans for managing project finances, resources and quality - Complete and forward project reports as required to stakeholders - Undertake risk management as required to ensure project outcomes are met - Achieve project deliverables |
| - CU4. Finalize project | - Complete financial recordkeeping associated with project and check for accuracy - P2 Ensure transition of staff involved in project to new roles or reassignment to previous roles - P3 Complete project documentation and obtain necessary sign-offs for concluding project |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe examples of project management tools and how they contribute to a project

- Describe types of documents and other sources of information commonly used in defining the parameters of a project

- Explain processes for identifying and managing risk in a project

- Describe the organization’s mission, goals, objectives and operations and how the project relates to them

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to undertake project work. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Define the parameters of the project including:

  - project scope

  - project stakeholders, including own responsibilities

  - relationship of project to organizational objectives and other projects

  - reporting requirements

  - resource requirements

- Use project management tools to develop and implement a project plan including:

  - deliverables

  - work breakdown

  - budget and allocation of resources

  - timelines

  - risk management

  - recordkeeping and reporting

- Consult and communicate with relevant stakeholders to generate input and engagement in planning, implementing and reviewing the project

- Provide support to team members to enable them to achieve deliverables and to transition them as appropriate at completion of the project

- Finalize the project including documentation, sign-offs and reporting

Review and document the project outcomes.

# Prepare and implement negotiation

Overview: This competency standard covers the skills and knowledge required to prepare for and participate in a process of negotiation.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Prepare for the negotiation | - Identify objectives and preferred outcome of the negotiation and determine minimum acceptable outcome - Understand in relation to what can be offered and what is needed from the other party - Gather information regarding the other party – objectives, - needs, preferences, resources, what they want to achieve - in - order to determine best negotiating points - List and rank the issues to consider concessions that may be made. - Find examples and refine negotiation argument. - Check information to ensure it is correct and up-to-date. - Develop a negotiation plan that includes information about the other party and its interests and a set of responses and strategies to the anticipated tactics. - Prepare an agenda in advance, which includes discussion topics, participants, location and schedule |
| - CU2. Participate in negotiations | - Analyse all aspects of the incident for degree of hazard, priorities, optional outcomes and appropriate strategies - Analyse and determine strategies and priorities on the incident sought from a range of sources - Assess long term objectives against resources and priorities - Apply a range of communication techniques to make and maintain contact with the key people - Provide clear and factual information to enable an honest and realistic assessment of the interests of the key people and their positions - Resolve the conflict and express their likely consequences clearly and do an analysis of the benefits - Reassess points of disagreements for common positive positions |
| - CU3. Coordinate support services | - Assess the need for support services in terms of the determined strategies and priorities - Negotiate the resources of support services according to established procedures and availability - Provide information on strategies to support services and maintain the communication - Delegate roles and responsibilities according to expertise and resources |
| - CU4. Restore order | - Assess the incidents for degree of risk and take appropriate action to reduce and remove the impact of the incident and restore order - Take action designed to minimize risk and the preserve the safety and security of all involved - Take action to prevent the escalation of the incident appropriate to the circumstances and agreed procedures. - Carry out the use of force for the restoration of control and the maintenance of security in the least restrictive manner. - Complete reports accurately and clearly provided to the appropriate authority promptly - Review, evaluate and analyse the incident and the organizational response to it and report it promptly and accurately. |
| - CU5. Provide leadership, direction and guidance to the work group | - Link between the function of the group and the - goals of the organization - Participate in decision making routinely to develop, implement and review work of the group and to allocate responsibilities where appropriate - Give opportunities and encouragement to others to develop new and innovative work practices and strategies - Identify conflict and resolve with minimum disruption to work group function - Provide staff with the support and supervision necessary to perform work safely and without risk to health - Allocate tasks within the competence of staff and support with appropriate authority, autonomy and training - Supervise appropriately the changing priorities and situations and takes into account the different needs of individuals and the requirements of the task |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

Explain organization’s policies, guidelines and procedures related to control and surveillance, safety and preventing and responding to incidents and breaches of orders covered in the range of variables.

- Explain organization’s management and accountability systems

- Describe teamwork principles and strategies

- Define the principles of effective communication

- Describe the guidelines for use of equipment and technology

- Explain code of conduct

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to solve problems which jeopardize safety and security. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- evidence of effective communication strategies including negotiation, counseling, mediation, advocacy demonstrated under pressure working effectively in a team environment

- evidence of knowledge and application of organizations policies, procedures and

- guidelines for critical incidents

- evidence of accurate and safe use of all emergency equipment

- evidence of managing effective outcomes using strategic planning

- team leadership and situational analysis

# Manage Meetings.

Overview:

This unit describes the skills and knowledge required to manage a range of meetings including overseeing the meeting preparation processes, chairing meetings, organizing the minutes and reporting meeting outcomes. It applies to individuals employed in a range of work environments who are required to organize and manage meetings within their workplace, including conducting or managing administrative tasks in providing agendas and meeting material. They may work as senior administrative staff or may be individuals with responsibility for conducting and chairing meetings in the workplace.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Prepare for meetings | - Develop agenda in line with stated meeting purpose - Ensure style and structure of meeting are appropriate to its purpose - Identify meeting participants and notify them in accordance with organizational procedures - Confirm meeting arrangements in accordance with requirements of meeting - Dispatch meeting papers to participants within designated timelines |
| - Conduct meetings | - Chair meetings in accordance with organizational requirements, agreed conventions for type of meeting and legal and ethical requirements - Conduct meetings to ensure they are focused, time efficient and achieve the required outcomes - Ensure meeting facilitation enables participation, discussion, problem-solving and resolution of issues - Brief minute-taker on method for recording meeting notes in accordance with organizational requirements and conventions for type of meeting |
| - Follow up meetings | - Check transcribed meeting notes to ensure they reflect a true and accurate record of the meeting and are formatted in accordance with organizational procedures and meeting conventions - Distribute and store minutes and other follow-up documentation within designated timelines, and according to organizational requirements - Report outcomes of meetings as required, within designated timelines |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- outline meeting terminology, structures, arrangements

- outline responsibilities of the chairperson and explain group dynamics in relation to managing meetings

- describe options for meetings including face-to-face, teleconferencing, web-conferencing and using webcams

- Identify the relevant organizational procedures and policies regarding meetings, chairing and minutes including identifying organizational formats for minutes and agendas.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to manage meetings. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- apply conventions and procedures for formal and informal meetings including:

  - developing and distributing agendas and papers

  - identifying and inviting meeting participants

  - organizing and confirming meeting arrangements

  - running the meeting and following up

- organize, take part in and chair a meeting

- record and store meeting documentation

- Follow organizational policies and procedures.

# Organize schedules

Overview: This competency standard covers the skills and knowledge required to manage appointments and diaries for personnel within an organization, using manual and electronic diaries, schedules and other appointment systems. It applies to individuals employed in a range of work environments who provide administrative support to teams and individuals.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Establish schedule requirements | - Identify organizational requirements and protocols for diaries and staff planning tools - Identify organizational procedures for different types of appointments - Determine personal requirements for diary and schedule items for individual personnel - Establish appointment priorities and clarify in discussion with individual personnel |
| - CU2. Manage schedules | - Identify recurring appointments and deadlines, and schedule these in accordance with individual and organizational requirements - Establish availability of attendees, and schedule new appointments in accordance with required timelines and diary commitments - Negotiate alternative arrangements and confirm when established appointments are changed - Record appointments and manage schedules in accordance with organizational policy and procedures |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Identify the key provisions of relevant legislation, standards and codes that affect aspects of business operations or the achievement of team goals

- Describe organizational requirements for managing appointments for personnel within the organization

- Summarize the range of appointment systems that could be used

- Outline important considerations when managing the schedules of others.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to organize schedules. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Appropriately manage the schedules of various individuals through a process of careful planning and negotiation.

# Identify and communicate trends in career development

Overview: This competency standard covers the skills and knowledge required to communicate effectively, Use specialized counselling interviewing skills and use advanced and specialized communication skills in the client-counsellor relationship. This unit applies to individuals whose job role involves working with clients on personal and psychological issues within established policies, procedures and guidelines.

| Competency Unit | Performance Criteria |
| --- | --- |
| - CU1. Communicate effectively | - Identify communication barriers and use strategies to overcome these barriers in the client-counsellor relationship - P2 Facilitate the client-counsellor relationship through selection and use of micro skills - P3 Integrate the principles of effective communication into work practices - P4 Observe and respond to non-verbal communication cues - P5 Consider and respond to the impacts of different communication techniques on the client-counsellor relationship in the context of individual clients - P6 Integrate case note taking with minimum distraction |
| - CU2. Use specialized counseling interviewing skills | - Select and use communication skills according to the sequence of a counselling interview - Identify points at which specialized counselling interviewing skills are appropriate for inclusion - Use specialized counselling communication techniques based on their impacts and potential to enhance client development and growth - Identify and respond appropriately to strong client emotional reactions |
| - CU3. Evaluate own communication | - Reflect on and evaluate own communication with clients - Recognize the effect of own values and beliefs on communication with clients - Identify and respond to the need for development of own skills and knowledge |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe Legal and ethical considerations for communication in counseling practice, and how these are applied in individual practice:

- Describe codes of conduct/practice

- Define discrimination

- Describe duty of care

- Define human rights

- Describe practitioner/client boundaries

- Describe privacy, confidentiality and disclosure

- Define rights and responsibilities of workers, employers and clients

- Describe work role boundaries responsibilities and limitations of the counselor role

- Describe principles of person-centered practice

- Define key objectives of counseling interviewing

- Describe stages of a counseling interview

- Define potential impacts of using different communication skills and techniques in counseling contexts

- Define communication techniques and micro-skills including:

- Describe attending behaviors active listening, reflection of content feeling, summarizing

- Describe questioning skills open, closed, simple and compound questions

- Describe client observation skills

- Describe noting and reflecting skills

- Describe providing client feedback

- Describe specialized counseling communication techniques, and how they are used, including:

  - challenging

  - reframing

  - focusing

- Define components of the communication process including:

  - encoder

  - decoder

- Describe primary factors that impact on the communication process including:

  - context

  - participants

  - rules

  - messages

  - channels

  - noise

  - feedback

- Describe communication barriers and resolution strategies, including:

  - environmental

  - physical

  - individual perceptions

  - cultural issues

  - language

  - age issues

  - disability

- Describe observational techniques including:

  - facial expressions

  - non-verbal behavior

  - posture

  - silence

- Describe ways in which different people absorb information, including:

  - visual

  - auditory

  - kinesthetic

  - obstacles to the counseling process

- Define impacts of trauma and stress on the communication process, including on:

  - concentration and attention

  - memory

  - use of verbal and written language

  - use of body language

  - challenging within the counseling session

  - self-evaluation practices, including:

  - how to recognize own biases

  - Impact of own values on the counseling relationship

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to apply specialist interpersonal and counseling interview skills. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Perform interviewed at least 3 different clients using specialized interpersonal communication and counseling interviewing skills, including:

- Perform micro-skills and communication techniques, including:

  - attending behaviors active listening,

  - reflection of content, summarizing

  - questioning skills open, closed, simple and compound questions

  - client observation skills

  - noting and reflecting skills

  - providing client feedback

- Perform specialized counseling interviewing skills, including:

  - challenging

  - reframing

  - focusing

- Perform integrated clear case note taking into the interview process

# Apply Specialist Interpersonal and Counselling Interview Skills

Overview :

This unit describes the skills and knowledge required to communicate effectively, Use specialized counseling interviewing skills and use advanced and specialized communication skills in the client-counselor relationship. This unit applies to individuals whose job role involves working with clients on personal and psychological issues within established policies, procedures and guidelines.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Communicate effectively | P1 Identify communication barriers and use strategies to overcome these barriers in the client-counselor relationship P2 Facilitate the client-counselor relationship through selection and use of micro skills P3 Integrate the principles of effective communication into work practices P4 Observe and respond to non-verbal communication cues P5 Consider and respond to the impacts of different communication techniques on the client-counselor relationship in the context of individual clients P6 Integrate case note taking with minimum distraction |
| - Use specialized counseling interviewing skills | P1 Select and use communication skills according to the sequence of a counseling interview P2 Identify points at which specialized counseling interviewing skills are appropriate for inclusion P3 Use specialized counseling communication techniques based on their impacts and potential to enhance client development and growth P4 Identify and respond appropriately to strong client emotional reactions |
| - Evaluate own communication | P1 Reflect on and evaluate own communication with clients P2 Recognize the effect of own values and beliefs on communication with clients P3 Identify and respond to the need for development of own skills and knowledge |

Knowledge and understanding:

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Legal and ethical considerations for communication in counseling practice, and how these are applied in individual practice:

- codes of conduct/practice

- discrimination

- duty of care

- human rights

- practitioner/client boundaries

- privacy, confidentiality and disclosure

- rights and responsibilities of workers, employers and clients

- work role boundaries responsibilities and limitations of the counselor role

- work health and safety

- principles of person-centered practice

- key objectives of counseling interviewing

- stages of a counseling interview

- potential impacts of using different communication skills and techniques in counseling contexts

- communication techniques and micro-skills including:

- attending behaviors active listening, reflection of content feeling, summarizing

- questioning skills open, closed, simple and compound questions

- client observation skills

- noting and reflecting skills

- providing client feedback

- specialized counseling communication techniques, and how they are used, including:

- challenging

- reframing

- focusing

- components of the communication process including:

- encoder

- decoder

- primary factors that impact on the communication process including:

- context

- participants

- rules

- messages

- channels

- noise

- feedback

- communication barriers and resolution strategies, including:

- environmental

- physical

- individual perceptions

- cultural issues

- language

- age issues

- disability

- observational techniques including:

- facial expressions

- non-verbal behavior

- posture

- silence

- ways in which different people absorb information, including:

- visual

- auditory

- kinesthetic

- obstacles to the counseling process

- impacts of trauma and stress on the communication process, including on:

- concentration and attention

- memory

- use of verbal and written language

- use of body language

- challenging within the counseling session

- self-evaluation practices, including:

- how to recognize own biases

- Impact of own values on the counseling relationship

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to apply specialist interpersonal and counseling interview skills. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance Requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints.  Demonstrated evidence is required of the ability to:

- interviewed at least 3 different clients using specialized interpersonal communication and counseling interviewing skills, including:

- micro-skills and communication techniques, including:

  - attending behaviors active listening,

  - reflection of content, summarizing

  - questioning skills open, closed, simple and compound questions

  - client observation skills

  - noting and reflecting skills

  - providing client feedback

- specialized counseling interviewing skills, including:

  - challenging

  - reframing

  - focusing

- integrated clear case note taking into the interview process

- Completed a structured process of self-reflection and evaluation of own communication used during the 3 interviews.

# Instrumentation Drawing

# Use Engineering drawing techniques to produce Instrumentation Drawings

Overview:

This competency standard identifies the Use of engineering drawings including Process Flow Diagrams (PFDs), Piping and Instrument Diagrams (P&IDs), process equipment datasheets, vendor equipment engineering drawings and/or layouts and equipment datasheets, to support operations, maintenance and engineering activities.

| Competency Units | Performance Criteria |
| --- | --- |
| - Prepare to use instrumentation drawings, specifications and standards. | - Identify Basic engineering drawings and symbols. - Identify the use of Process Flow Diagrams (PFDs) - Identify the use of Process Engineering Flow Schemes (PEFSs). - Identify the Methods of using Piping and Instrumentation Diagrams (P&IDs). - Identify the Methods of reading equipment datasheets. |
| - Identify and draw Process Flow Sheet Symbol | - Identify, draw and label the symbols of process line, valves and actuator with and without positioner or other pilot. - Identify, draw and label the symbols of Furnace, boiler, Heat transfer and Heat Exchanger - Identify, draw and label the symbols of Pump and compressor. - Identify, draw and label the symbols of Drivers. - Identify, draw and label the symbols of Process pressure vessels and Dryers. - Identify, draw and label the symbols of Material handling equipment and Size reducing equipment. - Identify, draw and label the symbols of Process Equipment. |
| - Identify and draw Flow Sheet and Line Symbols | - Identify, draw and label the symbols Flow sheet code letter service (letter A to letter V). - Identify, draw and label the symbols for Lines. - Identify, draw and label of the Utility symbols. - Identify, draw and label Process and utility flow sheet for drives. |
| - Identify and draw Instrument Symbol. | - Identify Instrument identification or tag number (6 letter code), Identification of letter (A to Z) and Instrument line symbols (Instrument supply, undefined signal, Pneumatic signal etc.). - Identify, draw and label the Symbols of different electronics RCL/PLC based control system. - Identify, draw and label the Symbols for Flow, Level, Pressure and Temperature gauges and transmitters. |
| - Identify and draw Logic Function , PLC and Distributed Control Display Symbols | - Identify, draw and label Logical function symbols such as Gates. - Identify, draw and label Transmission and Switching symbols. - Identify, draw and label Timer, Switching symbols for PLC, Push buttons and different kinds of instrument switches. - Identify, draw and label the symbols of Output device. - Identify, draw and label the Distributed control / shared display symbols( As per ISA), Distributed control Computer symbols, Distributed control logic/sequential Control symbols, Miscellaneous symbols such as Computing/signal conditioning and software system link. |
| - Identify and draw Piping and Fluid Power Symbols. | - Identify, draw and label the Piping symbols. - Identify, draw and label the Flow Obstruction symbols. - Identify, draw and label the Fluid power symbols. - Identify, draw and label the symbols of Heater, Cooler, Temperature controller, filter strainer and drainers. - Identify, draw and label the symbols of Hydraulic and pneumatic components. - Identify, draw and label the symbols of Actuator and control valves. |
| - Create instrumentation drawings using application software. | - Create Basic Diagram such as Circular Diagram, Venn diagram, Pyramid Diagram, List Diagram, Arrow Diagram, Circle Spoke Diagram, and Timeline using CAD software. - Create Charts and Graphs using CAD software. - Create different kinds of Flowchart and Workflow Diagram using CAD software. - Create Engineering Diagram on CAD software. - Create Industrial Control System Diagram/Schematic. |
| - Implement the instrumentation drawings, specification and standard. | - Create neat freehand instrumentation drawing. - Draw Instrumentation drawings, specification, standards on cad software such as Electrical CAD software. - Interpret Instrumentation drawings using knowledge of process controls and instrumentation drawing layouts, conventions and symbols. - Identify and Extract the Dimensions from the instrument drawings and diagrams. - Determined the Location of equipment from the given instrumentation drawings and specification. - Identify the Connections between pneumatic, hydraulic and electrical equipment are determined from instrumentation drawings and specifications. |
| - Validate engineering drawings. | - Identify the Methods of developing engineering drawing documents. - Identify the Methods of maintaining documentation - Identify the Methods of evaluating engineering drawing techniques. |

Knowledge and understanding

- Explain the basics of creating basic instrument drawing, flow chart and symbolic diagrams using CAD application software such as Lucid chart, PROCAD, Edraw Max, Smart Draw, Microsoft Visio.

- Knowledge and understanding of Basic Flow Sheet and Line Symbols.

- Knowledge and understanding of Basic Instrument Symbol.

- Knowledge and understanding of Basic Piping and Fluid Power Symbols.

- Knowledge and understanding of Basic Process Flow Sheet Symbols.

- Knowledge and understanding of Basic Logic Function , PLC and Distributed Control Display Symbols

- Knowledge and understanding of critical reviews of engineering drawings and designs.

- Knowledge and understanding of location, dimension and connection inside the instrument drawing.

- Knowledge and understanding of operations and maintenance troubleshooting and fault-finding activities.

- Knowledge of creating freehand instrument drawing.

- Knowledge of creating instrument drawing using CAD application software.

- Knowledge of editing and interpreting instrument drawing.

- Read and interpret PFDs

- Understand to Locate and select correct drawings for units or systems.

Tools & Equipment

Pencil, drafting board, T-square, drafting machine, French Curves, Rulers, Compass, Templates, Perspective machines, drawing materials, drafting paper, Thick draft paper, Cloth, tracing paper, Tracing tube, Inks, Dry transfer

Computers with enhanced graphic card & 20-inch Display, Electrical CAD software such as Lucid chart, Edraw PROCAD, Max, Smart Draw, Microsoft Visio etc.

Plotter/printer.

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Identify various tools for engineering drawing.

- Identify different symbol of instrumentation drawing

# Instruments Servicing & Calibration (IT-353)

# Calibrate the Measuring Instruments

Overview:

After completion of this competency standard the student will be able to perform Calibration of Measuring Instruments/equipment/devices.

| Competency Units | Performance Criteria |
| --- | --- |
| - Perform the test run | - Check the device physically. - Check the device with multi-meter. - Connect device with power source (if applicable). - Perform test run as described in the procedure - Note parameters of the device. |
| - Dismantle the device | - Use standard tools described in user manual - Perform isolation of devices(if applicable) - Apply disassembling & assembling techniques - Tag the wires of device. |
| - Diagnose the fault in device | - Inspect physical condition of device - Check the operating panel of the device - Check for electrical faults - Check mechanical fault & check pneumatic sensors - Inspect the hardware visually for any damage or unusual orientation - Tag the faulty component |
| - Repair the sensing device | - Draw Block Diagram of sensor board & connections - Identify the construction and working of electrical interface - Fix the fault in sensor interface. - Fix the fault in operator panel - Fix the fault in power section. - Fix the fault in display circuit. - Fix the fault in beeper - Fix the fault in recording unit - Perform test run |
| - Calibrate &repair the gauges (pneumatic/ electronic) | - Check the gauge physically. - Check with multi-meter. - Apply standard pressure or connect device with power source (if applicable). - Perform test run as described in the procedure. - Note parameters of the device. |
| - Calibrate the thermocouple and temperature Sensor (RTD) | - Check the thermocouple physically. - Check with multi-meter. - Apply standard temperature and connect device with power source (if applicable). - Perform standardized test as described in the procedure. - Note parameters of the thermal sensor. |
| - Calibrate the magnetic level switch | - Check the magnetic level switch physically. - Check with compass/ magnet. - Submerge the switch in the tank and observe the state of the contact (via multi-meter). - Perform standardized test as described in the procedure. - Note parameters of the magnetic level switch. |
| - Calibrate the control valve &valve positioner | - Check the control valve and its positioner physically. - Check the valve with power source and multi-meter. - Check the state of the valve for its normal operation. - Check the state of the valve for its positioning (x-axis, y-axis z-axis) by applying valve positioner. - Perform standardized test as described in the procedure. - Note the operating range of the valve for its optimum operation. |
| - Calibrate the electromagnetic type flow meter | - Check the electromagnetic flow meter physically. - Check the electromagnetic flow meter by applying power (using multi-meter). - Check the state of the electromagnetic flow meter’s sensor’s normal operation. - Check the state of the sensor across the specimen. - Perform standardized test as described in the procedure - Note the operating range of the flow meter for its optimum operation. |
| - Calibrate pH meter | - Check the pH meter physically. - Check the pH meter by applying power (using multi-meter). - Check the state of the pH meter’s sensor’s normal operation. - Check the state of the sensor across the buffers/specimen. - Perform standardized test as described in the procedure - Note the operating range of the pH meter for its optimum operation |
| - Prepare the Graphs, comparison/ conversion table | - Make arrangement of data as per standard measurement. (for various ranges) - Develop a graph according to need (dependent/ independent variable) - Select the unit conversion and calculation to make legends. - Mark the ranges and parameters of the data for graphs. - Mark the origin of the graph for plotting the meaning full result. - Conclude the result from the plotted graph. |

Knowledge and understanding

  - Describe assembling & disassembling techniques

  - Describe characteristics of electrical / electronic components

  - Describe control valve & valve positioner operation faults

  - Describe Display: LCD, LED, Niddle, indicating instrument

  - Describe electromagnetic flow meter control valve operation and common faults

  - Describe functions of analog electronics blocks

  - Describe functions of digital electronics blocks

  - Describe magnetic level switch operation faults

  - Describe multi-meter.

  - Describe operation of pH meter and its common faults

  - Describe sensor and their various types

  - Describe the accuracy of thermo couple and RTD.

  - Describe the applications of thermocouple and RTD.

  - Describe the parameters.

  - Describe the sensor type and operation.

  - Describe the temperature range of various RTD and temperature sensors.

  - Describe the testing method of control valve & valve positioner.

  - Describe the testing method of flow meter.

  - Describe the testing method of magnetic level switch.

  - Describe the testing method of pH meter.

  - Describe the types of control valve & valve positioner w.r.t its capacity (flow)

  - Describe the types of flow meter w.r.t its capacity (flow)

  - Describe the types of magnetic level switch w.r.t its capacity (depth)

  - Describe the types of pH meter w.r.t its sensor and ranges (acid and base).

  - Describe the working of differential pressure switch.

  - Describe the working principles of different gauges like C type pressure gauge and vacuum gauge

  - Describe working principles of thermocouple  and temperature sensor RTD,K,PT-100,J,R,S

  - Electrical / electronic components faults

  - Electronics

  - Elementary physics

  - Engineering mathematics

  - Explain basic types of gauges.

  - Explain data recording function.

  - Explain Electrical/ electronic & functional -drawing symbols

  - Explain fault diagnosis techniques

  - Explain information getting procedure of device.

  - Explain operation of control valve & valve positioner

  - Explain operation of flow meter sensor.

  - Explain operation of magnetic level switch

  - Explain operation of pH meter sensor.

  - Explain operator panel and its switch functions.

  - Explain power and signal conditioning

  - Explain sound signal

  - Explain Tagging techniques of connections

  - Explain the Layout drawings

  - Explain the Tagging of wire & components

  - Explain types and materials of thermocouple,   and temperature sensor (RTD same)

  - Explain Types and structure & parts of sensors/electrode

  - Explain types and structure of control valve.

  - Explain types and structure of magnetic level switch.

  - Explain working principle of flow meter and law of electro magnetism.

  - Explain working principle of magnetic level switch.

  - Explain working principle of pH meter and definition of pH with laws.

  - Explain working principle of control valve & valve positioner.

  - Geometry.

  - Understand new operating procedures and constraints

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Carryout Calibration of various gauges

- Diagnose the fault in different devices

# Semiconductor devices & Electronic Circuits

# Characterize Diodes Application

Overview

After completion of this competency standard the student will be able to implement diodes & characterize BJTs, FETs and MOSFETS with the help of DATA sheet

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Implement Diodes in circuits | - Identify the Diodes - Identify its types & polarities - Draw Diode characteristic curves in forward and reverse Biased - Construct a circuit for Half-wave and Full-wave Rectification. - Record the waveforms on Digital oscilloscope |
| 2. Identify parameters of data sheet of BJTs and FETs | - Identify different Codes for data sheets - Identify types of data sheets - Identify current and voltages on data sheets - Identify characteristic curves on data sheets |
| 3. Identify BJTs | - Identify Emitter , Base and Collector Terminals, K1, K2 and gate - Types of BJTs - Draw Characteristics curves of BJT’s. |
| 4. Identify parameters of FETs with the help of data sheet. | - Identify different Codes for FETS data sheets - Identify types of data sheet - Identify current and voltages on data sheets - Identify characteristic curves on data sheets |
| 5. Identify FETs | - Identify Source, Gate and Drain Terminals - Types of FETs - Draw Characteristics curves of FETs |
| 6. Characterize MOSFET performance. | - Assemble the circuit of MOSFET. - Draw the characteristics curve of MOSFET. - Differentiate Types of MOSFET. - Troubleshoot the MOSFET’S Performance. |
| 7. Use MOSFET as a Switch. | - Draw the circuit of MOSFET as Switch. - Observe the Curve of MOSFET. - P3.Troubleshoot MOSFET as a switch. - P4.Use MOSFET as a switch. |

Knowledge and understanding

- Differentiate between the characteristic curves of various BJTs

- Differentiate between the characteristic curves of various FETs

- Explain the diodes, forward and reverse biasing & their applications in circuits

- Explain the identifier number &  international schemes of a BJT

- Japanese system (numbers start with 2S).

- Japanese system (numbers start with 2S).

- Study different types of BJTs

- Study different types of FETs

- Study European Pro-Electron scheme’s JEDEC (numbers start with 2N for   transistors)

- Study its characteristics curve and parameters.

- Study the  international  schemes that are widely used:

- Study the circuit of MOSFET as a switch.

- Study the identifier number of a BJT

- Study the operation of MOSFET.

- Understand Multi-meter & power Supply

- Understand the data sheets

Tools & Equipment

| SN |  |
| --- | --- |
|  | BJTs |
|  | Bread Board |
|  | Different data sheets of BJTs/IGBT |
|  | Digital Oscilloscope |
|  | Digital Trainer |
|  | FETs |
|  | Multi-meter |
|  | Oscilloscope |
|  | Power supply |
|  | Vero board |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Working principal of MOSFET and FET

- Draw Characteristics  curve of FETS

# Characterize Various FET Amplifiers.

Overview:

This standard identifies the competencies required to Characterize Various FET amplifier.

| Competency Units | Performance Criteria |
| --- | --- |
| - Assemble a CS Amplifier circuit and observe its characteristics | - Draw the circuit of CS Amplifier & measure its parameters. - Draw its characteristics curve. - Troubleshoot CS Amplifier circuit. |
| - Assemble a CG Amplifier circuit and observe its characteristics. | - Draw the circuit of CG Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot CG Amplifier circuit. |
| - Assemble a CD Amplifier circuit and observe its characteristics | - Draw the circuit of CD Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot CG Amplifier circuit. |
| - Assemble a single stage Transistor Amplifier. | - Draw the circuit of a single Stage Transistor Amplifier. - Measure its parameters. - Draw its characteristics curve. - Troubleshoot the single stage Transistor amplifier. |
| - Measure the voltage gains of a single Stage Class ‘A’ Transistor Amplifier. | - Calculate the input and output voltage of Class A Transistor Amplifier - Find out gain by dividing output/input. |
| - Identify Common Source FET Amplifier. | - Assemble common source Amplifier circuit - Apply the use FET amplifier curve. - Troubleshoot FET amplifier - Repair common source FET amplifier |
| - Plot the characteristics curve of Common source FET Amplifier. | - Draw the characteristics curve of FET Amplifier. - Draw the parameters of characteristics curve. |
| - Assemble a Class A Transistor Amplifier. | - Draw the circuit of a Class A Transistor Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot the Class A Transistor Amplifier. |
| - Plot Frequency Response of class A Amplifier. | - Calculate the input and output voltage of Class A Transistor Amplifier - Find out V-I characteristics curve. |

Knowledge and understanding

- Study the operation of CS Amplifier.

- Study its characteristics curve and parameters.

- Study the operation of CG Amplifier.

- Study its characteristics curve and parameters.

- Study the operation of CD Amplifier.

- Study its characteristics curve and parameters

- Study the operation of Transistor Amplifier.

- Study its characteristics curve and parameters.

- Study the gain of a single Stage Class A Transistor Amplifier.

- Study its characteristics curve and parameters

- Study the operation of common source FET amplifier.

- Study the characteristics curve of common source FET amplifier.

- Study the types of FET amplifier.

- Study the operation of class A Transistor Amplifier.

- Study its characteristics curve and parameters.

- Study the Frequency Response of class A Amplifier.

- Study its characteristics curve and parameters

Tools & Equipment

| SN |  |
| --- | --- |
|  | CD Amplifier. |
|  | Class A Transistor Amplifier. |
|  | CS Amplifier. |
|  | Frequency Meter. |
|  | Multimeter |
|  | Oscilloscope/Function Generator |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Working principal  FET Amplifier

- Draw Characteristics  curve of FET amplifier

# Characterize BJT Amplifiers.

Overview

This competency standard identifies the competencies required to Characterize BJTs Amplifiers.

| Competency Units | Performance Criteria |
| --- | --- |
| - Determine the parameters of transistor. | - Identify Transistor - Identify types. - Perform biasing of Transistor - Identify current and Voltage Ratings. |
| - Implement Transistor as an amplifier by using CE, CB and CC Configuration. | - Arrange Circuit in CE. - Apply Biasing voltage. - Observe the difference between input and output voltage level. - Observe phase reversal - Arrange Circuit in CB. - Apply Biasing voltage. - Observe the difference between input and output voltage level. - Observe phase reversal. - Arrange Circuit in CC. - Apply Biasing voltage. - Observe the difference between input and output voltage level. - Observe phase reversal. |
| - Assemble a Class A Power Amplifier. | - Draw the circuit of a Class A power Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot the Class a power Amplifier. |
| - Measure power gain of a Class A Power Amplifier. | - Calculate the input and output voltage of Class A Power Amplifier - Find out gain by dividing output power/input power. |
| - Assemble an Amplifier and measure its voltages gain. | - Identify the circuit of RF amplifier. - Apply the use of RF Amplifier. - Find out the voltage gain. - Troubleshoot an RF Amplifier. - Draw its characteristics curve. |
| - Assemble the class C operation of RF Amplifier and Measure its power output. | - Draw the circuit of class C RF Amplifiers & measure its parameters. - Draw its characteristics curve. - Find out output power. |
| - Apply the frequency response of RC Coupled RF Amplifier | - Draw the circuit of RC Coupled RF Amplifier. Measure its parameters. - Draw its characteristics curve. - Find out its frequency response curve. - Troubleshoot RC coupled RF Amplifier circuit. - Apply the use of RC coupled RF Amplifier circuit |
| - Implement frequency response of impedance Coupled RF Amplifier | - Draw the circuit of impedance coupled RF Amplifier. Measure its parameters. - Draw its characteristics curve. - Find out its impedance response curve. - Troubleshoot impedance coupled RF Amplifier circuit. - Apply the use of impedance coupled RF Amplifier circuit |
| - Implement frequency response of Transformer Coupled RF Amplifier | - Draw the circuit of Transformer coupled RF Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot Transformer coupled RF Amplifier circuit. - Apply the use of Transformer coupled RF Amplifier circuit |
| - Apply response of RF Amplifier using Tuned load. | - Implement the circuit for Tuned load RF Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot Tuned load RF Amplifier circuit - Apply the use of Tuned load RF Amplifier circuit |
| - Identify the frequency response of direct coupled Audio Amplifier | P1. Arrange circuit diagram P2. Apply voltage to input. P3. Observe output and draw the characteristic curve P4. Determine current and Voltage Ratings. |
| - Identify the frequency response of RC coupled Audio Amplifier | P1. Arrange circuit diagram P2. Apply voltage to input. P3. Observe output and draw the characteristic curve P4. Determine current and Voltage Ratings P5. Observe the frequency response. |
| - Identify the frequency response of transformer coupled and power Amplifier | P1. Arrange circuit diagram P2. Apply voltage to input. P3. Observe output and draw the characteristic curve P4. Determine current and Voltage Ratings P5. Observe the frequency response and Gain, and distortion ratio. |

Knowledge and understanding

- Basic Electronics

- Semiconductor Theory

- Doping Procedure.

- Transistors terminals

- Transistor Biasing.

- Coupling Capacitor.

- V-I Characteristics

- Study the operation of class A Power Amplifier.

- Study its characteristics curve and parameters.

- Study the power gain of a Class A power Amplifier.

- Study its characteristics curve and parameters

- Study the operation of RF Amplifier.

- Study its characteristics curve and parameters

- Study the operation of Class C RF Amplifier.

- Study its characteristics curve and parameters.

- Study the operation of RC Coupled RF Amplifier.

- Study its characteristics curve and parameters.

- Observe its frequency response.

- Study the operation of impedance Coupled RF Amplifier.

- Study its characteristics curve and parameters.

- Observe it impedance response.

- Study the operation of Transformer Coupled RF Amplifier.

- Study its characteristics curve and parameters.

- Study the operation of Tuned load RF Amplifier.

- Study its characteristics curve and parameters.

- Electronics devices

- Study the Theory of directed coupled Audio Amplifier

- Transistors working and modes of operation.

Tools & Equipment

| SN |  |
| --- | --- |
|  | Capacitors |
|  | Class A Power Amplifier. |
|  | Class A Transistor Amplifier. |
|  | Class C RF Amplifier. |
|  | Multimeter |
|  | Oscilloscope/Function Generator |
|  | Power Supplies |
|  | Resistors |
|  | RF Amplifier. |
|  | Trainer |
|  | Transistors |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Design  RF amplifier

- Calculate gain of Class A amplifier

# Characterize various Oscillators.

Overview:

This competency standard identifies the competencies required to characterize oscillators.

| Competency Units | Performance Criteria |
| --- | --- |
| - Assemble a RC phase shift oscillator | - Implement the circuit of RC phase shift oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of RC phase shift oscillator circuit. - Troubleshoot RC phase shift oscillator. |
| - Working of a RC phase shift oscillator | - Implement working ofa RC phase shift oscillator. - Draw the circuit of a RC phase shift oscillator. Measure its parameters. - Troubleshoot of a RC phase shift oscillator - Repair of a RC phase shift oscillator. |
| - Assemble a Hartley oscillator. | - Implement the circuit of Hartley oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of Hartley oscillator circuit. - Troubleshoot RC phase shift oscillator. |
| - Working of a Hartley oscillator. | - Implement working of a Hartley oscillator. - Draw the circuit of a Hartley oscillator. Measure its parameters. - Troubleshoot of a Hartley oscillator. - Repair of a Hartley oscillator. |
| - Assemble a Colpite oscillator. | - Implement the circuit of Colpite oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of Colpite oscillator circuit. - Troubleshoot Colpite oscillator. |
| - Working of a Colpite oscillator. | - Implement working of a Colpite oscillator. - Draw the circuit of a Colpite oscillator. Measure its parameters. - Troubleshoot of a Colpite oscillator - Repair of a Colpite oscillator |
| - Assemble a crystal oscillator. | - Implement the circuit of crystal oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of crystal oscillator circuit. - Troubleshoot crystal oscillator. |
| - Implement the working of a crystal oscillator. | - Implement working of crystal oscillator. - Draw the circuit of a crystal oscillator. Measure its parameters. - Troubleshoot of a crystal oscillator. - Repair of a crystal oscillator |
| - Assemble a Pulse Tone oscillator | - Implement the circuit of Pulse Tone oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of Pulse Tone oscillator circuit. - Troubleshoot Pulse Tone oscillator . |
| - Working of a 555 IC as Timer and pulse generator | - Implement working ofa 555 IC. - Draw the circuit of a 555 IC and Measure its parameters. - Troubleshoot of a 555 IC . - Repair of a 555 IC . |
| - Implement a Pulse Tone oscillator by using 555 IC | - Draw circuit - Apply its use - Troubleshoot a Pulse Tone oscillator by using 555 IC - Repair a Pulse Tone oscillator by using 555 IC |

Knowledge and understanding

- Study the operation of  RC phase shift oscillator

- Study its characteristics curve and parameters.

- Study the operation  Hartley oscillator

- Study its characteristics curve and parameters.

- Study the operation of Colpite oscillator.

- Study its characteristics curve and parameters.

- Study the operation    crystal oscillator

- Study its characteristics curve and parameters.

- Study the operation of Pulse Tone oscillator

- Study its characteristics curve and parameters.

- Study the operation 555 IC

- Study its characteristics curve and parameters.

Tools & Equipment

| SN |  |
| --- | --- |
|  | 555 IC . |
|  | Colpite Oscillator |
|  | Hartley oscillator. |
|  | Multi-meter. |
|  | Oscilloscope/Function Generator |
|  | RC Phase shift oscillator. |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Construct RC phase oscillator

- Working principal of a    555 IC as Timer and pulse generator

# Design an Operation Amplifier.

Overview:

This competency standard identifies the competencies required to Construct Operation Amplifier.

| Competency Units | Performance Criteria |
| --- | --- |
| - Consult datasheet for OP AMP. | - Download datasheet for various OP AMP’s. - Identify various data sheets of OP AMP’s. |
| - Working of OP AMP 741,o7 | - Draw the circuit of OP AMP. - Identify its various components. - Apply the use of OP AMP working. - Troubleshoot OP AMP circuit. - Repair of OP AMP. - Characteristics of OP AMP. |
| - Implement the frequency response of OP AMP. | - Draw the characteristics curve of OP AMP circuit. - Find out its frequency response. |
| - Construct Non Inverting Amplifier with the help of OP AMP. | - Identify Non Inverting Amplifier. - Apply OP AMP to construct Non Inverting Amplifier. - Troubleshooting of Non inverting Amplifier. - Draw its characteristics curve. |
| - Construct Inverting Amplifier with the help of OP AMP. | - Identify Inverting Amplifier. - Apply OP AMP to construct Inverting Amplifier. - Troubleshooting of inverting Amplifier. - Draw its characteristics curve. |
| - Construct OP AMP Summer. | - Identify and assemble OP AMP Summer. - Implement OPAMP Summer Circuit - Perform its operation |
| - Construct OP AMP Unity Follower. | - Identify and assemble OP AMP Unity Follower. - Implement OP AMP Unity Follower‘s circuit. - Perform its operation |
| - Construct OP AMP Multiplier. | - Identify and assemble OP AMP Multiplier... - Implement OP AMP Multiplier‘s circuit. - Perform its operation - Trouble shooting - Repairing OP AMP Multiplier‘s circuit. |
| - Construct OP AMP Integrator. | - Identify and assemble OP AMP Integrator. - Implement OP AMP Integrator. - Trouble shooting - Repairing OP AMP Integrator. |
| - Construct OP AMP Differentiator. | - Identify and assemble OP AMP Differentiator. - Implement OP AMP Differentiator. - Trouble shooting - Repairing OP AMP Differentiator. - Implement OP AMP Differentiator. - Trouble shooting - Repairing OP AMP Integrator |
| - Construct OP AMP Comparator. | - Identify and assemble OP AMP Comparator. - Implement OP AMP Comparator. - Trouble shooting - Repairing OP AMP Comparator. |

Knowledge and understanding

- Study the different data sheets for OP AMP’s.

- Study its characteristics.

- Study the operation of OP AMP.

- Study the frequency response of OP AMP.

- Understand its characteristics curve.

- Understand working of Non inverting amplifier and OP AMP.

- Understand  OP AMP Summer operation

- Study its characteristics.

Tools & Equipment

| SN |  |
| --- | --- |
|  | Datasheets |
|  | Multi-meter |
|  | OP AMP. |
|  | Oscilloscope/Function Generator |
|  | Pulse tone OP AMP. |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Construct Opamp

- Use opamp as integrator

# Analytical Instruments

# Measure Temperature and Humidity:

Overview:

After completion of this competency standard the student will be able to measure humidity, moisture & Temperature using different instruments.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Convert various Temperature scales | - Differentiate between heat and temperature - Identity measuring units for Heat and Temperature - Perform conversion between scales i.e. Kelvin, Celsius and Fahrenheit scales - Identify three reference point of temperatures - Verify the theoretical and practical outputs |
| 2. Operate various types of Thermometers | - Identify and differentiate various types of temperature sensors. - Operate and read the output of the various sensors. - Compare performance and accuracy of Mercury bulb thermometer with sensor’s base thermometers |
| 3. Measure humidity using different humidity meters | - Setup wet and dry bulb psychomotor. - Identify the type of sensor for temperature sensing - Perform relative and absolute measurement using wet and dry bulb thermometer. - Identify Hydrometer (transducer type) components, Sensor type, Output & Input - Measure Humidity inside close container - Compare the measured humidity results |

Knowledge and understanding

- Learn about Heat

- Learn about Temperature

- Learn to convert and understand meaning of various temperature scales

- Explain thermocouple and temperature sensor.

- Learn the operation of various thermometers

- Explain various types of Humidity metering instruments

- Operation and data analysis of measurements

Tools & Equipment

| SN |  |
| --- | --- |
|  | Heater |
|  | Temperature controller |
|  | Multi-meter |
|  | Power supply |
|  | Temperature sensors |
|  | Mercury bulb thermometer |
|  | Humidity sensors and transducer |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Convert Fahrenheit scale to Kelvin scale

- Compare the measured humidity results

# Measure the Density & Power of Hydrogen ion (pH)

Overview

After completion of this competency standard the student will be able to measure the Density & pH of substances using a variety of measuring instruments.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Analyze Density by various techniques | - Differentiate digital and glass hydrometer - Perform measurements for different liquids - Setup filling ball apparatus and identify their building blocks. - Measuring density of oil by filling ball apparatus. - Setup fixed volume weight apparatus for density measurement - Perform measurement of density for various liquid by “fixed volume weight apparatus”. - Compare the measured results - Perform analysis and find the causes of variation in results (if any). - Generate a report |
| 2. Measure specific gravity in relation with density | - Setup displacer method apparatus. - Perform measurements for various liquids - Perform measurement of density by “fixed volume weight apparatus”. - Compare the measured results - Find the causes of variation in results (if any). - Generate an output report |
| 1. Measure the pH by different techniques | - Identify the litmus paper technique to measure the pH of solution. - Identify the default color of litmus paper - Identify the color variation of litmus paper in the Reference literature - Prepare solutions of acidic / basic concentrations. - Dip litmus paper in the solution in periodic way and observe the change in color - Record the values - Identify digital pH meter based on Electrode. - Apply the calibration procedure of the instrument - Measure the pH of all prepared solutions by digital pH meter - Compare the results measured by litmus paper and digital pH meter. - Analyze the variation in data, experimental time / complications and prepare write up. |

Knowledge and understanding

- Learn about density measurement techniques and their measuring instruments

- Learn acidic and basic behavior of solutions

- Learn the operation, calibration and measurements by using the digital pH meter based on Electrode.

- Learn the techniques about measuring pH in solutions.

- Understand the litmus paper technique for measuring pH.

- Understand the operation, measurement, analysis of the specific gravity measuring instruments.

- Understand the specific gravity in relation with density.

- Variation in results in the due to application of several techniques.

Tools & Equipment

| SN |  |
| --- | --- |
|  | Heater |
|  | Temperature controller and meter |
|  | Multi-meter |
|  | sensors |
|  | Power supply |
|  | Reference sample / materials |
|  | Reference solutions |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Measure pH level

- Prepare solutions of acidic / basic concentrations

# Measure the concentration of Environmental Gases

Overview:

After completion of this competency standard the student will be able to measure the concentration of various environmental Gases such as Oxygen, Carbon dioxides, Nitrogen, Carbon monoxides which play key role in defining the working environmental conditions in the industries and offices.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Measure the concentration of important gases | - Identify Oxygen and its parameter for the environmental conditions inside close environments. - Identify Carbon monoxides and its parameter for the environmental conditions inside close environments. - Identify carbon dioxides and its parameter for the environmental conditions inside close environments. - Identify Nitrogen and its parameters for the environmental conditions inside close environments. - Identify thermal conductivity analyzer instrument and it important building blocks, - Setup and arrange the known concentration storage of oxygen, carbon dioxide, carbon monoxide and Nitrogen. - Perform measurements by using thermal conductivity analyzer for the known concentration of all gaseous and check the deviation in the measured and reference values. - Setup and arrange unknown concentration of the gaseous and measured their concentration by using Thermal analyzer instrument and record the data. - Identify Carbon monoxide analyzer instrument with it basic building blocks - Setup and arrange unknown concentration of carbon monoxide and measured their concentration by using “carbon monoxide analyzer instrument and record data. - Identify Para-magnetic oxygen detector instrument with it basic building blocks - Arrange unknown concentration of Oxygen and measured their concentration by using “paramagnetic oxygen detector and record data. - Compare, analyze and interpret the data and comments on the deviation and discrepancies in relation with the reference data and instrumental techniques. - Create an output report |
| 2. Analyze flue Gas analyzer instrument | - Identify the basic building block for the flue gas analyzer components. - Identify sensor types uses for the different gases, i.e. for CO, O, Nitrogen etc - Calibrate (see user manual) the instrument with known gaseous concentrations. - Perform measurement for the all gaseous and record the results. - Compare the measured values with the above data and reference values. - Analyze and interpret the discrepancies, errors and deviations. - Generate an output report. |

Knowledge and understanding

- Learn environmental gases present and their required concentrations and parameters

- Understand the limits and dangers about the gaseous concentration.

- Learn the operation, calibration and measurements by using the thermal conductivity analyzer.

- Learn the basic, operation, calibration and measurements by using the Flue gas analyzer Instrument.

Tools & Equipment

| SN |  |
| --- | --- |
|  | Multimeter |
|  | Thermal Conductivity analyzer setup/instrument. |
|  | Known concentration of storage Oxygen, Nitrogen, Carbon dioxide, Carbon Monoxides |
|  | Sample storage container for measuring the unknown concentration |