National Vocational Certificate Level 5 in Instrumentation Technology

(Senior Instrumentation Technician)

Quality Assessed by:

Mr. Muqeem-ul-Islam

Director General (SS&C NAVTTC HQ, Islamabad)

CONTENTS

| Sr. No | TABLE OF CONTENTS | Pages |
| --- | --- | --- |
| 1. | Introduction | 4 |
| 2. | Purpose of the qualification | 4 |
| 3. | Date of Validation | 5 |
| 4. | Date of Review | 5 |
| 5. | Code of Qualification | 5 |
| 6. | Qualification Development Committee | 6 |
| 7. | Qualification Validation Committee | 7 |
| 8. | Entry Requirements | 7 |
| 9. | Regulations for the Qualification and Schedule of Units | 7 |
| 10. | Packaging of the qualification/Mapping/Common | 8-13 |
| CORE COMPETENCY STANDARDS |  |  |

Mapping of the Qualification	9

0714E&A1- Analyse the Gas Chromatography	10

0714E&A2- Perform the Spectroscopic characterization	12

Industrial Instrumentation & Control (IT-304)	16

0714E&A3- Design & Implement a Process Control	16

0714E&A4- Install the Transducers & Industrial Transmitters	19

0714E&A5- Install the Process Regulators & Actuators	21

0714E&A6- Install the Variable Frequency Drive-VFD	23

0714E&A7- Install the Pneumatic & Hydraulic Systems in Industry	25

Digital Circuits & Microprocessor Applications	27

0714E&A8- Classify the Digital Logic Gates	27

0714E&A9- Design Microprocessor applications	31

0714E&A10- Design Microcontroller applications	33

Advance Control System	36

0714E&A11- Design an advance Automation & Control system	36

0714E&A12- Install the advance control system	38

Boiler Instrumentation	40

0714E&A13- Install the boiler control system	40

0714E&A14- Operate the Boiler System	43

Entrepreneurship:	46

0714E&A15- Develop entrepreneurial skills	46

0714E&A16- Apply management and communication techniques	48

0714E&A17- Create human resource management plan	50

0714E&A18- Develop project management plan	52

0714E&A19- Develop sales plan	54

0714E&A20- Conduct research for customer needs and satisfaction	56

0714E&A21- Manage finances	58

0714E&A22- Identify and resolve problems	60

- INTRODUCTION

Instrumentation Technology is specifically designed for students of Electronics/Electrical and touches upon a variety of fundamental topics. This course will cover a major portion of Instrumentation Technology. This training program will also build upon these general concepts to cover object-oriented Instrumentation terminology.

This specialization (Level 1-5) covers topics ranging from basic Electrical & Electronics Measuring Instrumentation, basic engineering drawing & CAD, Instrumentation drawing, Instrumentation servicing & calibration,  Industrial Instrumentation . You will learn fundamental concepts of Microprocessor applications. We also get practical exposure of Boiler Installation & operation.     By the end of this course, trainee will understand the basics of Instrumentation Technology & able to work in an Industry..

The National Skills Strategy (NSS) aims at achieving a paradigm shift from time-bound   and supply led to competency-based and demand driven training in Pakistan. Competency-based training approach focuses on the demonstration of actual skills required in the workplace/industry. To achieve this strategy, NAVTTC in collaboration with GIZ is involved in the development process of CBT program to ensure competent skilled labor in demand driven vocational trades.

- National Vocational Qualification Framework (NVQF) as designed in consultation with the stakeholders including academia, researchers, industry, chambers and TEVTAs. Its aim is to identify knowledge & skills required for a qualification, determine equivalence, provide guidelines for Recognition of Prior Learning (RPL) and assure quality of training. NVQF designed for the Vertical and horizontal progression for learners, recognition of qualification, meeting with the national and international standards, facilitate conversion of informal training to formal training through RPL, improvement in quality of training and increased options for learners for selecting training programs in different trades. Competency Standards are performance specification that identify the knowledge and competencies an individual need to succeed in the workplace.

2. PURPOSE OF THE QUALIFICATION

The purpose of this qualification is to give the student a thorough understanding and skills of the Instrumentation Technology in three years training program. The Instrumentation technology industry needs skilled labour for meeting the national and international standards. It is therefore important to stress the need for a multidisciplinary approach to meet the challenges within the sector. Upon successful completion of this course the trainee should be able to know:

- Basic principles of Electricity & Electronics

- Installation of process variable measuring Instruments

- Instrumentation servicing & Calibration.

- Interface sensors & Transducer

- Improve the Digital & soft skills  of the trainees

Install & operate Boiler Instrumentation system

- Improve the quality and effectiveness of training and assessment for information technology    industry skilled labour

- Enhance Entrepreneurial skills of the trainee & will be able to start their own Business.

3. DATE OF VALIDATION

These national qualifications have been validated by the Qualification Development Committee (QVC) on 27-29 May, 2019 in Lahore and will remain currency until 28 May 2029.

4. DATE OF REVIEW

These national qualifications shall be reviewed in May, 2022

5. CODE OF QUALIFICATION

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling and analyzing cross-nationally comparable statistics on education and training. ISCED codes for these qualifications are assigned as follows:

| ISCED Classification for “Instrumentation Technology” level 5 (Diploma) |  |
| --- | --- |
| Code | Description |
| 0714E&A(5) | National Vocational Certificate level 5, in “Instrumentation Technology” |
| 0714E&A(4) | National Vocational Certificate level 4, in “Instrumentation Technology” |
| 0714E&A(3) | National Vocational Certificate level 3, in “Instrumentation Technology” |
| 0714E&A(2) | National Vocational Certificate level 2, in “Instrumentation Technology” |
| 0714E&A(1) | National Vocational Certificate level 1, in “Instrumentation Technology” |

6. QUALIFICATION DEVELOPMENT COMMITTEE

The following members participated in the qualifications development workshop 2019 in Karachi

| S. No. | Name & Designation | Organization |
| --- | --- | --- |
|  | Mr. Danish Attiq, Project Manager | Skill Tech International, Karachi |
|  | Engr Bilal Mehmood, Senior Instructor | Skill Tech International, Karachi |
|  | Engr Auragzeb Ansari, Assistant Professor | Usman Institute of Technology, Karachi |
|  | Engr Hassan Ali Rizvi, Assistant Manager | Lucky Cement Limited Karachi |
|  | Mr. Umair, Maintenance Engineer | SAPT, Karachi |
|  | Mr. Babar Sayeed, Chief Instructor | PSTC Karachi |
|  | Mr. Adeel Ahmed, Manager Production | Habib Oil Mills, Karachi |
|  | Mr. Sohail Akhtar, SSO | PCSIR, Karachi |
|  | Mr. Syed Farhan Hamid, Senior Instructor | PSTC Karachi |
|  | Mr. Muhammad Yasir, Assistant Director NAVTTC | NAVTTC, Islamabad |
|  | Mr. Ayub Nasir, DACUM facilitator | FWO |
|  | Dr. Abid Karim, Senior Scientific Officer | PCSIR, Karachi |
|  | Dr. Zeeshan , HOD, electronics | Dawood Engineering University Karachi |

7. QUALIFICATION VALIDATION COMMITTEE

The following members participated in the qualification validation workshop from 27-29 May 2019, in Lahore:

| S.No. | Name & Designation | Organization |
| --- | --- | --- |
|  | Hafiz ur Rehman Associate Professor | KP- TEVTA |
|  | Aijaz Ahmed Zia D&A Engineer | INTECH Process Automation |
|  | Abdur Rehman Research Assistant | PBTE Lahore |
|  | Syed Farhan Hamid Ali Sr.Instructor/Assistant DACUM Facilitator | Pak Swiss Training Centre Karachi |
|  | Pir Bakhush khan HoD/SSO | Centre for Development of Laboratory Equipments Lahore, Lahore Laboratory complex |
|  | Engr. Liaquat Ali Jamroo Director Academics | STEVTA |
|  | Muhammad Arshad Principal | PSTC Lahore |
|  | Muhammad Yasir Assitant Director | NAVTTC HQ |

8. ENTRY REQUIREMENTS

Entry requirements of this qualification is National Vocational Certificate Level 4 in Instrumentation Technology

9. REGULATIONS FOR THE QUALIFICATION AND SCHEDULE OF UNITS

Not applicable

10. PACKAGING OF QUALIFICATION

The national vocational qualifications are packaged as per following:

| Competency Standards | Occupation | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| Level 5 |  |  |  |  |  |  |  |
| Analyze the gas chromatography | Instrumentation supervisor | Level 5 | Technical | 30 | 30 | 60 | 6 |
| Perform the spectroscopic characterization |  | Level 5 | Technical | 30 | 30 | 60 | 6 |
| Design & Implement a Process Control |  | Level 5 | Technical | 30 | 39 | 69 | 6.9 |
| Install Transducer & Transmitter in Industrial Application |  | Level 5 | Technical | 30 | 39 | 69 | 6.9 |
| Install the process Regulators |  | Level 5 | Technical | 30 | 39 | 69 | 6.9 |
| Install the Variable Frequency Drive ( VFD ) |  | Level 5 | Technical | 33 | 57 | 90 | 9 |
| Install Pneumatic & Hydraulic systems in industry |  | Level 5 | Technical | 33 | 57 | 90 | 9 |
| Classify the Digital logic Gates |  | Level 5 | Technical | 26 | 27 | 53 | 5.3 |
| Design Microprocessor applications |  | Level 5 | Technical | 26 | 39 | 65 | 6.5 |
| Design Microcontroller applications |  | Level 5 | Technical | 26 | 39 | 65 | 6.5 |
| Design advance Automation and Control system |  | Level 5 | Technical | 15 | 30 | 45 | 4.5 |
| Install the advance control system |  | Level 5 | Technical | 15 | 30 | 45 | 4.5 |
| Install the Boiler Control System |  | Level 5 | Technical | 30 | 60 | 90 | 9 |
| Operate a Boiler Control System |  | Level 5 | Technical | 30 | 60 | 90 | 9 |
| Develop entrepreneurial skills | Entrepreneurship | Level 5 | Generic | 12 | 18 | 30 | 3 |
| Apply management and communication techniques |  | Level 5 | Generic | 12 | 18 | 30 | 3 |
| Create human resource management plan |  | Level 5 | Generic | 12 | 18 | 30 | 3 |
| Develop project management plan |  | Level 5 | Generic | 12 | 18 | 30 | 3 |
| Develop sales plan |  | Level 5 | Generic | 12 | 18 | 30 | 3 |
| Conduct research for customer needs and satisfaction |  | Level 5 | Generic | 12 | 18 | 30 | 3 |
| Manage finances |  | Level 5 | Generic | 12 | 18 | 30 | 3 |
| Identify and resolve problems |  | Level 5 | Generic | 12 | 18 | 30 | 3 |
| Total |  |  |  | 480 | 720 | 1200 | 120 |
| Percentage |  |  |  | 40 | 60 |  |  |

11. COMMON COURSES WITH RESPECTIVE LEVELS

LEVEL3

LEVEL2

LEVEL4

LEVEL5

# 12. MAPPING OF THE QUALIFICATION

# 0714E&A1- Analyse the Gas Chromatography

Overview: After the completion of this competency standard the student will be able to apply the Chromatographs in wide range of industries for detection of various concentrations in liquid and gases during the production or analytical routine procedures.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Operate Gas chromatograph by (GC) instrument | - Identify Burner assembly - Identify column and it characteristic parameters. - Understand the mechanism and working principle of Burner assembly. - Identify and understand the working mechanism of carrier gas assembly. - Identify the type of used Detector assembly and read it application parameters and detection mechanism, i.e. Photo multiplier tube (PMT) etc. - Identify Signal processing /conditioning circuits - Identify Data processing and control software parameters and settings. - Perform measurements by Gas spectrograph for various gaseous and record the data. - Perform measurements by Column type Gas spectrograph for various gaseous and record the data. - Differentiate between the data measured by “Gas Chromatograph” and “column type chromatograph” and write a report. - Compare, analyze and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database stored in the machine. - Construct an output report. |
| 2. Characterize Liquid chromatography instrument | - Identify Burner assembly - Identify column and it characteristic parameters. - Understand the mechanism and working principle of Burner assembly. - Identify and understand the working mechanism of carrier gas assembly. - Identify the type of used Detector assembly and read it application parameters and detection mechanism, i.e. Photo multiplier tube (PMT) etc - Identify Signal processing /conditioning circuits - Identify Data processing and control software parameters and settings. - Identify Data comparison, analysis and interpretation. - Perform measurements by chromatograph spectrograph for various gaseous and record the data. - Compare, analyzed and interpret the data and comments on the deviation and discrepancies in relation with the reference database stored in the machine. - Create an output report. |

Knowledge and understanding

Learn basic Gas chromatography techniques and it applications. Understand the working mechanism, operation and data analysis procedures of the Gas Chromatograph.

Tools & Equipment SN. 1; Multimeter. 2; Known concentration of the reference and sample gaseous.. 3; Gas chromatograph instrument. 4; Data acquisition and analysis software. 5; Reference experimental data stored in the database for comparison..

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Operate Gas chromatograph by (GC) instrument

- Identify and understand the working mechanism of carrier gas assembly

# 0714E&A2- Perform the Spectroscopic characterization

Overview: After the completion of this competency standard the student will be able to characterize various techniques of spectroscopy that are widely used for analytical purpose in Pharmaceutical, chemical, food and Pathological labs.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Operate the Dispersive type Spectrometer in (Visible) | - Identify Optical box containing Prism or grating, lenses and mirrors, detector type, signal conditioning unit, sample compartment and data processing unit. - Setup the spectrometer in visible range and observe the visible beam path. - Identify the sample and or reference compartment - Locate the dispersed spectra after grating or prism and change it position by moving the mirrors positions or prism or grating rotation degree. - Move back or forth and or up-down in order to change the position of colors on the slit entering the sample or reference compartment. - Observe the beam entering in the sample compartment after passing through the slits and observe the change in colors with rotation changing. Identify column and it characteristic parameters. - Observe the beam exiting from the sample compartment and reaching to the Detector and check the output of the Detector or circuit and record the milli-volt. - Prepare or arrange the sample and reference material for the spectrometer. - Measure the reference and data or spectra separately and calculate the results. - Compare, analyzed and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database. - Conclude and write a report. |
| - Operate the Interferometer type spectrometer | - Identify Optical box containing Interferometer, lenses and mirrors, detector type, signal conditioning unit, sample compartment and data processing unit. - Setup the spectrometer in visible range and observe the visible beam path. - Locate the output spectra from Interferometer and change it movable mirror position and observe the change in output. - Observe the beam entering in the sample compartment after passing through the slits and observe the change in colors with rotation changing. - Observe the beam exiting from the sample compartment and reaching to the Detector and check the output of the Detector or circuit and record the millivolt. - Prepare or arrange the sample and reference material for the spectrometer. - Measure the reference and data or spectra separately and calculate the processed spectra. - Compare the experimental time, accuracy and resolution of the data with the Dispersive type spectrometer. - Compare, analyzed and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database. - Create output report. |
| - Operate the FTIR (Four Transform Infrared) Spectrometer | - Identify Optical box containing Interferometer, lenses and mirrors, detector type, signal conditioning unit, sample compartment and data processing unit. - Locate or arrange infrared detector device and observe it working principle. - Setup the spectrometer in visible range and observe the visible beam path. - Locate the output spectra from Interferometer by using Infrared detecting device and change it movable mirror position and observe the change in output. - Observe the beam entering in the sample compartment after passing through the slits and observe the change in colors with rotation changing. - Observe the beam exiting from the sample compartment and reaching to the Detector and check the output of the Detector or circuit and record the millivolt. - Identify and observer Fourier transformation of the signal or spectra. - Prepare or arrange the sample and reference material for the spectrometer. - Measure the reference and data or spectra separately and calculate the processed spectra. - Compare, analyzed and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database. - Compare the experimental time, accuracy and resolution with the dispersive type infrared spectrometer (if available) - Conclude and write a report. |
| - Operate the Refracto-Meter | - Identify Sensor and its type parameters, Input - output blocks, sample compartment, signal processing or conditioning units, processing units. - Locate and observe the beam path (if possible) in relation with the sample compartment and detector circuit. - Prepare or arrange sample (liquid) and reference materials and literature database. - Measure the data or spectra for the various samples and references and calculate the resultant data or spectra. - Compare, analyzed and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database. - Conclude and write a report |
| Analyze the spectra using luminance meter | - Identify Sensor and its type parameters, Input - output blocks, signal processing or conditioning units, data processing units. - Prepare or arrange sample (bio material) and reference material and their literature’s database. - Measure the data or spectra for the various bio-materials and record the data or spectra. - Compare, analyzed and interpret the all measured data and comments on the deviation and discrepancies in relation with the reference database. - P5. Create an output |

Knowledge and understanding

- Learn basic Gas chromatography techniques and it applications.

- Understand the working mechanism, operation and data analysis procedures of the Gas Chromatography.

- Learn basic of the visible dispersive spectrometer a it basic building and functional blocks and it working principles, techniques and its applications.

- Learn about Fourier Transformation and its advantageous over conventional data processing techniques.

- Understand the working mechanism, operation and data analysis procedures of used in spectroscopy.

- Learn basic of the visible infrared light and it detection mechanism.

.

Tools & Equipment

| SN |  |
| --- | --- |
|  | Multimeter |
|  | Known concentration of the reference and sample materials. |
|  | Dispersive (grating or prism) type spectrophotometer |
|  | Data acquisition and analysis software |
|  | Reference experimental data stored in the database for comparison. |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Operate the Dispersive type Spectrometer in (Visible)

- Use of Spectrometer

# Industrial Instrumentation & Control (IT-304)

# 0714E&A3- Design & Implement a Process Control

Overview

After completing this competency standard the student will be able to understand the functions, uses and design process control.

| Competency Units | Performance Criteria |
| --- | --- |
| - Design an Open loop Process Control circuit | P1. Select the type of process control P2. Classify the work output to be taken P3. Sketch a paper circuit for the required process control P4. Construct the Open loop process control circuit P5. Generate an output report |
| - Design a Closed Loop Process control circuit | P1. Select the type of process control P2. Classify the work output to be taken P3. Sketch a paper circuit for the required process control P4. Construct the Closed loop process control circuit P5. Construct a Feedback circuit P5. Generate an output report |
| - Implement the ON/OFF Control Mode | P1. Analyze the type of control mode to be installed P2. Select the appropriate type of control mode P3. Install the desired control mode type as per the installation instructions P4. Perform a test run on the ON/OFF control mode P5. Generate the Output report |
| - Implement the PID Control Mode | P1. Analyze the type of control mode to be installed P2. Select the appropriate type of control mode P3. Install the desired control mode type as per the installation instructions P4. Perform a test run on the P control mode P5. Perform a test run on the PI control mode P6. Perform a test run on the PID control mode P7. Generate the Output report |

Knowledge and understanding

- Define process control, its working principles and uses in industry.

- Define process control, its working principles and uses in industry.

- Describe the advantages and disadvantages of ON/OFF control mode

- Describe the importance and method of PID control mode

- Describe the Industrial control phenomenon.

- Describe the method of ON/OFF control mode

- Explain the basic drawing skills

- Explain the PID control or manual mode

- Explain the process measuring instruments.

Tools & Equipment

| SN |  |
| --- | --- |
|  | 4-20 m amps devices |
|  | Indicators |
|  | IP Valves |
|  | Multi-meter |
|  | PID controller |
|  | Plotting Paper |
|  | Pneumatic valves and supply |
|  | SCR |
|  | Sketch Board |
|  | Soldering iron, Rods |
|  | SSR |
|  | Tool kit |
|  | Transistors, MOSFET |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Differentiate various application of closed loop and open loop control system

- Identify different pin configuration of PID controller using data sheet

# 0714E&A4- Install the Transducers & Industrial Transmitters

Overview:

After completion of this competency standard the student will be able to grasp the uses, basic concepts and installation of transducers and industrial Transmitters.

| Competency Units | Performance Criteria |
| --- | --- |
| Apply the P/I and I/P Transducers. | P1. Analyze the type of transducer to be installed P2. Install the desired type of transducer as per the installations manual P3. Perform the post installation measures P4. Generate an output report for the transducer |
| Install the Differential Pressure Transmitters. | P1. Analyze the type of DP Transmitter to be installed P2. Locate the point of installation for DP transmitter P3. Install the DP Transmitter as per the installations manual. P4. Perform Post Installation measures. P5. Generate an output report for the transmitter |
| 3. Install the Pneumatic Transmitter in Industry | P1. Analyze the type of Pneumatic Transmitter to be installed P2. Locate the point of installation for Pneumatic transmitter P3. Install the Pneumatic Transmitter as per the installations manual. P4. Perform Post Installation measures. P5. Generate an output report for the transmitter |

Knowledge and understanding

- Describe the working principle of DP transmitter.

- Describe the working principle of Pneumatic transmitter.

- Describe the working principles of P/I & I/P Transducers.

- Explain the applications of P/I & I/P transducers in industry

- Explain the criteria of  installation and calibration of P/I ,I/P transducers

- Explain the DP transmitter and its types.

- Explain the Installation & calibration procedures of DP transmitter

- Explain the Installation & calibration procedures of Pneumatic transmitter

- Explain the Pneumatic transmitter and its types.

Tools & Equipment

| SN |  |
| --- | --- |
|  | Calibrator |
|  | Calibrator probes |
|  | Compressor |
|  | DP Transmitter |
|  | I/P AND P/I Transducers |
|  | Multi-meter |
|  | Pneumatic Transmitter |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Differentiate various type of transducers

- Pin diagram and connectivity of pressure transmitter

# 0714E&A5- Install the Process Regulators & Actuators

Overview: After completion of this competency standard the student will be able to grasp the uses, basic concepts and installation of regulator and actuators.

| Competency Units | Performance Criteria |
| --- | --- |
| - Install the regulator in application | P1. Analyze the type of regulator to be installed P2. Select the appropriate type of regulator P3. Install the desired regulator type as per the installation instructions P4. Perform a test run on the regulator installed P5. Generate the Output report |
| 2. Install the Flow Control Actuators in application | P1. Analyze the type of Actuator to be installed P2. Select the appropriate type of Actuator P3. Install the desired Actuator type as per the installation instructions P4. Perform a test run on the Actuator installed P5. Generate the Output report |
| 3. analyze the Power Controlling Devices | P1. Analyze the type of Power Controlling Device to be installed P2. Select the appropriate type of Power Controlling Device P3. Install the desired Power Controlling Device type as per the installation instructions P4. Perform a test run on the Power Controlling Device P5. Generate the Output report |
| 4. Install the Motor in Application | P1. Analyze the type of motor to be installed P2. Select the appropriate type of motor P3. Install the desired motor type as per the installation manual P4. Perform a test run on the motor P5. Generate the Output report |

Knowledge and understanding

- Describe the installation and calibration criteria of Actuator

- Describe the installation and calibration criteria of motor

- Describe the installation and calibration criteria of Power Controlling  Device

- Explain the Actuator , Its Types and working principles

- Explain the Motor, Its Types and working principles

- Explain the Power Controlling  Device , Its Types and working principles

Tools & Equipment

| SN |  |
| --- | --- |
|  | Butterfly Valve |
|  | Caliberator |
|  | Differential Valve |
|  | Flow meter |
|  | Globe Valve |
|  | IGBT Module |
|  | Mosc controlled thyristor Module |
|  | Multimeter |
|  | Pressure controlled Regulator |
|  | Product manual |
|  | Rotary Plug Valve |
|  | SCR Module |
|  | Spring-regulator |
|  | Switching Relays |
|  | TRIAC Module |
|  | Weight Regulator |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Identify power control devices

- Pin diagram and connectivity of flow control sensor

# 0714E&A6- Install the Variable Frequency Drive-VFD

Overview: After completion of this competency standard the student will be able to grasp the uses, basic concepts and installation of VFD.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Install the Variable Frequency Drive | P1. Analyze the type of VFD to be installed P2. Select the appropriate type of VFD P3. Install the desired VFD type as per the installation instructions P4. Perform a test run on the VFD P5. Generate the Output report |
| 2. Perform the Parameterization process | P1. Analyze the required parameter P2. Select the appropriate parameter P3. Perform Parameter downloading P4. Perform a test run with parameter P5. Generate the output report |

Knowledge and understanding

- Explain the VFD, Its Types and working principles

- Describe the installation and commissioning

- Explain the VFD parameter procedure

- Describe the importance of Parameterization

- Describe the speed control by VFD

Tools & Equipment

| SN |  |
| --- | --- |
|  | Servo-VFD |
|  | Induction Motor |
|  | Servo Motor |
|  | Multi-meter |
|  | Tool kit |
|  | Product manual |
|  | Keypad |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Control Speed by VFD

- Working principle of servo VFD induction motor

# 0714E&A7- Install the Pneumatic & Hydraulic Systems in Industry

Overview: After completion of this competency standard the student will be able to grasp the uses, basic concepts and installation of pneumatic and hydraulic system.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Install Hydraulic Equipment. | P1. Analyze the type of hydraulic to be installed P2. Select the appropriate type of hydraulic P3. Install the desired hydraulic type as per the installation instructions P4. Perform a test run on the hydraulic equipment P7. Generate the Output report |
| 2. Perform equipment maintenance | P1. Analyze the type of hydraulic maintenance required P2. Select the appropriate procedure of hydraulic maintenance P3. Inspect the Pressure, Seal, Spring, Piston and oil level P4. Service the equipment as per the servicing manual |
| 3.Install Pneumatic Equipment | P1. Analyze the type of Pneumatic to be installed P2. Select the appropriate type of Pneumatic P3. Install the desired Pneumatic type equipment as per the installation instructions P4. Perform a test run on the Pneumatic equipment P7. Generate the Output report |

Knowledge and understanding

- Describe the advantages of hydraulic system

- Describe the advantages of Pneumatic system

- Describe the importance and requirement of hydraulic

- Describe the importance and requirement of Pneumatic

- Describe the method of checking pressure.

- Describe the method of Cleaning and oil level

- Explain the hydraulic maintenance procedures

- Explain the hydraulic system, types and working principle

- Explain the Pneumatic system, types and working principle

Tools & Equipment

| SN |  |
| --- | --- |
|  | Calibrator |
|  | Compressor |
|  | Hydraulic Pumps |
|  | Hydraulic Regulator |
|  | Hydraulic Relays |
|  | Magnetic coil |
|  | Piston |
|  | Pneumatic Valves |
|  | Pressure tester |
|  | Seal, |
|  | Sensors |
|  | Spring |
|  | Valves |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Working principle of Pneumatic system

- Perform a test run on the hydraulic equipment

# Digital Circuits & Microprocessor Applications

# 0714E&A8- Classify the Digital Logic Gates

Overview:

After this competency standard the student will be able to identify variety of digital logic gates ICs and their usage in industry.

| Competency Units | Performance Criteria |
| --- | --- |
| - Identify Various Logic gates ICs | - Identify the Logic gate ICs - Identify its types & polarities - Draw the different circuits with the help of logic gates ICs |
| - Implement OR gate IC | - Identify OR gate IC - Design different circuits with the help of OR gate IC - Operate DC motor,Relay,7segment,Decoder, and Led with the aid of OR gate IC - Interface sensors(IR Sensor, Proximity Sensor, LDR Sensor, Limit Switch and more) at the inputs of OR gate IC for understanding Automation - Check input/ouptut waveforms of IC on Oscilloscope |
| - Design a circuit based on logic gates using Boolean Expressions. | P1.Summarize the prescribed Boolean Expression. P2.Implement on logic gates. P3. Check input/ouptut waveforms of task on Oscilloscope |
| - Implement AND gate IC | - Identify AND gate IC - Design different circuits with the help of AND gate IC - Operate DC motor,Relay,7segment,,Decoder,and Led with the aid of AND gate IC - Interface sensors at the inputs of AND gate IC for understanding Automation - Check input/output waveforms of IC on Oscilloscope |
| - Implement NAND gate IC | - Identify NAND gate IC - Design different circuits with the help of NAND gate IC - Operate DC motor,Relay,7segment,,Decoder,and Led with the aid of NAND gate IC - Interface sensors(IR Sensor, Proximity Sensor, LDR Sensor, Limit Switch and more) at the inputs of NAND gate IC for understanding Automation - Check input/output waveforms of IC on Oscilloscope |
| - Implement NOR gate IC | - Identify NOR gate IC - Design different circuits with the help of NOR gate IC - Operate DC motor,Relay,7segment,,Decoder, and Led with the aid of NOR gate IC - Interface sensors(IR Sensor, Proximity Sensor, LDR Sensor, Limit Switch and more) at the inputs of NOR gate IC for understanding Automation - Check input/output waveforms of IC on Oscilloscope |
| - Implement XOR gate IC | - Identify XOR gate IC - Design different circuits with the help of XOR gate IC - Operate DC motor, Relay and LED with the help of XOR gate IC - Interface sensors(IR Sensor, Proximity Sensor, LDR Sensor, Limit Switch and more) at the inputs of XOR gate IC for understanding Automation - Check input/output waveforms of IC on Oscilloscope |
| - Implement XNOR gate IC | - Identify XNOR gate IC - Design different circuits with the help of XNOR gate IC - Operate DC motor,Relay,7segment,,Decoder, and Led with the aid of XNOR gate IC - Interface sensors(IR Sensor, Proximity Sensor, LDR Sensor, Limit Switch and more) at the inputs of XNOR gate IC for understanding Automation - Check input/ouptut waveforms of IC on Oscilloscope |
| - Design a circuit by using FLIP FLOP(SR/JK/D) IC | - Identify FLIP FLOP IC Design different circuits with the help of FLIP FLOP IC - Operate DC motor, Relay and Led with the help of FLIP FLOP IC - Interface sensors(IR Sensor, Proximity Sensor, LDR Sensor, Limit Switch and more) at the inputs of FLIP FLOP IC for understanding Automation - Construct counter, digital clock with aid of FLIP FLOP ICs - Serial and Parallel transfer of information from one register to others with the help of FLIP FLOP ICs - Binary up and down counter with the aid of FLIP FLOP ICs - Design a traffic light controller. - Check input/output waveforms of IC on Oscilloscope |
| - Design a circuit by using Multiplexer and De-multiplexer | P1.Construct a circuit for operating led by using Multiplexer P2.Construct a circuit for operating LED’s by using De-Multiplexer P3. Check input/output waveforms of Mux and De-Mux on Oscilloscope |

Knowledge and understanding

- Learn to identify AND gate IC & their applications in different circuits

- Learn to identify FLIP FLOP IC & their applications in different circuits

- Learn to identify logic gates ICs, polarities & their applications in circuits

- Learn to identify MUX, DEMUX and their applications in different circuits

- Learn to identify NAND gate IC & their applications in different circuits

- Learn to identify NOR  gate IC & their applications in different circuits

- Learn to identify OR gate IC & their applications in different circuits

- Learn to identify XNOR gate IC & their applications in different circuits

- Learn to identify XOR  gate IC & their applications in different circuits

- Understand multi-meter & power Supply

- Understand the data sheets

Tools & Equipment

| SN |  |
| --- | --- |
|  | Actuators |
|  | AND gate IC |
|  | Digital Oscilloscope |
|  | Multimeter |
|  | OR gate IC |
|  | Power supply |
|  | Relays |
|  | Sensors |
|  | Trainer |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Identify various gates and their data sheet

- Design a circuit by using Multiplexer and De-multiplexer

# 0714E&A9- Design Microprocessor applications

Overview

After completion of this competency standard the student will be able to perform a variety of tasks on a microprocessor and will be able to integrate the programming knowledge into the microprocessor

| Competency Units | Performance Criteria |
| --- | --- |
| - Identify microprocessors | - Identify processor features and Pin-Configuration - Draw the Microprocessor architecture - Compare and contrast the characteristics of Microprocessor & Microcontroller - Implement micro-processor selection criteria |
| - Identify function of microprocessors and their associated pins | - Identify processor features and Pin-Configuration - Draw the Microprocessor architecture - Compare and contrast the characteristics of Microprocessor & Microcontroller - Implement micro-processor selection criteria |
| - Program a microprocessor using basic instruction set | - Implement Basic instruction set and explain any - Implement addressing mode - Implement data transfer via accumulator |
| - Program a microprocessor to perform basic arithmetic and logical operation | - Implement arithmetic and logical operation. - Addition & Subtraction - Multiplication & Division - AND, OR, NOT operation - Jump operation |
| - Program a microprocessor to perform special operations | - Implement special function operations - Loops - Input / Output - Subroutines and interrupt - Explain Debugging and its procedure |

Knowledge and understanding

- Learn to identify microprocessor IC & their applications in different circuits

- Learn to identify Functions of microprocessor & their applications in different circuits

- Learn to Understand Instruction Sets and how to read and implement them

- Learn to Understand Memory types, their allocation and addressing procedures

- Learn to Implement basic microprocessor operations including move, arithmetic and logical operations

- Learn to implement Loops, Conditions, IOs, Subroutines, Interrupt and other Special function registers

- Learn to troubleshoot the problems via debugging tool

Tools & Equipment

| SN |  |
| --- | --- |
|  | Microprocessor |
|  | Development Kit |
|  | Breadboard |
|  | IC remover tool |
|  | Voltmeter |
|  | Programming Computer |
|  | Power supply |
|  | Trainer |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Identify various microprocessor and there data sheet

- Program a microprocessor to perform complex set of instructions

# 0714E&A10- Design Microcontroller applications

Overview

After completion of this competency standard the student will be able to perform a variety of tasks on a microprocessor and will be able to integrate the programming knowledge into the microprocessor

| Competency Units | Performance Criteria |
| --- | --- |
| - Identify microcontrollers | - Draw the microcontroller architecture - Implement microcontroller selection criteria |
| - Perform BCD addition and subtraction using Microcontroller | - Draw the schematic diagram of microcontroller for BCD addition and subtraction operation - Select the components of microcontroller for BCD addition and subtraction operation - Implement the circuit of microcontroller for BCD addition and subtraction operation - Program the microcontroller for BCD addition Functions - Apply the Inputs and verify the output, - Program the microcontroller for subtraction Functions - Apply the Inputs and verify the output,. - Generate Lab report |
| - Perform multiplication and division using Microcontroller | - Draw the schematic diagram of microcontroller for multiplication and division operation - Select the components of microcontroller for multiplication and division operation - Implement the circuit of microcontroller for multiplication and division operation - Program the microcontroller for multiplication Functions - Apply the Inputs and verify the output, - Program the microcontroller division - Apply the Inputs and verify the output,. - Generate Lab report |
| - Perform the operation to convert Centigrade in to Fahrenheit using Microcontroller | - Draw the schematic diagram of microcontroller for the conversion of Centigrade to Fahrenheit - Select the components of microcontroller for the conversion of Centigrade to Fahrenheit - Implement the circuit of microcontroller for the conversion of Centigrade to Fahrenheit - Program the microcontroller for the conversion of Centigrade to Fahrenheit - Apply the Inputs and verify the output - Generate Lab report |
| - Interface LCD with microcontroller | - Identify the pins of LCD and its function - Draw the schematic diagram of LCD interfacing with microcontroller - Select the components of LCD interfacing with microcontroller - Implement the circuit of LCD interfacing with microcontroller - Interface the LED with microcontroller via programming - Generate the hex file and load in microcontroller - Monitor the output - Generate Lab report |

Knowledge and understanding

- Learn to identify Microcontroller IC & their applications in different circuits

- Learn to perform Arithmetic operation & their applications in different circuits

- Learn to perform Logical operation & their applications in circuits

- Learn to perform Digital IO operation and their applications in different circuits

- Learn to perform Analog IO operation and their applications in different circuits

- Learn to interface LCD & their applications in different circuits

Tools & Equipment

| SN |  |
| --- | --- |
|  | Microcontroller |
|  | Development Kit |
|  | Breadboard |
|  | IC remover tool |
|  | Voltmeter |
|  | Programming Computer |
|  | Power supply |
|  | Trainer |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Identify various microcontrollers and their data sheet

- Program a microcontroller to take environment data and show at LCD

# Advance Control System

# 0714E&A11- Design an advance Automation & Control system

Overview

After the following competency standard, the student will be able to Develop, program, modify, simulate and debug variety of control systems in various industries.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Program a PLC to implement different programmable function. | P1. Identify PLC languages - Ladder - FBD - STL P2. Program a PLC to demonstrate various functions. (Timers, Counters, Arithmetic and logical) P3. Program a PLC to run a motor according to industrial application constraints. |
| 2. Implement industrial application using instruments and communication system | P1. Sketch the process of application (Flowchart, Pseudo code) P2. Identify process data and communication protocols and their specification P3. Implement open/close loop motor control P4. Implement a communication BUS system to monitor remote data |

Knowledge and understanding

- Explain PLC logic functions (gates, timers, counters, user function)

- Describe programming components of PLC.

- Explain the foundations of programming software and debugging tools.

- Explain the data in PLC, HMI and SCADA

- Develop flowcharts and Pseudo code

- Analyze and differentiate process measurements

- Explain communication type and topologies.

- Describe protocols, debugging software and tools.

- Explain the working of open/closed loop controls

- Develop Graphical User Interface (GUI / HMI)

Tools & Equipment

| SN |  |
| --- | --- |
|  | Latest programming software and tools |
|  | Programming Manual |
|  | PLC Manual |
|  | Programming Station (Computer) |
|  | Programming and communication adaptors |
|  | Latest HMI designing software |
|  | Electrical tool box |
|  | Special Tools for diagnosis |
|  | PLC Trainer |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Develop flowcharts and Pseudo code

- Write a PLC Program using Ladder logic

# 0714E&A12- Install the advance control system

Overview:

After this competency standard the student will be able to implement, troubleshoot and perform maintenance and diagnostics of variety of control system components in various industries.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Differentiate Modules of control systems | - Identify the standalone/ module - Demonstrate its functions & capabilities - Extract information from device part number |
| 2.Install / Modify PLC and its components | - Implement hardware configuration as per given design - Perform post installation test - Disassemble the hardware in accordance user’s manual |
| 3.Install field instruments | - Identify field instruments - Install the wiring from Module to instrument location - Install the instrument - Perform field testing and calibration (if required) - Generate the field testing reports |

Knowledge and understanding

- Describe different functions & importance of modules

- Describe the correlation of modules

- Describe the safe wiring and layout procedure

- Explain communication topology and their application

- Explain design and part selection as per the requirement of machine.

- Explain different instruments and their wiring.

- Explain hardware configuration

- Explain modular and Standalone design

- Explain offline/online testing procedures

- Explain the data sheets of instruments

- Explain the importance of hardware testing (monitoring, diagnose real time data/faults)

- Explain the module on basis of their specification

Tools & Equipment

| SN |  |
| --- | --- |
|  | Datasheets |
|  | Electrical Tester |
|  | Jumper wire set |
|  | Mili-Amp Source |
|  | Multimeter |
|  | Part Manuals |
|  | PLC Trainer |
|  | Pliers |
|  | Power supply |
|  | Screw driver set |
|  | Spanner set |
|  | Special Tools |
|  | Trainer |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Perform field testing and calibration

- Generate field testing report

# Boiler Instrumentation

# 0714E&A13- Install the boiler control system

Overview:

After this competency standard the student will be able to implement, troubleshoot and perform maintenance and diagnostics of boiler instruments and its control system in various industries.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Select appropriate fittings and instruments according to requirement | - Select appropriate fittings and instruments according to requirement - Install/remove the orifice plate. - Perform boiler route/ pipe line testing. - Identify/remove the hazard that may affect equipment / maintenance personnel during maintenance - Perform lockout/tag out before starting maintenance work |
| 2. Install the Instruments | - Install and calibrate the transmitter - Remove the transmitter. - Calibrate the sensor and process variable switches. - Verify the physical value to the controller value by using specific tools. - Install/remove/Calibrate the differential pressure transmitter (ΔP). - Change the operating pressure safety valve (PSV) and Test the operation. - Demonstrate the working of gas regulator by changing the line pressure as specified. - Perform UV flame detector maintenance/ alignment/ manual test its functionality - Install/remove air blower - Perform manual testing/maintenance of an air blower - Install/remove ignition transformer for any abnormality - Visually inspect the electric discharge density and distance/physical condition of electrodes. - Demonstrate the phenomenon of flow, pressure, temperature compensation. |

Knowledge and understanding

- Demonstrate the calibration process of sensors and switches.

- Demonstrate the maintenance practices of motor operated valves (MOV), regulators, air blowers, ignition transformers.

- Knowledge of Boiler Working principle and method.

- Knowledge of the installation and calibration method of Current to Pneumatic (I/P) and Pneumatic to Current (P/I) converters

- Knowledge of types of mounting fittings and their working principles.

- Selection of instruments as per need and environment.

- Understanding of applications of Bernoulli's Theorem.

- Understanding of the heating system and its effectiveness.

- Understanding of the importance and procedure of flow, pressure and temperature compensation.

- Understanding of the installation and calibration method of Pressure, flow and differential Pressure transmitter (ΔP). Also calculation for conversion of ΔP to flow measurement.

- Understanding of the installation of Level and density transmitters/controllers.

- Understanding of the mounting and understanding of pressure and flow gauges with pig-tail siphon.

- Understanding of the selection of digital and analog actuators.

- Understanding of the ventilation system and its importance

- Understanding of the working principles of motor operated valves. (MOV), regulators, air blower, ignition transformers knowledge of their impact on overall operation of a boiler.

- Understanding of use of Orifice plate for fluid and gas.

Tools & Equipment

| SN |  |
| --- | --- |
|  | Datasheets |
|  | Digital pressure gauge |
|  | Digital thermometer |
|  | Electrical Tester |
|  | Electrical Tool Box |
|  | Function generator |
|  | Jumper wire set |
|  | Mili-Amp Source |
|  | Multi-Meter |
|  | O&M Manuals |
|  | Part Manuals |
|  | Power supply |
|  | Spanner Set |
|  | Special Tools |
|  | Tagout/lockout tools |
|  | Trainer |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Install and calibrate the transmitter

- Perform boiler route/ pipe line testing

# 0714E&A14- Operate the Boiler System

Overview

After the following competency standard, the student will be able to operate, perform operational shutdowns, monitor, analyze and record boiler data in various industry.

| Competency Units | Performance Criteria |
| --- | --- |
| 1. Prepare the boiler for operation | P1. Identify Health and safety hazards & report to responsible personnel. P2. Purge the boiler according to workplace procedure P3. Perform pre-operational checks & confirm operational status of boiler and related equipment |
| 2. Start and monitor boiler operation | P1. Start the boiler safely as per manufacturer's specifications P2. Operate the plant within limits of manufacturer's specifications P3. Monitor the Equipment to confirm operating condition P4. Test the water quality and adjust as required P5. Ensure that the workplace meets housekeeping standards |
| 3. Analyze and respond to abnormal performance | P1. Analyze operating data and plant operating conditions to identify causes of abnormal performance P2. Take corrective action in response to Hazards P3. Implement emergency procedures as required |
| 4. Handover the boiler operations | P1. Maintain the workplace in accordance with statutory requirements and workplace procedures P2. Carry out Handing over according to workplace procedure |
| 5. Carry out an operational shutdown | P1. Shut down the boiler according to workplace procedures P2. Identify the maintenance requirements & report according to workplace reporting procedure |
| 6. Prepare the boiler for an internal inspection | P1. Shut down the boiler according to workplace procedures P2. Clean the boiler is internally and externally according to workplace procedures P3. Remove the valves and fittings P4. Place the boiler in the appropriate storage mode according to manufacturer's recommendations P5. Generate a record report |

Knowledge and understanding

- Describe handover status of boiler and associated services which is important in handover

- Describe the Boiler inspection report after shutdown.

- Describe the services associated with boilers

- Explain the boiler system layout and steam/oil cycle

- Explain the importance and procedure of ash removal

- Explain the limitation of a boiler and the process data which need to be monitored

- Explain the parameter which impacts the shutdown.

- Explain the pre-handover procedures/checklist and their impact on overall operation.

- Explain the relationships of process variables and data curves

- Understand the basic working principles of combustion operation

- Understand the cleaning/purging procedure (internal/external) during shutdown

- Understand the data and their operating ranges.

- Understand the importance of PPEs and safe working procedures

- Understand the operation of pumping system, their parameter.

- Understand the operational and emergency shutdown procedure.

- Understand the operational data and its importance

- Understand the procedures for responding to emergency situations including safe shutdown procedure\

- Understand the purpose of purging, efficiency of fuel, tagout/lockout procedures.

- Understand the water quality test procedure.

Tools & Equipment

| SN |  |
| --- | --- |
|  | Trainer |
|  | O&M Manuals |
|  | Digital thermometer |
|  | Digital pressure gauge |
|  | Record book |
|  | Tag out / lockout tools |
|  | Special Tools |

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Start and monitor boiler operation

- Carry out an operational shutdown

# Entrepreneurship:

# 0714E&A15- Develop entrepreneurial skills

Overview: This Competency Standard identifies the competencies required to develop entrepreneurial skills by Hotel manager, in accordance with the organization’s approved guidelines and procedures. You will be expected to develop a business plan, collect information regarding revenue generation, develop a marketing plan and develop basic business communication skills. Your underpinning knowledge regarding entrepreneurial skills will be sufficient to provide you the basis for your work.

| Competency Unit | Performance Criteria |
| --- | --- |
| CU1. Develop a business plan | P1. Conduct a market survey to collect following information - Business Model - Financials - Equipment Estimation - Revenue Generation Sources - Marketing strategy - Market Trends - Overall Expenses P2. Select the best option in terms of cost, service, quality, sales, operational expenses P3. Compile the information collected through the market survey, in the business plan format |
| CU2. Develop a marketing plan | P1. Make a marketing plan for the service products, price, placement, promotion, people, packaging and positioning P2. Include the information of marketing plan in the business plan |
| CU3. Develop basic business communication skills | P1. Communicate with guests using effective communication skills P2. Use different modes of communication to communicate effectively e.g.: presentation, speaking, writing, listening, visual representation, reading etc. P3. Use specific business terms used in the market |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes:

- 7Ps of marketing including product, price, placement, promotion, people, packaging and positioning

- 7Cs of business communication

- Different modes of communication and their application in the industry

- Specific business terms used in the industry

- Available funding sources

- Low interest loans to start a new business

- Market survey and its tools e.g. : questionnaire, interview, observation etc,.

- Market trends for specific product offering

- State the main elements of business plan

- Business plan format

Critical Evidence(s) Required

The candidate needs to produce following Critical Evidence(s) in order to be competent in this competency standard:

- List 7Ps of marketing

- List 7Cs of business communication

# 0714E&A16- Apply management and communication techniques

Overview: This unit describes the skills and knowledge required to provide a critical link between people, ideas and information at all stages in the project life cycle. It involves assisting the project team to plan communications, communicating information related to the project, and reviewing communications. It applies to individuals who are project practitioners working in a project support role.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Contribute to communications planning | P1. Identify, source and contribute relevant information requirements to initial project documentation P2. Contribute to developing and implementing the project communications plan and communications networks |
| - Conduct information-management activities | P1. Act on and process project information according to agreed procedures as directed, to aid decision-making processes throughout project life cycle P2. Maintain information to ensure data is secure and auditable |
| - Communicate project information | P1. Communicate with clients and other stakeholders during project using agreed networks, processes and procedures to ensure flow of necessary information P2. Ensure reports are prepared and released according to authorization, or produced for release by others P3.Seek information and advice from appropriate project authorities as required |
| - Contribute to assessing effectiveness of communication | P1. Assist in ongoing review of project outcomes to determine effectiveness of communications-management activities P2. Report communications-management issues and responses to higher project authorities for application of lessons learned to future projects |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes:

    - Summarize models and methods of communications management in context of project life cycle and other project management functions

    - Importance of managing risk by treating information securely

    - Methods of reviewing outcomes

    - Organizational policies and procedures relevant to this role in a specific context.

Critical Evidence(s) Required

The candidate needs to produce following Critical Evidence(s) in order to be competent in this competency standard:

- Demonstrate managerial and communications plan for IoT product

- Elaborate decision-making processes throughout project life cycle

# 0714E&A17- Create human resource management plan

Overview: This unit describes the skills and knowledge required to assist with aspects of human resources management of a project. It involves establishing human resource requirements, identifying the learning and development needs of people working on the project, facilitating these needs being met, and resolving conflict in the team. It applies to individuals who are project practitioners working in a project support role.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Assist in determining human resource requirements | P1. Analyze work breakdown structure to determine human resource requirements P2. Prepare a skills analysis of project personnel against project task requirements P3. Assist in assigning responsibilities for achieving project deliverables |
| - Contribute to establishing and maintaining productive team relationships | P1. Actively seek views and opinions of team members during task planning and implementation P2. Promote cooperation and effective activities, goals and relationships within team P3. Communicate with others using styles and methods appropriate to organizational standards, group expectations and desired outcomes P4. Communicate information and ideas to others in a logical, concise and understandable manner P5. Regularly seek feedback on nature and quality of work relationships, and use feedback as basis for own improvement and development |
| - Assist with human resource monitoring | P1. Monitor work of project personnel against assigned roles and responsibilities within delegated authority levels P2. Monitor and control actual effort against project plan P3 Review skill levels against allocated tasks and recommend solutions, where required, to others P4. Advise others within delegated authority when assigned responsibilities are not met by project personnel P5. Undertake work in a multi-disciplinary environment according to established human resource management practices, plans, guidelines and procedures P6. Resolve conflict within delegated authority according to agreed dispute-resolution processes P7. Assist in offering human resource development opportunities to individuals with skill gaps |
| - Contribute to evaluating human resource practices | P1. Contribute to assessing effectiveness of project human resources management P2. Document lessons learned to support continuous improvement processes |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes:

- Alternative project personnel engagement options

- Job design principles and work breakdown structures

- Learning and development approaches that can be incorporated into project life cycle

- Methods for skills analysis

- Project roles, responsibilities and reporting requirements for human resources.

Critical Evidence(s) Required

The candidate needs to produce following Critical Evidence(s) in order to be competent in this competency standard:

- Produce the assigned roles and responsibilities of your team within delegated authority levels

- Provide dispute-resolution procedures for an organizations

# 0714E&A18- Develop project management plan

Overview: This unit describes the skills and knowledge to develop a plan for a hotel management plan, including assessing project requirements and planning for all stages to completion and final documentation.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare project management plan | P1. Evaluate and assess project brief and related documents P2. Produce document on project tasks and associated timelines, including installation processes and test requirements P3. Assess and produce document on resource requirements to assist allocation of appropriate resources P4. Produce training plan assessing training needs and associated timelines for efficient project implementation P5. Determine and document budgetary requirements P6. Discuss roles of all identified parties associated with project to ensure their involvement P7. Produce project verification document, including monitoring and control processes, and review processes such as quality audits P8. Consult with all relevant parties prior to finalizing draft plan and make changes as appropriate |
| - Develop and evaluate management plan | P1. Produce preliminary plan for consultation, including identified factors that may impact on realization of project and observance of relevant legislation, codes, regulation and standards P2. Consult with client and clarify any amendments P3. Develop final plan with recommendations |
| - Communicate project information | P1. Produce and document final plan to include implementation details and training needs P2. Present plan to client and obtain sign off |
| - Contribute to assessing effectiveness of communication | P1. Assist in ongoing review of project outcomes to determine effectiveness of communications-management activities P2. Report communications-management issues and responses to higher project authorities for application of lessons learned to future projects |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes:

- Key attributes of common telecommunications applications and related equipment

- Evaluate the connections to carrier infrastructure or equipment

- Current legislation relating to the design of installation of telecommunications equipment and connection to carrier services

- Advantages of leasing and purchase options to assist in delivering cost effective solutions

- Evaluate network and transmission equipment

- Network topologies, and interface and interconnect solutions

- Workplace health and safety (WHS) issues that need to be built into a plan, with consideration of:

  - electrical safety

  - materials handling

  - physical hazards

  - confined spaces

  - heights

  - lifting

- Evaluate the power requirements and electrical safety aspects of the installation plan

- Performance parameters and typical faults that may be encountered in client equipment and related connection and transmission media

- Various test equipment types suitable for tests to be made

- Warranty information for equipment supplies and contractor work guarantees.

Critical Evidence(s) Required

The candidate needs to produce following Critical Evidence(s) in order to be competent in this competency standard:

- Produce training plan assessing training needs and associated timelines for efficient project implementation

- Determine and document budgetary requirements

- Produce project verification document, including monitoring and control processes, and review processes such as quality audits

- Produce and document final plan to include implementation details and training needs

- Present plan to client and obtain sign off

# 0714E&A19- Develop sales plan

Overview: This unit describes the skills and knowledge required to develop a sales plan for a product or service for a team covering a specified sales territory based on strategic objectives and in accordance with established performance targets. It applies to individuals working in a supervisory or managerial sales role who develop a sales plan for a product or service.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Identify organizational strategic direction | P1. Obtain and analyze assessment of market needs and strategic planning documents P2. Review previous sales performance and successful approaches to identify factors affecting performance P3. Analyze information on market needs, new opportunities, customer profiles and requirements as a basis for decision making P4. Carry out competitor analysis for rate structure |
| - Establish performance targets | P1. Determine practical and achievable sales targets P2. Establish realistic timelines for achieving targets P3. Determine measures to allow for monitoring of performance P4 .Ensure objectives of the sales plan and style of the campaign are consistent with organizational strategic objectives and corporate image |
| - Develop a sales plan for a product | P1. Determine approaches to be used to meet sales objectives P2. Identify additional expertise requirements and allocate budgetary resources accordingly P3. Identify risks and develop risk controls P4. Develop advertising and promotional strategy for product P5. Identify appropriate distribution channels for product P6. Prepare a budget for the sales plan P7. Present documented sales plan to appropriate personnel for approval |
| - Identify support requirements | P1. Identify and acquire staff resources to implement sales plan P2. Develop an appropriate selling approach P3. Train staff in the selling approach selected P4. Develop and assess staff knowledge of product to be sold |
| - Monitor and review sales plan | P1. Monitor implementation of the sales plan P2. Record data measuring performance versus sales targets P3. Make adjustments to sales plan as required to ensure required results are obtained |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes:

- Outline principles and techniques for selling

- Outline methods for monitoring sales outcomes

- Statistical techniques for analyzing sales and market trends

- Internal and external sources of information that are relevant to identifying organizational strategic direction and developing a product sales plan.

- Competitors intelligence

Critical Evidence(s) Required

The candidate needs to produce following Critical Evidence(s) in order to be competent in this competency standard:

- Identify the risks of the product i.e., sale/deployments

- Produce a sales plan for the product

- Demonstrate marketing and selling approach

- Demonstrate advertising and promotional strategy for product

# 0714E&A20- Conduct research for customer needs and satisfaction

Overview: This unit describes the skills and knowledge required to manage an ongoing relationship with a customer over a period of time. This includes helping customers articulate their needs and managing networks to ensure customer needs are addressed. It applies to individuals who are expected to have detailed product knowledge in order to recommend customized solutions. In this role, individuals would be expected to apply organizational procedures and be aware of, and apply as appropriate, broader factors involving ethics, industry practice and relevant government policies and regulations.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Assist customer to articulate needs | P1. Ensure customer needs are fully explored, understood and agreed P2. Explain and match available services and products to customer needs P3. Identify and communicate rights and responsibilities of customers to the customer as appropriate |
| - Satisfy complex customer needs | P1. Explain possibilities for meeting customer needs P2. Assist customers to evaluate service and/or product options to satisfy their needs P3. Determine and prioritize preferred actions P4. Identify potential areas of difficulty in customer service delivery and take appropriate actions in a positive manner |
| - Manage networks to ensure customer needs are addressed | P1. Establish effective regular communication with customers P2. Establish, maintain and expand relevant networks to ensure appropriate referral of customers to products and services from within and outside the organization P3. Ensure procedures are in place to ensure that decisions about targeting of customer services are based on up-to-date information about the customer and the products and services available P4. Ensure procedures are put in place to ensure that referrals are based on the matching of the assessment of customer needs and availability of products and services P5.Maintain records of customer interaction in accordance with organizational procedures |
| - Convert customer enquiries into sales | P1. Use information provided by customers or accessed from the customer relationship management (CRM) system to identify any needs P2. Identify suitable products/services to meet needs P3. Make convincing sales pitches to customers following standard scripts P4. Handle customer queries, objections and rebuttals following standard scripts P5. Adapt your approach and style to customer preferences, within the limits of your competence and authority P6. Refer issues outside your area of competence and authority to appropriate people, following your organization’s procedures P7. Identify and act on opportunities to up-sell or cross-sell other products/services to customers P8. Confirm customer wishes and needs in order to close sales P9. Obtain required financial information from customers, following your organization’s procedures P10.Complete your organization’s post-sales procedures in order to complete/ fulfill sales P11. Comply with relevant standards, policies, procedures and guidelines when converting customer enquiries into sales |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes:

- Organizational procedures and standards for establishing and maintaining customer service relationships

- Consumer rights and responsibilities

- Ways to establish effective regular communication with customers

  - Outline details of products or services including with reference to:

  - possible alternative products and services

  - Variations within a limited product and service range

Critical Evidence(s) Required

The candidate needs to produce following Critical Evidence(s) in order to be competent in this competency standard:

- Gather customer needs and requirements

- Analyse customer needs and requirements

- Enlist communication rights and responsibilities of customers

- Handle customer relationship management (CRM) model to identify suitable products/services to meet customer needs

# 0714E&A21- Manage finances

Overview: This unit of competency describes the outcomes required to develop, implement and monitor a personal budget in order to plan regular savings and manage debt effectively.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Develop a personal budget | P1. Calculate current living expenses using available information to prepare a personal budget. P2. Keep a record of all income and expenses for a short period of time to help estimate ongoing expenses. P3. Subtract total expenses from total income to determine a surplus or deficit budget for the specified period. P4. Find reasons for a deficit budget and ways to reduce expenditure identified. P5. Identify ways to increase income, if possible |
| - Develop longer term personal budget | P1. Analyze income and expenditure and set longer term personal, work and financial goals. P2. Develop a longer-term budget based on the outcomes of short-term budgeting, and adjust to meet living, work and future career requirements. P3. Identify obstacles that might affect finances such as job loss, sickness or unexpected expenses contingency savings P4. Formulate a regular savings plan based on budget, using secure savings products and services. P5. Monitor expenditure against budget and identify areas of possible expenditure saving |
| - Identify ways to maximize future finances | P1. Determine sources and ways to maximize personal income, including from work, investments or available government payments/allowances. P2. Get further education or training to maintain or improve future income. P3. Identify the need for debt to finance living and other expenses, and determine the appropriate levels of debt and repayment. P4. Consolidate existing debt, where possible, to minimize interest costs and fees. P5.Seek professional money management services, where available, to ensure financial plans are effective and achievable |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes:

- Abilities to plan and organize to keep records and monitor a personal budget

- Abilities to set and review goals

- Basic financial management and record keeping to enable development and management of a personal budget

- Benefits of financial goal setting and personal budgeting to enable effective management of personal finances

- Numeracy skills to compare income and expenditure

Critical Evidence(s) Required

The candidate needs to produce following Critical Evidence(s) in order to be competent in this competency standard:

- Produce a longer-term budget based on the outcomes of short-term budgeting

- Develop and report the need for debt to finance living and other expenses,

- Determine the appropriate levels of debt and repayment

- Demonstrate the ways to increase finances and income

# 0714E&A22- Identify and resolve problems

Overview:

This unit is focus on negotiation in critical incidents and the development of strategic responses designed to resolve threatening incidents.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Identify a problem | P1. Form a problem statement and analyze root cause. P2. Take initiative in tackling problems rather than relying solely on directives P3. Follow logic steps in understanding root cause and analyzing potential solutions. |
| - Determine strategies for a required solution | P1. Analyze all aspects of the incident for degree of hazard, priorities, optional outcomes and appropriate strategies P2. Analyze and determine strategies and priorities on the incident sought from a range of sources P3. Assess long term objectives against resources and priorities P4. Apply a range of communication techniques to make and maintain contact with the key people P5. Provide clear and factual information to enable an honest and realistic assessment of the interests of the key people and their positions P6. Resolve the conflict and express their likely consequences clearly and do an analysis of the benefits P7. Reassess points of disagreements for common positive Positions |
| - Coordinate support - services | P1. Assess the need for support services in terms of the determined strategies and priorities P2. Negotiate the resources of support services according to established procedures and availability P3. Provide information on strategies to support services and maintain the communication P4 .Delegate roles and responsibilities according to expertise and resources |
| - Restore order | P1 .Assess the incidents for degree of risk and take appropriate action to reduce and remove the impact of the incident and restore order P2 .Take action designed to minimize risk and the preserve the safety and security of all involved P3 .Take action to prevent the escalation of the incident appropriate to the circumstances and agreed procedures. P4 .Carry out the use of force for the restoration of control and the maintenance of security in the least restrictive manner. P5 .Complete reports accurately and clearly provided to the appropriate authority promptly P6 .Review, evaluate and analyze the incident and the organizational response to it and report it promptly and accurately. |
| - Provide leadership. direction and guidance to the work group | P1. Link between the function of the group and the goals of the organization P2 .Participate in decision making routinely to develop, implement and review work of the group and to allocate responsibilities where appropriate P3 .Give opportunities and encouragement to others to develop new and innovative work practices and strategies P4. Identify conflict and resolve with minimum disruption to work group function P5.Provide staff with the support and supervision necessary to perform work safely and without risk to health P6 .Allocate tasks within the competence of staff and support with appropriate authority, autonomy and training P7 .Supervise appropriately the changing priorities and situations and takes into account the different needs of individuals and the requirements of the task |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes:

- Organization’s policies, guidelines and procedures related to control and surveillance, safety and preventing and responding to incidents and breaches of orders covered in the range of variables.

- Organization’s management and accountability systems

- Teamwork principles and strategies

- Principles of effective communication

- Guidelines for use of equipment and technology

- Code of conduct

Critical Evidence(s) Required

The candidate needs to produce following Critical Evidence(s) in order to be competent in this competency standard:

- Identify problem statement

- Build team

- Identify your target community for the proposed product/solution

- Analyze product sale and marketing plan

- Provide your strategy to execute entrepreneurial plan

- Provide three solutions (A, B, C) of your business plan

- Present complete portfolio of entrepreneurial plan as an evidence

- Provide clear and factual information to enable an honest and realistic assessment of the interests of the key people and their positions

- Provide information on strategies  to support after sale services

- Provide a complete entrepreneurial plan