National Vocational Certificate Level - 4 in Instrumentation Technology

(Curriculum)

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

1. 	Introduction	6

1.1.	Purpose of the training program:	6

1.2.	Overall objectives of training program:	7

1.3.	Competencies to be gained after completion of course:	9

1.4.	Entry level of trainees:	15

1.5.	Minimum qualification for teachers:	15

1.6.	Medium of instruction:	15

1.7.	Duration of the course:	16

1.8.	Description and structure of the course	17

Health and Safety	26

Module 0714E&A1: Maintain Occupation Health and Safety.	26

Module 0714E&A2: Adopt Safety Regulation, Labour Protection Laws, Environmental Protection Laws at Workplace.	31

Principles of Electrical & Electronics	36

MODULE 0714E&A3.	VERIFY THE DC FUNDAMENTALS	36

MODULE 0714E&A4.	APPLY THE AC FUNDAMENTALS	41

MODULE 0714E&A5.	INSTALL RELAYS AND SWITCHES IN VARIOUS DOMESTIC AND INDUSTRIAL CIRCUITS	43

MODULE 0714E&A6.	INSTALL DIFFERENT TYPES OF TRANSFORMERS	45

Computer Application	47

MODULE 0714E&A7.	APPLY BASIC COMPUTER SKILLS TO CREATE A VARIETY OF DOCUMENT	47

Basic Electrical Wiring (Single Phase):	52

MODULE 0714E&A8.	MAINTAIN TOOLS & EQUIPMENT.	52

MODULE 0714E&A9.	MAKE CABLE/WIRE JOINTS	54

MODULE 0714E&A10.	PREPARE AND INSTALL DISTRIBUTION BOARDS	58

MODULE 0714E&A11.	CARRYOUT BASIC ELECTRICAL INSTALLATION	61

MODULE 0714E&A12.	INSTALL SIMPLE ELECTRICAL WIRING	64

MODULE 0714E&A13.	PERFORM TESTING OF ELECTRICAL WIRING	69

MODULE 0714E&A14.	REPAIR/ MAINTENANCE OF ELECTRICAL INSTALLATIONS	74

MODULE 0714E&A15.	CARRY OUT ELECTRICAL PLANNING AND ESTIMATION	76

Process Variable Measurements	80

MODULE 0714E&A33.	INSTALL TEMPERATURE & PRESSURE MEASUREMENT INSTRUMENT/DEVICES	80

MODULE 0714E&A34.	INSTALL LEVEL MEASURING INSTRUMENT/DEVICES	83

MODULE 0714E&A35.	INSTALL FLOW LEVEL MEASURING INSTRUMENT/DEVICES	86

Metrology	89

MODULE 0714E&A36.	TAKE MEASUREMENTS WITH GRADUATED TOOLS	89

MODULE 0714E&A37.	TAKE MEASUREMENTS WITH COMBINATION SET	92

MODULE 0714E&A38.	TAKE MEASUREMENTS WITH GAUGES	96

MODULE 0714E&A39.	PERFORM MEASUREMENTS THROUGH MICROMETER	98

MODULE 0714E&A40.	MEASURE DIMENSIONS WITH VERNIER TOOLS	101

MODULE 0714E&A42.	MEASURE THREADS AND GEARS	106

Basic Electrical Engineering:	109

MODULE 0714E&A42.	OPERATE MEASURING INSTRUMENTS.	109

MODULE 0714E&A43.	VERIFY OHM’S LAW & KIRCHHOFF’S LAW BY IMPLEMENTING SERIES/PARALLEL CIRCUITS	111

MODULE 0714E&A44.	MEASURE ELECTRICAL POWER, ENERGY, POWER FACTOR & DETERMINE PHASE SEQUENCE	115

MODULE 0714E&A45.	DEMONSTRATE ELECTROMAGNET TO SEE VARIOUS EFFECTS & VERIFY FARADAYS LAW	118

MODULE 0714E&A46.	VERIFY SERIES AND PARALLEL COMBINATION OF CAPACITORS & DETERMINE BREAK DOWN VOLTAGE OF CAPACITOR	122

Basic Electronics (Analog)	125

MODULE 0714E&A47.	IDENTIFY BASIC ELECTRONICS COMPONENTS	125

MODULE 0714E&A48.	DESIGN RECTIFIER USING DIODE	129

MODULE 0714E&A49.	CARRY OUT DIODE APPLICATION	131

MODULE 0714E&A50.	IMPLEMENT BIPOLAR JUNCTION TRANSISTOR (BJT) IN DIFFERENT APPLICATIONS	133

MODULE 0714E&A51.	IMPLEMENT FIELD EFFECT TRANSISTOR (FET) IN DIFFERENT APPLICATIONS	137

MODULE 0714E&A52.	IMPLEMENT THYRISTOR FAMILY IN VARIOUS APPLICATION	141

MODULE 0714E&A53.	APPLICATION OF OPERATIONAL AMPLIFIER	143

Electrical & Electronic Measuring Instruments	147

MODULE 0714E&A64.	OPERATE MEASURING INSTRUMENTS	147

Instrumentation Workshop Practice	153

MODULE 0714E&A65.	Connect Tubing and Fittings	153

MODULE 0714E&A66.	Perform Basic Machining Operation.	156

Electrical Circuit Analysis	159

MODULE 0714E&A67.	APPLY FUNDAMENTAL DC LAWS IN ELECTRIC CIRCUITS	159

Instrumentation Drawing	163

MODULE 0714E&A69- USE ENGINEERING DRAWING TECHNIQUES TO PRODUCE INSTRUMENTATION DRAWINGS	163

Instrument Servicing & Calibration	172

MODULE 0714E&A70.	CALIBRATE THE MEASURING INSTRUMENTS	172

Sensor & Transducers	181

MODULE 0714E&A72.	SENSOR & TRANSDUCERS	181

Semi-Conductor Devices and Electronic Circuit	186

MODULE 0714E&A73.	CHARACTERIZE BJT AMPLIFIERS.	186

MODULE 0714E&A74.	Characterize Diodes Application	195

MODULE 0714E&A75.	Characterize Various FET Amplifiers.	198

MODULE 0714E&A76.	DESIGN AN OPERATION AMPLIFIER	205

MODULE 0714E&A77.	CHARACTERIZE VARIOUS OSCILLATORS.	208

Analytical Instruments	215

MODULE 0714E&A78.	MEASURE TEMPERATURE & HUMIDITY	215

MODULE 0714E&A79.	MEASURE THE DENSITY & POWER OF HYDROGEN	218

MODULE 0714E&A80.	MEASURE THE CONCENTRATION OF ENVIRONMENTAL GASES	221

MODULE 0714E&A82.	PERFORM THE SPECTRO SCOPIC CHARACTERIZTION	229

Industrial Instrumentation & Control	243

MODULE 0714E&A84.	INSTALL THE TRANSDUCERS & INDUSTRIAL TRANSMITTERS	243

MODULE 0714E&A85.	INSTALL THE VARIABLE FREQUENCY DRIVE	245

Digital Circuits & Microprocessor Applications	246

MODULE 0714E&A88.	Classify the Digital Logic Gates	246

MODULE 0714E&A89.	Design Microprocessor applications	253

MODULE 0714E&A90.	DESIGN MICROCONTROLLER APPLICATIONS	256

Advance Control System:	260

MODULE 0714E&A91.	CONSTRUCT AN ADVANCE AUTOMATION & CONTROL SYSTEM	260

Boiler & Instrumentation:	262

MODULE 0714E&A92.	INSTALL THE BOILER CONTROL SYSTEM	262

MODULE 0714E&A93.	OPERATE THE BOILER SYSTEM	265

4.	List of Tools and Equipment	270

5.	Members of the Curriculum Development Committee	283

# 1. 	Introduction

Instrumentation Technology is specifically designed for students of Electronics/Electrical and touches upon a variety of fundamental topics. This course will cover a major portion of Instrumentation Technology. This training program will also build upon these general concepts to cover object-oriented Instrumentation terminology.

This specialization covers topics ranging from basic Electrical & Electronics Measuring Instrumentation, basic engineering drawing & CAD, Instrumentation drawing, Instrumentation servicing & calibration,  Industrial Instrumentation . You will learn fundamental concepts of Microprocessor applications. We also get practical exposure of Boiler Installation & operation.     By the end of this course, trainee will understand the basics of Instrumentation Technology & able to work in an Industry

The National Skills Strategy (NSS) aims at achieving a paradigm shift from time-bound   and supply led to competency-based and demand driven training in Pakistan. Competency-based training approach focuses on the demonstration of actual skills required in the workplace/industry. To achieve this strategy, NAVTTC in collaboration with GIZ is involved in the development process of CBT program to ensure competent skilled labor in demand driven vocational trades.

National Vocational Qualification Framework (NVQF) as designed in consultation with the stakeholders including academia, researchers, industry, chambers and TEVTAs. Its aim is to identify knowledge & skills required for a qualification, determine equivalence, provide guidelines for Recognition of Prior Learning (RPL) and assure quality of training. NVQF designed for the Vertical and horizontal progression for learners, recognition of qualification, meeting with the national and international standards, facilitate conversion of informal training to formal training through RPL, improvement in quality of training and increased options for learners for selecting training programs in different trades. Competency Standards are performance specification that identify the knowledge and competencies an individual need to succeed in the workplace.

## Purpose of the training program:

The purpose of the training is to provide skilled manpower to improve the existing capacity of Instrumentation sector. This training will provide the requisite skills to the trainees to deal with Instrumentation field. Further, to improve the skill level of the Instrumentation technician and prepare them for the Electrical and Electronics industry to meet the market competition nationally and internationally.

  - Overall objectives of training program:

The Instrumentation qualification level 2-5 consists of theoretical and practical details required to learn operational techniques of Calibration, Operation, and Maintenance of Instruments.

The main objectives of the qualification are as follows:

1.	Health and Safety

2.	Computer Application

3.	Principles of Electrical & Electronics

4.	Soft skills

5.	Electrical & Electronics Measuring Instruments

6.	Basic Engineering drawing and CAD

7.	Instrumentation workshop practice

8.	Process Variable Measurement

9.	Electrical Circuit Analysis

10.	Instrumentation drawing

11.	Semi-Conductor devices and Electronics circuit

12.	Instruments servicing and calibration

13.	Digital Skills

14.	Analytical Instruments

15.	Industrial Instrumentation and control

16.	Digital Circuits and Microprocessor application

17.	Advance control system

18.	Sensor and Transducer

19.	Boiler Instrumentation

20.	Entrepreneurship

## Competencies to be gained after completion of course:

The detail of the competency standards included in this qualification is given below:

National Certificate level 2 in “Instrumentation Technology”

- Maintain Occupational Health & Safety

- Adopt safety Regulations, Labour Protection Laws, Environment

- Develop Professionalism

- Apply the AC Fundamentals

- Verify the DC Fundamentals

- Operate the Measuring Instruments

- Connect Tubing and Fittings

- Perform Basic Machining Operation

- Install Relays & Switches in Domestic and Industrial Applications

- Install different types of Transformers

- Apply Basic Computer Skills to create variety of documents

- Maintain tools & Equipment

- Make Cable / Wire Joints

- Prepare and Install Distribution Boards

- Carryout Basic Electrical Installation

- Install Simple Electrical Wiring

- Repair / Maintenance of Electrical Installations

National Certificate level 3, in “Instrumentation Technology”

- Install Computer Operating Systems and Hardware

- Operate Word-Processing Applications

- Operate Spreadsheet Applications

- Operate Presentation Packages

- Perform Writing And Editing Tasks

- Perform Computer Operations

- Use Computer Applications

- Create User Documentation

- Create Technical Documentation

- Create Basic Databases

- Operate Digital Media Technology

- Use Social Media Tools for Collaboration And Engagement

- E-Commerce

- Use Digital Devices

- Apply basic CAD, Solid works software for designing and drawing

- Install Temperature & Pressure measuring instruments/devices

- Install level measuring instruments/devices

- Install the flow measuring instruments/devices

- Characterize Diodes Application

- Characterize various BJT amplifiers

- Characterize various FET amplifiers

- Characterize various Oscillators

- Design an Operational Amplifier

- Take measurements with graduated tools

- Take measurements with combination set

- Take measurements through various gauges

- Perform measurements through Micrometer

- Measure dimensions with Vernier tools

- Perform different measurements

- Operate Measuring Instruments.

- Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits.

- Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence

- Operate Oscilloscope

- Implement Electromagnet to See Various Effects & Verify Faradays Laws.

- Verify Law of Combination of Capacitor and Determine Break down voltage of Capacitor.

- Basic Electronics (Analog)

- Identify Basic Electronics Components

- Design a Rectifier using Diode

- Carry out Diode Application

- Implement Bipolar Junction Transistor (BJT) in Different Applications

- Implement Field Effect Transistor (FET) in Different Applications

- Implement Thyristor Family in Various Application

- Applications of Operation Amplifier

National Certificate level 4, in “Instrumentation Technology”

- Develop Workplace Policy and Procedures for Sustainability

- Maintain Professionalism in the Workplace

- Manage Personal Work Priorities and Professional Development

- Manage Workforce Planning

- Undertake Project Work

- Prepare and Implement Negotiation

- Manage Meetings

- Organize Schedules

- Identify and Communicate Trends in Career Development

- Apply Specialist Interpersonal and Counseling Interview Skills

- Apply fundamental laws of DC in electrical circuits

- Apply fundamental laws of AC in electrical circuits

- Use engineering drawing techniques to produce Instrumentation Drawings

- Interface the Sensor & Transducers

National Certificate level 5, in “Instrumentation Technology”

- Measure the Temperature & humidity

- Measure the Density and Power of Hydrogen Ion (pH)

- Measure the concentration of environmental gases

- Calibrate the Measuring instruments (Metrological Instruments)

- Analyze the gas chromatography

- Perform the spectroscopic characterization

- Install Transducer & Transmitter in Industrial Application

- Install the process Regulators

- Install the Variable Frequency Drive ( VFD )

- Install Pneumatic & Hydraulic systems in industry

- Installation and setup procedure for Digital Pressure, Temperature, Level and Flow Controllers

- Classify the Digital logic Gates

- Design Microprocessor applications

- Design Microcontroller applications

- Construct an Advance Automation and Control system

- Install the advance control system

- Install the Boiler Control System

- Operate a Boiler Control System

- Investigate Microbusiness Opportunities

- Develop A Micro Business Proposal

- Develop A marketing Plan

- Develop And Review A Business Plan

- Organize Finances For The Micro Business

- Manage Human Resources

- Market Products And Services

- Monitor And Review Business Performance

- Negotiate For Resolving Business Issues

- Manage Personal Finances

- Coordinate A Work Team

- Lead Small Teams

## Entry level of trainees:

The entry for National Vocational Certificate level 2-5, in (Instrumentation Sector) “Electrical & Electronics” are given below:

| Title | Entry requirements |
| --- | --- |
| National Certificate level 2, in “Instrumentation Technology” | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification may require skills and knowledge equivalent to middle (Grade 8). |
| National Certificate level 3, in “Instrumentation Technology” | Entry for assessment for this qualification is open. However, entry into formal training institute for this qualification is person having National Vocational Certificate level 2, in (Instrumentation) “Electrical & Electronics” |
| National Certificate level 4, in “Instrumentation Technology” | Entry for assessment for this qualification is open. However, entry into formal training institute for this qualification is person having National Vocational Certificate level 3, in (Instrumentation) “Electrical & Electronics” |
| National Certificate level 5, in “Instrumentation Technology” | Entry for assessment for this qualification is open. However, entry into formal training institute for this qualification is person having National Vocational Certificate level 4, in (Instrumentation) “Electrical & Electronics” |

## Minimum qualification for teachers:

    - B.Sc. / BE Engineering in Electronics/Mechatronics/Instrumentation.

    - B.Tech-Hons (4 Years) in Electronics/Mechatronics/ Instrumentationv along with 3 years teaching/industry post qualification experience.

    - Diploma in Electronics/Mechatronics/Instrumentation (Level 5) along with 7 years teaching/industry post qualification experience.

## Medium of instruction:

English/Urdu

## Duration of the course:

The proposed curriculum is composed of 20 modules that will be covered in 4825 learning hours. It is proposed that the course may be delivered in three years period.

The distribution of contact hours is given below:

Total		-	4825 hours.

Theory	-	1343.5 hours (27.84%)

Practical	-	3481.5 hours (72.15%)

## Description and structure of the course

Following is the structure of the course:

| Level 4 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Develop Workplace Policy and Procedures for Sustainability | Soft skills/ Human Resource | Level 4 | Generic | 6 | 30 | 36 | 3.6 |  |  |
| Maintain Professionalism in the Workplace |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |  |  |
| Manage Personal Work Priorities and Professional Development |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |  |  |
| Manage Workforce Planning |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |  |  |
| Undertake Project Work |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |  |  |
| Prepare and Implement Negotiation |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |  |  |
| Manage Meetings |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |  |  |
| Organize Schedules |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |  |  |
| Identify and Communicate Trends in Career Development |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |  |  |
| Apply Specialist Interpersonal and Counseling Interview Skills |  | Level 4 | Generic | 6 | 30 | 36 | 3.6 |  |  |
| Apply fundamental laws of DC in electrical circuits | Foreman | Level 4 | Generic | 15 | 45 | 60 | 6 |  |  |
| Apply fundamental laws of AC in electrical circuits |  | Level 4 | Generic | 15 | 45 | 60 | 6 |  |  |
| Use Engineering drawing techniques to produce Instrumentation Drawings |  | Level 4 | Generic | 10 | 45 | 55 | 5.5 |  |  |
| Interface the Sensor & Transducers |  | Level 4 | Generic | 10 | 45 | 55 | 5.5 |  |  |
| Characterize Diodes Application | Electronics Technician | Level 4 | Technical | 15 | 60 | 75 | 7.5 |  |  |
| Characterize various FET amplifiers |  | Level 4 | Technical | 15 | 60 | 75 | 7.5 |  |  |
| Characterize various BJT amplifiers |  | Level 4 | Technical | 15 | 60 | 75 | 7.5 |  |  |
| Characterize various Oscillators |  | Level 4 | Technical | 10 | 60 | 70 | 7 |  |  |
| Design an Operational Amplifier |  | Level 4 | Technical | 15 | 60 | 75 | 7.5 |  |  |
| Measure the Temperature & humidity | Measurements Technician | Level 5 | Technical | 15 | 45 | 60 | 6 |  |  |
| Measure the Density and Power of Hydrogen Ion (pH) |  | Level 5 | Technical | 15 | 45 | 60 | 6 |  |  |
| Measure the concentration of environmental gases |  | Level 5 | Technical | 15 | 45 | 60 | 6 |  |  |
| Calibrate the Measuring instruments (Metrological Instruments) |  | Level 5 | Technical | 15 | 45 | 60 | 6 |  |  |
| Total |  |  |  | 240 | 960 | 1200 | 120 |  |  |
| Percentage |  |  |  | 20 | 80 |  |  |  |  |

## Module: Develop workplace policy and procedures for sustainability.

Objective: After the completion of this competency standard, the Trainee will be able to develop and implement a workplace
sustainability policy and to modify the policy to suit changed circumstances. It applies to individuals with managerial responsibilities who undertake work developing approaches to create, monitor and improve strategies and policies within workplaces and engage with a range of relevant stakeholders and specialists.

Duration:  36 Hours			Theory:  6 Hours			Practice:  30 Hours          	        Credit Hours:  3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Develop workplace sustainability policy | Trainee will be able to: - Define scope of sustainability policy - Gather information from a range of sources to plan and develop policy - Identify and consult stakeholders as a key component of the policy development process - Include appropriate strategies in policy at all stages of work for minimizing resource use, reducing toxic material and hazardous chemical use and employing life cycle management approaches - Make recommendations for policy options based on likely effectiveness, timeframes and cost - Develop policy that reflects the organization s commitment to sustainability as an integral part of business planning and as a business opportunity - Agree to appropriate methods of implementation, outcomes and performance indicators | - Outline the environmental or sustainability legislation, regulations and codes of practice applicable to the organization identify internal and external sources of information and - Explanation of plan and development of the organization sustainability policy | Theory- 2 Hrs Practical- 6Hrs Total- 8 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Communicate workplace sustainability policy | Trainee will be able to: - Promote workplace sustainability policy, including its expected outcome, to key stakeholders. - Inform those involved in implementing the policy about expected outcomes, activities to be undertaken and assigned responsibilities. | - Outline organizational systems and procedures that relate to sustainability | Theory- 2 Hrs Practical- 6 Hrs Total- 8 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Implement workplace sustainability policy | Trainee will be able to: - Develop and communicate procedures to help implement workplace sustainability policy - Implement strategies for continuous improvement in resource efficiency - Establish and assign responsibility for recording systems to track continuous improvements in sustainability approaches | - Outline typical barriers to implementing policies and procedures in an organization and possible strategies to address them. | Theory- 1 Hrs Practical- 9Hrs Total- 10 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU4. Review workplace sustainability policy implementation | Trainee will be able to: - Review workplace sustainability policy implementation. - Investigate successes or otherwise of policy. - Monitor records to identify trends that may require remedial action and use to promote continuous improvement of performance. - Modify policy and or procedures as required to ensure improvements are made | - Explain workplace policy development processes and practices | Theory- 1 Hrs Practical- 9Hrs Total- 10 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Maintain professionalism in the workplace

Objective: After the completion of this competency standard, the Trainee will be able to maintain a professional image in the
workplace, including behaving ethically, demonstrating motivation, respecting timeframes and maintaining personal appearance.

Duration:  36 Hours			Theory:  6 Hours			Practice:  30 Hours          	        Credit Hours:  3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Respect work timeframes | Trainee will be able to: - Demonstrate punctuality in meeting, set working hours and times. - Utilize working hours only for working and follow company regulations. - Complete work tasks within deadlines according to order of priority - Supervisors are informed of any potential delays in work times or projects | - Explain application of good manners and right conduct - Outline the company code of conduct/values | Theory- 2 Hrs Practical- 6Hrs Total- 8 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Maintain personal appearance and hygiene | Trainee will be able to: - Clean hair, body and nails regularly. - Wear suitable cloths for the workplace, and respect local and cultural contexts - Meet specific company dress code requirements | - Describe common products used for oral and personal hygiene | Theory- 2 Hrs Practical- 6Hrs Total- 8 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Maintain adequate distance with colleagues and clients | Trainee will be able to: - Respect personal space of colleagues and clients with reference to local customs and cultural contexts. - Keep sufficient distance from others - Avoid cross transmission of infections (especially through respiration) | - State workplace hygiene standards - Explain basic practices for oral and personal hygiene | Theory- 1 Hrs Practical- 9Hrs Total- 10 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Mulmediaprojector | Class Room |
| LU4. Work in an ethical manner | Trainee will be able to: - Follow company values/ethics codes of ethics and/or conduct, policies and guidelines. - Use company resources in accordance with company ethical standards. - Conduct personal behavior and relationships in accord with ethical standards and company policies. - Undertake work practices in compliance with company ethical standards, organizational policy and guidelines. - Instruct co-workers on ethical, lawful and reasonable directives. - Share company values /practices with co-workers using appropriate behavior and language. - Report work incidents /situations and/or resolved in accordance with company protocol /guidelines. | - Outline the Company regulations, performance and ethical standards - Explain work responsibilities/job functions - Describe communication skills | Theory- 1 Hrs Practical- 9Hrs Total- 10 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Maintain professional development and career professionalism

Objective: After the completion of this competency standard, the Trainee will be able to promote own learning career growth and
advancement.

Duration:  36 Hours			Theory:  6 Hours			Practice:  30 Hours          	        Credit Hours:  3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Identify own learning needs | Trainee will be able to: - Identify earning needs through evaluation of existing skills and knowledge against job and career progression requirements. - Gather feedback and appraisal is gathered from supervisors, colleagues and clients and used to identify learning needs and skill gaps. - Give advice to relevant personnel regarding identified professional needs. | - Explain all possible learning and development tools: training, mentoring, coaching, networking, seminars, project assignments - Elaborate methods of obtaining feedback - Describe Workplace policies and procedures | Theory- 3 Hrs Practical- 9Hrs Total- 12 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Motivate and build the team | Trainee will be able to: - Sought opportunities are sought for undertaking skill-development activities and are planned in liaison with work group and relevant personnel. - Follow and apply advice on the job coaching /mentoring - Undertake formal training programs where available. - Utilize knowledge and skills gained through professional development activities in the workplace and for career development. - Collect constructive assessment and feedback on work performance from colleagues and supervisor to identify ongoing learning needs and opportunities | - Describe fundamental rights at work including gender sensitivity - Outline methodology to identify own learning needs and preferred learning style | Theory- 2 Hrs Practical- 9Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Maintain professional growth and development | Trainee will be able to: - Sought recognitions as evidence of career advancement. - Obtain licenses and/or certifications relevant to job and career - Lay down professional goals and strategies to develop the required skills and knowledge through professional development | - Explain Range of options for undertaking personal skill development - Explain education, qualification and certification systems in the country | Theory- 1 Hrs Practical- 12Hrs Total- 13 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Manage personal work priorities and professional development

Objective: After the completion of this competency standard, the Trainee will be able to create systems and process to organize information and prioritize tasks. It applies to individuals working in managerial positions who have excellent organizational skills. The work ethic of individuals in this role has a significant impact on the work culture and patterns of behavior of others as managers at this level are role models in their work environment.

Duration:  36 Hours			Theory:  6 Hours			Practice:  30 Hours          	        Credit Hours:  3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Establish personal work goals | Trainee will be able to: - Serve as a positive role model in the workplace through personal work planning - Ensure personal work goals, plans and activities reflect the organization s plans, and own responsibilities and accountabilities - Measure and maintain personal performance in varying work conditions, work contexts and when contingencies occur | Explain principles and techniques involved in the management and organization of: performance measurement personal behavior, self-awareness and personality traits identification a personal development plan personal goal setting time Discuss management development opportunities and options for self Outline organization s policies, plans and procedures | Theory- 2 Hrs Practical- 9Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Set and meet own work priorities | Trainee will be able to: - Take initiative to prioritize and facilitate competing demands to achieve personal, team and organizational goals and objectives - Use technology efficiently and effectively to manage work priorities and commitments - Maintain appropriate work-life balance, and ensure stress is effectively managed and health is attended to | Describe methods for achieving a healthy work-life balance | Theory- 2 Hrs Practical- 9 Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Develop and maintain professional competence | Trainee will be able to: - Assess personal knowledge and skills against competency standards to determine development needs, priorities and plans - Seek feedback from employees, clients and colleagues and use this feedback to identify and develop ways to improve competence - Identify, evaluate, select and use development opportunities suitable to personal learning style/s to develop competence - Participate in networks to enhance personal knowledge, skills and work relationships - Identify and develop new skills to achieve and maintain a competitive edge | Explain types of learning style/s and how they relate to the individual Describe types of work methods and practices that can improve personal performance. | Theory- 2 Hrs Practical- 12Hrs Total- 14 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Manage workforce planning

Objective: After the completion of this competency standard, the Trainee will be able to manage planning in relation to an
organization’s workforce including researching requirements, developing objectives and strategies, implementing initiatives and monitoring and evaluating trends. It applies to individuals who are human resource managers or staff members with a role in a policy or planning unit that focuses on workforce planning.

Duration:  36 Hours			Theory:  6 Hours			Practice:  30 Hours          	        Credit Hours:  3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Research workforce requirements | Trainee will be able to: - Review current data on staff turnover and demographics - Assess factors that may affect workforce supply - Establish the organization’s requirements for a skilled and diverse workforce | Outline industrial relations relevant to the specific industry | Theory- 2 Hrs Practical- 6Hrs Total- 8 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Develop workforce objectives and strategies | Trainee will be able to: - Review organizational strategy and establish aligned objectives for modification or retention of the workforce - Consider strategies to address unacceptable staff turnover, if required - Define objectives to retain required skilled labor - Define objectives for workforce diversity and cross-cultural management - Define strategies to source skilled labor - Communicate objectives and rationale to relevant stakeholders - Obtain agreement and endorsement for objectives and establish targets - Develop contingency plans to cope with extreme situations | Explain current information about external labor supply relevant to the specific industry or skill requirements of the organization | Theory- 2 Hrs Practical- 6Hrs Total- 8 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Implement initiatives to support workforce planning objectives | Trainee will be able to: - Implement action to support agreed objectives for recruitment, training, redeployment and redundancy - Develop and implement strategies to assist workforce to deal with organizational change - Develop and implement strategies to assist in meeting the organization’s workforce diversity goals - Implement succession planning system to ensure desirable workers are developed and retained - Implement programs to ensure workplace is an employer of choice | - Strategies to assist workforce to deal with organizational change & work environment | Theory- 1 Hrs Practical- 9Hrs Total- 10 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU4. Monitor and evaluate workforce trends | Trainee will be able to: - Review workforce plan against patterns in exiting employee and workforce changes - Monitor labor supply trends for areas of over- or under-supply in the external environment - Monitor effects of labor trends on demand for labor - Survey organizational climate to gauge worker satisfaction - Refine objectives and strategies in response to internal and external changes and make recommendations in response to global trends and incidents - Regularly review government policy on labor demand and supply - Evaluate effectiveness of change processes against agreed objectives | Describe labor force analysis and forecasting techniques | Theory- 1 Hrs Practical- 9Hrs Total- 10 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Undertake project work

Objective: After the completion of this competency standard, the Trainee will be able to undertake a straightforward project or
a section of a larger project. It covers developing a project plan, administering and monitoring the project, finalizing the project and reviewing the project to identify lessons learned for application to future projects. This unit applies to individuals who play a significant role in ensuring a project meets timelines, quality standards, budgetary limits and other requirements set for the project.

Duration:  36 Hours			Theory:  6 Hours			Practice:  30 Hours          	        Credit Hours:  3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Define project | Trainee will be able to: - Access project scope and other relevant documentation - Define project stakeholders - Seek clarification from delegating authority of issues related to project and project parameters - Identify limits of own responsibility and reporting requirements - Clarify relationship of project to other projects and to the organization’s objectives - Determine and access available resources to undertake project | Give examples of project management tools and how they contribute to a project Explain the organization’s procedures and processes that are relevant to managing a project including: lines of authority and approvals quality assurance human resources budgets and finance recordkeeping reporting | Theory- 2 Hrs Practical- 6Hrs Total- 8 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Develop project plan | Trainee will be able to: - Develop project plan in line with the project parameters - Identify and access appropriate project management tools - Formulate risk management plan for project, including Work Health and Safety (WHS) - Develop and approve project budget - Consult team members and take their views into account in planning the project - Finalize project plan and gain necessary approvals to commence project according to documented plan | - Outline types of documents and other sources of information commonly used in defining the parameters of a project | Theory- 2 Hrs Practical- 6Hrs Total- 8 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Administer and monitor project | Trainee will be able to: - Take action to ensure project team members are clear about their responsibilities and the project requirements - Provide support for project team members, especially with regard to specific needs, to ensure that the quality of the expected outcomes of the project and document time lines are met - Establish and maintain required recordkeeping systems throughout the project - Implement and monitor plans for managing project finances, resources and quality - Complete and forward project reports as required to stakeholders - Undertake risk management as required to ensure project outcomes are met - Achieve project deliverables | - Outline the organization’s mission, goals, objectives and operations and how the project relates to them | Theory- 1 Hrs Practical- 9Hrs Total- 10 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU4. Finalize project | Trainee will be able to: - Complete financial recordkeeping associated with project and check for accuracy - Ensure transition of staff involved in project to new roles or reassignment to previous roles - Complete project documentation and obtain necessary sign-offs for concluding project | - Explain processes for identifying and managing risk in a project | Theory- 1 Hrs Practical- 9Hrs Total- 10 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Prepare and implement negotiation

Objective: After the completion of this competency standard, the Trainee will be able to prepare for and participate in a process of negotiation, Coordinate support services, Restore order, Provide leadership direction and guidance to the work group.

Duration:  36 Hours			Theory:  6 Hours			Practice:  30 Hours          	        Credit Hours:  3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare for the negotiation | Trainee will be able to: - Identify objectives and preferred outcome of the negotiation and determine minimum acceptable outcome - Understand in relation to what can be offered and what is needed from the other party - Gather information regarding the other party – objectives, needs, preferences, resources, what they want to achieve – in order to determine best negotiating points - List and rank the issues to consider concessions that may be made. - Find examples and refine negotiation argument - Check information to ensure it is correct and up-to-date. - Develop a negotiation plan that includes information about the other party and its interests and a set of responses and strategies to the anticipated tactics. - Prepare an agenda in advance, which includes discussion topics, participants, location and schedule | - Explain organization’s policies, guidelines and procedures related to control and surveillance, safety and preventing and responding to incidents and breaches of orders covered in the range of variables. | Theory- 1 Hrs Practical- 6Hrs Total- 7 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Participate in negotiations | Trainee will be able to: - Analyze all aspects of the incident for degree of hazard, priorities, optional outcomes and appropriate strategies - Analyze and determine strategies and priorities on the incident sought from a range of sources - Assess long term objectives against resources and priorities - Apply a range of communication techniques to make and maintain contact with the key people - Provide clear and factual information to enable an honest and realistic assessment of the interests of the key people and their positions - Resolve the conflict and express their likely consequences clearly and do an analysis of the benefits - Reassess points of disagreements for common positive positions | - Outline the principles of effective communication | Theory- 1 Hrs Practical- 6Hrs Total- 7 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Coordinate support services | Trainee will be able to: - Assess the need for support services in terms of the determined strategies and priorities - Negotiate the resources of support services according to established procedures and availability - Provide information on strategies to support services and maintain the communication - Delegate roles and responsibilities according to expertise and resources | - Explain organization’s management and accountability systems | Theory- 1 Hrs Practical- 6Hrs Total- 7 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU4. Restore order | Trainee will be able to: - Assess the incidents for degree of risk and take appropriate action to reduce and remove the impact of the incident and restore order - Take action designed to minimize risk and the preserve the safety and security of all involved - Take action to prevent the escalation of the incident appropriate to the circumstances and agreed procedures. - Carry out the use of force for the restoration of control and the maintenance of security in the least restrictive manner. - Complete reports accurately and clearly provided to the appropriate authority promptly - Review, evaluate and analyze the incident and the organizational response to it and report it promptly and accurately. | - Describe teamwork principles and strategies | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU5. Provide leadership direction and guidance to the work group | Trainee will be able to: - Link between the function of the group and the goals of the organization - Participate in decision making routinely to develop, implement and review work of the group and to allocate responsibilities where appropriate - Give opportunities and encouragement to others to develop new and innovative work practices and strategies - Identify conflict and resolve with minimum disruption to work group function - Provide staff with the support and supervision necessary to perform work safely and without risk to health - Allocate tasks within the competence of staff and support with appropriate authority, autonomy and training - Supervise appropriately the changing priorities and situations and takes into account the different needs of individuals and the requirements of the task | - Outline the guidelines for use of equipment and technology - Explain code of conduct | Theory- 2 Hrs Practical- 6Hrs Total- 8 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Manage Meetings

Objective: After the completion of this competency standard, the Trainee will be able to manage a range of meetings including
overseeing the meeting preparation processes, chairing meetings, organizing the minutes and reporting meeting outcomes. It applies to individuals employed in a range of work environments who are required to organize and manage meetings within their workplace, including conducting or managing administrative tasks in providing agendas and meeting material. They may work as senior administrative staff or may be individuals with responsibility for conducting and chairing meetings in the workplace

Duration:  36 Hours			Theory:  6 Hours			Practice:  30 Hours          	        Credit Hours:  3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and Prepare for meetings | Trainee will be able to: - Develop agenda in line with stated meeting purpose - Ensure style and structure of meeting are appropriate to its purpose - Identify meeting participants and notify them in accordance with organizational procedures - Confirm meeting arrangements in accordance with requirements of meeting - Dispatch meeting papers to participants within designated timelines | - Outline responsibilities of the chairperson and explain group dynamics in relation to managing meetings | Theory- 2 Hrs Practical- 9Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Conduct meetings | Trainee will be able to: - Chair meetings in accordance with organizational requirements, agreed conventions for type of meeting and legal and ethical requirements - Conduct meetings to ensure they are focused, time efficient and achieve the required outcomes - Ensure meeting facilitation enables participation, discussion, problem solving and resolution of issues - Brief minute-taker on method for recording meeting notes in accordance with organizational requirements and conventions for type of meeting | - Describe options for meetings including face-to-face, tele-conferencing, web-conferencing and using webcams | Theory- 2 Hrs Practical-9 Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Follow up meeting’s agenda for implementation | Trainee will be able to: - Check transcribed meeting notes to ensure they reflect a true and accurate record of the meeting and are formatted in accordance with organizational procedures and meeting conventions - Distribute and store minutes and other follow-up documentation within designated timelines, and according to organizational requirements - Report outcomes of meetings as required, within designated timelines | - Devise meeting terminology, structures, arrangements as per organizational procedures | Theory- 2 Hrs Practical- 12Hrs Total- 14 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Organize schedules

Objective: After the completion of this competency standard, the Trainee will be able to manage appointments and diaries for
personnel within an organization, using manual and electronic diaries, schedules and other appointment systems. It applies to individuals employed in a range of work environments who provide administrative support to teams and individuals.

Duration:  36 Hours			Theory:  6 Hours			Practice:  30 Hours          	        Credit Hours:  3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Establish schedule requirements | Trainee will be able to: - Identify organizational requirements and protocols for diaries and staff planning tools - Identify organizational procedures for different types of appointments - Determine personal requirements for diary and schedule items for individual personnel - Establish appointment priorities and clarify in discussion with individual personnel | - Identify the key provisions of relevant legislation, standards and codes that affect aspects of business operations or the achievement of team goals - Describe organizational requirements for managing appointments for personnel within the organization | Theory- 3 Hrs Practical- 15 Hrs Total- 18 Hr | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Manage schedules | Trainee will be able to: - Identify recurring appointments and deadlines, and schedule these in accordance with individual and organizational requirements - Establish availability of attendees, and schedule new appointments in accordance with required timelines and diary commitments - Negotiate alternative arrangements and confirm when established appointments are changed - Record appointments and manage schedules in accordance with organizational policy and procedures | - Summarize the range of appointment systems that could be used - Outline important considerations when managing the schedules of others. | Theory- 3 Hrs Practical- 15 Hrs Total- 18 Hr | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Identify and communicate trends in career development

Objective: After the completion of this competency standard, the Trainee will be able to conduct research to identify and communicate career trends. It establishes the need to interact professionally with others in assessing career needs, to effectively assist clients identify competencies they require for a career and employability in a given context. It also examines how to maintain quality of career development services and professional practice. It applies to individuals seeking to identify and communicate trends in career development.

Duration:  36 Hours			Theory:  6 Hours			Practice:  30 Hours          	        Credit Hours:  3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Research and confirm career trends | Trainee will be able to: - Apply knowledge of changing organizational structures, lifespan of careers and methods of conducting work search, recruitment and selection processes - Analyze changing worker and employer issues, rights and responsibilities in context of changing work practices - Examine importance of quality careers development services - Maintain all research, documentation, sources and references (electronic or physical) to a high degree of currency and relevance - Analyze implications of relevant policy, legislation, professional codes of practice and national standards relating to worker and employer issues - Research changes and trends in theory of career development counseling and practice - Confirm clusters, levels and combinations of transferable employability skills and preferences that may open employment options spanning more than one occupation or career pathway | - Explain client care and counseling techniques and processes in the context of career development services - Describe diversity and its potential effects on career choices - Outline relevant policy, legislation, codes of practice and standards relevant to career development - Explain recruitment and selection processes in the context of career development services | Theory- 2 Hrs Practical- 9Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Assess and confirm ongoing career development needs of target group | Trainee will be able to: - Analyze history and records in assessing needs of target group - Assess success of previous career development services and techniques used for individual or target group - Deploy other means to investigate appropriate care and counseling approaches as required - Maintain privacy, security of all data, research, personal records according to relevant policy, legislation, professional codes of practice & national standards - Establish existing work-life balance requirements, issues and needs | - Outline human psychological development and needs in relation to careers development | Theory- 2 Hrs Practical- 9Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Maintain quality of career development services and professional practice | Trainee will be able to: - Analyze and review relevance of career theories, models, frameworks and research for target group - Incorporate into career development services and professional practice, major changes and trends influencing workplace and career-related options and choices - Comply with all relevant policy, legislation, professional codes of practice that influence delivery of career development services | - Describe a range of data gathering and research techniques - Explain techniques used to analyze trends. | Theory- 2 Hrs Practical- 12Hrs Total- 14 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Apply specialist interpersonal and counseling interview skills

Objective: After the completion of this competency standard, the Trainee will be able to use advanced and specialized communication skills in the client-counselor relationship. This unit applies to individuals whose job role involves working with clients on personal and psychological issues within established policies, procedures and guidelines.

Duration:  36 Hours			Theory:  6 Hours			Practice:  30 Hours          	        Credit Hours:  3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Communicate effectively | Trainee will be able to: - Identify communication barriers and use strategies to overcome these barriers in the client-counselor relationship - Facilitate the client-counselor relationship through selection and use of micro skills - Integrate the principles of effective communication into work practices - Observe and respond to non-verbal communication cues - Consider and respond to the impacts of different communication techniques on the client-counselor relationship in the context of individual clients - Integrate case note taking with minimum distraction | Legal and ethical considerations for communication in counseling practice, and how these are applied in individual practice: codes of conduct/practice discrimination duty of care human rights practitioner/client boundaries privacy, confidentiality and disclosure rights and responsibilities of workers, employers and clients work role boundaries responsibilities and limitations of the counselor role work health and safety Principles of person-centered practice Communication techniques and micro-skills including: attending behaviors active listening, reflection of content feeling, summarizing questioning skills open, closed, simple and compound questions client observation skills noting and reflecting skills providing client feedback Specialized counseling communication techniques, and how they are used, including: challenging reframing focusing K8: components of the communication process including: encoder decoder Obstacles to the counseling process Self-evaluation practices, including: how to recognize own biases Impact of own values on the counseling relationship. | Theory- 2 Hrs Practical- 9Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Use specialized counseling interviewing skills | Trainee will be able to: - Select and use communication skills according to the sequence of a counseling interview - Identify points at which specialized counseling interviewing skills are appropriate for inclusion - Use specialized counseling communication techniques based on their impacts and potential to enhance client development and growth - Identify and respond appropriately to strong client emotional reactions | - Key objectives of counseling interview - Stages of a counseling interview - Potential impacts of using different communication skills and techniques in counseling contexts | Theory- 2 Hrs Practical- 9Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Evaluate own communication | Trainee will be able to: - Reflect on and evaluate own communication with clients - Recognize the effect of own values and beliefs on communication with clients - Identify and respond to the need for development of own skills and knowledge | Impacts of trauma and stress on the communication process, including on: concentration and attention memory use of verbal and written language use of body language challenging within the counseling session Observational techniques including: facial expressions non-verbal behavior posture silence Ways in which different people absorb information, including: visual auditory kinesthetic K10: communication barriers and resolution strategies, including: environmental physical individual perceptions cultural issues language age issues disability K9: primary factors that impact on the communication process including: context participants rules messages noise feedback | Theory- 2 Hrs Practical-12 Hrs Total- 14 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

# Electrical Circuit Analysis

## APPLY FUNDAMENTAL DC LAWS IN ELECTRIC CIRCUITS

Objective: After this competency standard the student will be able to identify & Study the characteristics of a variety of circuits related to DC Fundamentals and their usage in industry.

Duration:  60 Hours				Theory: 15 Hours						Practice: 45 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Test different circuits by using Ohm’s Law | Trainee will be able to: - Identify the Resistor and its type - Calculate the resistance of available resistors via Color coding chart - Draw the different circuits with the aid of Resistors. - (Series Circuits, Parallel Circuits, Series-Parallel Circuits) - Interface the resistor with led for understanding the concept of Ohm’s Law. - Connect Voltmeter, Ammeter and Wattmeter in electric circuits for calculations of parameters(Voltage, Current and Power) | - Explain Ohm’s Law. - Describe color coding of resistor - Explain simple electrical circuit - Explain series and parallel circuits - Calculate simple problems related to ohm’s law. Activity: Verify ohm’s law by designing electrical circuit by using electrical components (Resistor, Variable resistor, Variable power supply, Volt meter, Ammeter & DMM) | Theory-04Hrs Practical-12Hrs Total- 16Hrs | - Resistor - Variable Resistor - Voltmeter - Ammeter - Connecting leads - Variable Power supply - Digital Multimeter (DMM) | Class Room and Workshop |
| - Implement the DC Network theorems | Trainee will be able to: - Apply Kirchoff’s Current Law on circuits for developing the concept effectively. - Apply Kirchoff’s Voltage Law on circuits for developing the concept effectively. - Apply superposition theorem on circuits for developing the concept effectively. - Apply maximum power transfer theorem on circuits for developing the concept effectively. - Apply thevenin’s theorem on circuits for developing the concept effectively. - Apply Norton’s theorem on circuits for developing the concept effectively. - Apply Mesh theorem on circuits for developing the concept effectively. - Apply Star Delta and Delta Star Transformations of circuits. | - Define Kirchoff’s current law and voltage law. - Define maximum power transfer theorem. - Define thevenin’s theorem. - Define Norton’s theorem. - Define Mesh theorem. - Define Star Delta and Delta star transformation. Activity: 1) Construct the following circuit. A) Calculate the following in the given circuit - Total Resistance RT - Current in each branch - I1 - I2 - I3 - I4 - I5 - Total Current IT B) Solve the following circuit by using: - Kirchoff’s Current Law - By applying Thevenin Theorem - By applying Norton’s Theorem - By applying max power transfer theorem | Theory-04Hrs Practical-12Hrs Total-16Hrs | - Resistor - Voltmeter - Ammeter - Connecting leads - Digital Multimeter (DMM) | Class Room and Workshop |
| - Estimate the Power and Energy | Trainee must be able to: - Connection of wattmeter for measuring power in series and parallel circuits - Implement formulas for finding power and energy theoretically. - Perform a task for calculation of usage power and energy - Analyze the mechanical power by performing the practical with motors. | - Define power. - Explain procedure of connecting wattmeter with electric circuit. - Calculate simple problem related to power and energy. Activity: Perform the calculation of power and energy with the help of wattmeter and energy meter. | Theory- 04Hrs Practical-12Hrs Total-16Hrs | - Resistor - Load (BULB) - Bulb Holder - Connecting leads - Power Supply - Digital Multimeter (DMM) - Watt meter - Energy Meter | Class Room and Workshop |
| - Perform series and parallel connection of capacitors in circuits | Trainee must be able to: - Classify the capacitor and its types - Use capacitor in different circuits for understanding the functional area of capacitor - Capacitor in series and parallel circuits - Calculations of capacitor based circuits theoretically and practically. - Calculate charging and discharging waveforms by using digital oscilloscope | - Define capacitor. - Explain series and parallel connection of capacitor. - Calculate simple problems related to capacitor circuits (Series / Parallel) Activity: Calculate total capacitance of the circuit given below: | Theory- 03Hrs Practical-09Hrs Total-12 Hrs | - Capacitor - Connecting leads - Power Supply - Digital Multimeter (DMM) - Oscilloscope | Class Room and Workshop |

## Module: Manage personal work priorities and professional development

## Objective: After the completion of this competency standard, the Trainee will be able to create systems and process to organize information and prioritize tasks. It applies to individuals working in managerial positions who have excellent organizational skills. The work ethic of individuals in this role has a significant impact on the work culture and patterns of behavior of others as managers at this level are role models in their work environment.

## Duration:  5 Hours			Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours:  0.5

| ## Learning Unit | ## Learning Outcomes | ## Learning Elements | ## Duration | ## Materials ## Required | ## Learning ## Place |
| --- | --- | --- | --- | --- | --- |
| ## LU1. Establish personal work goals | ## Trainee will be able to: ## Serve as a positive role model in the workplace through personal work planning ## Ensure personal work goals, plans and activities reflect the organization s plans, and own responsibilities and accountabilities ## Measure and maintain personal performance in varying work conditions, work contexts and when contingencies occur | ## Explain principles and techniques involved in the management and organization of: performance measurement personal behavior, self-awareness and personality traits identification a personal development plan personal goal setting time ## Discuss management development opportunities and options for self Outline organization s policies, plans and procedures | ## Theory- 1 Hrs ## Practical- Hrs ## Total- 1 Hrs | ## Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | ## Class Room |
| ## LU2. Set and meet own work priorities | ## Trainee will be able to: ## Take initiative to prioritize and facilitate competing demands to achieve personal, team and organizational goals and objectives ## Use technology efficiently and effectively to manage work priorities and commitments ## Maintain appropriate work-life balance, and ensure stress is effectively managed and health is attended to | ## Describe methods for achieving a healthy work-life balance | ## Theory- 2 Hrs ## Practical- Hrs ## Total- 2 Hrs | ## Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | ## Class Room |
| ## LU3. Develop and maintain professional competence | ## Trainee will be able to: ## Assess personal knowledge and skills against competency standards to determine development needs, priorities and plans ## Seek feedback from employees, clients and colleagues and use this feedback to identify and develop ways to improve competence ## Identify, evaluate, select and use development opportunities suitable to personal learning style/s to develop competence ## Participate in networks to enhance personal knowledge, skills and work relationships ## Identify and develop new skills to achieve and maintain a competitive edge | ## Explain types of learning style/s and how they relate to the individual ## Describe types of work methods and practices that can improve personal performance. | ## Theory- 2 Hrs ## Practical- Hrs ## Total- 2 Hrs | ## Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | ## Class Room |

## Module: Manage workforce planning

Objective: After the completion of this competency standard, the Trainee will be able to manage planning in relation to an
organization’s workforce including researching requirements, developing objectives and strategies, implementing initiatives and monitoring and evaluating trends. It applies to individuals who are human resource managers or staff members with a role in a policy or planning unit that focuses on workforce planning.

Duration:  5 Hours			Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours:  0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Research workforce requirements | Trainee will be able to: - Review current data on staff turnover and demographics - Assess factors that may affect workforce supply - Establish the organization’s requirements for a skilled and diverse workforce | Outline industrial relations relevant to the specific industry | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Develop workforce objectives and strategies | Trainee will be able to: - Review organizational strategy and establish aligned objectives for modification or retention of the workforce - Consider strategies to address unacceptable staff turnover, if required - Define objectives to retain required skilled labor - Define objectives for workforce diversity and cross-cultural management - Define strategies to source skilled labor - Communicate objectives and rationale to relevant stakeholders - Obtain agreement and endorsement for objectives and establish targets - Develop contingency plans to cope with extreme situations | Explain current information about external labor supply relevant to the specific industry or skill requirements of the organization | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Implement initiatives to support workforce planning objectives | Trainee will be able to: - Implement action to support agreed objectives for recruitment, training, redeployment and redundancy - Develop and implement strategies to assist workforce to deal with organizational change - Develop and implement strategies to assist in meeting the organization’s workforce diversity goals - Implement succession planning system to ensure desirable workers are developed and retained - Implement programs to ensure workplace is an employer of choice | - Strategies to assist workforce to deal with organizational change & work environment | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU4. Monitor and evaluate workforce trends | Trainee will be able to: - Review workforce plan against patterns in exiting employee and workforce changes - Monitor labor supply trends for areas of over- or under-supply in the external environment - Monitor effects of labor trends on demand for labor - Survey organizational climate to gauge worker satisfaction - Refine objectives and strategies in response to internal and external changes and make recommendations in response to global trends and incidents - Regularly review government policy on labor demand and supply - Evaluate effectiveness of change processes against agreed objectives | Describe labor force analysis and forecasting techniques | Theory- 2 Hrs Practical- Hrs Total- 2 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Identify and communicate trends in career development

Objective: After the completion of this competency standard, the Trainee will be able to conduct research to identify and communicate career trends. It establishes the need to interact professionally with others in assessing career needs, to effectively assist clients identify competencies they require for a career and employability in a given context. It also examines how to maintain quality of career development services and professional practice. It applies to individuals seeking to identify and communicate trends in career development.

Duration:  5 Hours			Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours:  0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Research and confirm career trends | Trainee will be able to: - Apply knowledge of changing organizational structures, lifespan of careers and methods of conducting work search, recruitment and selection processes - Analyze changing worker and employer issues, rights and responsibilities in context of changing work practices - Examine importance of quality careers development services - Maintain all research, documentation, sources and references (electronic or physical) to a high degree of currency and relevance - Analyze implications of relevant policy, legislation, professional codes of practice and national standards relating to worker and employer issues - Research changes and trends in theory of career development counseling and practice - Confirm clusters, levels and combinations of transferable employability skills and preferences that may open employment options spanning more than one occupation or career pathway | - Explain client care and counseling techniques and processes in the context of career development services - Describe diversity and its potential effects on career choices - Outline relevant policy, legislation, codes of practice and standards relevant to career development - Explain recruitment and selection processes in the context of career development services | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Assess and confirm ongoing career development needs of target group | Trainee will be able to: - Analyze history and records in assessing needs of target group - Assess success of previous career development services and techniques used for individual or target group - Deploy other means to investigate appropriate care and counseling approaches as required - Maintain privacy, security of all data, research, personal records according to relevant policy, legislation, professional codes of practice & national standards - Establish existing work-life balance requirements, issues and needs | - Outline human psychological development and needs in relation to careers development | Theory- 2 Hrs Practical- Hrs Total- 2 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Maintain quality of career development services and professional practice | Trainee will be able to: - Analyze and review relevance of career theories, models, frameworks and research for target group - Incorporate into career development services and professional practice, major changes and trends influencing workplace and career-related options and choices - Comply with all relevant policy, legislation, professional codes of practice that influence delivery of career development services | - Describe a range of data gathering and research techniques - Explain techniques used to analyze trends. | Theory- 2 Hrs Practical- Hrs Total- 2 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Prepare and implement negotiation

Objective: After the completion of this competency standard, the Trainee will be able to prepare for and participate in a process of negotiation, Coordinate support services, Restore order, Provide leadership direction and guidance to the work group.

Duration:  5 Hours			Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours:  0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare for the negotiation | Trainee will be able to: - Identify objectives and preferred outcome of the negotiation and determine minimum acceptable outcome - Understand in relation to what can be offered and what is needed from the other party - Gather information regarding the other party – objectives, needs, preferences, resources, what they want to achieve – in order to determine best negotiating points - List and rank the issues to consider concessions that may be made. - Find examples and refine negotiation argument - Check information to ensure it is correct and up-to-date. - Develop a negotiation plan that includes information about the other party and its interests and a set of responses and strategies to the anticipated tactics. - Prepare an agenda in advance, which includes discussion topics, participants, location and schedule | - Explain organization’s policies, guidelines and procedures related to control and surveillance, safety and preventing and responding to incidents and breaches of orders covered in the range of variables. | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Participate in negotiations | Trainee will be able to: - Analyze all aspects of the incident for degree of hazard, priorities, optional outcomes and appropriate strategies - Analyze and determine strategies and priorities on the incident sought from a range of sources - Assess long term objectives against resources and priorities - Apply a range of communication techniques to make and maintain contact with the key people - Provide clear and factual information to enable an honest and realistic assessment of the interests of the key people and their positions - Resolve the conflict and express their likely consequences clearly and do an analysis of the benefits - Reassess points of disagreements for common positive positions | - Outline the principles of effective communication | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Coordinate support services | Trainee will be able to: - Assess the need for support services in terms of the determined strategies and priorities - Negotiate the resources of support services according to established procedures and availability - Provide information on strategies to support services and maintain the communication - Delegate roles and responsibilities according to expertise and resources | - Explain organization’s management and accountability systems | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU4. Restore order | Trainee will be able to: - Assess the incidents for degree of risk and take appropriate action to reduce and remove the impact of the incident and restore order - Take action designed to minimize risk and the preserve the safety and security of all involved - Take action to prevent the escalation of the incident appropriate to the circumstances and agreed procedures. - Carry out the use of force for the restoration of control and the maintenance of security in the least restrictive manner. - Complete reports accurately and clearly provided to the appropriate authority promptly - Review, evaluate and analyze the incident and the organizational response to it and report it promptly and accurately. | - Describe teamwork principles and strategies | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU5. Provide leadership direction and guidance to the work group | Trainee will be able to: - Link between the function of the group and the goals of the organization - Participate in decision making routinely to develop, implement and review work of the group and to allocate responsibilities where appropriate - Give opportunities and encouragement to others to develop new and innovative work practices and strategies - Identify conflict and resolve with minimum disruption to work group function - Provide staff with the support and supervision necessary to perform work safely and without risk to health - Allocate tasks within the competence of staff and support with appropriate authority, autonomy and training - Supervise appropriately the changing priorities and situations and takes into account the different needs of individuals and the requirements of the task | - Outline the guidelines for use of equipment and technology - Explain code of conduct | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Maintain professional development and career professionalism

## Objective: After the completion of this competency standard, the Trainee will be able to promote own learning career growth and
advancement.

## Duration:  5 Hours			Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours:  0.5

| ## Learning Unit | ## Learning Outcomes | ## Learning Elements | ## Duration | ## Materials ## Required | ## Learning ## Place |
| --- | --- | --- | --- | --- | --- |
| ## LU1. Identify own learning needs | ## Trainee will be able to: ## Identify earning needs through evaluation of existing skills and knowledge against job and career progression requirements. ## Gather feedback and appraisal is gathered from supervisors, colleagues and clients and used to identify learning needs and skill gaps. ## Give advice to relevant personnel regarding identified professional needs. | ## Explain all possible learning and development tools: training, mentoring, coaching, networking, seminars, project assignments ## Elaborate methods of obtaining feedback ## Describe Workplace policies and procedures | ## Theory- 2 Hrs ## Practical- Hrs ## Total- 2 Hrs | ## Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | ## Class Room |
| ## LU2. Motivate and build the team | ## Trainee will be able to: ## Sought opportunities are sought for undertaking skill-development activities and are planned in liaison with work group and relevant personnel. ## Follow and apply advice on the job coaching /mentoring ## Undertake formal training programs where available. ## Utilize knowledge and skills gained through professional development activities in the workplace and for career development. ## Collect constructive assessment and feedback on work performance from colleagues and supervisor to identify ongoing learning needs and opportunities | ## Describe fundamental rights at work including gender sensitivity ## Outline methodology to identify own learning needs and preferred learning style | ## Theory- 2 Hrs ## Practical- Hrs ## Total- 2 Hrs | ## Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | ## Class Room |
| ## LU3. Maintain professional growth and development | ## Trainee will be able to: ## Sought recognitions as evidence of career advancement. ## Obtain licenses and/or certifications relevant to job and career ## Lay down professional goals and strategies to develop the required skills and knowledge through professional development | ## Explain Range of options for undertaking personal skill development ## Explain education, qualification and certification systems in the country | ## Theory- 1 Hrs ## Practical- Hrs ## Total- 1 Hrs | ## Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | ## Class Room |

# Principles of Electrical & Electronics

## APPLY THE AC FUNDAMENTALS

Objective: After this competency standard the student will be able to identify variety of circuits related to AC Fundamentals and their usage in industry.

Duration:  60 Hours					Theory: 15Hours						Practice: 45 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Measure Alternating Current and Voltage | Trainee will be able to: - Perform a task on electric board & three phase panel via Multi-meter - Identify the AC and DC Voltage. - Differentiate the AC and DC Generator practically via suitable task | - Explain Alternating Current and Voltage - Explain AC and DC Generators and state their application - Explain Single & Three phase wiring - Explain Multi-meter and its functions Practical Activity: Construct a AC generator and measure current and voltage | Theory- 07Hrs Practical- 21Hrs Total- 28Hrs | - Test Bench - DC Motor - AC Motor - Three - Clamp meter - Isolation Tester - Sequence Tester - Multi meter | Class Room and Workshop |
| - Analyze the AC Circuits | Trainee will be able to: - Perform a task with AC loads (resistive, capacitive and inductive). - Calculate the AC parameters - Perform a task for understanding RLC Series and Parallel circuits with AC source. - Demonstrate the resonance in parallel and series circuits & calculate the related parameters. | - Describe the parameters related to AC/DC circuits - Explain the calculations (source, load) - Explain use of Sequence Tester, Insulation tester, Power Source - Explain resonance and its effects due to frequency - Explain use of Clamp Meters - Explain Impedance in AC circuits Practical Activity: Analyze the AC circuit and perform calculations for voltage, current, power factor and resonance response | Theory- 08Hrs Practical- 24Hrs Total- 32Hrs | - Test Bench - DC Motor - AC Motor - Three - Clamp meter - Isolation Tester - Sequence Tester - Power Quality Analyzer - Multi meter | Class Room and Workshop |

# Electrical Circuit Analysis

## APPLY FUNDAMENTAL DC LAWS IN ELECTRIC CIRCUITS

Objective: After this competency standard the student will be able to identify & Study the characteristics of a variety of circuits related to DC Fundamentals and their usage in industry.

Duration:  120 Hours				Theory: 26 Hours						Practice: 94 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Test different circuits by using Ohm’s Law | Trainee will be able to: - Identify the Resistor and its type - Calculate the resistance of available resistors via Color coding chart - Draw the different circuits with the aid of Resistors. - (Series Circuits, Parallel Circuits, Series-Parallel Circuits) - Interface the resistor with led for understanding the concept of Ohm’s Law. - Connect Voltmeter, Ammeter and Wattmeter in electric circuits for calculations of parameters(Voltage, Current and Power) | - Explain Ohm’s Law. - Describe color coding of resistor - Explain simple electrical circuit - Explain series and parallel circuits - Calculate simple problems related to ohm’s law. Activity: Verify ohm’s law by designing electrical circuit by using electrical components (Resistor, Variable resistor, Variable power supply, Volt meter, Ammeter & DMM) | Theory-06Hrs Practical-24Hrs Total- 30Hrs | - Resistor - Variable Resistor - Voltmeter - Ammeter - Connecting leads - Variable Power supply - Digital Multimeter (DMM) | Class Room and Workshop |
| - Implement the DC Network theorems | Trainee will be able to: - Apply Kirchoff’s Current Law on circuits for developing the concept effectively. - Apply Kirchoff’s Voltage Law on circuits for developing the concept effectively. - Apply superposition theorem on circuits for developing the concept effectively. - Apply maximum power transfer theorem on circuits for developing the concept effectively. - Apply thevenin’s theorem on circuits for developing the concept effectively. - Apply Norton’s theorem on circuits for developing the concept effectively. - Apply Mesh theorem on circuits for developing the concept effectively. - Apply Star Delta and Delta Star Transformations of circuits. | - Define Kirchoff’s current law and voltage law. - Define maximum power transfer theorem. - Define thevenin’s theorem. - Define Norton’s theorem. - Define Mesh theorem. - Define Star Delta and Delta star transformation. Activity: 1) Construct the following circuit. A) Calculate the following in the given circuit - Total Resistance RT - Current in each branch - I1 - I2 - I3 - I4 - I5 - Total Current IT B) Solve the following circuit by using: - Kirchoff’s Current Law - By applying Thevenin Theorem - By applying Norton’s Theorem - By applying max power transfer theorem | Theory-12Hrs Practical-30Hrs Total-42Hrs | - Resistor - Voltmeter - Ammeter - Connecting leads - Digital Multimeter (DMM) | Class Room and Workshop |
| - Estimate the Power and Energy | Trainee must be able to: - Connection of wattmeter for measuring power in series and parallel circuits - Implement formulas for finding power and energy theoretically. - Perform a task for calculation of usage power and energy - Analyze the mechanical power by performing the practical with motors. | - Define power. - Explain procedure of connecting wattmeter with electric circuit. - Calculate simple problem related to power and energy. Activity: Perform the calculation of power and energy with the help of wattmeter and energy meter. | Theory- 04Hrs Practical-20Hrs Total-24Hrs | - Resistor - Load (BULB) - Bulb Holder - Connecting leads - Power Supply - Digital Multimeter (DMM) - Watt meter - Energy Meter | Class Room and Workshop |
| - Perform series and parallel connection of capacitors in circuits | Trainee must be able to: - Classify the capacitor and its types - Use capacitor in different circuits for understanding the functional area of capacitor - Capacitor in series and parallel circuits - Calculations of capacitor based circuits theoretically and practically. - Calculate charging and discharging waveforms by using digital oscilloscope | - Define capacitor. - Explain series and parallel connection of capacitor. - Calculate simple problems related to capacitor circuits (Series / Parallel) Activity: Calculate total capacitance of the circuit given below: | Theory- 04Hrs Practical-20Hrs Total-24Hrs | - Capacitor - Connecting leads - Power Supply - Digital Multimeter (DMM) - Oscilloscope | Class Room and Workshop |

# Instrumentation Drawing

## MODULE 0714E&A69- USE ENGINEERING DRAWING TECHNIQUES TO PRODUCE INSTRUMENTATION DRAWINGS

Objective: This module identifies the use of engineering drawings including Process Flow Diagrams (PFDs), Piping and Instrument Diagrams (P&IDs), process equipment datasheets, vendor equipment engineering drawings and/or layouts and equipment datasheets, to support operations, maintenance and engineering activities.

Duration: 55Hours					Theory: 10 Hours						Practice: 45 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare to use instrumentation drawings, specifications and standards. | Trainee will be able to: - Identify the use of Process Flow Diagrams (PFDs). - Identify the use of Process Engineering Flow Schemes (PEFSs). - Identify the Methods of using Piping and Instrumentation Diagrams (P&IDs). - Identify the Methods of reading equipment datasheets. | - Explain Basic engineering drawings and symbols. - Explain Process Flow Diagram (PFDs). - Explain Piping and Instrumentation Diagrams (P&IDs). - Describe ranges of instrument’s symbol - Explain importance of Symbol Legends. Practical Activity - Draw symbols for various types of valves and label them. | Theory-01Hrs Practical-06Hrs Total- 07Hrs | - P&ID Drawings Samples. - Drawing Sheet - Drawing Pencil box. - Drawing Instrument Box | Class Room and Drawing Hall |
| - Identify and draw Process Flow Sheet Symbol | Trainee will be able to: - Identify, draw and label the symbols of process line, valves and actuator with and without positioner or other pilot. - Identify, draw and label the symbols of Furnace, boiler, Heat transfer and Heat Exchanger. - Identify, draw and label the symbols of different types of Pump and compressor. - Identify, draw and label the symbols of Drivers. - Identify, draw and label the symbols of Process pressure vessels and Dryers. - Identify, draw and label the symbols of Material handling equipment and size reducing equipment. - Identify, draw and label the symbols of Process Equipment. | - Identify symbols of process line, valves, actuator, furnace, boiler, heat transfer, heat exchanger, pumps, compressor, pressure vessels and dryers - Explain symbols of process line, valves, actuator, furnace, boiler, heat transfer, heat exchanger, pumps, compressor, pressure vessels and dryers - Draw and label the process equipment Practical Activity - Design a process flow diagram of a motorized compressor and also show the automatic drain valve with a 10 minutes delay timer. - Identify all the symbols of the PFD and label and classify them accordingly. | Theory-01Hrs Practical-06Hrs Total- 07Hrs | - P&ID Drawings Samples. - Drawing Sheet - Drawing Pencil box. - Drawing Instruments Box | Class Room and Drawing Hall |

| - Identify and draw Flow Sheet and Line Symbols | - Identify, draw and label the symbols Flow sheet code letter service (letter A to letter V) - Identify, draw and label the symbols for Lines. - Identify, draw and label of the Utility symbols. - Identify, draw and label Process and utility flow sheet for drives. | - Explain flow sheet and its element - Explain the symbols for Lines (Main process line, secondary process line, etc.) - Explain the Utility symbols (duct, swage, spectacle blind etc.) - Explain process and utility flow sheet for drives (centrifugal pump-electrical drive, centrifugal pump turbine drive etc.) - Describe the communication protocols used in Control System. Practical Activity - Design the boiler utility flow-sheet. | Theory Theory-01Hrs Practical-03Hrs Total- 04Hrs | - P&ID Drawings. - Drawing Sheet - Drawing Pencil box. - Process Flow sheet | Class Room and Drawing Hall |
| --- | --- | --- | --- | --- | --- |
| - Identify and draw Instrument Symbol | - Identify, draw and label the Symbols of different electronics RCL/PLC based control system. - Identify, draw and label the Symbols for Flow, Level, Pressure and Temperature gauges and transmitters. | - Explain the symbols of function designations for relays, primary location, field mounted, auxiliary location for discrete instruments, shared display and control, computer function and PLC. - Explain the Symbols for self-actuated regulators, valves and other devices for: Flow, Level, Pressure, Temperature, Traps, Multiple way valves, Primary element symbols ( A to Z), Function symbols (A to Z) Practical Activity Design a PLC based control system where PLC is receiving its input from temperature transmitter and pressure transmitter and controlling pump speed. | Theory-01Hrs Practical-07Hrs Total-08Hrs | - Electrical Drawings - P&ID Drawings. - Drawing Sheet - Drawing Pencil box. | Class Room and Drawing Hall |
| - Identify and draw Logic Function , PLC and Distributed Control Display Symbols | - Identify, draw and label Logical function symbols such as Gates. - Identify, draw and label Transmission and Switching symbols. - Identify, draw and label Timer, Switching symbols for PLC, Push buttons and different kinds of instrument switches. - Identify, draw and label the symbols of Output device. - Identify, draw and label the Distributed control / shared display symbols( As per ISA), Distributed control Computer symbols, Distributed control logic/sequential Control symbols, Miscellaneous symbols such as Computing/signal conditioning and software system link. | - Explain logical function symbols such as Gates (AND, OR, NOT, NOR, NAND, X-OR, X-NOR, transmission gate, Gate isolated, Gate non isolated) - Explain Transmission and Switching symbols (Flip-flop, single shot flip flop, level /Schmitt trigger flip flop, Amplifier, switching amplifier, signal converter) - Explain Timer, Switching symbols for PLC, Push buttons, Foot switch, Limit switch, Process parameter switch, Temperature switch, Air/Water/gas operated switch, Flow Normally ON/OFF, Air-Water-gas, Flow Normally ON/OFF etc. - Explain the symbols of Output device (coil, motor, lamp, solenoid, opto-coupler). - Explain the Distributed control / shared display symbols( As per ISA), Distributed control Computer symbols, Distributed control logic/sequential Control symbols, Miscellaneous symbols such as Computing/signal conditioning and software system link. Practical Activity Draw symbols for NAND gate, On Delay Timer Relay, Limit Switch, Level Switch, Differential Air Pressure Switch and Air Flow Switch. | Theory-01Hrs Practical-03Hrs Total- 04Hrs | - Electrical Drawing. - Logical Function Chart (for Gates). - Computer System. | Class Room and Drawing Hall |
| - Identify and draw Piping and Fluid Power Symbols | - Identify, draw and label the Piping symbols. - Identify, draw and label the Flow Obstruction symbols. - Identify, draw and label the Fluid power symbols. - Identify, draw and label the symbols of Heater, Cooler, Temperature controller, filter strainer and drainers. - Identify, draw and label the symbols of Hydraulic and pneumatic components. - Identify, draw and label the symbols of Actuator and control valves. | - Explain the Piping symbols for Bushing, Cap, reducing cross, straight size cross, cross over, 45˚ Elbow, 90˚ Elbow, long radius double branch, reducing double branch, connecting pipe joint, Expansion pipe joint, Lateral, reducing flange, bull plug, pipe plug, sleeve, reducing tee, straight size tee, output up tee, output down tee, union. - Explain the Flow Obstruction symbols (orifice flange, check angle valve, Gate (elevation) angle valve, Gate(plan) angle Valve, By-pass automatic valve, Governor operated automatic valve, reducing automatic valve, cock, float valve, diaphragm valve, motor operated gate valve, hose valve, safety valve. - Explain the Fluid power symbols such as Line technique, Flow direction of pneumatic, hydraulic, rotating coupling, vented reservoir, pressurized reservoir, reservoir with connecting line for above fluid level, reservoir with connecting line for below fluid level, vented manifold, Accumulator, Spring loaded accumulator+, Gas charged accumulator, Air/Gas receiver, fluid conditioners. - Explain the symbols of Heater, Cooler, Temperature controller, filter-strainer, manual drain separator, automatic drain separator, manual drain filter-separator, automatic drain filter separator, chemical dryer and lubricator with less drain, Lubricator with manual drain. - Explain the symbols of Hydraulic and pneumatic Cylinders and Pressure intensifier, servo positioner, discrete positioner. - Explain the symbols of Actuator and control (Contact type, Electrical / hydraulic, pneumatic Motors and pumps, Instruments( pressure /temperature / flow / level indicator/recorder), Sensing(Venturi, orifice plate, pitot tube, nozzle), Valve , Pressure control valves and flow control valves Practical Activity - Draw all the symbols for the basic components used in Pneumatic Process. - Visit to a Process Control Industry (i.e. Fertilizer Plant, Crude Oil Distillation Plant ) and create the report | Theory-01Hrs Practical-06Hrs Total- 07Hrs | - P&ID Drawings. - Electrical Drawings. - Hydraulic/Pneumatic Drawings. - Computer System. - Printer | Class Room and Drawing Hall |
| - Create instrumentation drawings using application software | - Create Basic Diagram such as Circular Diagram, Venn diagram, Pyramid Diagram, List Diagram, Arrow Diagram, Circle Spoke Diagram, and Timeline using CAD software. - Create Charts and Graphs using CAD software. - Create different kinds of Flowchart and Workflow Diagram using CAD software. - Create Engineering Diagram on CAD software. - Create Industrial Control System Diagram/Schematic. | - Explain Environment of CAD Software. - Learn and develop the Basic Diagram such as Circular Diagram, Venn diagram, Pyramid Diagram, List Diagram, Arrow Diagram, Circle Spoke Diagram, and Timeline using CAD software. - Explain creation and apprehension procedure of Basic Flowchart, Workflow Diagram, Cross-functional Flowchart, Data Flow Diagram Process Flowchart using CAD software. - Explain Engineering Diagram such as Basic Electrical Diagram, Circuits and Logic Diagram on CAD software. - Explain Industrial Control System Diagram, Schematic Diagram, Wiring Diagram, Process Flow Diagram (PFD), Piping and Instrumentation Diagram (P&ID) using CAD software. Practical Activity - Develop a simple start/stop control and electrical diagram for any motor with basic interlocks such as; Overload Relay, Emergency Stop and fuses for Power supply. - Prepare CAD diagram of any one of process (Level, flow, pressure, tempure) control plant visited previously. | Theory-01Hrs Practical-06Hrs Total- 07Hrs | - Electrical Drawings. - Computer System. - Printer - CAD Software | Class Room and Drawing Hall |
| - Implement the instrumentation drawings, specification and standard | - Create neat freehand instrumentation drawing. - Draw Instrumentation drawings, specification, standards on cad software such as Electrical CAD software. - Interpret Instrumentation drawings using knowledge of process controls and instrumentation drawing layouts, conventions and symbols. - Identify and Extract the Dimensions from the instrument drawings and diagrams. - Determined the Location of equipment from the given instrumentation drawings and specification. - Identify the Connections between pneumatic, hydraulic and electrical equipment are determined from instrumentation drawings and specifications. | - Explain Instrumentation drawings, specification, standards on cad software such as Electrical CAD software such as Lucid chart, PROCAD, Edraw Max, Smart Draw, Microsoft Visio etc. - Describe the Communication protocols used in Control System. - Explain Process control for better understanding of Process Instrumentation layouts and symbols. - Explain working mechanism and principles of instruments from the P&ID or Instrument control drawings and diagrams. - Describe the instruments, mentioned in given instrumentation drawing and also write down their specification. - Describe the connections between pneumatic, hydraulic and electrical equipment are determined from instrumentation drawings and specifications. Practical Activity - Extract the process working mechanism of control instruments and also describe the process from the given diagram. - Prepare CAD diagram of any one of process (Level, flow, pressure, tempure) control according to ISA standards. | Theory-01Hrs Practical-09Hrs Total- 10Hrs | - P&ID Drawings. - Pneumatic/ Hydraulic Drawing - Drawing Sheet - Drawing Pencil box. - Computer System. - Printer - CAD Software | Class Room and Drawing Hall |
| - Validate engineering drawings | - Identify the Methods of developing engineering drawing documents. - Identify the Methods of maintaining documentation - Identify the Methods of evaluating engineering drawing techniques. | - Explain the methods of development of electrical drawing layouts and documents. - Explain the methods of maintaining documentation. - Explain and develop concepts of evaluation of engineering drawings. Practical Activity - Write down the procedure of developing and controlling engineering drawing & documents. | Theory-01Hrs Practical-09Hrs Total- 10Hrs | - Electrical Drawing Layouts. - Computer Systems. - Printer - CAD Software | Class Room and Drawing Hall |

# Sensor & Transducers

## Interface the Sensors and Transducers

Objective: After completion of this competency standard the student will be skilled in interfacing sensors and transducers with instruments/equipment/devices

Duration: 55 Hours				Theory: 10 Hours						Practice: 45 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Connect the sensors and transducers in circuits | Trainee will be able to: - Classify the sensor /transducer types. - Check the I/O relationship, Active & Passive. - Identify working type & principle of construction of sensors/ transducer. - Connect the sensors/ transducer - Use measuring instrument for testing sensors/ transducer. - Observe the sensors/ transducer from lower to higher limits to avoid burnout. - Plot a graph between input and observed output data. - Compare the output with standard data. | - Describe working principles of Temperature, pressure, flow, level sensors and transducers - Explain standard operating / installation procedures Practical task: Identify and select type of sensor as per requirement of system. Connect the sensor to the system. Operate and check output results. | Theory- 02Hrs Practical- 06Hrs Total- 08Hrs | - Sensor - Transducer - Test & Measuring equipment - 4-20 mA Source | Class Room and Workshop |
| LU-2: Assemble thermal sensors/ transducers | Trainee will be able to: - Classify the type sensor /transducer and the I/O relationship (active/Passive). - Assemble sensors/ transducer with interface. - Identify the type of measuring instrument for observing the lower to higher measuring limits - Plot a graph between input and observed output data. - Compare the output with standard data. | - Explain types and working principles of active sensor / transducer - Explain types and working principles of passive sensor / transducer - Explain SOP of active and passive transducers Practical task: Identify and sort active and passive transducer from multiple sensors. Follow SOP and assemble active/passive transducer to the circuit. | Theory- 02Hrs Practical- 06Hrs Total- 08Hrs | - Thermal sensors - Thermal transducers - Active and Passive Sensors | Class Room and Workshop |
| LU-3: Assemble electro-mechanical sensors/ transducers | Trainee will be able to: - Classify the type sensor /transducer &the I/O relationship (active/Passive). - Assemble sensors/ transducer with insulation to interface. - Identify movable/function part to perform electromagnetic operation using power within limit - Identify the type of displacement as per orientation. - Plot a graph between input and observed output data. - Compare the output with standard data. | - Explain types and working principles of electro mechanical sensors / transducers. - Explain types and working principles of active/passive sensor / transducer - Explain SOP for installation of electro mechanical sensors / transducers. Practical task: Identify and sort active and passive transducer from multiple sensors. Follow SOP and assemble active/passive transducer to the circuit. | Theory- 03Hrs Practical- 06Hrs Total- 08Hrs | - Electro-Mechanical sensors - Electro-Mechanical transducers - Active and Passive Sensor | Class Room and Workshop |
| LU-4: Assemble opto electronic sensors/ transducers | Trainee will be able to: - Classify the type sensor /transducer & the I/O relationship - Assemble sensors/ transducer with maximum reception. - Identify the optical part to obtain electro-optical signal reception / coupling. - Identify the structural orientation of the sensor and transducer. - Plot a graph between input and observed output data. - Compare the output with standard data. | - Explain types and working of opto electronic sensors - Explain types and working of opto electronic transducers - Describe applications of opto electronic sensors/ transducers - Explain SOP for installation opto electronic sensors/ transducers Practical task: Identify and select opto electronic sensors from assorted sensors as per requirement. Connect to the circuit and check output results. | Theory- 03Hrs Practical- 06Hrs Total- 08Hrs | - Opto-Electronic sensors - Opto-Electronic transducers - Multimeter | Class Room and Workshop |
| LU-5: Assemble digital/ electronic sensors/ transducers | Trainee will be able to: - Classify the type sensor /transducer &the I/O relationship - Assemble sensors/ transducer as per specification. - Bias the sensor with power source to obtain the signal output. - Identify the mode of output from sensor and transducer. - Plot a graph between input and observed output data. - Compare the output with standard data. | - Explain types and working of digital/electronics sensors - Describe working principle of digital/electronic sensor Practical task: Identify and select digital/electronic sensors from assorted sensors as per requirement. Connect to the circuit and check output results. | Theory- 01Hrs Practical- 09Hrs Total- 10Hrs | - Digital sensors - Digital transducers | Class Room and Workshop |
| LU-6: Couple & Decouple the sensors/ transducegrs | Trainee will be able to: - Use standard tools described in user manual - Perform isolation of sensors/ transducers. - Apply disassembling techniques - Identify and tag the parts/components/ wires of sensors/ transducers & instruments. - Apply assembling techniques. - Check for the proper operation/ functionality | - Explain SOP of coupling and de-coupling of sensors/transducers - Explain SOP of tagging components and wiring Practical task: Dismantle/decouple sensor from system. Check the proper function. Reassemble / couple the sensor/transducer to the system and check the working. Tag the component & wiring. | Theory- 01Hrs Practical- 12Hrs Total- 10Hrs | - System with assembled sensors & transducers - Multimeter |  |

# Instrument Servicing & Calibration

# Semi-Conductor Devices and Electronic Circuit

## Characterize Diodes Application

Objective: After completion of this competency standard the student will be able to implement diodes & characterize BJTs, FETs and MOSFETS with the help of DATA sheet

Duration: 75 Hours				Theory:15 Hours						Practical:  60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Implement Diodes in circuits | Trainee will be able to: - Identify the Diodes - Identify its types & polarities - Draw Diode characteristic curves in forward and reverse Biased - Construct a circuit for Half-wave and Full-wave Rectification. - Record the waveforms on Digital oscilloscope | - Define Diode - Explain diode biasing in forward and reverse direction - Describe half waves and full wave rectification. - Draw Characteristic curves of diode forward & reversed biased. - Explain functions of Oscilloscope. - Explain waveform on Digital Oscilloscope. - Explain the diodes, forward and reverse biasing & their uses and applications in circuits Practical Activity: Construct a power supply of 24volt DC using halfwave / full wave rectification method. | Theory-03 Hrs Practical-09 Hrs Total-12 Hrs | - Component Data sheet - Diode - Digital Oscilloscope - Transformer. - Capacitors - Bread Board - Bridge rectifier | - Class Room - Electronics Lab |
| LU-2: Identify parameters of data sheet of BJTs and FETs | Trainee will be able to: - Identify different Codes for data sheets - Identify types of data sheets - Identify current and voltages on data sheets - Identify characteristic curves on data sheets | - Explain component of Data Sheets. - Explain Different codes in component data sheet - Identify current and voltages on data sheets - Identify characteristic curves on data sheets Practical Activity: Identify the parameters of the provided component from data sheet. | Theory-02 Hrs Practical-09 Hrs Total-11 Hrs | - Component Data sheet - BJTs & FETs | - Class Room - Electronics Lab |
| LU-3: Identify BJTs | Trainee will be able to: - Identify Emitter, Base and Collector Terminals, K1, K2 and gate - Types of BJTs - Draw Characteristics curves of BJT’s. | - Define BJTs - Explain the identifier number & international coding. - Explain component data sheets for BJT - Explain Emitter, Base and collector in BJTs. - Define types of BJTs - Describe Characteristic curve of BJTs. Practical Activity: Identify the parameters of the provided BJT from data sheet. | Theory-02 Hrs Practical-09 Hrs Total-11 Hrs | - Component Data sheet - BJTs & FETs | - Class Room - Electronics Lab |
| LU4. Identify parameters of FETs with the help of data sheet. | Trainee will be able to: - Identify different Codes for FETS data sheets - Identify types of data sheet - Identify current and voltages on data sheets - Identify characteristic curves on data sheets | - Explain Component data sheets. - Identify codes for FETs on data sheet - Define Current, Voltages with help of data sheet - Describe characteristic curve on data sheet. Practical Activity: Identify the parameters of provided FET from data sheet. | Theory-02 Hrs Practical-09 Hrs Total-11 Hrs | - Component Data sheet - FETs | - Class Room - Electronics Lab |
| LU5: Identify FETs . | Trainee will be able to: - Identify Source, Gate and Drain Terminals - State Types of FETs - Draw Characteristics curves of FETs | - Define FET’s - Enlist the terminals of FETs (Source, Gate & drain) - Define types of FETs. - Draw characteristic curves of FETs. - Differtiate between FETs and BJTs Practical Activity: Identify the parameters of the provided FET and draw its characteristic curves. | Theory-02 Hrs Practical-09 Hrs Total-11 Hrs | - Component Data sheet - FETs | - Class Room - Electronics Lab |
| LU6: Characterize MOSFET performance. | Trainee will be able to: - Assemble the circuit of MOSFET. - Draw the characteristics curve of MOSFET. - Differentiate Types of MOSFET. - Troubleshoot the MOSFET’S Performance. | - Explain circuit of MOSFET. - Describe types of MOSFET. - Explain characteristic curve of MOSFET. - Explain Trouble shooting procedure of MOSFET in the circuit. Practical Activity: Draw characteristic curve of MOSFET | Theory-02 Hrs Practical-09 Hrs Total-11 Hrs | - Component Data sheet - MOSETs | - Class Room - Electronics Lab |
| LU7: Use MOSFET as a Switch. | Trainee will be able to: - Draw the circuit of MOSFET as Switch. - Observe the Curve of MOSFET. - Troubleshoot MOSFET as a switch. - Use MOSFET as a switch. | - Define MOSFET. - Explain Using MOSFET as a switch. - Explain characteristic curve of MOSFET. - Explain Trouble shooting procedure of MOSFET. Practical Activity: Make a circuit on bread board using MOSFET as a switch. | Theory-02 Hrs Practical-06 Hrs Total-08 Hrs | - Component Data sheet - MOSETs - Digital Oscilloscope - Digital Multimeter (DMM) - Bread Board | - Class Room - Electronics Lab |

## Characterize Various FET Amplifiers.

Objective: This standard identifies the competencies required to Characterize Various FET amplifier.

Duration: 70 Hours				Theory: 10 Hours						Practical: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Assemble a CS Amplifier circuit and observe its characteristics | Trainee will be able to: - Draw the circuit of CS Amplifier & measure its parameters. - Draw its characteristics curve. - Troubleshoot CS Amplifier circuit. | - Define Common Source (CS) Amplifier. - Describe characteristics curve of CS Amplifier. - State characteristics curve of CS Amplifier. - Decribe Trouble shooting techniques of CS Amplifier. Practical Activity: Construct a Common Source (CS) amplifier circuit on bread board. | Theory- 02 Hrs Practical- 12 Hrs Total-14 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - CS Amplifier. - Class A Transistor Amplifier. - CS Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-2: Assemble a CG Amplifier circuit and observe its characteristics. | Trainee will be able to: - Draw the circuit of CG Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot CG Amplifier circuit. | - Define Common Gate (CG) Amplifier. - Describe characteristics curve of CG Amplifier. - State characteristics curve of CG Amplifier. - Describe Trouble shooting techniques of CG Amplifier. Practical Activity: Construct a Common Gate (CG)amplifier circuit on bread board. | Theory- 01 Hrs Practical-06 Hrs Total- 07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - CG Amplifier. - Class A Transistor Amplifier. - CS Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-3: Assemble a CD Amplifier circuit and observe its characteristics | Trainee will be able to: - Draw the circuit of CD Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot CD Amplifier circuit. | - Define Common Drain (CD) Amplifier. - Describe characteristics curve of CD Amplifier. - State characteristics curve of CD Amplifier. - Describe Trouble shooting techniques of CD Amplifier. Practical Activity: Construct a Common Drain (CD)amplifier circuit on bread board. | Theory- 01 Hrs Practical-06 Hrs Total- 07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - CD Amplifier. - Class A Transistor Amplifier. - CS Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU4: Assemble a single stage Transistor Amplifier. | Trainee will be able to: - Draw the circuit of a single Stage Transistor Amplifier. - Measure its parameters. - Draw its characteristics curve. - Troubleshoot the single stage Transistor amplifier. | - Define a single stage Transistor Amplifier. - Draw Circuit Diagram of a Single Stage Transistor Amplifier. - State Characteristic Curve of Single Stage Transistor Amplifier. - Describe Trouble shooting Techniques. Practical Activity: Construct circuit diagram of a Single Stage Transistor Amplifier. | Theory- 01 Hrs Practical-06 Hrs Total- 07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Class A Transistor Amplifier. - Single stage transistor Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU5: Measure the voltage gains of a single Stage Class ‘A’ Transistor Amplifier. | Trainee will be able to: - Calculate the input and output voltage of Class A Transistor Amplifier - Find out gain by dividing output/input. | - Define voltage gain of a single stage class ‘A’ Transistor Amplifier. - Calculate input voltage of class ‘A’ Transistor Amplifier. - Calculate output voltage of class ‘A’ Transistor Amplifier. - Calculate Gain of class ‘A’ Transistor Amplifier. Practical Activity: - Calculate the input & output gain of class ‘A’ Transistor Amplifier. | Theory- 01 Hrs Practical-06 Hrs Total- 07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Class A Transistor Amplifier. - Class A Transistor Amplifier. - CS Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU6: Identify Common Source FET Amplifier. | Trainee will be able to: - Assemble common source Amplifier circuit - Apply the use FET amplifier curve. - Troubleshoot FET amplifier - Repair common source FET amplifier | - Define common source FET Amplifier - Draw common source FET Amplifier circuit - Describe Troubleshooting Techniques of common source FET Amplifier circuit - Draw FET amplifier curve. - Describe Repair techniques of common source FET Amplifier circuit Practical Activity: Construct common source FET Amplifier circuit | Theory- 01 Hrs Practical-06 Hrs Total- 07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Common Source FET Amplifier. - Class A Transistor Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU7: Plot the characteristics curve of Common source FET Amplifier. | Trainee will be able to: - Draw the characteristics curve of FET Amplifier. - Draw the parameters of characteristics curve. | - Explain characteristics curve of FET Amplifier Explain - Enlist the parameters of characteristics curve of common source FET amplifier. Practical Activity: Construct the circuit diagram of CS FET Amplifier and draw characteristics curve of CS FET Amplifier. | Theory- 01 Hrs Practical-06 Hrs Total- 07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Common source FET Amplifier kit. - Class A Transistor Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-08: Assemble a Class A Transistor Amplifier. | Trainee will be able to: - Draw the circuit of a Class A Transistor Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot the Class A Transistor Amplifier. | - Define A Class Transistor Amplifier. - State Parameters of Class A Transistor Amplifier - Explain Characteristic curves of A class Transistor Amplifier. - Describe Trouble shooting techniques for Class A Transistor Amplifier. Practical Activity: Construct class “A” Transistor Diagram with its characteristic curve | Theory- 01 Hrs Practical-06 Hrs Total- 07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Milliamps Generator - Millivolts Generator. - Control valve with positioner | - Class Room - Electronics Lab |
| LU-09: Plot Frequency Response of class A Amplifier. | Trainee will be able to: - Calculate the input and output voltage of Class A Transistor Amplifier - State V-I characteristics curve. - Draw frequency spectrum of class A Transistor Amplifier. | - Define Class A Transistor Amplifier. - Define input and output voltage of Class A Transistor Amplifier - Explain Parameters of Class A Transistor Amplifier - Describe Characteristic curves of A class Transistor Amplifier. - Draw Frequency spectrum of A Class Transistor Amplifier. Practical Activity: Draw Frequency Spectrum Chart and plot on graph paper of Class A Transistor Amplifier. | Theory- 01 Hrs Practical-06 Hrs Total- 07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - CD Amplifier. - Class A Transistor Amplifier. - CS Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |

## CHARACTERIZE BJT AMPLIFIERS.

Objective:

This competency standard identifies the competencies required to Characterize BJTs Amplifiers.

Duration: 75 Hours				Theory:15 Hours						Practice: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Determine the parameters of transistor. | Trainee will be able to: - Identify Transistor - Identify types. - Perform biasing of Transistor - Identify current and Voltage Ratings. | - Explain the parameter of transistor - Define Transistors terminals - Explain transistor biasing Practical Activity: Identify the transistor from the supplied components and specify its rating. | Theory- 01 Hrs Practical- 03 Hrs Total-04 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-2: Implement Transistor as an amplifier by using CE, CB and CC Configuration. | Trainee will be able to: - Arrange Circuit in CE. - Apply Biasing voltage. - Observe the difference between input and output voltage level. - Observe phase reversal - Arrange Circuit in CB. - Apply Biasing voltage. - Observe the difference between input and output voltage level. - Observe phase reversal. - Arrange Circuit in CC. - Apply Biasing voltage. - Observe the difference between input and output voltage level. - Observe phase reversal. | - Define Basic Electronics - Define Semiconductor. - Define Transistors terminals - Define Transistor Biasing. - V-I Characteristics - Define CE configuration - Define CB configuration - Define CC configuration - Explain Difference in input and output voltage in CE, CB & CE Configuration. - Define phase reversal. Practical Activity: Construct the circuit of CB, CE, CC and calculate the gain in CB,CE & CC circuit. | Theory- 01 Hrs Practical- 03 Hrs Total-04 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-3: Assemble a Class A Power Amplifier. | Trainee will be able to: - Draw the circuit of a Class A Power Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot the Class “A” power Amplifier. | - Define Basic Electronics - Define Semiconductor. - Define Transistors terminals - Define Transistor Biasing. - Define V-I Characteristics - Explain the operation of class A Power Amplifier. - Define characteristics curve and parameters. - Define the power gain of a Class A Power Amplifier. - Describe Trouble shooting techniques for Class A power amplifier. Practical Activity: Draw diagram of simple circuit using A class power amplifier. | Theory- 01 Hrs Practical- 03 Hrs Total-04 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Capacitors - Class A Power Amplifier. - Power Supplies - Resistors - Trainer - Transistors - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU4: Measure power gain of a Class A Power Amplifier. | Trainee will be able to: - Calculate the input and output voltage of Class A Power Amplifier - Find out gain by dividing output power/input power. | - Define input / output voltages of Class A Amplifier. - Define Transistor Biasing. - Describe V-I Characteristics - Explain the operation of class A Power Amplifier. - Define the power gain of a Class A Power Amplifier. Practical Activity: Construct the circuit of class A amplifier and calculate its gain as a power amplifier. | Theory- 01 Hrs Practical- 03 Hrs Total-04 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Capacitors - Class A Power Amplifier. - Power Supplies - Resistors - Trainer - Transistors - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU5: Assemble an RF Amplifier and measure its voltages gain. | Trainee will be able to: - Identify the circuit of RF amplifier. - Apply the use of RF Amplifier. - Find out the voltage gain. - Troubleshoot an RF Amplifier. - Draw its characteristics curve. | - Define RF Amplifier - Define use of RF Amplifier. - Explain the operation of RF Amplifier. - Describe its characteristics curve and parameters - Define voltage Gain. - Describe trouble shooting Techniques for RF Amplifier Practical Activity: Construct a circuit of RF Amplifier and Calculate its gain. | Theory- 01 Hrs Practical- 03 Hrs Total-04 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Capacitors - RF Amplifier. - Power Supplies - Resistors - RF Amplifier. - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU6: Assemble the class C RF Amplifier and Measure its power output. | Trainee will be able to: - Draw the circuit of class C RF Amplifiers & measure its parameters. - Draw its characteristics curve. - Find out output power. | - Define Class C RF Amplifier - Define Class C RF Amplifier Parameters. - Describe its characteristics curve and parameters - Explain the operation of Class C RF Amplifier. - Define output power of Class C RF Amplifier. Practical Activity: Construct the circuit of Class C RF Amplifier and measure its output power. | Theory- 01 Hrs Practical- 03 Hrs Total-04 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Capacitors - Class C RF Amplifier. - Power Supplies - Resistors - RF Amplifier. - Trainer - Frequency Meter. - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU7: Apply the frequency response of RC Coupled RF Amplifier | Trainee will be able to: - Draw the circuit of RC Coupled RF Amplifier. Measure its parameters. - Draw its characteristics curve. - Find out its frequency response curve. - Troubleshoot RC coupled RF Amplifier circuit. - Apply the use of RC coupled RF Amplifier circuit | - Define RC Coupled RF Amplifier. - Define its parameters - Describe its V-I Characteristics - Explain the operation of RC Coupled RF Amplifier. - Explain its frequency response curve. - Observe its frequency response. - Describe Trouble shooting techniques. Practical Activity: Construct the circuit of RC coupled RF Amplifier and observe its frequency response. | Theory- 01 Hrs Practical- 06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Capacitors - RC coupled RF Amplifier. - Power Supplies - Resistors - RF Amplifier. - Trainer - Frequency Meter. - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-08: Implement frequency response of impedance Coupled RF Amplifier | Trainee will be able to: - Draw the circuit of impedance coupled RF Amplifier. Measure its parameters. - Draw its characteristics curve. - Find out its impedance response curve. - Troubleshoot impedance coupled RF Amplifier circuit. - Apply the use of impedance coupled RF Amplifier circuit. | - Explain the operation of impedance Coupled RF Amplifier. - Explain its characteristics curve and parameters. - Define its impedance response. - Describe trouble shooting techniques for impedance coupled RF Amplifier. Practical Activity: Construct the circuit of Impedance coupled RF Amplifier and observe its frequency response. | Theory- 01 Hrs Practical- 06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Capacitors - Impedance coupled RF Amplifier. - Power Supplies - Resistors - RF Amplifier. - Trainer - Frequency Meter. - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-09: Implement frequency response of Transformer Coupled RF Amplifier | Trainee will be able to: - Draw the circuit of Transformer coupled RF Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot Transformer coupled RF Amplifier circuit. - Apply the use of Transformer coupled RF Amplifier circuit | - Explain the operation of Transformer Coupled RF Amplifier. - Explain its characteristics curve and parameters. - Describe trouble shooting techniques for Transformer coupled RF Amplifier circuit. - Define use of Transformer coupled RF Amplifier circuit. Practical Activity: Construct the circuit of transformer coupled RF Amplifier and observe its frequency response. | Theory- 01 Hrs Practical- 06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Capacitors - Transformer - Transformer coupled RF Amplifier circuit. - Power Supplies - Resistors - RF Amplifier. - Trainer - Frequency Meter. - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-10: Apply response of RF Amplifier using Tuned load. | Trainee will be able to: - Implement the circuit for Tuned load RF Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot Tuned load RF Amplifier circuit - Apply the use of Tuned load RF Amplifier circuit | - Explain the operation of Tuned load RF Amplifier. - Explain its characteristics curve and parameters. - Describe parameters of Tuned load RF Amplifier - Describe Trouble shooting techniques for Tuned load RF Amplifier. - State uses of Tuned load RF Amplifier Practical Activity: Construct the circuit of Tuned Load RF Amplifier and observe its frequency response. | Theory- 01 Hrs Practical- 06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Capacitors - Transistors - Tuned load RF Amplifier. - Power Supplies - Resistors - RF Amplifier. - Trainer - Frequency Meter. - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-11: Identify the frequency response of Direct Coupled Audio Amplifier | Trainee will be able to: - Arrange circuit diagram - Apply voltage to input. - Observe output and draw the characteristic curve - Determine current and Voltage Ratings. | - Explain the theory of directed coupled Audio Amplifier - Explain its frequency response. - Explain current and voltage ratings for Direct Coupled Audio Amplifier. Practical Activity: Construct the circuit direct coupled Audio Amplifier and observe its frequency response. | Theory- 01 Hrs Practical- 06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Capacitors - Transistor - RF Amplifier - Power Supplies - Resistors - RF Amplifier. - Trainer - Frequency Meter. - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-12: Identify the frequency response of RC coupled Audio Amplifier | Trainee will be able to: - Arrange circuit diagram - Apply voltage to input. - Observe output and draw the characteristic curve - Determine current and Voltage Ratings - Observe the frequency response. | - Explain circuit diagram of RC coupled audio Amplifier. - Explain its characteristic curve by applying voltage to the input and observe output. - Describe its Characteristic curve - Explain its current and voltage ratings. Practical Activity: Construct the circuit of RC coupled Audio Amplifier and observe its frequency response. | Theory- 02 Hrs Practical- 06 Hrs Total-08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Capacitors - Class C RF Amplifier. - Power Supplies - Resistors - Transistors - RF Amplifier. - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-13: Identify the frequency response of transformer coupled and power Amplifier | Trainee will be able to: - Arrange circuit diagram - Apply voltage to input. - Observe output and draw the characteristic curve - Determine current and Voltage Ratings - Observe the frequency response and Gain, and distortion ratio. | - Explain circuit diagram of Transformer coupled power amplifier. - Explain its characteristic curve. - Explain current and voltage rating. - Explain frequency response - Define its Gain. - Calculate its distortion Ratio. Practical Activity: Construct the circuit of transformer coupled power amplifier and observe its frequency response. | Theory- 02 Hrs Practical- 06 Hrs Total-08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Capacitors - Transistors - Transformer Coupled and power Amplifier. - Transformer - Power Supplies - Resistors - RF Amplifier. - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |

## Characterize Diodes Application

Objective: After completion of this competency standard the student will be able to implement diodes & characterize BJTs, FETs and MOSFETS with the help of DATA sheet

Duration: 80 Hours				Theory:20 Hours						Practical:  60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Implement Diodes in circuits | Trainee will be able to: - Identify the Diodes - Identify its types & polarities - Draw Diode characteristic curves in forward and reverse Biased - Construct a circuit for Half-wave and Full-wave Rectification. - Record the waveforms on Digital oscilloscope | - Define Diode - Explain diode biasing in forward and reverse direction - Describe half waves and full wave rectification. - Draw Characteristic curves of diode forward & reversed biased. - Explain functions of Oscilloscope. - Explain waveform on Digital Oscilloscope. - Explain the diodes, forward and reverse biasing & their uses and applications in circuits Practical Activity: Construct a power supply of 24volt DC using halfwave / full wave rectification method. | Theory-02 Hrs Practical-08 Hrs Total-10 Hrs | - Component Data sheet - Diode - Digital Oscilloscope - Transformer. - Capacitors - Bread Board - Bridge rectifier | - Class Room - Electronics Lab |
| LU-2: Identify parameters of data sheet of BJTs and FETs | Trainee will be able to: - Identify different Codes for data sheets - Identify types of data sheets - Identify current and voltages on data sheets - Identify characteristic curves on data sheets | - Explain component of Data Sheets. - Explain Different codes in component data sheet - Identify current and voltages on data sheets - Identify characteristic curves on data sheets Practical Activity: Identify the parameters of the provided component from data sheet. | Theory-03 Hrs Practical-08 Hrs Total-11 Hrs | - Component Data sheet - BJTs & FETs | - Class Room - Electronics Lab |
| LU-3: Identify BJTs | Trainee will be able to: - Identify Emitter, Base and Collector Terminals, K1, K2 and gate - Types of BJTs - Draw Characteristics curves of BJT’s. | - Define BJTs - Explain the identifier number & international coding. - Explain component data sheets for BJT - Explain Emitter, Base and collector in BJTs. - Define types of BJTs - Describe Characteristic curve of BJTs. Practical Activity: Identify the parameters of the provided BJT from data sheet. | Theory-03 Hrs Practical-08 Hrs Total-11 Hrs | - Component Data sheet - BJTs & FETs | - Class Room - Electronics Lab |
| LU4. Identify parameters of FETs with the help of data sheet. | Trainee will be able to: - Identify different Codes for FETS data sheets - Identify types of data sheet - Identify current and voltages on data sheets - Identify characteristic curves on data sheets | - Explain Component data sheets. - Identify codes for FETs on data sheet - Define Current, Voltages with help of data sheet - Describe characteristic curve on data sheet. Practical Activity: Identify the parameters of provided FET from data sheet. | Theory-03 Hrs Practical-09 Hrs Total-12 Hrs | - Component Data sheet - FETs | - Class Room - Electronics Lab |
| LU5: Identify FETs . | Trainee will be able to: - Identify Source, Gate and Drain Terminals - State Types of FETs - Draw Characteristics curves of FETs | - Define FET’s - Enlist the terminals of FETs (Source, Gate & drain) - Define types of FETs. - Draw characteristic curves of FETs. - Differtiate between FETs and BJTs Practical Activity: Identify the parameters of the provided FET and draw its characteristic curves. | Theory-03 Hrs Practical-09 Hrs Total-12 Hrs | - Component Data sheet - FETs | - Class Room - Electronics Lab |
| LU6: Characterize MOSFET performance. | Trainee will be able to: - Assemble the circuit of MOSFET. - Draw the characteristics curve of MOSFET. - Differentiate Types of MOSFET. - Troubleshoot the MOSFET’S Performance. | - Explain circuit of MOSFET. - Describe types of MOSFET. - Explain characteristic curve of MOSFET. - Explain Trouble shooting procedure of MOSFET in the circuit. Practical Activity: Draw characteristic curve of MOSFET | Theory-03 Hrs Practical-09 Hrs Total-12 Hrs | - Component Data sheet - MOSETs | - Class Room - Electronics Lab |
| LU7: Use MOSFET as a Switch. | Trainee will be able to: - Draw the circuit of MOSFET as Switch. - Observe the Curve of MOSFET. - Troubleshoot MOSFET as a switch. - Use MOSFET as a switch. | - Define MOSFET. - Explain Using MOSFET as a switch. - Explain characteristic curve of MOSFET. - Explain Trouble shooting procedure of MOSFET. Practical Activity: Make a circuit on bread board using MOSFET as a switch. | Theory-03 Hrs Practical-09 Hrs Total-12 Hrs | - Component Data sheet - MOSETs - Digital Oscilloscope - Digital Multimeter (DMM) - Bread Board | - Class Room - Electronics Lab |

## Characterize Various FET Amplifiers.

Objective: This standard identifies the competencies required to Characterize Various FET amplifier.

Duration: 80 Hours				Theory:20 Hours						Practical: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Assemble a CS Amplifier circuit and observe its characteristics | Trainee will be able to: - Draw the circuit of CS Amplifier & measure its parameters. - Draw its characteristics curve. - Troubleshoot CS Amplifier circuit. | - Define Common Source (CS) Amplifier. - Describe characteristics curve of CS Amplifier. - State characteristics curve of CS Amplifier. - Decribe Trouble shooting techniques of CS Amplifier. Practical Activity: Construct a Common Source (CS) amplifier circuit on bread board. | Theory- 02 Hrs Practical- 06 Hrs Total-08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - CS Amplifier. - Class A Transistor Amplifier. - CS Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-2: Assemble a CG Amplifier circuit and observe its characteristics. | Trainee will be able to: - Draw the circuit of CG Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot CG Amplifier circuit. | - Define Common Gate (CG) Amplifier. - Describe characteristics curve of CG Amplifier. - State characteristics curve of CG Amplifier. - Describe Trouble shooting techniques of CG Amplifier. Practical Activity: Construct a Common Gate (CG)amplifier circuit on bread board. | Theory- 02 Hrs Practical-06 Hrs Total- 08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - CG Amplifier. - Class A Transistor Amplifier. - CS Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-3: Assemble a CD Amplifier circuit and observe its characteristics | Trainee will be able to: - Draw the circuit of CD Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot CD Amplifier circuit. | - Define Common Drain (CD) Amplifier. - Describe characteristics curve of CD Amplifier. - State characteristics curve of CD Amplifier. - Describe Trouble shooting techniques of CD Amplifier. Practical Activity: Construct a Common Drain (CD)amplifier circuit on bread board. | Theory- 02 Hrs Practical-06 Hrs Total- 08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - CD Amplifier. - Class A Transistor Amplifier. - CS Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU4: Assemble a single stage Transistor Amplifier. | Trainee will be able to: - Draw the circuit of a single Stage Transistor Amplifier. - Measure its parameters. - Draw its characteristics curve. - Troubleshoot the single stage Transistor amplifier. | - Define a single stage Transistor Amplifier. - Draw Circuit Diagram of a Single Stage Transistor Amplifier. - State Characteristic Curve of Single Stage Transistor Amplifier. - Describe Trouble shooting Techniques. Practical Activity: Construct circuit diagram of a Single Stage Transistor Amplifier. | Theory- 02 Hrs Practical-07Hrs Total- 09 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Class A Transistor Amplifier. - Single stage transistor Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU5: Measure the voltage gains of a single Stage Class ‘A’ Transistor Amplifier. | Trainee will be able to: - Calculate the input and output voltage of Class A Transistor Amplifier - Find out gain by dividing output/input. | - Define voltage gain of a single stage class ‘A’ Transistor Amplifier. - Calculate input voltage of class ‘A’ Transistor Amplifier. - Calculate output voltage of class ‘A’ Transistor Amplifier. - Calculate Gain of class ‘A’ Transistor Amplifier. Practical Activity: - Calculate the input & output gain of class ‘A’ Transistor Amplifier. | Theory- 02 Hrs Practical-07Hrs Total- 09 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Class A Transistor Amplifier. - Class A Transistor Amplifier. - CS Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU6: Identify Common Source FET Amplifier. | Trainee will be able to: - Assemble common source Amplifier circuit - Apply the use FET amplifier curve. - Troubleshoot FET amplifier - Repair common source FET amplifier | - Define common source FET Amplifier - Draw common source FET Amplifier circuit - Describe Troubleshooting Techniques of common source FET Amplifier circuit - Draw FET amplifier curve. - Describe Repair techniques of common source FET Amplifier circuit Practical Activity: Construct common source FET Amplifier circuit | Theory- 02 Hrs Practical-07Hrs Total- 09 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Common Source FET Amplifier. - Class A Transistor Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU7: Plot the characteristics curve of Common source FET Amplifier. | Trainee will be able to: - Draw the characteristics curve of FET Amplifier. - Draw the parameters of characteristics curve. | - Explain characteristics curve of FET Amplifier Explain - Enlist the parameters of characteristics curve of common source FET amplifier. Practical Activity: Construct the circuit diagram of CS FET Amplifier and draw characteristics curve of CS FET Amplifier. | Theory- 02 Hrs Practical-07 Hrs Total- 09 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Common source FET Amplifier kit. - Class A Transistor Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |
| LU-08: Assemble a Class A Transistor Amplifier. | Trainee will be able to: - Draw the circuit of a Class A Transistor Amplifier. Measure its parameters. - Draw its characteristics curve. - Troubleshoot the Class A Transistor Amplifier. | - Define A Class Transistor Amplifier. - State Parameters of Class A Transistor Amplifier - Explain Characteristic curves of A class Transistor Amplifier. - Describe Trouble shooting techniques for Class A Transistor Amplifier. Practical Activity: Construct class “A” Transistor Diagram with its characteristic curve | Theory- 03 Hrs Practical-07Hrs Total- 10 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Milliamps Generator - Millivolts Generator. - Control valve with positioner | - Class Room - Electronics Lab |
| LU-09: Plot Frequency Response of class A Amplifier. | Trainee will be able to: - Calculate the input and output voltage of Class A Transistor Amplifier - State V-I characteristics curve. - Draw frequency spectrum of class A Transistor Amplifier. | - Define Class A Transistor Amplifier. - Define input and output voltage of Class A Transistor Amplifier - Explain Parameters of Class A Transistor Amplifier - Describe Characteristic curves of A class Transistor Amplifier. - Draw Frequency spectrum of A Class Transistor Amplifier. Practical Activity: Draw Frequency Spectrum Chart and plot on graph paper of Class A Transistor Amplifier. | Theory- 03 Hrs Practical-07Hrs Total- 10 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - CD Amplifier. - Class A Transistor Amplifier. - CS Amplifier. - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board | - Class Room - Electronics Lab |

## CHARACTERIZE VARIOUS OSCILLATORS.

Objective This competency standard identifies the competencies required to characterize oscillators.

Duration: 70 Hours				Theory:10 Hours						Practical: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Assemble a RC phase shift oscillator | Trainee will be able to: - Implement the circuit of RC phase shift oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of RC phase shift oscillator circuit. - Troubleshoot RC phase shift oscillator. | - Define Oscillators - Enlist the types of Oscillators - Explain the Assembling of RC phase shift oscillator - Describe its characteristics curve and parameters. - State the use of RC phase shift Oscillator. - Describe Trouble shooting of RC Phase Shift Oscillator. Practical Activity: Construct the circuit of RC Phase Shift Oscillator and Explain its characteristic curve with its diagram. | Theory- 0.5 Hrs Practical-03 Hrs Total-3.5 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - RC Phase shift oscillator trainer kit. | - Class Room - Electronics Lab |
| LU-2: Working of a RC phase shift oscillator | Trainee will be able to: - Implement working of a RC phase shift oscillator. - Draw the circuit of a RC phase shift oscillator. Measure its parameters. - Troubleshoot of a RC phase shift oscillator - Repair of a RC phase shift oscillator. | - Explain the Working of RC phase shift oscillator - Describe its characteristics curve and parameters. - Explain the use of RC phase shift Oscillator. - Describe Trouble shooting of RC Phase Shift Oscillator. Practical Activity: - Construct the circuit of RC Phase Shift Oscillator. - Explain the working principle of RC Phase shift Oscillator with the help of diagram. | - 0.5 Hrs Practical-03 Hrs Total-3.5 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - RC Phase shift oscillator trainer kit. | - Class Room - Electronics Lab |
| LU-3: Assemble a Hartley oscillator. | Trainee will be able to: - Implement the circuit of Hartley oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of Hartley oscillator circuit. - Troubleshoot Hartley oscillator. | - Define Hartley Oscillator. - Explain the operation of Hartley oscillator - Describe its characteristics curve and parameters. - State uses of Hartley Oscillator. - Describe Trouble shooting of Hartley Oscillator. Practical Activity: Construct the circuit of Hartley Oscillator with its components and Draw its Characteristic curve. | Theory- 01 Hrs Practical-06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Hartley oscillator trainer kit. | - Class Room - Electronics Lab |
| LU4: Working of a Hartley oscillator. . | Trainee will be able to: - Implement working of a Hartley oscillator. - Draw the circuit of a Hartley oscillator. Measure its parameters. - Troubleshoot of a Hartley oscillator. - Repair of a Hartley oscillator. | - Explain Hartley Oscillator. - Explain the Working principle of Hartley oscillator - Explain its characteristics curve and parameters. - Explain use of Hartley Oscillator. - Explain the Parameters of Hartley Oscillator. - Explain Trouble shooting of Hartley Oscillator. - Explain repair techniques of Hartley Oscillator. Practical Activity: - Construct the circuit of Hartley Oscillator (with help of IC) . - Explain the working principle of Hartley Oscillator. | Theory- 01 Hrs Practical-06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Hartley oscillator trainer kit. | - Class Room - Electronics Lab |
| LU5: Assemble a Colpitts oscillator. | Trainee will be able to: - Implement the circuit of Colpitts oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of Colpitts oscillator circuit. - Troubleshoot Colpitts oscillator. | - Define Colpitts Oscillator circuit. - Explain the operation of Colpitts oscillator. - Describe its characteristics curve and parameters. - State the uses of Colpitts Oscillator circuit. - Describe trouble shooting techniques for Colpitts Oscillator circuit. Practical Activity: Construct Colpitts Oscillator circuit (with its components) and draw its Characteristic curve. | Theory- 01 Hrs Practical-06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Colpitts Oscillator trainer kit | - Class Room - Electronics Lab |
| LU6: Working of a Colpitts oscillator. | Trainee will be able to: - Implement working of a Colpitts oscillator. - Draw the circuit of a Colpitts oscillator. Measure its parameters. - Troubleshoot of a Colpitts oscillator - Repair of a Colpitts oscillator | - Explain Colpitts Oscillator circuit. - Explain the working principle of Colpitts oscillator. - Explain its characteristics curve and parameters. - Explain the use of Colpitts Oscillator circuit. - Explain trouble shooting techniques for Colpitts Oscillator circuit. Practical Activity: Construct Colpite Oscillator circuit (with help of IC) and explain its working principle. | Theory- 01 Hrs Practical-06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Colpitts Oscillator trainer kit | - Class Room - Electronics Lab |
| LU7: Assemble a crystal oscillator. | Trainee will be able to: - Implement the circuit of crystal oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of crystal oscillator circuit. - Troubleshoot crystal oscillator. | - Define Crystal Oscillator circuit. - Explain the operation of crystal oscillator - Describe its characteristics curve and parameters. - State uses of Crystal Oscillator circuit. - Describe Troubleshooting Techniques of Crystal Oscillator. Practical Activity: Construct Crystal Oscillator circuit (with its components) and draw its Characteristic curve. | Theory- 01 Hrs Practical-06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Crystal Oscillators | - Class Room - Electronics Lab |
| LU-08: Implement the working of a crystal oscillator. | Trainee will be able to: - Implement working of crystal oscillator. - Draw the circuit of a crystal oscillator. Measure its parameters. - Troubleshoot of a crystal oscillator. - Repair of a crystal oscillator | - Explain Crystal Oscillator circuit. - Explain the Working principle of crystal oscillator - Explain its characteristics curve and parameters. - Explain the use of Crystal Oscillator circuit. - Explain Troubleshooting Techniques of Crystal Oscillator. Practical Activity: Construct Crystal Oscillator (with help of IC) and explain its working principle. | Theory- 01 Hrs Practical-06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Crystal Oscillators | - Class Room - Electronics Lab |
| LU-09: Assemble a Pulse Tone oscillator | Trainee will be able to: - Implement the circuit of Pulse Tone oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of Pulse Tone oscillator circuit. - Troubleshoot Pulse Tone oscillator. | - Define Pulse Tone Oscillator circuit - Describe the operation of Pulse Tone oscillator - Describe its characteristics curve and parameters. - State uses of Pulse Tone Oscillator circuit. - Describe trouble shooting techniques for Pulse Tone Oscillator circuit. Practical Activity: Construct Pulse Tone Oscillator circuit and draw its Characteristic curve. | Theory- 01 Hrs Practical-06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Pulse tone Oscillator kit |  |
| LU-10: Working of a 555 IC as Timer and pulse generator | Trainee will be able to: - Implement working of a 555 IC. - Draw the circuit of a 555 IC and Measure its parameters. - Troubleshoot of a 555 IC. - Repair of a 555 IC. | - Define Pulse generator - Describe 555 IC as timer. - Explain the Working Principle of 555 IC as timer and Pulse generator. - Enlist its parameters. - State uses of 555 IC aw timer and Pulse generator. - Describe trouble shooting techniques for 555 IC as timer and pulse generator. - Describe repair techniques for 555 IC as timer and pulse Generator. Practical Activity: Construct a circuit using 555 IC as Timer and Pulse Generator. Also explain its working principle. | Theory- 01 Hrs Practical-06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - 555 IC. | - Class Room - Electronics Lab |
| LU-11: Implement a Pulse Tone oscillator by using 555 IC | Trainee will be able to: - Draw circuit - Apply its use - Troubleshoot a Pulse Tone oscillator by using 555 IC - Repair a Pulse Tone oscillator by using 555 IC | - Describe Pulse Tone Oscillator by using 555 IC circuit - Explain the Working Principle of Pulse Tone oscillator - Describe its characteristics curve and parameters. - State uses of Pulse Tone Oscillator by using 555 IC circuit. - Describe trouble shooting techniques for Pulse Tone Oscillator by using 555 IC circuit. - Describe repair techniques for Pulse Tone Oscillator by using 555 IC circuit. Practical Activity: Construct Pulse Tone Oscillator circuit using 555 IC, draw its characteristic curve and Explain its working principle. | Theory- 01 Hrs Practical-06 Hrs Total-07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - 555 IC. | - Class Room - Electronics Lab |

## DESIGN AN OPERATION AMPLIFIER

Objective: After this competency standard the student will be able to identify variety of configurations related to Op-Amps and their usage in industry.

Duration:  75 Hours					Theory: 15 Hours						Practical: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify Op Amp ICs | Trainee will be able to: - Identify the Op-Amp ICs - Identify its types & polarities - Draw the different circuits with the help of Op-Amp ICs | - Define Operational Amplifier (Op-Amp) - State its Types and enlist parameters of Op-Amp - Explain data sheet of Op-Amp - State uses and applications of Op-Amp - Explain Op-Amp selection criteria Practical Activity: - Differntiate Op-Amp IC with other ICs (Integrated Circuits). | Theory- 02Hrs Practical- 09Hrs Total- 11Hrs | - Test Bench - Op-Amp IC - Datasheets - Multi meter | - Class Room - Electronics Lab |
| - Implementing an Inverting and Non-inverting Op-Amp | Trainee will be able to: - Implement the prescribed procedure/configuration for utilizing Op-Amp as an Inverting & non-inverting Amplifier - Check input/ output waveforms of IC on Oscilloscope | - Explain Inverting and Non-Inverting operation of Op-Amp - Define bias voltage, gain, feedback and coupling capacitors - Enlist types of feedback - Calculate output voltage - Explain the gain of output waveform Practical Activity: - Construct an inverting and non inverting amplifier with its gain. | Theory- 4Hrs Practical- 09Hrs Total- 13Hrs | - Test Bench - Op-Amp IC - Resistors - Capacitors - Breadboard - DuPont wires - Multi meter | - Class Room - Electronics Lab |
| - Apply Op-Amp as a Summing Amplifier | Trainee will be able to: - Design Audio Mixer for understanding the application of Op Amp as a Summing Amplifier - Design DAC and ADC for understanding the application of Op Amp as a Summing Amplifier | - Define operational amplifier as summing amplifier - Explain summing amplifier operation - Calculate its output voltage - Decribe DAC and ADC operation - Explain the parameters related to DAC & ADC (i.e bit, gain, noise) Practical Activity: - Construct a summing amplifier having 4 audio inputs with its diagram. | Theory- 02Hrs Practical- 09Hrs Total- 11Hrs | - Test Bench - Op-Amp IC - Resistors - Capacitors - Breadboard - DuPont wires - Multi meter - DAC & ADC IC | - Class Room - Electronics Lab |
| - Use Op-Amp as Differentiator and Integrator | Trainee will be able to: - Implement the prescribed procedure/configuration for utilizing Op-Amp as a Differentiator and Integrator - Check input/output waveforms of IC on Oscilloscope | - Define operational amplifier as a differentiator - Define operational amplifier as a integrator - Explain the operation of Op-Amp as differentiator or integrator in the circuit - Calculate its output voltage - Explain the impact of frequency change to output voltage - Explain different waveforms with help of oscilloscope Practical Activity: - Construct a triangular wave to square wave converter circuit using Op-Amp | Theory- 02Hrs Practical- 10Hrs Total- 12Hrs | - Test Bench - Op-Amp IC - Resistors - Capacitors - Breadboard - DuPont wires - Multi meter | - Class Room - Electronics Lab |
| - Used Op-Amp as Multi-vibrator and Mono-stable vibrator | Trainee will be able to: - Implement the prescribed procedure/configuration for utilizing Op-Amp as Multi-vibrator and Mono-stable vibrator - Check input/output waveforms of IC on Oscilloscope - Design Sinusoidal to Rectangular Converter for understanding the application of Op-Amp as Multi-vibrator - Design a frequency counter | - Define Multi-vibrator - Explain multi-vibrator circuit and its function - Differentiate between Mono-Stable and Bi-Stable multi vibrators operation - Explain output waveform - Calculate output voltage - Explain the function of frequency counter Practical Activity: - Construct a frequency counter circuit for sine wave by using Op-Amp. | Theory- 02Hrs Practical- 09Hrs Total- 11Hrs | - Test Bench - Op-Amp IC - Resistors - Capacitors - Breadboard - DuPont wires - Multi meter - 555 Timer IC - Counter IC | - Class Room - Electronics Lab |
| - Implement Op-Amp as Comparator | Trainee will be able to: - Implement the prescribed procedure/configuration for utilizing Op-Amp as Comparator - Check input/output waveforms of IC on Oscilloscope - Design Positive and Negative Comparator for understanding the application of Op-Amp as Comparator - Design Voltage level detector for understanding the application of Op-Amp as Comparator - Design Voltage Comparator circuit for understanding the application of Op-Amp as Comparator | - Define comparator - Explain the comparator circuit and its function - Explain input / output waveform - Calculate output voltage - Differentiate positive and negative comparator. - Describe the application of voltage detectors - Explain Voltage comparator for understanding the application of Op-Amp as Comparator Practical Activity: - Construct a high voltage protection circuit by using Op-Amp as comparator. | Theory- 02Hrs Practical- 09Hrs Total- 11Hrs | - Test Bench - Op-Amp IC - Resistors - Capacitors - Breadboard - DuPont wires - Multi meter - Comparator IC | - Class Room - Electronics Lab |

## CHARACTERIZE VARIOUS OSCILLATORS.

Objective This competency standard identifies the competencies required to characterize oscillators.

Duration: 80 Hours				Theory:20 Hours						Practical: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Assemble a RC phase shift oscillator | Trainee will be able to: - Implement the circuit of RC phase shift oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of RC phase shift oscillator circuit. - Troubleshoot RC phase shift oscillator. | - Define Oscillators - Enlist the types of Oscillators - Explain the Assembling of RC phase shift oscillator - Describe its characteristics curve and parameters. - State the use of RC phase shift Oscillator. - Describe Trouble shooting of RC Phase Shift Oscillator. Practical Activity: Construct the circuit of RC Phase Shift Oscillator and Explain its characteristic curve with its diagram. | Theory- 01 Hrs Practical-03 Hrs Total-04 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - RC Phase shift oscillator trainer kit. | - Class Room - Electronics Lab |
| LU-2: Working of a RC phase shift oscillator | Trainee will be able to: - Implement working of a RC phase shift oscillator. - Draw the circuit of a RC phase shift oscillator. Measure its parameters. - Troubleshoot of a RC phase shift oscillator - Repair of a RC phase shift oscillator. | - Explain the Working of RC phase shift oscillator - Describe its characteristics curve and parameters. - Explain the use of RC phase shift Oscillator. - Describe Trouble shooting of RC Phase Shift Oscillator. Practical Activity: - Construct the circuit of RC Phase Shift Oscillator. - Explain the working principle of RC Phase shift Oscillator with the help of diagram. | Theory- 01 Hrs Practical-03 Hrs Total-04 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - RC Phase shift oscillator trainer kit. | - Class Room - Electronics Lab |
| LU-3: Assemble a Hartley oscillator. | Trainee will be able to: - Implement the circuit of Hartley oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of Hartley oscillator circuit. - Troubleshoot Hartley oscillator. | - Define Hartley Oscillator. - Explain the operation of Hartley oscillator - Describe its characteristics curve and parameters. - State uses of Hartley Oscillator. - Describe Trouble shooting of Hartley Oscillator. Practical Activity: Construct the circuit of Hartley Oscillator with its components and Draw its Characteristic curve. | Theory- 02 Hrs Practical-06 Hrs Total-08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Hartley oscillator trainer kit. | - Class Room - Electronics Lab |
| LU4: Working of a Hartley oscillator. . | Trainee will be able to: - Implement working of a Hartley oscillator. - Draw the circuit of a Hartley oscillator. Measure its parameters. - Troubleshoot of a Hartley oscillator. - Repair of a Hartley oscillator. | - Explain Hartley Oscillator. - Explain the Working principle of Hartley oscillator - Explain its characteristics curve and parameters. - Explain use of Hartley Oscillator. - Explain the Parameters of Hartley Oscillator. - Explain Trouble shooting of Hartley Oscillator. - Explain repair techniques of Hartley Oscillator. Practical Activity: - Construct the circuit of Hartley Oscillator (with help of IC) . - Explain the working principle of Hartley Oscillator. | Theory- 02 Hrs Practical-06 Hrs Total-08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Hartley oscillator trainer kit. | - Class Room - Electronics Lab |
| LU5: Assemble a Colpitts oscillator. | Trainee will be able to: - Implement the circuit of Colpitts oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of Colpitts oscillator circuit. - Troubleshoot Colpitts oscillator. | - Define Colpitts Oscillator circuit. - Explain the operation of Colpitts oscillator. - Describe its characteristics curve and parameters. - State the uses of Colpitts Oscillator circuit. - Describe trouble shooting techniques for Colpitts Oscillator circuit. Practical Activity: Construct Colpitts Oscillator circuit (with its components) and draw its Characteristic curve. | Theory- 02 Hrs Practical-06 Hrs Total-08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Colpitts Oscillator trainer kit | - Class Room - Electronics Lab |
| LU6: Working of a Colpitts oscillator. | Trainee will be able to: - Implement working of a Colpitts oscillator. - Draw the circuit of a Colpitts oscillator. Measure its parameters. - Troubleshoot of a Colpitts oscillator - Repair of a Colpitts oscillator | - Explain Colpitts Oscillator circuit. - Explain the working principle of Colpitts oscillator. - Explain its characteristics curve and parameters. - Explain the use of Colpitts Oscillator circuit. - Explain trouble shooting techniques for Colpitts Oscillator circuit. Practical Activity: Construct Colpite Oscillator circuit (with help of IC) and explain its working principle. | Theory- 02 Hrs Practical-06 Hrs Total-08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Colpitts Oscillator trainer kit | - Class Room - Electronics Lab |
| LU7: Assemble a crystal oscillator. | Trainee will be able to: - Implement the circuit of crystal oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of crystal oscillator circuit. - Troubleshoot crystal oscillator. | - Define Crystal Oscillator circuit. - Explain the operation of crystal oscillator - Describe its characteristics curve and parameters. - State uses of Crystal Oscillator circuit. - Describe Troubleshooting Techniques of Crystal Oscillator. Practical Activity: Construct Crystal Oscillator circuit (with its components) and draw its Characteristic curve. | Theory- 02 Hrs Practical-06 Hrs Total-08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Crystal Oscillators | - Class Room - Electronics Lab |
| LU-08: Implement the working of a crystal oscillator. | Trainee will be able to: - Implement working of crystal oscillator. - Draw the circuit of a crystal oscillator. Measure its parameters. - Troubleshoot of a crystal oscillator. - Repair of a crystal oscillator | - Explain Crystal Oscillator circuit. - Explain the Working principle of crystal oscillator - Explain its characteristics curve and parameters. - Explain the use of Crystal Oscillator circuit. - Explain Troubleshooting Techniques of Crystal Oscillator. Practical Activity: Construct Crystal Oscillator (with help of IC) and explain its working principle. | Theory- 02 Hrs Practical-06 Hrs Total-08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Crystal Oscillators | - Class Room - Electronics Lab |
| LU-09: Assemble a Pulse Tone oscillator | Trainee will be able to: - Implement the circuit of Pulse Tone oscillator and Measure its parameters. - Draw its characteristics curve. - Apply the use of Pulse Tone oscillator circuit. - Troubleshoot Pulse Tone oscillator. | - Define Pulse Tone Oscillator circuit - Describe the operation of Pulse Tone oscillator - Describe its characteristics curve and parameters. - State uses of Pulse Tone Oscillator circuit. - Describe trouble shooting techniques for Pulse Tone Oscillator circuit. Practical Activity: Construct Pulse Tone Oscillator circuit and draw its Characteristic curve. | Theory- 02 Hrs Practical-06 Hrs Total-08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - Pulse tone Oscillator kit |  |
| LU-10: Working of a 555 IC as Timer and pulse generator | Trainee will be able to: - Implement working of a 555 IC. - Draw the circuit of a 555 IC and Measure its parameters. - Troubleshoot of a 555 IC. - Repair of a 555 IC. | - Define Pulse generator - Describe 555 IC as timer. - Explain the Working Principle of 555 IC as timer and Pulse generator. - Enlist its parameters. - State uses of 555 IC aw timer and Pulse generator. - Describe trouble shooting techniques for 555 IC as timer and pulse generator. - Describe repair techniques for 555 IC as timer and pulse Generator. Practical Activity: Construct a circuit using 555 IC as Timer and Pulse Generator. Also explain its working principle. | Theory- 02 Hrs Practical-06 Hrs Total-08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - 555 IC. | - Class Room - Electronics Lab |
| LU-11: Implement a Pulse Tone oscillator by using 555 IC | Trainee will be able to: - Draw circuit - Apply its use - Troubleshoot a Pulse Tone oscillator by using 555 IC - Repair a Pulse Tone oscillator by using 555 IC | - Describe Pulse Tone Oscillator by using 555 IC circuit - Explain the Working Principle of Pulse Tone oscillator - Describe its characteristics curve and parameters. - State uses of Pulse Tone Oscillator by using 555 IC circuit. - Describe trouble shooting techniques for Pulse Tone Oscillator by using 555 IC circuit. - Describe repair techniques for Pulse Tone Oscillator by using 555 IC circuit. Practical Activity: Construct Pulse Tone Oscillator circuit using 555 IC, draw its characteristic curve and Explain its working principle. | Theory- 02 Hrs Practical-06 Hrs Total-08 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Resistors - Transistors - Trainer - Frequency Meter. - Multi-meter - Oscilloscope/Function Generator - Bread Board - 555 IC. | - Class Room - Electronics Lab |

# Analytical Instruments

- MEASURE TEMPERATURE & HUMIDITY

Objective:

After completion of this competency standard the student will be able to Convert various Temperature scales, measure humidity, moisture and Temperature using different instruments.

Duration:  Hours	60				Theory:  15 Hours 						Practical:  45 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Lu1: Convert various Temperature scales | Trainee will be able to: - Differentiate between heat and temperature - Identity measuring units for Heat and Temperature - Perform conversion between scales i.e. Kelvin, Celsius and Fahrenheit scales - Identify three reference point of temperatures - Verify the theoretical and practical outputs | - Explain Heat and Temperature - Explain various temperature scales - Describe procedure of conversion of temperature - Centigrade to Fahrenheit - Fahrenheit to Centigrade - Centigrade to Kelvin - Kelvin to Centigrade - Fahrenheit to Kelvin - Kelvin to Fahrenheit Practical Activity Convert given Temperature scales | Theory- 05 Hrs Practical- 15 -Hrs Total- 20 Hrs | - Heater - Temperature Indicator Controller - Power supply - Temperature Sensors - Mercury bulb thermometer | Class Room Instrumentation Laboratory |
| Lu2: Operate various types of Thermometers | - Identify and differentiate various types of temperature sensors. - Operate and read the output of the various sensors. - Compare performance and accuracy of Mercury bulb thermometer with sensor’s base thermometers | Explain thermocouple and temperature sensor. Define the operation of various thermometers. Practical Activity - Take reading using liquid in glass (mercury) Thermometer - Connect various sensors to Temperature Controllers & indicator and measure temperature | Theory05-Hrs Practical-15Hrs Total-20Hrs | - Heater - Temperature Controller & indicator - Power supply - Temperature Sensors - Mercury bulb thermometer | Class Room and Instrumentation Laboratory |
| Lu3: Measure humidity using different humidity meters | - Setup wet and dry bulb psychometer. - Identify the type of sensor for humidity sensing - Perform relative and absolute measurement using wet and dry bulb thermometer. - Identify Hydgrometer (transducer type) components, Sensor type, Output & Input - Measure Humidity inside close container - Compare the measured humidity results | - Explain various types of Humidity metering instruments - Describe Operation and data analysis of measurements Practical Activity - Measure humidity using different humidity meters. - Measure humidity using wet and dry bulb thermometer - Compare the result with reading of Hygrometer. | Theory-05Hrs Practical-15Hrs Total-20Hrs | - Heater - Temperature - Controller & Indicator - Power supply - Temperature Sensors - Mercury bulb Thermometer - Humidity sensors & transducer - Hygrometer - Wet and dry bulb Psychrometer | Class Room and Instrumentation Laboratory |

- MEASURE THE DENSITY & POWER OF HYDROGEN

Objective:

After completion of this competency standard the student will be able to measure the Density & pH of substances using a variety of measuring instruments.

Duration:  Hours	60				Theory:  15 Hours 						Practical:  45 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Lu1: . Analyze Density by various techniques | Trainee will be able to: - Differentiate between digital and glass hydrometer - Perform measurements for different liquids - Setup filling ball apparatus and identify their building blocks. - Measuring density of oil by filling ball apparatus. - Setup fixed volume weight apparatus for density measurement - Perform measurement of density for various liquid by “fixed volume weight apparatus”. - Compare the measured results - Perform analysis and find the causes of variation in results (if any). - Generate a report | - Describe density measurement techniques and their measuring instruments. - Describe acidic and basic behavior of solutions - Define the operation, calibration and measurements by using the digital pH meter based on Electrode. . Practical Activity Perform calibration of PH meter | Theory- 05 Hrs Practical- 15 -Hrs Total- 20 Hrs | - Power supply - filling ball apparatus - fixed volume weight apparatus”. Glass Hygrometer - Testing and Standard liquid. - Digital Ph Meter | Class Room and Instrumentation Laboratory |
| Lu2:. Measure specific gravity in relation with density | - Setup displacer method apparatus. - Perform measurements for various liquids - Perform measurement of density by “fixed volume weight apparatus”. - Compare the measured results - Find the causes of variation in results (if any). - Generate an output report | - Define the techniques about measuring pH in solutions. - Define the litmus paper technique for determining pH. - Define the operation, measurement, analysis of the specific gravity measuring instruments. Practical Activity Measure specific gravity | Theory- 05 Hrs Practical- 15 -Hrs Total- 20 Hrs | - Fixed volume weight apparatus - Sample Liquids | Class Room and Instrumentation Laboratory |
| Lu3:. Measure the pH by different techniques | - Identify the litmus paper technique to measure the pH of solution. - Identify the default color of litmus paper - Identify the color variation of litmus paper in the Reference literature - Prepare solutions of acidic / basic concentrations. - Dip litmus paper in the solution in periodic way and observe the change in color - Record the values - Identify digital pH meter based on Electrode. - Apply the calibration procedure of the instrument - Measure the pH of all prepared solutions by digital pH meter - Compare the results measured by litmus paper and digital pH meter. - Analyze the variation in data, experimental time / complications and prepare write up. | - Define the specific gravity in relation with density. - Define Variation in results in the due to application of several techniques. Practical Activity Measure PH by different techniques | Theory- 05 Hrs Practical- 15 -Hrs Total- 20 Hrs | - Refrence sample/Materials - Refrence solution - Litmus Paper - Acid & Basic solutions of different concentrations | Class Room and Instrumentation Laboratory. |

- MEASURE THE CONCENTRATION OF ENVIRONMENTAL GASES

Objective:

After completion of this competency standard the student will be able to measure the concentration of various environmental Gases such as Oxygen, Carbon dioxides, Nitrogen, Carbon monoxides which play key role in defining the working environmental conditions in the industries and office

Duration:  Hours	60				Theory:  15 Hours 						Practical:  45 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Lu1: Measure the concentration of important gases | Trainee will be able to: - Identify Oxygen and its parameter for the environmental conditions inside closed environments. - Identify Carbon monoxide and its parameter for the environmental conditions inside close environments. - Identify carbon dioxides and its parameter for the environmental conditions inside close environments. - Identify Nitrogen and its parameters for the environmental conditions inside close environments. - Identify thermal conductivity analyzer instrument and it important building blocks, - Setup and arrange the known concentration storage of oxygen, carbon dioxide, carbon monoxide and Nitrogen. - Perform measurements by using thermal conductivity analyzer for the known concentration of all gaseous and check the deviation in the measured and reference values. - Setup and arrange unknown concentration of the gaseous and measured their concentration by using Thermal analyzer instrument and record the data. - Identify Carbon monoxide analyzer instrument with it basic building blocks - Setup and arrange unknown concentration of carbon monoxide and measured their concentration by using “carbon monoxide analyzer instrument and record data. - Identify Para-magnetic oxygen detector instrument with it basic building blocks - Arrange unknown concentration of Oxygen and measured their concentration by using “paramagnetic oxygen detector and record data. - Compare, analyze and interpret the data and comments on the deviation and discrepancies in relation with the reference data and instrumental techniques | - Define environmental gases present and their required concentrations and parameters - Define the limits and dangers about the gaseous concentration. Practical Activity Measure the concentration of Given gases | Theory-07 Hrs Practical-24Hrs Total- 31Hrs | - Sample storage container for measuring the unknown concentration thermal conductivity analyzer - Carbon monoxide analyzer instrument - paramagnetic oxygen detector | Class Room and Instrumentation Lab. |
| Lu2:Analyze flue Gas analyzer instrument | - Identify the basic building block for the flue gas analyzer components. - Identify sensor types uses for the different gases, i.e. for CO, O, Nitrogen etc - Calibrate (see user manual) the instrument with known gaseous concentrations. - Perform measurement for the all gaseous and record the results. - Compare the measured values with the above data and reference values. - Analyze and interpret the discrepancies, errors and deviations. - Generate an output report. | - Define the operation, calibration and measurements by using the thermal conductivity analyzer. - Define the basic, operation, calibration and measurements by using the Flue gas analyzer Instrument. Practical Activity Analyze flue gas by analyzer Instrument | Theory-08Hrs Practical-21Hrs Total-29Hrs | Tl Thermal conductivity analyzer setup/Instrument flue gas analyzer with sensors | Class Room and Instrumentation |

## CALIBRATE THE MEASURING INSTRUMENTS

Objective: After completion of this competency standard the student will be able to perform Calibration of Measuring Instruments/equipment/devices.

Duration: 60 Hours				Theory:15 Hours						Practical: 45 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Perform the test run | - Check the device physically. - Check the device with multi-meter. - Connect device with power source (if applicable). - Perform test run as described in the procedure - Note parameters of the device. | - Describe assembling & disassembling techniques - Describe characteristics of electrical / electronic components - Describe Display: LCD, LED, Dial indicating instrument - Describe multi-meter. - Describe sensor and their various types - Describe the parameters. - Define test run procedure as recommended in manual. Practical Activity: Perform the bench check of the following instruments. - Pneumatic Gauges - Pressure Gauges - Level Sensors / Switches - Flowmeters - Control Valves - Positioner Valves - PH meters | Theory- 5 Hrs Practical-3 Hrs Total- 8 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Pneumatic gauges - Electro Magnetic Flow meters - Level Sensors & Switches - Control valve with positioner - PH meter - PC or Lap top for Graphical presentation | - Class Room - Instrumentation Lab |
| LU-2: Dismantle the device. | - Use standard tools described in user manual - Perform isolation of devices (if applicable) - Apply disassembling & assembling techniques - Tag the wires of device. | - Define Isolation of device before dismanteling. - Describe assembling & disassembling techniques - Describe Tagging techniques of different devices. Practical Activity: Dismantle the following device from its position on test bench. - Pneumatic Gauges - Temperature Controller - Thermocouple - RTDs - Pneumatic gauges - Electro Magnetic Flow meters - Level Sensors & Switches - Control valve with positioner | Theory- 01 Hrs Practical-03 Hrs Total- 04Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Pneumatic Gauges Digital & Analog Types. - Temperature Controller - Thermocouple - RTDs - Pneumatic gauges - Electro Magnetic Flow meters - Level Sensors & Switches - Control valve with positioner | - Class Room - Instrumentation Lab |
| LU-3: Diagnose the fault in device | - Inspect physical condition of device - Check the operating panel of the device - Check for electrical faults - Check mechanical fault & check pneumatic sensors - Inspect the hardware visually for any damage or unusual orientation - Tag the faulty component | - Describe characteristics of electrical / electronic components - Describe control valve & valve positioner operation faults - Describe electromagnetic flow meter control valve operation and common faults - Describe magnetic level switch operation faults - Describe operation of pH meter and its common faults - Describe sensor and their various types - Describe the accuracy of thermocouple and RTD. - Describe the sensor type and operation. - Describe the testing method of flow meter. - Describe the testing method of magnetic level switch. - Describe the testing method of pH meter. - Electrical / electronic components faults - Explain fault diagnosis techniques Practical Activity: Troubleshoot the following devices and make a breakdown report. - Pneumatic Gauges Digital & Analog Types - Temperature Calibrator - Flow meter Calibrator - Milliamps Generator - Millivolts Generator. - Temperature Controller - Thermocouple - RTDs - Pneumatic gauges - Electro Magnetic Flow meters - Level Sensors & Switches - Control valve with positioner - PH meter | Theory- 01 Hrs Practical-03 Hrs Total- 04 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Calibrator for Pneumatic Gauges - Pneumatic Gauges Digital & Analog Types - Temperature Calibrator - Flow meter Calibrator - Milliamps Generator - Millivolts Generator. - Temperature Controller - Thermocouple - RTDs - Pneumatic gauges - Electro Magnetic Flow meters - Level Sensors & Switches - Control valve with positioner - PH meter | - Class Room - Instrumentation Lab |
| LU4: Repair the sensing device | - Draw Block Diagram of sensor board & connections - Identify the construction and working of electrical interface - Fix the fault in sensor interface. - Fix the fault in operator panel - Fix the fault in power section. - Fix the fault in display circuit. - Fix the fault in beeper - Fix the fault in recording unit - Perform test run | - Describe assembling & disassembling techniques - Describe characteristics of electrical / electronic components - Describe repair techniques of sensor interface. - Describe repair techniques of operating panel. - Describe repair techniques of power section. - Describe repair techniques of display circuit. - Describe repair techniques of beeper. - Describe repair techniques of recording unit. - Describe the test run and a device test run method. Practical Activity: Perform repairing of the following faulty sensing device, do test run and make a report. - Pneumatic Gauges Digital & Analog Types - Temperature Calibrator - Flow meter Calibrator - Milliamps Generator - Millivolts Generator. - Temperature Controller - Thermocouple - RTDs - Pneumatic gauges - Electro Magnetic Flow meters - Level Sensors & Switches - Control valve with positioner - PH meter | Theory- 01 Hrs Practical-03 Hrs Total- 04 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Calibrator for Pneumatic Gauges - Pneumatic Gauges Digital & Analog Types - Temperature Calibrator - Flow meter Calibrator - Milliamps Generator - Millivolts Generator. - Temperature Controller - Thermocouple - RTDs - Pneumatic gauges - Electro Magnetic Flow meters - Level Sensors & Switches - Control valve with positioner - PH meter | - Class Room - Instrumentation Lab |
| LU5: Calibrate &repair the gauges (pneumatic/ electronic) | - Check the gauge physically. - Check with multi-meter. - Apply standard pressure or connect device with power source (if applicable). - Perform test run as described in the procedure. - Note parameters of the device. | - Describe assembling & disassembling techniques - Describe characteristics of electrical / electronic components - Describe Calibration of Pneumatic Gauges (Dial / Electronic) - Describe test run of devices. - Describe Parameters of Devices Practical Activity: Perform the calibration of following gauges and make a calibration report of the devices given. - Pneumatic Gauges Digital and Analog type. - Pressure Guage - Flowmeters | Theory – 01 Hrs Practical–03 Hrs Total – 04 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Calibrator for Pneumatic Gauges - Pneumatic Gauges Digital and Analog type. - Pressure Guage - Flowmeters | - Class Room - Instrumentation Lab |
| LU6: Calibrate the thermocouple and temperature Sensor (RTD) | - Check the thermocouple physically. - Check with multi-meter. - Apply standard temperature and connect device with power source (if applicable). - Perform standardized test as described in the procedure. - Note parameters of the thermal sensor. | - Explain types and materials of thermocouple and temperature sensor (RTD). - Describe multi-meter and testing procedure - Describe power supply of devices and their rating. - Describe Calibration of thermocouple and RTD types. - Describe Parameters. Practical Activity: Perform Calibration of following Thermocouple or RTD and make a calibration report. - Thermocouple - RTD | Theory – 01 Hrs Practical–03 Hrs Total – 04 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Temperature Calibrator - Milliamps Generator - Millivolts Generator. - Temperature Controller - Thermocouple - RTDs | - Class Room - I.T Lab |
| LU7: Calibrate the magnetic level switch | - Check the magnetic level switch physically. - Check with compass/ magnet. - Submerge the switch in the tank and observe the state of the contact (via multi-meter). - Perform standardized test as described in the procedure. - Note parameters of the magnetic level switch. | - Explain magnetic level switch. - Explain operation of magnetic level switch. - Explain types and structure of magnetic level switch. - Explain working principle of magnetic level switch. - Describe Calibration procedure of Magnetic Level Switch. Practical Activity: Perform Calibration of provided Magnetic Level switch and make a report. | Theory – 01 Hrs Practical–06 Hrs Total – 07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Milliamps Generator - Millivolts Generator. - Level Sensors & Switches | - Class Room - Instrumentation Lab |
| LU-08: Calibrate the control valve &valve positioner | - Check the control valve and its positioner physically. - Check the valve with power source and multi-meter. - Check the state of the valve for its normal operation. - Check the state of the valve for its positioning (x-axis, y-axis z-axis) by applying valve positioner. - Perform standardized test as described in the procedure. - Note the operating range of the valve for its optimum operation. | - Describe control valve and valve positioner. - Explain Operation of control valve and valve positioner. - Explain Calibration procedure of control valve & valve positioner. - Describe operating range of the valve for its optimum operation. Practical Activity: Perform calibration of provided Control valve and valve positioner and make a report. | Theory – 01 Hrs Practical–06 Hrs Total – 07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Milliamps Generator - Millivolts Generator. - Control valve with positioner | - Class Room - Instrumentation Lab |
| LU-09: Calibrate the electromagnetic type flow meter | - Check the electromagnetic flow meter physically. - Check the electromagnetic flow meter by applying power (using multi-meter). - Check the state of the electromagnetic flow meter’s sensor’s normal operation. - Check the state of the sensor across the specimen. - Perform standardized test as described in the procedure - Note the operating range of the flow meter for its optimum operation. | - Describe electromagnetic type flow meter. - Explain working principle of flow meter and law of electro magnetism. - Explain Operation of electromagnetic type flow meter. - Explain Calibration procedure of electromagnetic type flow meter. - Describe operating range of electromagnetic type flow meter. Practical Activity: Perform calibration of provided electromagnetic type flow meter and make a report. | Theory – 01 Hrs Practical–06 Hrs Total – 07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - Flow meter Calibrator - Milliamps Generator - Millivolts Generator. - Electro Magnetic Flow meters | - Class Room - Instrumentation Lab |
| LU-10: Calibrate pH meter | - Check the pH meter physically. - Check the pH meter by applying power (using multi-meter). - Check the state of the pH meter’s sensor’s normal operation. - Check the state of the sensor across the buffers/specimen. - Perform standardized test as described in the procedure - Note the operating range of the pH meter for its optimum operation. | - Describe operation of pH meter and its common faults - Describe the testing method of pH meter. - Describe the types of pH meter w.r.t its sensor and ranges (acid and base). - Explain operation of pH meter sensor. - Explain working principle of pH meter and definition of pH with laws. Practical Activity: Perform calibration of provided PH meter and make a report. | Theory – 01 Hrs Practical–6 Hrs Total – 07 Hrs | - Star Set (Screw Driver) - Digital Multi-meter - Cutter plier - Electric plier - Electric Tape - Fix Spanner set 8-19mm - PH meter | - Class Room - Instrumentation Lab |
| LU-11: Prepare the Graphs, comparison/ conversion table | - Make arrangement of data as per standard measurement. (for various ranges) - Develop a graph according to need (dependent/ independent variable) - Select the unit conversion and calculation to make legends. - Mark the ranges and parameters of the data for graphs. - Mark the origin of the graph for plotting the meaning full result. - Conclude the result from the plotted graph. | - Explain measurement data. - Explain Graphical representation of it. - Explain unit conversion and calculation to make a legend. - Explain conclusion of result from the graph. Practical Activity: Prepare a graphical representation of the provided measurement data and its conclusion. | Theory – 01 Hrs Practical–03 Hrs Total – 04 Hrs | - PC or Lap top for Graphical presentation | - Class Room - Instrumentation Lab |

# 4.	List of Tools and Equipment

(FOR A CLASS OF 25 STUDENTS)

| Name of Trade |  | Instrumentation Technology |  |
| --- | --- | --- | --- |
| Sr. # |  | Description |  | Quantity |
| 1. |  | Steel-toed footwear, |  | 25 Nos. |
| 2. |  | hard hat, |  | 25 Nos. |
| 3. |  | safety gloves, |  | 25 Sets |
| 4. |  | appropriate safety glasses, |  | 25 Nos. |
| 5. |  | high visibility vest, |  | 25 Nos. |
| 6. |  | hearing protection, |  | 25 Nos. |
| 7. |  | respirators, masks, |  | 25 Nos. |
| 8. |  | De-electric boots and gloves for protection from electrical shock. |  | 25 Nos. |
| 9. |  | First Aid Box (Include all necessary bandages and medicines) |  | 02 Sets |
| 10. |  | fire extinguishers, |  | 04 Nos. |
| 11. |  | fire blankets, |  | 04 Nos. |
| 12. |  | Sand Bucket with stand |  | 02 Sets |
| 13 |  | basic tools, such as grease gun, air pump etc |  | 10 Sets |
| 14 |  | Allen Key |  | 10 Sets |
| 15 |  | Work Bench (able to hold 06 bench wises) |  | 05 Nos. |
| 16 |  | Bench Wise |  | 30 Nos. |
| 17. |  | hammer, |  | 05 each size |
| 18 |  | screwdrivers, |  | 05 each size |
| 19. |  | pliers, |  | 05 each size |
| 20. |  | self-locking pliers, |  | 05 each size |
| 21. |  | adjustable wrench, |  | 05 each size |
| 22. |  | assorted other wrenches, measuring tape(100m) |  | 05 each size |
| 23. |  | Basic supplies, such as grease, oil, window cleaner, rags, ice scraper, whisk broom. |  | 05 each |
| 24. |  | Color-code cards, utility documentation. Logbooks Service Manuals, OHS Regulation, |  | 10 sets |
| 25 |  | Fix Safe guards |  | 04 Nos |
| 26 |  | Moveable Safe guards |  | 04 N0s. |
| 27 |  | Solder |  | 04 N0s. |
| 28 |  | Wire stripper |  | 04 N0s. |
| 29 |  | Nose plier |  | 04 N0s. |
| 30 |  | Solder wire |  | 04 N0s. |
| 31 |  | Insulation remover |  | 04 N0s. |
| 32 |  | Flat File |  | 25 Nos. |
| 33 |  | Half round file |  | 10 Nos. |
| 34 |  | Round File |  | 10 Nos. |
| 35 |  | Mild Steel Sheet (4 x 8 ft) |  | 02 Nos |
| 36 |  | Mild Steel round work piece (Dia 30) |  | 10 ft |
| 37 |  | Mild Steel flat bar (W:50xL:100xT:20mm) |  | 25 Nos. |
| 38 |  | GI pipe 1”, 2” |  | 20 Feet each |
| 39 |  | Lathe machine (5 ft) |  | 02 Nos |
| 40 |  | Revolving center |  | 02 Nos |
| 41 |  | Dead center |  | 02 Nos |
| 42 |  | Draw bar |  | 02 Nos |
| 43 |  | Face plate |  | 02 Nos |
| 44 |  | Knurling Tool |  | 02 Nos |
| 45 |  | HSS Tool bit |  | 10 Nos |
| 46 |  | Pedestal Drill machine |  | 02 Nos |
| 47 |  | Hand Grinder |  | 02 Nos |
| 48 |  | Drill bits |  | 02 Set |
| 49 |  | Drill shank |  | 02 Set |
| 50 |  | Drill chuck |  | 02 Nos |
| 51 |  | Counter sink tool |  | 02 Nos |
| 52 |  | Counter bore tool |  | 02 Nos |
| 53 |  | Machine reamer set |  | 02 Set |
| 54 |  | Hand Reamer set |  | 02 Set |
| 55 |  | Universal Milling machine |  | 01 Nos. |
| 56 |  | Machine wise |  | 01 Nos. |
| 57 |  | Tail stock with dead center |  | 01 Set |
| 58 |  | Indexing head |  | 01 Nos. |
| 59 |  | Indexing plate set |  | 01 Set |
| 60 |  | Gear cutting tool set |  | 01 Set |
| 61 |  | T-slot cutting tool |  | 02 Nos. |
| 62 |  | Woodruff cutter |  | 02 Nos |
| 63 |  | End mill cutter |  | 02 Nos |
| 64 |  | Portable welding machine 3 Phase 300 Amps. |  | 02 Nos, |
| 65 |  | Welding table |  | 03 Nos, |
| 66 |  | Toggle |  | 02 Nos, |
| 67 |  | Leather gloves |  | 01 Nos, |
| 68 |  | Welding apron |  | 05 Nos, |
| 69 |  | Oxygen Cylinder with protector cap |  | 01 Nos, |
| 70 |  | Acetylene Cylinder with protector cap |  | 01 Nos. |
| 71 |  | Welding Torch |  | 01 Nos. |
| 72 |  | Welding Tip (Nozzle) |  | 01 Set |
| 73 |  | Pressure Regulators |  | 01 Nos. |
| 74 |  | Hose & Hose fittings |  | 30 ft. |
| 75 |  | Filler Rod |  | 01 Box |
| 76 |  | Flux Material |  | 500 gm. |
| 77 |  | Surface Table |  | 01 Nos. |
| 78 |  | - Surface plate. |  | 02 Nos. |
| 79 |  | - Steps and collars. |  | 02 Set |
| 80 |  | Folding rule |  | 02 Nos. |
| 81 |  | Combination set. |  | 02 Nos. |
| 82 |  | Scriber. |  | 02 Nos. |
| 83 |  | Tri square. |  | 02 Nos. |
| 84 |  | Divider. |  | 02 Nos. |
| 85 |  | Spirit level |  | 02 Nos. |
| 86 |  | Radius gauge |  | 02 Nos. |
| 87 |  | Filler gauge |  | 02 Nos. |
| 88 |  | Plug gauge |  | 02 Set |
| 89 |  | Ring gauge |  | 02 Set |
| 90 |  | Outside micrometer |  | 02 Nos. |
| 91 |  | Inside micrometer |  | 02 Nos. |
| 92 |  | Depth micrometer. |  | 02 Nos. |
| 93 |  | Bevel protractor. |  | 02 Nos. |
| 94 |  | Vernier Bevel protractor. |  | 02 Nos. |
| 95 |  | Dial protractor. |  | 02 Nos. |
| 96 |  | Sine bar. |  | 02 Nos. |
| 97 |  | Sine block |  | 02 Nos. |
| 98 |  | Sine plate. |  | 02 Nos. |
| 99 |  | Sine table. |  | 02 Nos. |
| 100 |  | Sine center. |  | 02 Nos. |
| 101 |  | Gear tooth caliper |  | 02 Nos. |
| 102 |  | Gear Inspection machine. |  | 01 Nos. |
| 103 |  | Gear testing machine. |  | 01 Nos. |
| 104 |  | Parkinson Gear Tester. |  | 01 Nos. |
| 105 |  | Multi meters |  | 02 Nos. |
| 106 |  | Resistors of different values |  | 04 Nos. (Each) |
| 107 |  | Small pieces of copper wire |  | 01 roll |
| 108 |  | Breadboard. |  | 04 Nos. |
| 109 |  | Connecting wires |  | 02 Rolls |
| 110 |  | Rheostat. |  | 04 Nos. |
| 111 |  | Incandescent lamp of different watts. |  | 04 Nos. |
| 112 |  | Voltmeter |  | 04 Nos. |
| 113 |  | Ampere meter |  | 04 Nos. |
| 114 |  | Multimeter |  | 04 Nos. |
| 115 |  | Combination plier |  | 04 Nos. |
| 116 |  | Phase tester |  | 04 Nos. |
| 117 |  | Energy meter |  | 04 Nos. |
| 118 |  | Thin coated copper wire. |  | 02 Rolls |
| 119 |  | Dry cell battery |  | 04 Nos. |
| 120 |  | Horse shoe magnet. |  | 04 Nos. |
| 121 |  | Transformer. |  | 02 Nos. |
| 122 |  | Compass needle. |  | 02 Nos. |
| 123 |  | Bar Magnet. |  | 04 Nos. |
| 124 |  | Galvanometer. |  | 02 Nos. |
| 125 |  | Capacitors, 4.7 μF |  | 04 Nos. |
| 126 |  | Capacitors, 10, 100 & 8.2 μF. |  | 04 Nos. (each) |
| 127 |  | Voltmeter. |  | 04 Nos. |
| 128 |  | D.C. power supply unit. |  | 02 Nos. |
| 129 |  | Bridging plugs. |  | 04 Nos. |
| 130 |  | Connecting leads. |  | 04 |
| 131 |  | Multimeter. (With option of Capacitance measurement) |  | 04 Nos. |
| 132 |  | D.C. power supply unit |  | 02 Nos. |
| 133 |  | Variable D.C powers supply 0-30 Voltas |  | 02 |
| 134 |  | Capacitor (Sanyo Operated Volts 6.3 V, SE 30) |  | 02 Nos. (each) |
| 135 |  | D.C Analog or Preferably Digital voltmeter Range 0-50V. |  | 02 Nos. (each) |
| 136 |  | L.E.D (3 to 9 V) |  | 02 Nos. (each) |
| 137 |  | Diode |  | 04 Nos. |
| 138 |  | Resistor |  | 04 Nos. |
| 139 |  | Bread board |  | 04 Nos. |
| 140 |  | Digital Multimeter |  | 04 Nos. |
| 141 |  | Oscilloscope Diode |  | 04 Nos. |
| 142 |  | Wire cutter |  | 04 Nos. |
| 143 |  | Wire stripper |  | 04 Nos. |
| 144 |  | Zener diode |  | 04 Nos. |
| 145 |  | Light Emitting diode |  | 04 Nos. |
| 146 |  | Soldering iron |  | 04 Nos. |
| 147 |  | FET Transistor |  | 04 Nos. |
| 148 |  | MOSFET Transistor |  | 04 Nos. |
| 149 |  | UJT |  | 04 Nos. |
| 150 |  | SCR |  | 04 Nos. |
| 151 |  | Breadboard or trainer |  | 01 Nos. |
| 152 |  | DIAC |  | 04 Nos. |
| 153 |  | TRIAC |  | 04 Nos. |
| 154 |  | Functions Generator |  | 01 Nos. |
| 155 |  | Op-Amp |  | 04 Nos. |
| 156 |  | White chart paper |  | 100 Nos. |
| 157 |  | Graphics and drawing sheets |  | 200 Nos. |
| 158 |  | Pencil |  | 30 Nos. |
| 159 |  | Eraser |  | 30 Nos. |
| 160 |  | Sharpener |  | 30 Nos. |
| 161 |  | Tee |  | 25 Nos. |
| 162 |  | Drawing Board |  | 25 Nos. |
| 163 |  | Set Square |  | 25 Nos. |
| 164 |  | Geometry set |  | 25 Nos. |
| 165 |  | French Curve |  | 25 Nos. |
| 166 |  | Printer |  | 01 Nos. |
| 167 |  | Multimedia projector |  | 01 Nos. |
| 168 |  | Computer |  | 25 Nos. |
| 169 |  | CAD software |  | 01 |
| 170 |  | IDE Software (C Language) |  | 01 |
| 171 |  | Power supply |  | 02 |
| 172 |  | AND gate |  | 02 Nos. |
| 173 |  | OR gate |  | 02 Nos. |
| 174 |  | NAND gate |  | 02 Nos. |
| 175 |  | XOR gate |  | 02 Nos. |
| 176 |  | NOR gate |  | 02 Nos. |
| 177 |  | NOT gate |  | 02 Nos. |
| 178 |  | Tool set |  | 02 Nos. |
| 179 |  | Bread board |  | 02 Nos. |
| 180 |  | Wire 0.5 mm |  | 02 Rolls |
| 181 |  | Digital clock |  | 04 Nos. |
| 182 |  | 555 IC |  | 02 |
| 183 |  | - Connecting leads. |  | 02 Rolls |
| 184 |  | Coil |  | 02 Rolls |
| 185 |  | - Armature |  | 02 Nos. |
| 186 |  | - Winding machine |  | 02 Nos. |
| 187 |  | - Insolating paper |  | 02 Nos. |
| 188 |  | - Carbon brushes |  | 04 Nos. |
| 189 |  | - Soldering wire |  | 02 Rolls |
| 190 |  | Stator frame |  | 02 Nos. |
| 191 |  | - Spring balance |  | 02 Nos. |
| 192 |  | - Ohm meter |  | 02 Nos. |
| 193 |  | - DC compound motor |  | 02 Nos. |
| 194 |  | Electro dynamo meter |  | 02 Nos. |
| 195 |  | - AC series motor |  | 02 Nos. |
| 196 |  | - Reluctance motor |  | 02 Nos. |
| 197 |  | - Hysteresis motor |  | 02 Nos. |
| 198 |  | - Stepper motor |  | 02 Nos. |
| 199 |  | - Servo motor |  | 02 Nos. |
| 200 |  | Control circuit |  | 02 Nos. |
| 201 |  | Temperature sensors. |  | 02 Nos. |
| 202 |  | IDE Software (C++ Language) |  | 01 |
| 203 |  | Sound sensors. |  | 02 Nos. |
| 204 |  | Proximity sensors. |  | 02 Nos. |
| 205 |  | Pressure sensors. |  | 02 Nos. |
| 206 |  | Light sensors. |  | 02 Nos. |
| 207 |  | Position sensors. |  | 02 Nos. |
| 208 |  | Voltage sensors. |  | 02 Nos. |
| 209 |  | Current sensors. |  | 02 Nos. |
| 210 |  | Vision sensors. |  | 02 Nos. |
| 211 |  | Microcontroller |  | 02 Nos. |
| 212 |  | - Arduino Uno |  | 02 Nos. |
| 213 |  | - Arduino Mega |  | 02 Nos. |
| 214 |  | Raspberry pi |  | 01 |
| 215 |  | Software of various microcontroller |  | 01 |
| 216 |  | - Links |  | 02 |
| 217 |  | - Joints |  | 02 |
| 218 |  | - End effectors |  | 02 |
| 219 |  | - Nuts |  | 02 Dozen (each size) |
| 220 |  | - Bolts |  | 02 Dozen (each size) |
| 221 |  | Screws |  | 02 Dozen (each size) |
| 222 |  | - Grippers |  | 02 Nos. |
| 223 |  | Conveyor belt |  | 02 Nos. |
| 224 |  | Sensor |  | 02 Nos. |
| 225 |  | Actuator |  | 02 Nos. |
| 226 |  | - Jumpers |  | 02 Nos. |
| 227 |  | - SD card |  | 02 Nos. |
| 228 |  | - LED |  | 02 Nos. |
| 229 |  | - Power Adaptor |  | 02 Nos. |
| 230 |  | HDMI cable |  | 02 Rolls |
| 231 |  | Humidity sensor |  | 02 Nos. |
| 232 |  | Robotic fastening tool kit |  | 02 Nos. |
| 233 |  | Measuring tool kit |  | 02 Nos. |
| 234 |  | Manipulator links and joints |  | 02 Set |
| 235 |  | Complete design of the Robot |  | 02 Nos. |
| 236 |  | Complete design of the sensor assembly |  | 02 Nos. |
| 237 |  | Robot operating software |  | 01 |
| 238 |  | Camera |  | 02 Nos. |
| 239 |  | Actuator (Robotics Arm) |  | 02 Nos. |
| 240 |  | Potentiometer |  | 02 Nos. |
| 241 |  | Calculator |  | 02 Nos. |
| 242 |  | - Basic ROV components |  | 02 Nos. |
| 243 |  | - Complete design of the ROV |  | 02 Nos. |
| 244 |  | - Remotely Operated Robot (ROR) Trainer |  | 01 Nos. |
| 245 |  | calibration standards measuring devices |  | 01 Nos. |
| 246 |  | - calibration angles measuring devices |  | 01 Nos. |
| 247 |  | - Robots geometry/Length angle alignment measuring device |  | 01 Nos. |
| 248 |  | Robotic Arm |  | 02 Nos. |
| 249 |  | - OHS Standard Manual |  | 01 |
| 250 |  | - friction Measuring Device |  | 01 Nos. |
| 251 |  | Model error detection devices |  | 01 Nos. |
| 252 |  | Strain gauge |  | 02 Nos. |
| 253 |  | Capacitive pressure sensor |  | 02 Nos. |
| 254 |  | Electromagnetic pressure sensor |  | 02 Nos. |
| 255 |  | Optical pressure sensor |  | 02 Nos. |
| 256 |  | Force balancing |  | 02 Nos. |
| 257 |  | Pressure sensor |  | 02 Nos. |
| 258 |  | Lm35 ic solid state temperature sensor |  | 02 Nos. |
| 259 |  | Negative temperature coefficient (ntc) thermistor |  | 02 Nos. |
| 260 |  | Resistance temperature detector (rtd) |  | 02 Nos. |
| 261 |  | Thermocouple |  | 02 Nos. |
| 262 |  | Semiconductor-based sensors |  | 02 Nos. |
| 263 |  | Retro-reflective sensors |  | 02 Nos. |
| 264 |  | Diffuse reflection sensors |  | 02 Nos. |
| 265 |  | BLDC motor |  | 02 Nos. |
| 266 |  | Solenoid valve |  | 02 Nos. |
| 267 |  | Robot Installation Manual |  | 02 Nos. |
| 268 |  | - Error detection tool kit |  | 02 Nos. |
| 269 |  | - Inclinometer |  | 02 Nos. |
| 270 |  | - Mechanical strength measuring tools |  | 01 Nos. |
| 271 |  | - Coordinate calibration tools |  | 01 Nos. |
| 272 |  | Tool Box |  | 02 Nos. |
| 273 |  | - ISO9283 |  | 01 |
| 274 |  | - Vibration sensors |  | 02 Nos. |
| 275 |  | - Jumpers |  | 02 Nos. |
| 276 |  | Turbo C, C++, Code block |  | 01 |
| 277 |  | Line following trainer kit |  | 01 |
| 278 |  | Jumper wires |  | 02 Rolls |
| 279 |  | Chassis for line following robot |  | 01 |
| 280 |  | Bluetooth transceiver |  | 02 Nos. |
| 281 |  | Smart phone |  | 02 Nos. |
| 282 |  | Relay control board |  | 02 Nos. |
| 283 |  | WiFi module |  | 01 Nos. |
| 284 |  | - Door Lock Mechanism |  | 01 Nos. |
| 285 |  | - Controller (Arduino) |  | 01 Nos. |
| 286 |  | - Android Application (Dabble) |  | 01 Nos. |
| 287 |  | - Security System Mechanism |  | 01 Nos. |
| 288 |  | Water level indication Mechanism |  | 01 Nos. |
| 289 |  | - 28 pin DIP IC Socket |  | 01 Nos. |
| 290 |  | - 16MHz Crystal Oscillator |  | 01 Nos. |
| 291 |  | - USB to Serial adapter |  | 01 Nos. |
| 292 |  | - ICs |  | 01 Nos. |
| 293 |  | - Mini Servo Motor |  | 01 Nos. |
| 294 |  | - DVD/CD Drives |  | 01 Nos. |
| 295 |  | - PCB Circuit Board |  | 01 Nos. |
| 296 |  | - 2pins Screw Terminal |  | 01 Nos. |
| 297 |  | 2x 4 pins Screw Terminal Connector |  | 01 Nos. |
| 298 |  | Mobile robot base |  | 01 Nos. |
| 299 |  | Power diode |  | 01 Nos. |
| 300 |  | Resistor of 1 K ohms |  | 01 Nos. |
| 301 |  | Centre tapped transformer |  | 01 Nos. |
| 302 |  | Inductor 2mH |  | 01 Nos. |
| 303 |  | Resistor of 10 K & 100 K ohms |  | 01 Nos. |
| 304 |  | Power MOSFET IRF 840 |  | 01 Nos. |
| 305 |  | Power Diode 1N4007 |  | 01 Nos. |
| 306 |  | DC Source 12V |  | 01 Nos. |
| 307 |  | Resistor 10K |  | 01 Nos. |
| 308 |  | - IC 7404 |  | 01 Nos. |
| 309 |  | Controller IC |  | 02 Nos. |
| 310 |  | Hydraulic bench |  | 02 Nos. |
| 311 |  | Control Valve |  | 02 Nos. |
| 312 |  | Centrifugal pump |  | 02 Nos. |
| 313 |  | Sump tank |  | 02 Nos. |
| 314 |  | Vertical pipe |  | 02 Nos. |
| 315 |  | Channel |  | 02 Nos. |
| 316 |  | Drain Valve |  | 02 Nos. |

# 5.	Members of the Curriculum Development Committee

| Sr. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Engr. Shazia Feroz | Assistant Professor | Benazir Bhutto Shaheed University of Technology |
|  | Engr. Liaqat Ali Jamro | Director Academics | STEVTA |
|  | Mr. Baber Sayeed | Chief Instructor. | Pak Swiss Training Center, Karachi |
|  | Mr. Tariq Aziz | CEO | Megafactor Engineering, Karachi |
|  | Engr. Syed Farhan Hamid Ali | Sr. Instructor. | Pak Swiss Training Center, Karachi |
|  | Engr. Safwan | Automation Engineer | Dewan Cement |
|  | Engr. Altaf Hussain Solangi | Sr. Instructor. | Amantech |
|  | Engr. Hassan | Instrumentation Engineer | Dewan Cement |
|  | Engr. Umair | Automation Engineer | Port Qasim Power Plant |
|  | Engr. Aijaz Ahmed Zia | Automation Engineer | Intech Process Automation |
|  | Engr. Muhammad Yasir | Deputy Director SS&C | NAVTTC |