Instruction Sheet for the Candidate

| Qualification | Electrical Workshop |
| --- | --- |
| Competency Standard(s) | ### Measure Electrical power, Energy & Power Factor |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 02 Hrs. time frame (for practical demonstration & assessment): Measure Electrical power, Energy & Power Factor Improve power factor |
| Time: 02 Hrs. | During a practical assessment, under observation by an assessor, you are required to “ Measure Electrical power, Energy & Power Factor “ demonstrating the following criteria: - Select a proper load , give supply and measure power by watt meter - Measure the voltage, current by using voltmeter , ampere meter & Find power using power formula. - Connect phase line of AC supply to the left side, neutral line to the next input terminal & any AC load to the output terminals of energy meter. - Give supply and take reading of energy in terms of unit after few minutes form display. - Connect voltmeter, ampere meter , watt meter with inductive load (Motor) & take readings by giving AC supply - Utilize the above readings and calculate power factor using power formula P=VI. - Connect current coil of power factor meter in series & voltage coil of in parallel to the load. - Give supply and note the value of power factor form power factor meter. During a practical assessment, under observation by an assessor, you are required to “ Improve power factor “demonstrating the following criteria: - Connect ampere meter as well as current coil of power factor meter in series & voltage coil in parallel to the load. - Connect a capacitor bank parallel to load. - Select the small value capacitor with the help of selector switch ,give supply , note the value of power factor form power factor meter and current reading form ampere meter. - select the higher value of capacitor form capacitor bank with the help of selector switch and note its effect on power factor and load current |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Electrical Workshop |
| Competency Standards | Measure Electrical power, Energy & Power Factor |
| Assessment Task | Measure Electrical power, Energy & Power Factor |
|  | Improve power factor |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select a proper load , give supply and measure power by watt meter |  |  |
| - Measure the voltage, current by using voltmeter , ampere meter & Find power using power formula. |  |  |
| - Connect phase line of AC supply to the left side, neutral line to the next input terminal & any AC load to the output terminals of energy meter. |  |  |
| - Give supply and take reading of energy in terms of unit after few minutes form display. |  |  |
| - Connect voltmeter, ampere meter , watt meter with inductive load (Motor) & take readings by giving AC supply |  |  |
| - Utilize the above readings and calculate power factor using power formula P=VI. |  |  |
| - Connect current coil of power factor meter in series & voltage coil of in parallel to the load. |  |  |
| - Give supply and note the value of power factor form power factor meter |  |  |
| - Connect ampere meter as well as current coil of power factor meter in series & voltage coil in parallel to the load. |  |  |
| - Connect a capacitor bank parallel to load. |  |  |
| - Select the small value capacitor with the help of selector switch ,give supply , note the value of power factor form power factor meter and current reading form ampere meter. |  |  |
| - Now select the higher value of capacitor form capacitor bank with the help of selector switch and note its effect on power factor and load current |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Electrical Workshop |
| --- | --- |
| Competency Standard(s) | Measure Electrical power, Energy & Power Factor |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Measure Electrical power, Energy & Power Factor Improve power factor |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select a proper load , give supply and measure power by watt meter |  |  |  |  |  |
|  | Measure the voltage, current by using voltmeter ,ampere meter & Find power using power formula. |  |  |  |  |  |
|  | Connect phase line of AC supply to the left side, neutral line to the next input terminal & any AC load to the output terminals of energy meter. |  |  |  |  |  |
|  | Give supply and take reading of energy in terms of unit after few minutes form display. |  |  |  |  |  |
|  | Connect voltmeter, ampere meter , watt meter with inductive load (Motor) & take readings by giving AC supply |  |  |  |  |  |
|  | Utilize the above readings and calculate power factor using power formula P=VI. |  |  |  |  |  |
|  | Connect current coil of power factor meter in series & voltage coil of in parallel to the load. |  |  |  |  |  |
|  | Give supply and note the value of power factor form power factor meter |  |  |  |  |  |
|  | Connect ampere meter as well as current coil of power factor meter in series & voltage coil in parallel to the load. |  |  |  |  |  |
|  | Connect a capacitor bank parallel to load. |  |  |  |  |  |
|  | Select the small value capacitor with the help of selector switch ,give supply , note the value of power factor form power factor meter and current reading form ampere meter. |  |  |  |  |  |
|  | select the higher value of capacitor form capacitor bank with the help of selector switch and note its effect on power factor and load current |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Electrical Workshop |
| --- | --- |
| Competency Standard(s) | Measure Electrical power, Energy & Power Factor |
| Candidate Details | Name: _______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: __________________________ Assessor’s code: _________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define power? |  |  |
|  | What is unit of power? |  |  |
|  | Define Energy? |  |  |
|  | Define power factor? |  |  |
|  | Methods to improve the power factor? |  |  |
|  | What is the advantage improving the power factor? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________