Instruction Sheet for the Candidate

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Competency standards | 9.9.1. How to take the measurements with the help of graduated tools |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Take the measurements with the help of Steel rule - Take the measurements with the help of Hook rule - Take the measurements with the help of Folding rule - Take the measurements with the help of Trammels |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to “Take the measurements with the help of Steel rule, Hook rule, Folding rule and Trammels”. |
| Minimum Evidence Required | 1. Place rulers properly on the designated work pieces. 2. Take the multiple dimensions of work pieces and note them. 3. Take an average of the noted readings. 4. Compute the Surface area and Volume of the work pieces with help of readings taken by graduated tools. - Record the results in the data table. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Level-5 in Mechanical Technology (Metrology) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Take the measurements with the help of Steel rule 2. Take the measurements with the help of Hook rule 3. Take the measurements with the help of Folding rule 4. Take the measurements with the help of Trammels |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Place rulers properly on the designated work pieces. |  |  |
| - Take the multiple dimensions of work pieces and note them. |  |  |
| - Take an average of the noted readings. |  |  |
| - Compute the Surface area and Volume of the work pieces with help of readings taken by graduated tools. |  |  |
| - Record the results in the data table. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Take the measurements with the help of Steel rule 2. Take the measurements with the help of Hook rule 3. Take the measurements with the help of Folding rule 4. Take the measurements with the help of Trammels |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Place rulers properly on the designated work pieces. |  |  |  |  |  |
|  | Take the multiple dimensions of work pieces and note them. |  |  |  |  |  |
|  | Take an average of the noted readings. |  |  |  |  |  |
|  | Compute the Surface area and Volume of the work pieces with help of readings taken by graduated tools. |  |  |  |  |  |
|  | Record the results in the data table. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: __________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name the two systems of measurement? |  |  |
|  | Write the formula to calculate the area of circle? |  |  |
|  | 1 inch = ?m |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________