Instruction Sheet for the Candidate

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Competency standards | 9.9.3. Perform Levelling |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Exercise of cast iron, granite and glass surface plate - Check level of surfaces with straight edge and spirit level - Check level by Engineer’s level. - Measurements with Engineer’s parallel. |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to “Perform the levelling of an object by using levelling instruments”. |
| Minimum Evidence Required | Surface plate 1. Place the work piece along with the angle plate on surface plate. 2. Check squareness and parallelism of the work piece. 3. Check the squareness of angle plate with dial indicator. Straight Edge and Spirit Level 4. Place straight edge diagonally on the surface plate 5. Place spirit level on the straight edge. 6. Check the level with bubble. 7. Adjust the level by feeler gauge. Engineer’s Level 8. Clean the level and surface 9. Place the level on work piece. 10. Record the difference by changing the position of level. 11. Calculate mean value. 12. Maintain the level of plane by providing packing as per requirement. Engineer’s Parallel 13. Insert the engineer’s parallel in work piece. 14. Measure the taper or diameter of cylindrical surface. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Level-5 in Mechanical Technology (Metrology) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Exercise of cast iron, granite and glass surface plate - Check level of surfaces with straight edge and spirit level - Check level by Engineer’s level. 4. Measurements with Engineer’s parallel. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| 1. Place the work piece along with the angle plate on surface plate. |  |  |
| 2. Check squareness and parallelism of the work piece. |  |  |
| 3. Check the squareness of angle plate with dial indicator. |  |  |
| 4. Place straight edge diagonally on the surface plate |  |  |
| 5. Place spirit level on the straight edge. |  |  |
| 6. Check the level with bubble. |  |  |
| 7. Adjust the level by feeler gauge. |  |  |
| 8. Clean the level and surface |  |  |
| 9. Place the level on work piece. |  |  |
| 10. Record the difference by changing the position of level. |  |  |
| 11. Calculate mean value. |  |  |
| 12. Maintain the level of plane by providing packing as per requirement. |  |  |
| 13. Insert the engineer’s parallel in work piece. |  |  |
| 14. Measure the taper or diameter of cylindrical surface. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Level-5 in Mechanical Technology (Calibration). |
| --- | --- |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Exercise of cast iron, granite and glass surface plate - Check level of surfaces with straight edge and spirit level - Check level by Engineer’s level. 4. Measurements with Engineer’s parallel. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Place the work piece along with the angle plate on surface plate. |  |  |  |  |  |
|  | Check squareness and parallelism of the work piece. |  |  |  |  |  |
|  | Check the squareness of angle plate with dial indicator. |  |  |  |  |  |
|  | Place straight edge diagonally on the surface plate |  |  |  |  |  |
|  | Place spirit level on the straight edge. |  |  |  |  |  |
|  | Check the level with bubble. |  |  |  |  |  |
|  | Adjust the level by feeler gauge. |  |  |  |  |  |
|  | Clean the level and surface |  |  |  |  |  |
|  | Place the level on work piece. |  |  |  |  |  |
|  | Record the difference by changing the position of level. |  |  |  |  |  |
|  | Calculate mean value. |  |  |  |  |  |
|  | Maintain the level of plane by providing packing as per requirement. |  |  |  |  |  |
|  | Insert the engineer’s parallel in work piece. |  |  |  |  |  |
|  | Measure the taper or diameter of cylindrical surface. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: __________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the purpose of ribs in the surface plate? |  |  |
|  | What is Engineer Parallel’s? |  |  |
|  | What is the purpose of Angle plate? |  |  |
|  | How to check that spirit level is accurate or not? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________