Instruction Sheet for the Candidate

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Competency standards | 9.9.5. Perform measurements through Micrometer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Take measurement with outside micro-meter. - Take measurement with inside micrometer - Take measurement with depth micrometer - Measure threads with micrometer - Take measurement with Vernier micrometer |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to “take the measurements of a Cylindrical object with the help of different types of micrometers”. |
| Minimum Evidence Required | 1. Clean the gauge and surface of work piece 2. To measure the external dimensions by using Outside Micrometer, open the gauge slightly larger than the part to be measured 3. Set anvil squarely against reference surface of part 4. Using ratchet, slowly until it clicks once. 5. Record reading and make average. 6. To measure the internal dimensions by using Inside Micrometer, open the gauge slightly smaller than the part to be measured 7. Set anvil squarely against reference surface of part with ratchet, slowly until it clicks once. 8. Record reading and make average. 9. To measure the depth of the holes or slot by using Depth Micrometer, access the depth of groove by steel rule 10. Insert the suitable insertion rod. 11. Place the depth micrometer gauge on the deeper groove and take reading. 12. In order to take the measurement of thread with the micrometer, use the suitable set of thread shape tips according to thread size which is to be measured and record the readings. 13. To take the measurement with the help of Vernier Micrometer, the jaws are inserted into the space to be measured and are adjusted by turning the thimble or ratchet speeder. 14. Then, record the readings and take the average. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Level-5 in Mechanical Technology (Metrology) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Take measurement with outside micro-meter. 2. Take measurement with inside micrometer 3. Take measurement with depth micrometer 4. Measure threads with micrometer 5. Take measurement with Vernier micrometer |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| 1. Clean the gauge and surface of work piece |  |  |
| 2. To measure the external dimensions by using Outside micrometer, open the gauge slightly larger than the part to be measured |  |  |
| 3. Set anvil squarely against reference surface of part. |  |  |
| 4. Using ratchet, slowly until it clicks once. |  |  |
| 5. Record reading and make average. |  |  |
| - To measure the internal dimensions by using Inside Micrometer, open the gauge slightly smaller than the part to be measured. |  |  |
| - Set anvil squarely against reference surface of part with ratchet, slowly until it clicks once. |  |  |
| 8. Record reading and make average. |  |  |
| - To measure the depth of the holes or slot by using Depth Micrometer, access the depth of groove by steel rule |  |  |
| 10. Insert the suitable insertion rod. |  |  |
| - Place the depth micrometer gauge on the deeper groove and take reading. |  |  |
| - In order to take the measurement of thread with the micrometer, use the suitable set of thread shape tips according to thread size which is to be measured and record the readings. |  |  |
| - To take the measurement with the help of Vernier Micrometer, the jaws are inserted into the space to be measured and are adjusted by turning the thimble or ratchet speeder. |  |  |
| - Then, record the readings and take the average. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Level-5 in Mechanical Technology (Calibration). |
| --- | --- |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Take measurement with outside micro-meter. 2. Take measurement with inside micrometer 3. Take measurement with depth micrometer 4. Measure threads with micrometer 5. Take measurement with Vernier micrometer |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Clean the gauge and surface of work piece |  |  |  |  |  |
|  | To measure the external dimensions by using Outside micrometer, open the gauge slightly larger than the part to be measured |  |  |  |  |  |
|  | Set anvil squarely against reference surface of part. |  |  |  |  |  |
|  | Using ratchet, slowly until it clicks once. |  |  |  |  |  |
|  | Record reading and make average. |  |  |  |  |  |
|  | To measure the internal dimensions by using Inside Micrometer, open the gauge slightly smaller than the part to be measured. |  |  |  |  |  |
|  | Set anvil squarely against reference surface of part with ratchet, slowly until it clicks once. |  |  |  |  |  |
|  | Record reading and make average. |  |  |  |  |  |
|  | To measure the depth of the holes or slot by using Depth Micrometer, access the depth of groove by steel rule |  |  |  |  |  |
|  | Insert the suitable insertion rod. |  |  |  |  |  |
|  | Place the depth micrometer gauge on the deeper groove and take reading. |  |  |  |  |  |
|  | In order to take the measurement of thread with the micrometer, use the suitable set of thread shape tips according to thread size which is to be measured and record the readings. |  |  |  |  |  |
|  | To take the measurement with the help of Vernier Micrometer, the jaws are inserted into the space to be measured and are adjusted by turning the thimble or ratchet speeder. |  |  |  |  |  |
|  | Then, record the readings and take the average. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: __________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Why micrometer is better than Vernier Caliper? |  |  |
|  | How many types of errors can be encountered during the use of micrometers? |  |  |
|  | What is the formula to calculate the Least count of Micrometer? |  |  |
|  | What is thread pitch diameter? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________