Instruction Sheet for the Candidate

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Competency standards | 9.9.6. Measure dimensions with Vernier tools |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Take measurement with Vernier caliper - Take measurement with height gauge - Take measurement with Vernier depth gauge |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to “take the measurements of an object with the help of Vernier tools”. |
| Minimum Evidence Required | 1. Clean the gauge and surface of work piece. 2. Place the work piece on surface plate. 3. Open the lock screws. 4. Slide the jaws up to the width or size of jaws. 5. Open slightly larger than the part to be measured. 6. Set anvil squarely against reference surface of part 7. Maintain the proper pressure on the jaws with screw. 8. Lock the movable jaw with knurled screw 9. Measure and record the dimensions. 10. Hold the work piece on angle plate. 11. Open the lock screws. 12. Set the height gauge on stud to check it with fine adjusting screw. 13. Lock the measuring head. 14. Record the reading. 15. Hold the work piece on sample plate. 16. Open the lock screws. 17.insert the gauge inside the work piece with fine adjusting screw. 18. Lock the measuring head. 19. Record the reading |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Level-5 in Mechanical Technology (Metrology) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Take measurement with Vernier caliper 2. Take measurement with height gauge 3. Take measurement with Vernier depth gauge |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| 1. Clean the gauge and surface of work piece. |  |  |
| 2. Place the work piece on surface plate. |  |  |
| 3. Open the lock screws. |  |  |
| 4. Slide the jaws up to the width or size of jaws. |  |  |
| 5. Open slightly larger than the part to be measured. |  |  |
| 6. Set anvil squarely against reference surface of part |  |  |
| 7. Maintain the proper pressure on the jaws with screw. |  |  |
| 8. Lock the movable jaw with knurled screw |  |  |
| 9. Measure and record the dimensions. |  |  |
| 10. Hold the work piece on angle plate. |  |  |
| 11. Open the lock screws. |  |  |
| 12. Set the height gauge on stud to check it with fine adjusting screw. |  |  |
| 13. Lock the measuring head. |  |  |
| 14. Record the reading. |  |  |
| 15. Hold the work piece on sample plate. |  |  |
| 16. Open the lock screws. |  |  |
| 17.insert the gauge inside the work piece with fine adjusting screw. |  |  |
| 18. Lock the measuring head. |  |  |
| 19. Record the reading |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Level-5 in Mechanical Technology (Calibration). |
| --- | --- |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Take measurement with Vernier caliper 2. Take measurement with height gauge 3. Take measurement with Vernier depth gauge |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Clean the gauge and surface of work piece. |  |  |  |  |  |
|  | Place the work piece on surface plate. |  |  |  |  |  |
|  | Open the lock screws. |  |  |  |  |  |
|  | Slide the jaws up to the width or size of jaws. |  |  |  |  |  |
|  | Open slightly larger than the part to be measured. |  |  |  |  |  |
|  | Set anvil squarely against reference surface of part |  |  |  |  |  |
|  | Maintain the proper pressure on the jaws with screw. |  |  |  |  |  |
|  | Lock the movable jaw with knurled screw |  |  |  |  |  |
|  | Measure and record the dimensions. |  |  |  |  |  |
|  | Hold the work piece on angle plate. |  |  |  |  |  |
|  | Open the lock screws. |  |  |  |  |  |
|  | Set the height gauge on stud to check it with fine adjusting screw. |  |  |  |  |  |
|  | Lock the measuring head. |  |  |  |  |  |
|  | Record the reading. |  |  |  |  |  |
|  | Hold the work piece on sample plate. |  |  |  |  |  |
|  | Open the lock screws. |  |  |  |  |  |
|  | Insert the gauge inside the work piece with fine adjusting screw. |  |  |  |  |  |
|  | Lock the measuring head. |  |  |  |  |  |
|  | Record the reading |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: __________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name the different types of Vernier tools? |  |  |
|  | What is the term Negative Zero Error? |  |  |
|  | What is the formula to calculate the Least count of Vernier Caliper? |  |  |
|  | What is the Principle of Vernier Calipers? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________