Instruction Sheet for the Candidate

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Competency standards | 9.9.7. Measure angles with angle measuring Instruments. |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Take measurement with Bevel protractor. - Measure angles with Vernier Bevel protractor - Measure angles with Dial protractor - Measure angles with Steel protractor - Measure angles with Sine bar |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to “take the measurements of angles with the help of different angle measuring tools”. |
| Minimum Evidence Required | Bevel Protractor 1. Clean the instrument and work piece 2. Set the work piece and protractor as per requirement 3. Make adjustment of the protractor for accurate measurement. 4. Record and tabulate the results. Vernier Bevel Protractor 5. To get the angular measurement with Vernier Bevel Protractor, set the protractor on work piece properly 6. Read the Vernier scale 7. Measure and record the angle for clock wise and counter clock wise directions Dial Protractor and Steel Protractor 8. In order to use the dial protractor to take an angular measurement, set the dial protractor on work piece properly 9. Read the dial scale carefully to measure the angle accurately for dial protractor. 10. Similarly, set the steel protractor on work piece properly and measure the angle directly. Sine Bar 11. Select proper size Sine Bar 12. Set the Sine Bar with gauge block to measure taper 13. Calculate tapper angle accurately |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Level-5 in Mechanical Technology (Metrology) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Take measurement with Bevel protractor. - Measure angles with Vernier Bevel protractor - Measure angles with Dial protractor - Measure angles with Steel protractor - Measure angles with Sine bar |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| 1. Clean the instrument and work piece |  |  |
| 2. Set the work piece and protractor as per requirement |  |  |
| 3. Make adjustment of the protractor for accurate measurement. |  |  |
| 4. Record and tabulate the results. |  |  |
| - To get the angular measurement with Vernier Bevel Protractor, set the protractor on work piece properly |  |  |
| 6. Read the Vernier scale |  |  |
| - Measure and record the angle for clock wise and counter clock wise directions. |  |  |
| - In order to use the dial protractor to take an angular measurement, set the dial protractor on work piece properly |  |  |
| - Read the dial scale carefully to measure the angle accurately for dial protractor. |  |  |
| - Similarly, set the steel protractor on work piece properly and measure the angle directly. |  |  |
| 11. Select proper size Sine Bar |  |  |
| 12. Set the Sine Bar with gauge block to measure taper |  |  |
| 13. Calculate tapper angle accurately |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Level-5 in Mechanical Technology (Calibration). |
| --- | --- |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Take measurement with Bevel protractor. 2. Measure angles with Vernier Bevel protractor 3. Measure angles with Dial protractor 4. Measure angles with Steel protractor 5. Measure angles with Sine bar |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Clean the instrument and work piece |  |  |  |  |  |
|  | Set the work piece and protractor as per requirement |  |  |  |  |  |
|  | Make adjustment of the protractor for accurate measurement. |  |  |  |  |  |
|  | Record and tabulate the results. |  |  |  |  |  |
|  | To get the angular measurement with Vernier Bevel Protractor, set the protractor on work piece properly |  |  |  |  |  |
|  | Read the Vernier scale |  |  |  |  |  |
|  | Measure and record the angle for clock wise and counter clock wise directions. |  |  |  |  |  |
|  | In order to use the dial protractor to take an angular measurement, set the dial protractor on work piece properly |  |  |  |  |  |
|  | Read the dial scale carefully to measure the angle accurately for dial protractor. |  |  |  |  |  |
|  | Similarly, set the steel protractor on work piece properly and measure the angle directly. |  |  |  |  |  |
|  | Select proper size Sine Bar |  |  |  |  |  |
|  | Set the Sine Bar with gauge block to measure taper |  |  |  |  |  |
|  | Calculate tapper angle accurately |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: __________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name the two units used for angular measurements? |  |  |
|  | What are the two categories of angular measuring instruments? |  |  |
|  | Convert 45 degree into radians? |  |  |
|  | 1 degree =? Minutes = ? Seconds |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________