Instruction Sheet for the Candidate

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Competency standards | 9.9.8. Perform different measurements |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Take measurement with dial caliper - Take measurement with dial thickness gauge - Take measurement with dial Indicator - Exercise on gauge blocks - Exercise on tool maker’s microscope - Practice on Profile Projector - Practice of Digital Instruments - Measure with coordinate measuring machine - Calculate tolerance and allowances |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to “take the linear and angular measurements of an object with the help of respective measuring tools.” |
| Minimum Evidence Required | Dial Caliper and Dial Indicator 1. Set the Indicator on magnetic stand for dial Indicator. 2. Set the pointer on zero properly for both Dial Caliper and Dial Indicator. 3. Set the work piece correctly. 4. Read the dial scale accurately 5. Record the results Dial Thickness Gauge 6. Remove zero error 7. Set the work piece properly 8. Measure the size accurately 9. Record the results Gauge Blocks 10. Adjust the gauge block as per desired size 11. Hold the specimen in position 12. Measure the angle accurately sine bar and gauge blocks Tool Makers Microscope 13. Prepare the microscope for examining the job 14. Hold the job on anvil 15. Observe the size and profile of the job by setting eye piece 16. Record the observations Profile Projector 17. Make complete setting of work piece on Profile Projector 18. Set the axis 19. Observe the size Digital Instrument 20. Select digital instrument and specimen for measurement. 21. Take measurement of specimen with digital instrument Co-ordinate Measuring Machine 22. Hold the job properly. 23. Set and locate zero point. 24. Take the dimensions for different coordinates properly. 25. Take point to point/linear measurements. 26. Take measurements profile in 2D and 3D. Tolerance and Allowance 27. Measure the job for upper and lower limits. 28. Calculate the maximum and minimum size. 29. Calculate tolerance and allowance 30. Represent tolerance in results. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Level-5 in Mechanical Technology (Metrology) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Take measurement with dial caliper 2. Take measurement with dial thickness gauge 3. Take measurement with dial Indicator 4. Exercise on gauge blocks 5. Exercise on tool maker’s microscope 6. Practice on Profile Projector 7. Practice of Digital Instruments 8. Measure with coordinate measuring machine 9. Calculate tolerance and allowances |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| 1. Set the Indicator on magnetic stand for dial Indicator. |  |  |
| 2. Set the pointer on zero properly for both Dial Caliper and Dial Indicator. |  |  |
| 3. Set the work piece correctly. |  |  |
| 4. Read the dial scale accurately |  |  |
| 5. Record the results |  |  |
| 6. Remove zero error |  |  |
| 7. Set the work piece properly |  |  |
| 8. Measure the size accurately |  |  |
| 9. Record the results |  |  |
| 10. Adjust the gauge block as per desired size |  |  |
| 11. Hold the specimen in position |  |  |
| 12. Measure the angle accurately sine bar and gauge blocks |  |  |
| 13. Prepare the microscope for examining the job |  |  |
| 14. Hold the job on anvil |  |  |
| 15. Observe the size and profile of the job by setting eye piece |  |  |
| 16. Record the observations |  |  |
| 17. Make complete setting of work piece on Profile Projector |  |  |
| 18. Set the axis |  |  |
| 19. Observe the size |  |  |
| 20. Select digital instrument and specimen for measurement. |  |  |
| 21. Take measurement of specimen with digital instrument |  |  |
| 22. Hold the job properly. |  |  |
| 23. Set and locate zero point. |  |  |
| 24. Take the dimensions for different coordinates properly. |  |  |
| 25. Take point to point/linear measurements. |  |  |
| 26. Take measurements profile in 2D and 3D. |  |  |
| 27. Measure the job for upper and lower limits. |  |  |
| 28. Calculate the maximum and minimum size. |  |  |
| 29. Calculate tolerance and allowance |  |  |
| 30. Represent tolerance in results. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Level-5 in Mechanical Technology (Calibration). |
| --- | --- |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Take measurement with dial caliper 2. Take measurement with dial thickness gauge 3. Take measurement with dial Indicator 4. Exercise on gauge blocks 5. Exercise on tool maker’s microscope 6. Practice on Profile Projector 7. Practice of Digital Instruments 8. Measure with coordinate measuring machine 9. Calculate tolerance and allowances |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Set the Indicator on magnetic stand for dial Indicator. |  |  |  |  |  |
|  | Set the pointer on zero properly for both Dial Caliper and Dial Indicator. |  |  |  |  |  |
|  | Set the work piece correctly. |  |  |  |  |  |
|  | Read the dial scale accurately |  |  |  |  |  |
|  | Record the results |  |  |  |  |  |
|  | Remove zero error |  |  |  |  |  |
|  | Set the work piece properly |  |  |  |  |  |
|  | Measure the size accurately |  |  |  |  |  |
|  | Record the results |  |  |  |  |  |
|  | Adjust the gauge block as per desired size |  |  |  |  |  |
|  | Hold the specimen in position |  |  |  |  |  |
|  | Measure the angle accurately sine bar and gauge blocks |  |  |  |  |  |
|  | Prepare the microscope for examining the job |  |  |  |  |  |
|  | Hold the job on anvil |  |  |  |  |  |
|  | Observe the size and profile of the job by setting eye piece |  |  |  |  |  |
|  | Record the observations |  |  |  |  |  |
|  | Make complete setting of work piece on Profile Projector |  |  |  |  |  |
|  | Set the axis |  |  |  |  |  |
|  | Observe the size |  |  |  |  |  |
|  | Select digital instrument and specimen for measurement. |  |  |  |  |  |
|  | Take measurement of specimen with digital instrument |  |  |  |  |  |
|  | Hold the job properly. |  |  |  |  |  |
|  | Set and locate zero point. |  |  |  |  |  |
|  | Take the dimensions for different coordinates properly. |  |  |  |  |  |
|  | Take point to point/linear measurements. |  |  |  |  |  |
|  | Take measurements profile in 2D and 3D. |  |  |  |  |  |
|  | Measure the job for upper and lower limits. |  |  |  |  |  |
|  | Calculate the maximum and minimum size. |  |  |  |  |  |
|  | Calculate tolerance and allowance |  |  |  |  |  |
|  | Represent tolerance in results. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Level-5 in Mechanical Technology (Metrology). |
| --- | --- |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: __________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the difference between fits, limits and tolerances? |  |  |
|  | What do you mean by ISO? |  |  |
|  | What are the ISO standards of fits and tolerance? |  |  |
|  | Define shaft? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________