Instruction Sheet for the Candidate

| Qualification | Hydraulics and Hydraulic Machinery(Level-5) |
| --- | --- |
| Competency Standard | Perform Pressure Measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - U Tube Manometer - Inclined manometer - Micro Manometer. - Pressure measurement in The Mercury Barometer - Borden Tube - Piezo Metric Tube - Elastic Diaphragms |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to “Perform Pressure Measuring Instruments” Demonstrating the following criteria: |
| Minimum Evidence Required | - Set up the equipment. Connect one leg of inclined manometer to the inlet port and the other leg to the outlet port. Initiate the flow of fluid through the test pipe. - Compute the pressure difference between the pipe inlet and outlet with inclined manometer. - Note the difference in the initial and final micrometer readings using Micro Manometer. - Measure pressure directly from the scale of the tube by using The Mercury Barometer that would give us the exact atmospheric/ air pressure. - Calibrate the Borden Tube by subjecting it to various known pressures. - Fill the tank until the lower part of the piezo metric tube is in contact with water. - Maintain the level is kept constant when we stop to pressurize with the pump. - Can set up Elastic Diaphragms and Note the small elastic deformation of the diaphragm is communicated to a pointer over the graduated dial. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Hydraulics and Hydraulic Machinery |
| Competency Standard | Perform Pressure Measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - U Tube Manometer - Inclined manometer - Micro Manometer. - Pressure measurement in The Mercury Barometer - Borden Tube - Piezo Metric Tube - Elastic Diaphragms |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Set up the equipment. Connect one leg of inclined manometer to the inlet port and the other leg to the outlet port. Initiate the flow of fluid through the test pipe. |  |  |
| - Compute the pressure difference between the pipe inlet and outlet with inclined manometer. |  |  |
| - Note the difference in the initial and final micrometer readings using Micro Manometer. |  |  |
| - Measure pressure directly from the scale of the tube by using The Mercury Barometer that would give us the exact atmospheric/ air pressure. |  |  |
| - Calibrate the Borden Tube by subjecting it to various known pressures. |  |  |
| - Fill the tank until the lower part of the piezo metric tube is in contact with water. |  |  |
| - Maintain the level is kept constant when we stop to pressurize with the pump. |  |  |
| - Can set up Elastic Diaphragms and Note the small elastic deformation of the diaphragm is communicated to a pointer over the graduated dial. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

ANNUXURE-A

Assessors Judgment Guide

| Qualification | Hydraulics and Hydraulic Machinery |
| --- | --- |
| Competency Standard | Perform Pressure Measuring Instruments. |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - U Tube Manometer - Inclined manometer - Micro Manometer. - Pressure measurement in The Mercury Barometer - Borden Tube - Piezo Metric Tube - Elastic Diaphragms |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Set up the equipment Connected one leg of inclined manometer to the inlet port and the other leg to the outlet port. Initiate the flow of fluid through the test pipe. |  |  |  |  |  |
|  | Computed the pressure difference between the pipe inlet and outlet with inclined manometer. |  |  |  |  |  |
|  | Noted the difference in the initial and final micrometer readings using Micro Manometer. |  |  |  |  |  |
|  | Measured pressure directly from the scale of the tube by using The Mercury Barometer that would give us the exact atmospheric/ air pressure. |  |  |  |  |  |
|  | Calibrated the Borden Tube by subjecting it to various known pressures. |  |  |  |  |  |
|  | Filled the tank until the lower part of the piezo metric tube is in contact with water. |  |  |  |  |  |
|  | Maintained the level is kept constant when we stop to pressurize with the pump. |  |  |  |  |  |
|  | Can set up Elastic Diaphragms and Noted the small elastic deformation of the diaphragm is communicated to a pointer over the graduated dial. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Knowledge Assessment

| Qualification | Hydraulics and Hydraulic Machinery |
| --- | --- |
| Competency Standard | Perform Pressure Measuring Instruments. |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Differentiate between absolute pressure and gauge pressure |  |  |
|  | Differentiate between u tube inclined and differential manometer |  |  |
|  | What is the basic function of a barometer? |  |  |
|  | Explain the formula for calculating a static head. |  |  |
|  | Explain the purpose of different Bourdon tubes |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________