Instruction Sheet for the Candidate

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Install Residential Air Conditioner |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Install window air conditioner - Install Split air conditioner |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Install Window Air-Conditioner - Mark the location on the wall where Window Air Conditioner to be installed according to Unit specifications and client requirements - Make opening at the marked area on the wall - Fix Iron / wooden frame in the opening firmly and insert in it the Air Conditioner cover according to the instructional manual and standards - Install the Air conditioner in the framed opening with standard slope so that condensate water drops outside - Fix the fancy wooden border around the Air conditioner grill - Switch on the Air Conditioner and check Air Conditioner performance Install Split Air Conditioner - Select and mark the area on the wall where Indoor and Outdoor units are to be installed according to specification. - Mount the Indoor unit wall mounting plate according to manufacturer specifications and install the Indoor unit on it - Prepare base for the fixing of Outdoor unit according to manufacturer specifications and fix the Outdoor unit there - Connect the refrigerant pipes amongst both indoor and outdoor unit, supply and control wires according to manufacturer manual - Make oil trap in copper pipe as per site requirement - Perform leak test, evacuation procedure, charge refrigerant and open the service valves - Insulate the joints and refrigerant pipes according to standards and manufacturer installation manual - Switch on the Air Conditioner and check performance as per capacity and specifications |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVAC |
| Competency Standard | Install Residential Air Conditioner |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install window air conditioner - Install Split air conditioner |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Mark the location on the wall where Window Air Conditioner to be installed according to Unit specifications and client requirements |  |  |
| - Make opening at the marked area on the wall |  |  |
| - Fix Iron / wooden frame in the opening firmly and insert in it the Air |  |  |
| - Install the Air conditioner in the framed opening with standard slope so that condensate water drops outside |  |  |
| - Fix the fancy wooden border around the Air conditioner grill |  |  |
| - Switch on the Air Conditioner and check Air Conditioner performance |  |  |
| - Select and mark the area on the wall where Indoor and Outdoor units are to be installed according to specification. |  |  |
| - Mount the Indoor unit wall mounting plate according to manufacturer specifications and install the Indoor unit on it |  |  |
| - Prepare base for the fixing of Outdoor unit according to manufacturer specifications and fix the Outdoor unit there |  |  |
| - Connect the refrigerant pipes amongst both indoor and outdoor unit, supply and control wires according to manufacturer manual |  |  |
| - Make oil trap in copper pipe as per site requirement |  |  |
| - Perform leak test, evacuation procedure, charge refrigerant and open the service valves |  |  |
| - Insulate the joints and refrigerant pipes according to standards and manufacturer installation manual |  |  |
| - Switch on the Air Conditioner and check performance as per capacity and specifications |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Install Residential Air Conditioner |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Mark the location on the wall where Window Air Conditioner to be installed according to Unit specifications and client requirements |  |  |  |  |  |
|  | Make opening at the marked area on the wall |  |  |  |  |  |
|  | Fix Iron / wooden frame in the opening firmly and insert in it the Air Conditioner cover according to the instructional manual and standards |  |  |  |  |  |
|  | Install the Air conditioner in the framed opening with standard slope so that condensate water drops outside |  |  |  |  |  |
|  | Fix the fancy wooden border around the Air conditioner grill |  |  |  |  |  |
|  | Switch on the Air Conditioner and check Air Conditioner performance |  |  |  |  |  |
|  | Select and mark the area on the wall where Indoor and Outdoor units are to be installed according to specification. |  |  |  |  |  |
|  | Mount the Indoor unit wall mounting plate according to manufacturer specifications and install the Indoor unit on it |  |  |  |  |  |
|  | Prepare base for the fixing of Outdoor unit according to manufacturer specifications and fix the Outdoor unit there |  |  |  |  |  |
|  | Connect the refrigerant pipes amongst both indoor and outdoor unit, supply and control wires according to manufacturer manual |  |  |  |  |  |
|  | Make oil trap in copper pipe as per site requirement |  |  |  |  |  |
|  | Perform leak test, evacuation procedure, charge refrigerant and open the service valves |  |  |  |  |  |
|  | Insulate the joints and refrigerant pipes according to standards and manufacturer installation manual |  |  |  |  |  |
|  | Switch on the Air Conditioner and check performance as per capacity and specifications |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Install Residential Air Conditioner |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define air-conditioning. |  |  |
|  | Enlist types of refrigerant used in refrigeration cycle. |  |  |
|  | What are different types of compressors? |  |  |
|  | What are different methods of pressurizing? |  |  |
|  | What is evacuation? |  |  |
|  | What is purging? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________