Instruction Sheet for the Candidate

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Perform Preventive Maintenance |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Replace Measuring Instruments - Carry out Maintenance |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Replace Measuring Instruments - Shut down the system if necessary and dismantle measuring instruments - Replace the instruments following the manufacturer instructions - Reinstall measuring instruments and start the system to check the performance of calibrated instrument as specified by the manufacturer manual - Record the output result of measuring instrument for future reference - Pump down / Shut down the system if necessary Carry out Maintenance - Check different machines with measuring instruments for temperature, vibration and noise, etc. so as to operate the plant at desired efficiency - Check and record the performance of system after maintenance - Follow HVACR standards to complete the job |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVAC |
| Competency Standard | Perform Preventive Maintenance |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Replace Measuring Instruments - Carry out Maintenance |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Shut down the system if necessary and dismantle measuring instruments |  |  |
| - Replace the instruments following the manufacturer instructions |  |  |
| - Reinstall measuring instruments and start the system to check the performance of calibrated instrument as specified by the manufacturer manual |  |  |
| - Record the output result of measuring instrument for future reference |  |  |
| - Pump down / Shut down the system if necessary |  |  |
| - Check different machines with measuring instruments for temperature, vibration and noise, etc. so as to operate the plant at desired efficiency |  |  |
| - Check and record the performance of system after maintenance |  |  |
| - Follow HVACR standards to complete the job |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Perform Preventive Maintenance |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Shut down the system if necessary and dismantle measuring instruments |  |  |  |  |  |
|  | Replace the instruments following the manufacturer instructions |  |  |  |  |  |
|  | Reinstall measuring instruments and start the system to check the performance of calibrated instrument as specified by the manufacturer manual |  |  |  |  |  |
|  | Record the output result of measuring instrument for future reference |  |  |  |  |  |
|  | Pump down / Shut down the system if necessary |  |  |  |  |  |
|  | Check different machines with measuring instruments for temperature, vibration and noise, etc. so as to operate the plant at desired efficiency |  |  |  |  |  |
|  | Check and record the performance of system after maintenance |  |  |  |  |  |
|  | Follow HVACR standards to complete the job |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Perform Preventive Maintenance |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is difference between repair & maintenance? |  |  |
|  | Enlist the advantages of maintenance. |  |  |
|  | Define calibration. |  |  |
|  | Enlist the techniques of troubleshooting. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________