Instruction Sheet for the Candidate

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Repair/Service Residential Air-Conditioner |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Diagnose and rectify Faults in Residential Air Conditioner - Repair Window / Split Air Conditioner - Diagnose and rectify fault in split air conditioner - Service split air conditioner |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Diagnose and rectify Faults in Residential Air Conditioner - Check for obvious problem to determine which component or system is causing the problem - Eliminate the causes of the problem according to the manufacturer manual and standards - Isolate and recheck the causes of the problem and rectify the fault - Start the Air Conditioner and recheck the unit as specified in the manufacturer manual and record the results Service Split Air Conditioner - Start the Air Conditioner, check and record performance by using specified test instruments - Pump down the split Air Conditioner and dismantle both indoor unit and condensing unit - Clean the components of Air conditioner with specified cleaning agents/tools and material - Re-Install the indoor and outdoor unit; connect with refrigerant pipes, control wires and evacuation; open the service valves and leak testing - Switch on the Air Conditioner, check and record performance |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVAC |
| Competency Standard | Repair/Service Residential Air-Conditioner |
| Purpose of Assessment | Formative Assessment |
| Assessment Task |  |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check for obvious problem to determine which component or system is causing the problem |  |  |
| - Eliminate the causes of the problem according to the manufacturer manual and standards |  |  |
| - Isolate and recheck the causes of the problem and rectify the fault |  |  |
| - Start the Air Conditioner and recheck the unit as specified in the manufacturer manual and record the results |  |  |
| - Start the Air Conditioner, check and record performance by using specified test instruments |  |  |
| - Pump down the split Air Conditioner and dismantle both indoor unit and condensing unit |  |  |
| - Clean the components of Air conditioner with specified cleaning agents/tools and material |  |  |
| - Re-Install the indoor and outdoor unit; connect with refrigerant pipes, control wires and evacuation; open the service valves and leak testing |  |  |
| - Switch on the Air Conditioner, check and record performance |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Repair/Service Residential Air-Conditioner |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check for obvious problem to determine which component or system is causing the problem |  |  |  |  |  |
|  | Eliminate the causes of the problem according to the manufacturer manual and standards |  |  |  |  |  |
|  | Isolate and recheck the causes of the problem and rectify the fault |  |  |  |  |  |
|  | Start the Air Conditioner and recheck the unit as specified in the manufacturer manual and record the results |  |  |  |  |  |
|  | Start the Air Conditioner, check and record performance by using specified test instruments |  |  |  |  |  |
|  | Pump down the split Air Conditioner and dismantle both indoor unit and condensing unit |  |  |  |  |  |
|  | Clean the components of Air conditioner with specified cleaning agents/tools and material |  |  |  |  |  |
|  | Re-Install the indoor and outdoor unit; connect with refrigerant pipes, control wires and evacuation; open the service valves and leak testing |  |  |  |  |  |
|  | Switch on the Air Conditioner, check and record performance |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Repair/Service Residential Air-Conditioner |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What do you mean by problem? |  |  |
|  | Enlist the name of maintenance approach. |  |  |
|  | What is desired air flow per ton in air conditioning system |  |  |
|  | What are the factors which affects the air flow? |  |  |
|  | Enlist the name of process of mechanical refrigeration cycle? |  |  |
|  | Enlist the types of refrigeration system. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________