Instruction Sheet for the Candidate

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Install Commercial Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Install Walk in Cooler / Freezer - Install Ice Making Machine - Install chilled water tank |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Install Chilled Water Tank - Fix the cooler / tank on potable water supply by following manufacturer specifications and client requirements - Measure the clearance on each side to be sure it meets the standards set by the manufacturer - Make water drain connections adjacent to water supply as per instructions manual - Install shut off, no return valve at water supply line - Fix minimum water level protection and interlocking with refrigeration unit to prevent empty freezing - Provide power supply as per manual instructions |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVAC |
| Competency Standard | Install Commercial Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install Walk in Cooler / Freezer - Install Ice Making Machine - Install chilled water tank |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Fix the cooler / tank on potable water supply by following manufacturer specifications and client requirements |  |  |
| - Measure the clearance on each side to be sure it meets the standards set by the manufacturer |  |  |
| - Make water drain connections adjacent to water supply as per instructions manual |  |  |
| - Install shut off, no return valve at water supply line |  |  |
| - Fix minimum water level protection and interlocking with refrigeration unit to prevent empty freezing |  |  |
| - Provide power supply as per manual instructions |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Install Commercial Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install Walk in Cooler / Freezer - Install Ice Making Machine - Install chilled water tank |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Fix the cooler / tank on potable water supply by following manufacturer specifications and client requirements |  |  |  |  |  |
|  | Measure the clearance on each side to be sure it meets the standards set by the manufacturer |  |  |  |  |  |
|  | Make water drain connections adjacent to water supply as per instructions manual |  |  |  |  |  |
|  | Install shut off, no return valve at water supply line |  |  |  |  |  |
|  | Fix minimum water level protection and interlocking with refrigeration unit to prevent empty freezing |  |  |  |  |  |
|  | Provide power supply as per manual instructions |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Install Commercial Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What the compressor do actually? |  |  |
|  | Why water level protection incorporated with chilled water tank. |  |  |
|  | What is ozone protection act? |  |  |
|  | What is greenhouse gas management act? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________