Instruction Sheet for the Candidate

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Repair/Service Commercial Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Diagnose and rectify fault in commercial refrigeration units - Repair Commercial Refrigeration Units |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Diagnose and rectify fault in commercial refrigeration units - Check for obvious problem to determine which component or system is causing problem - Check the power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using flow chart as recommended by manufacturer and record the results - Eliminate the causes of the problem according to the manufacturer manual and standards - Isolate and recheck the causes of the problem and correct the fault - Start the refrigeration unit and recheck the unit as specified in the manufacturer manual and record the results |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVAC |
| Competency Standard | Repair/Service Commercial Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Diagnose and rectify fault in commercial refrigeration units - Repair Commercial Refrigeration Units |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check for obvious problem to determine which component or system is causing problem |  |  |
| - Check the power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using flow chart as recommended by manufacturer and record the results |  |  |
| - Eliminate the causes of the problem according to the manufacturer manual and standards |  |  |
| - Isolate and recheck the causes of the problem and correct the fault. |  |  |
| - Start the refrigeration unit and recheck the unit as specified in the manufacturer manual and record the results |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Repair/Service Commercial Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Diagnose and rectify fault in commercial refrigeration units - Repair Commercial Refrigeration Units |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check for obvious problem to determine which component or system is causing problem |  |  |  |  |  |
|  | Check the power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using flow chart as recommended by manufacturer and record the results |  |  |  |  |  |
|  | Eliminate the causes of the problem according to the manufacturer manual and standards |  |  |  |  |  |
|  | Isolate and recheck the causes of the problem and correct the fault |  |  |  |  |  |
|  | Start the refrigeration unit and recheck the unit as specified in the manufacturer manual and record the results |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Repair/Service Commercial Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What are different Techniques for Diagnosing and Troubleshooting of Residential Refrigeration Units? |  |  |
|  | Enlist the Types of Lubricants. |  |  |
|  | What is refrigerant? |  |  |
|  | Enlist different types of refrigerant . |  |  |
|  | What is difference between pressurizing and evacuation? |  |  |
|  | Define purging. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________