Instruction Sheet for the Candidate

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Carry out Fabrication for HVAC Work |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Fabricate Ducts - Fabricate Pipes - Install Ducts and Piping - Insulate Piping Ducts |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Fabricate Ducts - Take measurements, mark proper location and select Duct fittings as specified in the layout plan/ diagram - Prepare different types of Edges / Joints / Seams / Bends and Notches used to join Sheet Metal work - Prepare flexible connections between Duct sections and unit fittings (Air Handling Units / Fan Coil Units) - Prepare duct in required size, shape and pieces and connect with each other according to Duct route drawing - Seal Duct joints with good mastic material, to avoid air leakage, according to SMACNA /ASHRAE standards - Fabricate cladding to protect insulation Fabricate Pipes - Prepare joints (Elbow / Reducer / Tees / Offset / Couplings / Flanges etc.) for jointing of Pipes as per layout plan / requirements - Prepare and clean Pipe joints for smooth Welding / Threading work according to layout plan / diagram - Carry out Jointing using Welding or Threading methods to ensure proper fitting according to international standards Install Ducts and Piping - Mark location for Duct and Pipes installations according to drawing specifications - Mount Hangers, Angle rails, threaded rods / Studs and Straps according to standards - Install the Ducts and Pipes on angle rails and ensure the straps are fabricated into one unit according to layout plan/ diagram - Seal all the joints with good mastic material to avoid leakage according to standards - Install Grills/Diffusers/Dampers and Flexible Duct according to drawing / layout plan - Install the valves in pipes as per drawing - Perform leak testing of piping and duct system as per standards Insulate Piping Ducts - Prepare insulation material / Sound liner according to manufacturer specifications - Insulate water / steam pipes with specified insulation according to ASHRAE or SMACNA standards - Apply vapor barrier paper, cotton cloth wrapping and sheet metal cladding firmly on the ducts / pipes according to manufacturer specifications |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVAC |
| Competency Standard | Carry out Fabrication for HVAC Work |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Fabricate Ducts - Fabricate Pipes - Install Ducts and Piping - Insulate Piping Ducts |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Take measurements, mark proper location and select Duct fittings as specified in the layout plan/ diagram |  |  |
| - Prepare different types of Edges / Joints / Seams / Bends and Notches used to join Sheet Metal work |  |  |
| - Prepare flexible connections between Duct sections and unit fittings (Air Handling Units / Fan Coil Units) |  |  |
| - Prepare duct in required size, shape and pieces and connect with each other according to Duct route drawing |  |  |
| - Seal Duct joints with good mastic material, to avoid air leakage, according to SMACNA /ASHRAE standards |  |  |
| - Fabricate cladding to protect insulation |  |  |
| - Prepare joints (Elbow / Reducer / Tees / Offset / Couplings / Flanges etc.) for jointing of Pipes as per layout plan / requirements |  |  |
| - Prepare and clean Pipe joints for smooth Welding / Threading work according to layout plan / diagram |  |  |
| - Carry out Jointing using Welding or Threading methods to ensure proper fitting according to international standards |  |  |
| - Mark location for Duct and Pipes installations according to drawing specifications |  |  |
| - Mount Hangers, Angle rails, threaded rods / Studs and Straps according to standards |  |  |
| - Install the Ducts and Pipes on angle rails and ensure the straps are fabricated into one unit according to layout plan/ diagram |  |  |
| - Seal all the joints with good mastic material to avoid leakage according to standards |  |  |
| - Install Grills/Diffusers/Dampers and Flexible Duct according to drawing / layout plan |  |  |
| - Install the valves in pipes as per drawing |  |  |
| - Perform leak testing of piping and duct system as per standards |  |  |
| - Prepare insulation material / Sound liner according to manufacturer specifications |  |  |
| - Insulate water / steam pipes with specified insulation according to ASHRAE or SMACNA standards |  |  |
| - Apply vapor barrier paper, cotton cloth wrapping and sheet metal cladding firmly on the ducts / pipes according to manufacturer specifications |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Carry out Fabrication for HVAC Work |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Fabricate Ducts - Fabricate Pipes - Install Ducts and Piping - Insulate Piping Ducts |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Take measurements, mark proper location and select Duct fittings as specified in the layout plan/ diagram |  |  |  |  |  |
|  | Prepare different types of Edges / Joints / Seams / Bends and Notches used to join Sheet Metal work |  |  |  |  |  |
|  | Prepare flexible connections between Duct sections and unit fittings (Air Handling Units / Fan Coil Units) |  |  |  |  |  |
|  | Prepare duct in required size, shape and pieces and connect with each other according to Duct route drawing |  |  |  |  |  |
|  | Seal Duct joints with good mastic material, to avoid air leakage, according to SMACNA /ASHRAE standards |  |  |  |  |  |
|  | Fabricate cladding to protect insulation |  |  |  |  |  |
|  | Prepare joints (Elbow / Reducer / Tees / Offset / Couplings / Flanges etc.) for jointing of Pipes as per layout plan / requirements |  |  |  |  |  |
|  | Prepare and clean Pipe joints for smooth Welding / Threading work according to layout plan / diagram |  |  |  |  |  |
|  | Carry out Jointing using Welding or Threading methods to ensure proper fitting according to international standards |  |  |  |  |  |
|  | Mark location for Duct and Pipes installations according to drawing specifications |  |  |  |  |  |
|  | Mount Hangers, Angle rails, threaded rods / Studs and Straps according to standards |  |  |  |  |  |
|  | Install the Ducts and Pipes on angle rails and ensure the straps are fabricated into one unit according to layout plan/ diagram |  |  |  |  |  |
|  | Seal all the joints with good mastic material to avoid leakage according to standards |  |  |  |  |  |
|  | Install Grills/Diffusers/Dampers and Flexible Duct according to drawing / layout plan |  |  |  |  |  |
|  | Install the valves in pipes as per drawing |  |  |  |  |  |
|  | Perform leak testing of piping and duct system as per standards |  |  |  |  |  |
|  | Prepare insulation material / Sound liner according to manufacturer specifications |  |  |  |  |  |
|  | Insulate water / steam pipes with specified insulation according to ASHRAE or SMACNA standards |  |  |  |  |  |
|  | Apply vapor barrier paper, cotton cloth wrapping and sheet metal cladding firmly on the ducts / pipes according to manufacturer specifications |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Carry out Fabrication for HVAC Work |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist types of duct and duct fittings. |  |  |
|  | Enlist the types of pypes. |  |  |
|  | Enlist the type of insulations used in HVAC. |  |  |
|  | Which instrument is used to check the pressure? |  |  |
|  | What is the procedure to check the leakage? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________