Instruction Sheet for the Candidate

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Install Central Air Conditioning Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Install Package Unit - Install Variable Refrigerant Flow (VRF) / Variable Refrigerant Volume (VRV) System - Install Water Chiller System - Carry out Commissioning |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Install Package Unit - Mark the location and area according to layout plan and manufacturer specifications - Prepare foundation as per drawing, place, adjust and level the Package unit by giving attention to safety precautions - Connect Package unit with supply, return and fresh air duct through flexible connection as per drawing / unit specification - Insulate duct where required - Connect the power supply and control wire - Switch on the supply and check the performance according to manufacturer instructions and standards Install Variable Refrigerant Flow (VRF) - Prepare foundation as per drawing, place, adjust and level the outdoor unit by giving attention to safety precautions - Prepare piping, weld / braze them according to unit specifications and layout drawings - Install indoor units according to layout diagrams, client requirements and manufacturer instruction manual - Fix Shut-off valves with service ports on every indoor unit - Check leaks by applying pressure method before the joints insulation; repair leaks, if any - Insulate the copper pipe joints according to manufacturer instructions and standards - Evacuate the system and charge the refrigerant as per requirement - Connect the power supply and control wires attached with central control / Building Management (BMS) system - Switch on the system and check performance Install Water Chiller System - Mark the location and area according to layout plan - Prepare foundation as per drawing, place, adjust and level the chiller by giving attention to safety precautions - Install Air Handling Units (AHU) / Fan Coil Unit (FCU) at different locations inside the building according to drawing - Install high pressure MS Pipe from chiller to Air Handling Units/ Fan Coil Unit inside the building - Fabricate and install G.I sheet ducting inside the building as per drawing - Install Cooling Tower and water pumps - Establish the electric power supply system for the chiller and air handling units and cooling tower as per Requirements and Standards Carry out Commissioning - Start the condenser and chilled water pump for water circulation in the system - Start the chiller and take reading of all parameters regarding temperature / pressure and electric power, check unusual vibrations / noises etc., if any - Perform Air Balancing and water balancing to check the air / water distribution according to design requirements - Check the system performance as per design criteria |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVAC |
| Competency Standard | Install Central Air Conditioning Systems |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install Package Unit - Install Variable Refrigerant Flow (VRF) / Variable Refrigerant Volume (VRV) System - Install Water Chiller System - Carry out Commissioning |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Mark the location and area according to layout plan and manufacturer specifications |  |  |
| - Prepare foundation as per drawing, place, adjust and level the Package unit by giving attention to safety precautions |  |  |
| - Connect Package unit with supply, return and fresh air duct through flexible connection as per drawing / unit specification |  |  |
| - Insulate duct where required |  |  |
| - Connect the power supply and control wire |  |  |
| - Switch on the supply and check the performance according to manufacturer instructions and standards |  |  |
| - Prepare foundation as per drawing, place, adjust and level the outdoor unit by giving attention to safety precautions |  |  |
| - Prepare piping, weld / braze them according to unit specifications and layout drawings |  |  |
| - Install indoor units according to layout diagrams, client requirements and manufacturer instruction manual |  |  |
| - Fix Shut-off valves with service ports on every indoor unit |  |  |
| - Check leaks by applying pressure method before the joints insulation; repair leaks, if any |  |  |
| - Insulate the copper pipe joints according to manufacturer instructions and standards |  |  |
| - Evacuate the system and charge the refrigerant as per requirement |  |  |
| - Connect the power supply and control wires attached with central control / Building Management (BMS) system |  |  |
| - Switch on the system and check performance |  |  |
| - Mark the location and area according to layout plan |  |  |
| - Prepare foundation as per drawing, place, adjust and level the chiller by giving attention to safety precautions |  |  |
| - Install Air Handling Units (AHU) / Fan Coil Unit (FCU) at different locations inside the building according to drawing |  |  |
| - Install high pressure MS Pipe from chiller to Air Handling Units/ Fan Coil Unit inside the building |  |  |
| - Fabricate and install G.I sheet ducting inside the building as per drawing |  |  |
| - Install Cooling Tower and water pumps |  |  |
| - Establish the electric power supply system for the chiller and air handling units and cooling tower as per Requirements and Standards |  |  |
| - Start the condenser and chilled water pump for water circulation in the system |  |  |
| - Start the chiller and take reading of all parameters regarding temperature / pressure and electric power, check unusual vibrations / noises etc., if any |  |  |
| - Perform Air Balancing and water balancing to check the air / water distribution according to design requirements |  |  |
| - Check the system performance as per design criteria |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Install Central Air Conditioning Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install Package Unit - Install Variable Refrigerant Flow (VRF) / Variable Refrigerant Volume (VRV) System - Install Water Chiller System - Carry out Commissioning |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Mark the location and area according to layout plan and manufacturer specifications |  |  |  |  |  |
|  | Prepare foundation as per drawing, place, adjust and level the Package unit by giving attention to safety precautions |  |  |  |  |  |
|  | Connect Package unit with supply, return and fresh air duct through flexible connection as per drawing / unit specification |  |  |  |  |  |
|  | Insulate duct where required |  |  |  |  |  |
|  | Connect the power supply and control wire |  |  |  |  |  |
|  | Switch on the supply and check the performance according to manufacturer instructions and standards |  |  |  |  |  |
|  | Prepare foundation as per drawing, place, adjust and level the outdoor unit by giving attention to safety precautions |  |  |  |  |  |
|  | Prepare piping, weld / braze them according to unit specifications and layout drawings |  |  |  |  |  |
|  | Install indoor units according to layout diagrams, client requirements and manufacturer instruction manual |  |  |  |  |  |
|  | Fix Shut-off valves with service ports on every indoor unit |  |  |  |  |  |
|  | Check leaks by applying pressure method before the joints insulation; repair leaks, if any |  |  |  |  |  |
|  | Insulate the copper pipe joints according to manufacturer instructions and standards |  |  |  |  |  |
|  | Evacuate the system and charge the refrigerant as per requirement |  |  |  |  |  |
|  | Connect the power supply and control wires attached with central control / Building Management (BMS) system |  |  |  |  |  |
|  | Switch on the system and check performance |  |  |  |  |  |
|  | Mark the location and area according to layout plan |  |  |  |  |  |
|  | Prepare foundation as per drawing, place, adjust and level the chiller by giving attention to safety precautions |  |  |  |  |  |
|  | Install Air Handling Units (AHU) / Fan Coil Unit (FCU) at different locations inside the building according to drawing |  |  |  |  |  |
|  | Install high pressure MS Pipe from chiller to Air Handling Units/ Fan Coil Unit inside the building |  |  |  |  |  |
|  | Fabricate and install G.I sheet ducting inside the building as per drawing |  |  |  |  |  |
|  | Install Cooling Tower and water pumps |  |  |  |  |  |
|  | Establish the electric power supply system for the chiller and air handling units and cooling tower as per Requirements and Standards |  |  |  |  |  |
|  | Start the condenser and chilled water pump for water circulation in the system |  |  |  |  |  |
|  | Start the chiller and take reading of all parameters regarding temperature / pressure and electric power, check unusual vibrations / noises etc., if any |  |  |  |  |  |
|  | Perform Air Balancing and water balancing to check the air / water distribution according to design requirements |  |  |  |  |  |
|  | Check the system performance as per design criteria |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Install Central Air Conditioning Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist type of insulation? |  |  |
|  | What does VRF and VRV stands for? |  |  |
|  | Enlist types of condenser. |  |  |
|  | For what cooling tower is used? |  |  |
|  | What are different types of FCU? |  |  |
|  | Enlist types of compressor. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________