Instruction Sheet for the Candidate

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Repair /Service Central Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Diagnose and rectify Fault in Central Air Conditioning System - Repair the Chiller - Repair Pumps and Cooling Tower - Repair Control System |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Diagnose and rectify Fault in Central Air Conditioning System - Check for obvious problem to determine which component or system is causing the problem - Check the power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem and record the results - Start the air conditioning unit and recheck as specified in the manufacturer manual and record the results Repair the Chiller - System shut down and follow the instructions manual for rectification - Rectify the diagnosed faults; repair / replace the components, as necessary - Switch on the system to check the performance of electrical / mechanical components as specified in the manufacturer manual and record the results Repair Pumps and Cooling Tower - System shut down and follow the instructions manual for rectification - Check water level of cooling tower - Check the fan assembly, to check the bearings and motor abnormalities according to manufacturer specifications and HVAC standards - Check the float valves and strainers to maintain water level - Perform chemical treatment to prevent the sludge / scaling problems according to manufacturer specifications and HVAC standards - Condenser / chilled water pumps start and check their performance according to their specifications; service / repair, if necessary - Clean the sprinkler assembly water pan from leaves, mud, and scale, if any - Rectify the fault and restart the cooling tower and pumps Repair Control System - System shut down and follow the instructions manual for rectification - Check the details of fault / errors on computer screen - Eliminate the causes of the problem according to the manufacturer manual and standards - Isolate and recheck the causes of the problem and correct the fault - Start the air conditioning unit and recheck as specified in the manufacturer manual and record the results |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVAC |
| Competency Standard | Repair /Service Central Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Diagnose and rectify Fault in Central Air Conditioning System - Repair the Chiller - Repair Pumps and Cooling Tower - Repair Control System |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check for obvious problem to determine which component or system is causing the problem |  |  |
| - Check the power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem and record the results |  |  |
| - Start the air conditioning unit and recheck as specified in the manufacturer manual and record the results |  |  |
| - System shut down and follow the instructions manual for rectification |  |  |
| - Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |
| - Switch on the system to check the performance of electrical / mechanical components as specified in the manufacturer manual and record the results |  |  |
| - System shut down and follow the instructions manual for rectification |  |  |
| - Check water level of cooling tower |  |  |
| - Check the fan assembly, to check the bearings and motor abnormalities according to manufacturer specifications and HVAC standards |  |  |
| - Check the float valves and strainers to maintain water level |  |  |
| - Perform chemical treatment to prevent the sludge / scaling problems according to manufacturer specifications and HVAC standards |  |  |
| - Condenser / chilled water pumps start and check their performance according to their specifications; service / repair, if necessary |  |  |
| - Clean the sprinkler assembly water pan from leaves, mud, and scale, if any |  |  |
| - Rectify the fault and restart the cooling tower and pumps |  |  |
| - System shut down and follow the instructions manual for rectification |  |  |
| - Check the details of fault / errors on computer screen |  |  |
| - Eliminate the causes of the problem according to the manufacturer manual and standards |  |  |
| - Isolate and recheck the causes of the problem and correct the fault |  |  |
| - Start the air conditioning unit and recheck as specified in the manufacturer manual and record the results |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Repair /Service Central Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Diagnose and rectify Fault in Central Air Conditioning System - Repair the Chiller - Repair Pumps and Cooling Tower - Repair Control System |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check for obvious problem to determine which component or system is causing the problem |  |  |  |  |  |
|  | Check the power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem and record the results |  |  |  |  |  |
|  | Start the air conditioning unit and recheck as specified in the manufacturer manual and record the results |  |  |  |  |  |
|  | System shut down and follow the instructions manual for rectification |  |  |  |  |  |
|  | Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |  |  |  |
|  | Switch on the system to check the performance of electrical / mechanical components as specified in the manufacturer manual and record the results |  |  |  |  |  |
|  | System shut down and follow the instructions manual for rectification |  |  |  |  |  |
|  | Check water level of cooling tower |  |  |  |  |  |
|  | Check the fan assembly, to check the bearings and motor abnormalities according to manufacturer specifications and HVAC standards |  |  |  |  |  |
|  | Check the float valves and strainers to maintain water level |  |  |  |  |  |
|  | Perform chemical treatment to prevent the sludge / scaling problems according to manufacturer specifications and HVAC standards |  |  |  |  |  |
|  | Condenser / chilled water pumps start and check their performance according to their specifications; service / repair, if necessary |  |  |  |  |  |
|  | Clean the sprinkler assembly water pan from leaves, mud, and scale, if any |  |  |  |  |  |
|  | Rectify the fault and restart the cooling tower and pumps |  |  |  |  |  |
|  | System shut down and follow the instructions manual for rectification |  |  |  |  |  |
|  | Check the details of fault / errors on computer screen |  |  |  |  |  |
|  | Eliminate the causes of the problem according to the manufacturer manual and standards |  |  |  |  |  |
|  | Isolate and recheck the causes of the problem and correct the fault |  |  |  |  |  |
|  | Start the air conditioning unit and recheck as specified in the manufacturer manual and record the results |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVAC |
| --- | --- |
| Competency Standard | Repair /Service Central Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist the types of Motors used in central Air conditioners. |  |  |
|  | Enlist the different types of control used in air conditioning system. |  |  |
|  | What is the function of compressor in air conditioning? |  |  |
|  | What is the function of condenser in air conditioning? |  |  |
|  | What is the function of evaporator in air conditioning? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________