Assessors Judgment Guide

| Qualification | Boiler Operator |
| --- | --- |
| Competency Standard(s) | Operate boiler auxiliaries |
| Candidate Details | Name:______________________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Carry out basic startup of burner - Maintain burner system |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Checked Electrode setting and adjust /replace if necessary. |  |  |  |  |  |
|  | Checked Nozzle tips and clean / replace if necessary. |  |  |  |  |  |
|  | Checked Photocell / UV scanner / flame rod and replace if necessary. |  |  |  |  |  |
|  | Checked Heater thermostats and set / replace if necessary. |  |  |  |  |  |
|  | Checked Nozzle closure and replace if necessary. |  |  |  |  |  |
|  | Checked Nozzle head and adjust if necessary. |  |  |  |  |  |
|  | Air dampers position checked and adjusted if necessary. |  |  |  |  |  |
|  | Checked / adjusted Atomizer (air / fuel) |  |  |  |  |  |
|  | Checked Oxygen & carbon dioxide content and temperature of flue gas, if gas analyzer available and air/fuel ratio adjust if necessary. |  |  |  |  |  |
| Competent |  |  |  |  |  |  |

Knowledge Assessment

| Qualification | Boiler Operator |
| --- | --- |
| Competency Standard(s) | Set and adjust burners |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:__________________________Assessor’s code:_________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Which types of fuels are used in burners? |  |  |
|  | Candidate’s response |  |  |
|  | Which technique is used to increase the fuel combustion efficiency? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Boiler Operator |
| Competency Standards | Set and adjust burners |
| Assessment Task | Operate the boiler for safe operations and record all required readings? |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check Electrode setting and adjust /replace if necessary. |  |  |
| - Check Nozzle tips and clean / replace if necessary. |  |  |
| - Check Photocell / UV scanner / flame rod and replace if necessary. |  |  |
| - Check Heater thermostats and set / replace if necessary. |  |  |
| - Check Nozzle closure and replace if necessary. |  |  |
| - Check Nozzle head and adjust if necessary. |  |  |
| - Air dampers position checked and adjusted if necessary. |  |  |
| - Check/ adjust Atomizer (air / fuel) checked |  |  |
| - Check Oxygen & carbon dioxide content and temperature of flue gas, if gas analyzer available and air/fuel ratio adjust if necessary. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | Boiler Operator |
| --- | --- |
| Competency Standard(s) | Set and adjust burners |
| Purpose of Assessment | Formative Assesment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the given time frame (for practical demonstration & assessment): Operate the boiler for safe operations and record all required readings? |
| Time: | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required |  |

Integrated Approach of Assessment

Following are the competencies in the qualification of Boiler Operator.  You are required to design the assessment task(s) by following integrated approach and clustering of competencies:

1.	Carry out basic startup of burner

2.	Maintain burner system

TASK(S):

__________________________________________________________________________________