Assessors Judgment Guide

| Qualification | Boiler Operator |
| --- | --- |
| Competency Standard(s) | Perform Boiler Operations |
| Candidate Details | Name:______________________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Inspect boiler & accessories for safe operation 2. Check and operate boiler mountings & burner 3. Operate feed water pumps / Injector 4. Check fuel system 5. Fire the burner 6. Check control panels and Inspect openings 7. Shutdown burner |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Inspected openings & refractory linings |  |  |  |  |  |
|  | Inspected furnace and tube nest |  |  |  |  |  |
|  | Checked Boiler utilities |  |  |  |  |  |
|  | Checked exhaust system |  |  |  |  |  |
|  | Checked water gauge column, water level and steam pressure controls |  |  |  |  |  |
|  | Checked pressure gauges |  |  |  |  |  |
|  | Checked safety valves |  |  |  |  |  |
|  | Checked main valve |  |  |  |  |  |
|  | Checked feed water and stop valves |  |  |  |  |  |
|  | Operate blow down valves |  |  |  |  |  |
|  | Operated air vent valve |  |  |  |  |  |
|  | Maintained all supply and delivery valves in proper open position. |  |  |  |  |  |
|  | Checked Feed water pumps to ensure that they are in proper operating condition, after powering on. |  |  |  |  |  |
|  | Checked Feed water injector to ensure that they are in proper operating conditions. |  |  |  |  |  |
|  | Cleaned Strainers cleaned if necessary |  |  |  |  |  |
|  | Maintained all valves in fuel supply line in open position. |  |  |  |  |  |
|  | Checked Fuel pump to ensure that it is building up proper pressure. |  |  |  |  |  |
|  | Checked fuel pump and fuel filter checked to ensure proper fuel supply. |  |  |  |  |  |
|  | Maintained Temperature and final pressure in fuel oil system/s. |  |  |  |  |  |
|  | Controlled Furnace purged to prevent possible backfire following recommended procedure. |  |  |  |  |  |
|  | Opened Fuel and air lines for pilot burner prior to operation. |  |  |  |  |  |
|  | Inspected Sight glass and magic eye and clean to observe boiler operations. |  |  |  |  |  |
|  | Inspecedt Burner flame through sight glass to ensure proper operation. |  |  |  |  |  |
|  | Checked Chimney outlet checked for abnormal/excessive smoke. |  |  |  |  |  |
|  | Checked Indicator lamps to ensure that all are in proper working order. |  |  |  |  |  |
|  | Checked Alarms to ensure that they are in working order. |  |  |  |  |  |
|  | Inspected Manholes, hand holes and joints |  |  |  |  |  |
|  | inspected for leaks and result entered correctly in the check list |  |  |  |  |  |
|  | Switched Burner switched off as instruction given by the authorized person |  |  |  |  |  |
|  | Closed Inlets & outlets valves closed appropriately |  |  |  |  |  |
|  | Cooled down the boiler to atmospheric condition ensured as specified |  |  |  |  |  |
|  | Opened Air vent |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Boiler Operator |
| --- | --- |
| Competency Standard(s) | Perform Boiler Operations |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:__________________________Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the working principle of boiler? |  |  |
|  | Candidate’s response |  |  |
|  | What is the difference between preventive and corrective maintenance? |  |  |
|  | What safety measures should be taken while operating Bailer? |  |  |
|  | Which Factory Ordinance is in vogue Pakistan? |  |  |
|  | What is the use of material Safety Data Sheet (MSDS) in Boiler Operations? |  |  |
|  | Which material is used in refractory linings? |  |  |
|  | What is function of refractory linings in furnace and boiler? |  |  |
|  | What sre the consequences of backfire in boiler? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Boiler Operator |
| Competency Standards | Perform Boiler Operations |
| Assessment Task | Operate the boiler for safe operations and record all required readings? |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Inspect openings & refractory linings |  |  |
| - Inspect furnace and tube nest |  |  |
| - Check Boiler utilities |  |  |
| - Check exhaust system |  |  |
| - Check water gauge column, water level and steam pressure controls |  |  |
| - Check pressure gauges |  |  |
| - Check safety valves |  |  |
| - Check main valve |  |  |
| - Check feed water and stop valves |  |  |
| - Operate blow down valves |  |  |
| - Operate air vent valve |  |  |
| - Maintain all supply and delivery valves in proper open position. |  |  |
| - Check Feed water pumps to ensure that they are in proper operating condition, after powering on. |  |  |
| - Check Feed water injector to ensure that they are in proper operating conditions. |  |  |
| - Clean Strainers cleaned if necessary |  |  |
| - Maintain all valves in fuel supply line in open position. |  |  |
| - Check Fuel pump to ensure that it is building up proper pressure. |  |  |
| - Check fuel pump and fuel filter checked to ensure proper fuel supply. |  |  |
| - Maintain Temperature and final pressure in fuel oil system/s. |  |  |
| - Control Furnace purged to prevent possible backfire following recommended procedure. |  |  |
| - Open Fuel and air lines for pilot burner prior to operation. |  |  |
| - Inspect Sight glass and magic eye and clean to observe boiler operations. |  |  |
| - Inspect Burner flame through sight glass to ensure proper operation. |  |  |
| - Check Chimney outlet checked for abnormal/excessive smoke. |  |  |
| - Check Indicator lamps to ensure that all are in proper working order. |  |  |
| - Check Alarms to ensure that they are in working order. |  |  |
| - Inspect Manholes, hand holes and joints |  |  |
| - inspect for leaks and result entered correctly in the check list |  |  |
| - Switch Burner switched off as instruction given by the authorized person |  |  |
| - Close Inlets & outlets valves closed appropriately |  |  |
| - Cool down the boiler to atmospheric condition ensured as specified |  |  |
| - Open Air vent |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | Boiler Operator |
| --- | --- |
| Competency Standard(s) | Perform Boiler Operations |
| Purpose of Assessment | Formative Assesment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the given time frame (for practical demonstration & assessment): Operate the boiler for safe operations and record all required readings? |
| Time: | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required |  |

Integrated Approach of Assessment

Following are the competencies in the qualification of Boiler Operator.  You are required to design the assessment task(s) by following integrated approach and clustering of competencies:

1. Inspect boiler & accessories for safe operation

2. Check and operate boiler mountings & burner

3. Operate feed water pumps / Injector

4. Check fuel system

5. Fire the burner

6. Check control panels and Inspect openings

7. Shutdown burner

TASK(S):

__________________________________________________________________________________