Assessors Judgment Guide

| Qualification | Boiler Operator |
| --- | --- |
| Competency Standard(s) | Operate boiler auxiliaries |
| Candidate Details | Name:______________________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Check water softener - Check chemical dosing system - Check make-up water tank and Check day oil tank - Inspect main header and oil storage tank |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Monitored operation of water softener system. |  |  |  |  |  |
|  | Checked level of brine tank to ensure adequate supply. |  |  |  |  |  |
|  | Checked Chemical storage tank levels to ensure adequate chemical supply. |  |  |  |  |  |
|  | Checked Chemical dosing pump for proper functioning |  |  |  |  |  |
|  | Checked Make-up water tank to ensure that sufficient water level is maintained. |  |  |  |  |  |
|  | Checked Feed and outlet valves to ensure proper supply of water. |  |  |  |  |  |
|  | Ensureed required quality of make-up water by testing |  |  |  |  |  |
|  | Checked day oil tank to ensure that oil level is sufficient. |  |  |  |  |  |
|  | Drained Water and sludge from the oil tank as and when necessary. |  |  |  |  |  |
|  | Checked Temperature of day oil tank, record and report as required. |  |  |  |  |  |
|  | Checked Safety valve, pressure gauge and steam trap c for proper operation. |  |  |  |  |  |
|  | Checked Steam valves checked for leaks. |  |  |  |  |  |
|  | Checked Fuel oil level, fuel transfer pump, fuel oil filter/s and valves to ensure proper operation. |  |  |  |  |  |
|  | Drained Water/sludge drained when required. |  |  |  |  |  |
|  | Monitored Fuel stock and inform to superior if necessary, for required action. |  |  |  |  |  |
| Competent |  |  |  |  |  |  |

Knowledge Assessment

| Qualification | Boiler Operator |
| --- | --- |
| Competency Standard(s) | Operate boiler auxiliaries |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:__________________________Assessor’s code:_________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | what is the function of Brine in water softener system? |  |  |
|  | Candidate’s response |  |  |
|  | What is meant by Chemical Dosing? |  |  |
|  | what is the average temperature of fuel in day tank? |  |  |
|  | Why furnace oil is heated before burning? |  |  |
|  | what does atomization mean? |  |  |
|  | What is the function of Boiler water testing kit? |  |  |
|  | State any four tools used in boiler maintenance? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Boiler Operator |
| Competency Standards | Operate boiler auxiliaries |
| Assessment Task | Operate the boiler for safe operations and record all required readings? |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Monitored operation of water softener system. |  |  |
| - Checked level of brine tank to ensure adequate supply. |  |  |
| - Checked Chemical storage tank levels to ensure adequate chemical supply. |  |  |
| - Checked Chemical dosing pump for proper functioning |  |  |
| - Checked Make-up water tank to ensure that sufficient water level is maintained. |  |  |
| - Check Feed and outlet valves to ensure proper supply of water. |  |  |
| - Ensure required quality of make-up water by testing |  |  |
| - Check day oil tank to ensure that oil level is sufficient. |  |  |
| - Drain Water and sludge from the oil tank as and when necessary. |  |  |
| - Check Temperature of day oil tank, record and report as required. |  |  |
| - Check Safety valve, pressure gauge and steam trap c for proper operation. |  |  |
| - Check Steam valves checked for leaks. |  |  |
| - Check Fuel oil level, fuel transfer pump, fuel oil filter/s and valves to ensure proper operation. |  |  |
| - Drain Water/sludge drained when required. |  |  |
| - Monitor Fuel stock and inform to superior if necessary for required action. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | Boiler Operator |
| --- | --- |
| Competency Standard(s) | Operate boiler auxiliaries |
| Purpose of Assessment | Formative Assesment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the given time frame (for practical demonstration & assessment): Operate the boiler for safe operations and record all required readings? |
| Time: | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required |  |

Integrated Approach of Assessment

Following are the competencies in the qualification of Boiler Operator.  You are required to design the assessment task(s) by following integrated approach and clustering of competencies:

1.	Check water softener

2.	Check chemical dosing system

3.	Check make-up water tank and Check day oil tank

4.	Inspect main header and oil storage tank

TASK(S):

__________________________________________________________________________________