Instruction Sheet for the Candidate

| Qualification | Level-5 in Mechanical Technology (Calibration). |
| --- | --- |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): Perform the calibration of - Universal testing machine up to standards. - Impact Testing Machine Equipment using Charpy tester. - Hardness testing machine (Rockwell hardness tester) |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to “Calibrate Universal Testing Machine, Impact Testing Machine and Hardness Testing Machine”. |
| Minimum Evidence Required | Universal Testing Machine - Check all the dimensions/positions of the chucks of Tensile, Compressive and bending as per standards. 2. If there is any error, diagnose it. 3. Prepare the machine for testing. 4. Check the machine as per default readings. Impact Testing Machine 5. Calibrate the impact testing machine according to standards and defaults using manufacturer manuals and data. 6. Check the machine after calibration. Hardness Testing Machine 7. Calibrate the hardness testing machine according to defaults manufacturing. 8. Read the manuals and dismantle the machine. 9. Assemble the machine and check the readings according to manuals. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Level-5 in Mechanical Technology (Calibration) |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | Calibrate Universal Testing Machine, Impact Testing Machine and Hardness Testing Machine |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check all the dimensions/positions of the chucks of Tensile, Compressive and bending as per standards. |  |  |
| 2. If there is any error, diagnose it. |  |  |
| 3. Prepare the machine for testing. |  |  |
| - Check the machine as per default readings |  |  |
| - Calibrate the impact testing machine according to standards and defaults using manufacturer manuals and data. |  |  |
| - Check the machine after calibration. |  |  |
| - Calibrate the hardness testing machine according to defaults manufacturing. |  |  |
| - Read the manuals and dismantle the machine. |  |  |
| - Assemble the machine and check the readings according to manuals. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Level-5 in Mechanical Technology (Calibration). |
| --- | --- |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Calibrate Universal Testing Machine, Impact Testing Machine and Hardness Testing Machine. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Checked all the dimensions/positions of the chucks of Tensile, Compressive and bending as per standards. |  |  |  |  |  |
|  | If there is any error, diagnosed it. |  |  |  |  |  |
|  | Prepared the machine for testing. |  |  |  |  |  |
|  | Checked the machine as per default readings |  |  |  |  |  |
|  | Calibrated the impact testing machine according to standards and defaults using manufacturer manuals and data. |  |  |  |  |  |
|  | Checked the machine after calibration. |  |  |  |  |  |
|  | Calibrated the hardness testing machine according to defaults manufacturing. |  |  |  |  |  |
|  | Read the manuals and dismantled the machine. |  |  |  |  |  |
|  | Assembled the machine and checked the readings according to manuals. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Level-5 in Mechanical Technology (Calibration). |
| --- | --- |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: __________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name at least three parameters need to be calibrated for Universal Testing Machines? |  |  |
|  | What are the types of Impact test? |  |  |
|  | What is the difference between strength and hardness? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________