Instruction Sheet for the Candidate

| Qualification | HVAC(Mechanical Technology)Level 5 |
| --- | --- |
| Competency Standards | - Install Residential Air Conditioner - Repair/Service Residential Air-Conditioner - Repair / Service Residential Refrigeration Units - Carry out Calculations and Prepare Estimates - Install Commercial Refrigeration Units - Repair/Service Commercial Refrigeration Units - Carry out Fabrication for HVAC Work - Install Central Air Conditioning Systems - Repair/Service Central Air Conditioning System - Perform Preventive Maintenance |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): Install Residential Air Conditioner Repair/Service Residential Air-Conditioner |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Prepare for work - Plans and specifications are obtained. - Work health and safety (WHS) and environmental requirements installing split air conditioning are adhered to throughout the work. - Quality assurance requirements are identified and adhered to according to workplace requirements. - Tasks are planned and sequenced in conjunction with others involved in or affected by the work and statutory and regulatory authorities’ requirements. - Tools and equipment, including personal protective equipment, are selected and checked for serviceability. - Work area is prepared to support efficient installation of split air conditioning. - Identify installation requirements - Quantity and type of material required for installation are determined from plans, specifications and relevant information. - Materials are identified, ordered and collected according to workplace procedures. - Requirements for other services are identified and connection is planned according to regulatory requirements. - Materials and equipment are checked for compliance with standards, docket and order form, and for acceptable condition and faults are reported. - Install and test system - Installation is set out in compliance with plans and specifications. - Existing services are located and installation process is adjusted accordingly to avoid any disturbance. - Preparatory work is carried out to specifications without unnecessary damage to surrounding structures or environment. - Structural supports are installed in compliance with plans and specifications. - Ducting and control panels are installed according to authorities' requirements, manufacturer recommendations, plans and specifications. - System is installed to manufacturer recommendations, plans and specifications. - Sustainability principles and concepts are applied throughout the installation. - Installation is tested according to specifications, codes or standards for the application. - Test results are documented in required format. - Clean up - Work area is cleared and materials disposed of, reused or recycled according to legislation, regulations, codes of practice and job specification. - Tools and equipment are cleaned, checked, maintained and stored according to manufacturer recommendations and workplace procedures. Documentation is completed according to workplace requirements. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVAC(Mechanical Technology)Level 5 |
| Competency Standards | - Install Residential Air Conditioner - Repair/Service Residential Air-Conditioner - Repair / Service Residential Refrigeration Units - Carry out Calculations and Prepare Estimates - Install Commercial Refrigeration Units - Repair/Service Commercial Refrigeration Units - Carry out Fabrication for HVAC Work - Install Central Air Conditioning Systems - Repair/Service Central Air Conditioning System - Perform Preventive Maintenance |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | Install Residential Air Conditioner Repair/Service Residential Air-Conditioner |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Plans and specifications are obtained. |  |  |
| - Work health and safety (WHS) and environmental requirements installing split air conditioning are adhered to throughout the work. |  |  |
| - Quality assurance requirements are identified and adhered to according to workplace requirements. |  |  |
| - Tasks are planned and sequenced in conjunction with others involved in or affected by the work and statutory and regulatory authorities’ requirements. |  |  |
| - Tools and equipment, including personal protective equipment, are selected and checked for serviceability. |  |  |
| - Work area is prepared to support efficient installation of split air conditioning. |  |  |
| - Quantity and type of material required for installation are determined from plans, specifications and relevant information. |  |  |
| - Materials are identified, ordered and collected according to workplace procedures. |  |  |
| - Requirements for other services are identified and connection is planned according to regulatory requirements. |  |  |
| - Materials and equipment are checked for compliance with standards, docket and order form, and for acceptable condition and faults are reported. |  |  |
| - Installation is set out in compliance with plans and specifications. |  |  |
| - Existing services are located and installation process is adjusted accordingly to avoid any disturbance. |  |  |
| - Preparatory work is carried out to specifications without unnecessary damage to surrounding structures or environment. |  |  |
| - Structural supports are installed in compliance with plans and specifications. |  |  |
| - Ducting and control panels are installed according to authorities' requirements, manufacturer recommendations, plans and specifications. |  |  |
| - System is installed to manufacturer recommendations, plans and specifications. |  |  |
| - Sustainability principles and concepts are applied throughout the installation. |  |  |
| - Installation is tested according to specifications, codes or standards for the application. |  |  |
| - Test results are documented in required format. |  |  |
| - Work area is cleared and materials disposed of, reused or recycled according to legislation, regulations, codes of practice and job specification. |  |  |
| - Tools and equipment are cleaned, checked, maintained and stored according to manufacturer recommendations and workplace procedures. |  |  |
| - Documentation is completed according to workplace requirements. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVAC(Mechanical Technology)Level 5 |
| --- | --- |
| Competency Standards | - Install Residential Air Conditioner - Repair/Service Residential Air-Conditioner - Repair / Service Residential Refrigeration Units - Carry out Calculations and Prepare Estimates - Install Commercial Refrigeration Units - Repair/Service Commercial Refrigeration Units - Carry out Fabrication for HVAC Work - Install Central Air Conditioning Systems - Repair/Service Central Air Conditioning System Perform Preventive Maintenance |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Plans and specifications are obtained. |  |  |  |  |  |
|  | Work health and safety (WHS) and environmental requirements installing split air conditioning are adhered to throughout the work. |  |  |  |  |  |
|  | Quality assurance requirements are identified and adhered to according to workplace requirements. |  |  |  |  |  |
|  | Tasks are planned and sequenced in conjunction with others involved in or affected by the work and statutory and regulatory authorities’ requirements. |  |  |  |  |  |
|  | Tools and equipment, including personal protective equipment, are selected and checked for serviceability. |  |  |  |  |  |
|  | Work area is prepared to support efficient installation of split air conditioning. |  |  |  |  |  |
|  | Quantity and type of material required for installation are determined from plans, specifications and relevant information. |  |  |  |  |  |
|  | Materials are identified, ordered and collected according to workplace procedures. |  |  |  |  |  |
|  | Requirements for other services are identified and connection is planned according to regulatory requirements. |  |  |  |  |  |
|  | Materials and equipment are checked for compliance with standards, docket and order form, and for acceptable condition and faults are reported. |  |  |  |  |  |
|  | Installation is set out in compliance with plans and specifications. |  |  |  |  |  |
|  | Existing services are located and installation process is adjusted accordingly to avoid any disturbance. |  |  |  |  |  |
|  | Preparatory work is carried out to specifications without unnecessary damage to surrounding structures or environment. |  |  |  |  |  |
|  | Structural supports are installed in compliance with plans and specifications. |  |  |  |  |  |
|  | Ducting and control panels are installed according to authorities' requirements, manufacturer recommendations, plans and specifications. |  |  |  |  |  |
|  | System is installed to manufacturer recommendations, plans and specifications. |  |  |  |  |  |
|  | Sustainability principles and concepts are applied throughout the installation. |  |  |  |  |  |
|  | Installation is tested according to specifications, codes or standards for the application. |  |  |  |  |  |
|  | Test results are documented in required format. |  |  |  |  |  |
|  | Work area is cleared and materials disposed of, reused or recycled according to legislation, regulations, codes of practice and job specification. |  |  |  |  |  |
|  | Tools and equipment are cleaned, checked, maintained and stored according to manufacturer recommendations and workplace procedures. |  |  |  |  |  |
|  | Documentation is completed according to workplace requirements. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVAC(Mechanical Technology)Level 5 |
| --- | --- |
| Competency Standards | - Install Residential Air Conditioner - Repair/Service Residential Air-Conditioner - Repair / Service Residential Refrigeration Units - Carry out Calculations and Prepare Estimates - Install Commercial Refrigeration Units - Repair/Service Commercial Refrigeration Units - Carry out Fabrication for HVAC Work - Install Central Air Conditioning Systems - Repair/Service Central Air Conditioning System - Perform Preventive Maintenance |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name at least 10 personal protective equipment’s required in carrying out the job? |  |  |
|  | Briefly write the operating principle of air conditioning? |  |  |
|  | Write SI system of measurement? |  |  |
|  | Identify hazardous materials involve in the given job? |  |  |
|  | What are the different types of Refrigerants? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________