Instruction Sheet for the Candidate

| Qualification | Boiler Operator (Mechanical Technology)Level 5 |
| --- | --- |
| Competency Standards | - Maintain Boiler house Record - Set and adjust burners - Perform Boiler Operations - Operate boiler auxiliaries - Perform Maintenance of Boiler |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Maintain record book & log book - Maintain boiler tools & emergency spares - Check water softener - Check chemical dosing system - Check make-up water tank and Check day oil tank - Inspect main header and oil storage tank |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Principles of boiler operation - Statutory requirements regarding boiler operation - Principles of combustion. - Types of burners and their mode of operation - Methods of analyzing flue gases - Methods of adjusting air/fuel ratio - Types of fuels and their characteristics - Basic principles of electricity and electronics - Safety rules and regulations - Relevant ISO/ ASME/ BS codes - Fire safety - Ability to understand engineering drawings and flow charts - Proper operation of valves, pumps and fittings - Safety rules and regulations - Safety procedures to be followed - Understanding water hardness and its adverse effects on boiler performance - Understanding chemical dosing phenomenon - Types of maintenance - Maintenance activities |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Boiler Operator (Mechanical Technology)Level 5 |
| Competency Standards | - Maintain Boiler house Record - Set and adjust burners - Perform Boiler Operations - Operate boiler auxiliaries - Perform Maintenance of Boiler |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | - Maintain record book & log book - Maintain boiler tools & emergency spares - Check water softener - Check chemical dosing system - Check make-up water tank and Check day oil tank - Inspect main header and oil storage tank |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Entries made regularly in check lists records & log books. |  |  |
| - Arrangements made for statutory annual inspection of boiler as per factories ordinance. |  |  |
| - Necessary tools and essential spares for the boiler stocked in a suitable storage facility. |  |  |
| - Appropriate firefighting equipment correctly located and maintained regularly. |  |  |
| - Maintain Cleanliness and tidiness of the boiler house by following good housekeeping practices. |  |  |
| - Monitored operation of water softener system. |  |  |
| - Checked level of brine tank to ensure adequate supply. |  |  |
| - Checked Chemical storage tank levels to ensure adequate chemical supply. |  |  |
| - Checked Chemical dosing pump for proper functioning |  |  |
| - Checked Make-up water tank to ensure that sufficient water level is maintained. |  |  |
| - Checked Feed and outlet valves to ensure proper supply of water. |  |  |
| - Ensureed required quality of make-up water by testing |  |  |
| - Checked day oil tank to ensure that oil level is sufficient. |  |  |
| - Drained Water and sludge from the oil tank as and when necessary. |  |  |
| - Checked Temperature of day oil tank, record and report as required. |  |  |
| - Checked Safety valve, pressure gauge and steam trap c for proper operation. |  |  |
| - Checked Steam valves checked for leaks. |  |  |
| - Checked Fuel oil level, fuel transfer pump, fuel oil filter/s and valves to ensure proper operation. |  |  |
| - Drained Water/sludge drained when required. |  |  |
| - Monitored Fuel stock and inform to superior if necessary, for required action. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Boiler Operator (Mechanical Technology)Level 5 |
| --- | --- |
| Competency Standards | - Maintain Boiler house Record - Set and adjust burners - Perform Boiler Operations - Operate boiler auxiliaries - Perform Maintenance of Boiler |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Maintain record book & log book - Maintain boiler tools & emergency spares - Check water softener - Check chemical dosing system - Check make-up water tank and Check day oil tank - Inspect main header and oil storage tank |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Entries made regularly in check lists records & log books. |  |  |  |  |  |
|  | Arrangements made for statutory annual inspection of boiler as per factories ordinance. |  |  |  |  |  |
|  | Necessary tools and essential spares for the boiler stocked in a suitable storage facility. |  |  |  |  |  |
|  | Appropriate firefighting equipment correctly located and maintained regularly. |  |  |  |  |  |
|  | Maintain Cleanliness and tidiness of the boiler house by following good housekeeping practices. |  |  |  |  |  |
|  | Monitored operation of water softener system. |  |  |  |  |  |
|  | Checked level of brine tank to ensure adequate supply. |  |  |  |  |  |
|  | Checked Chemical storage tank levels to ensure adequate chemical supply. |  |  |  |  |  |
|  | Checked Chemical dosing pump for proper functioning |  |  |  |  |  |
|  | Checked Make-up water tank to ensure that sufficient water level is maintained. |  |  |  |  |  |
|  | Checked Feed and outlet valves to ensure proper supply of water. |  |  |  |  |  |
|  | Ensureed required quality of make-up water by testing |  |  |  |  |  |
|  | Checked day oil tank to ensure that oil level is sufficient. |  |  |  |  |  |
|  | Drained Water and sludge from the oil tank as and when necessary. |  |  |  |  |  |
|  | Checked Temperature of day oil tank, record and report as required. |  |  |  |  |  |
|  | Checked Safety valve, pressure gauge and steam trap c for proper operation. |  |  |  |  |  |
|  | Checked Steam valves checked for leaks. |  |  |  |  |  |
|  | Checked Fuel oil level, fuel transfer pump, fuel oil filter/s and valves to ensure proper operation. |  |  |  |  |  |
|  | Drained Water/sludge drained when required. |  |  |  |  |  |
|  | Monitored Fuel stock and inform to superior if necessary, for required action. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Boiler Operator (Mechanical Technology)Level 5 |
| --- | --- |
| Competency Standards | - Maintain Boiler house Record - Set and adjust burners - Perform Boiler Operations - Operate boiler auxiliaries - Perform Maintenance of Boiler |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | State Principles of boiler operation |  |  |
|  | What’s are the statutory requirements of boiler? |  |  |
|  | What is mean by Basic stock management |  |  |
|  | Which type of firefighting equipment used in Boiler Room |  |  |
|  | what is the function of Brine in water softener system? |  |  |
|  | What is meant by Chemical Dosing? |  |  |
|  | what is the average temperature of fuel in day tank? |  |  |
|  | Why furnace oil is heated before burning? |  |  |
|  | what does atomization mean? |  |  |
|  | What is the function of Boiler water testing kit? |  |  |
|  | State any four tools used in boiler maintenance? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________