Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Measure angles with angle measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 1.5 Hourtime frame (for practical demonstration & assessment): CU1. Take measurement with Bevel protractor.. CU2. Measure angles with Vernier Bevel protractor. CU3. Measure angles with Dial protractor. CU4. Measure angles with Steel protractor. CU5. Measure angles with Sine bar. |
| Time: 1.5 Hour. | During a practical assessment, under observation by an assessor, you are required to: |
| Minimum Evidence Required | A.Take measurements of 4.3mm by Steel rule - Place ruler on different work pieces. - Take dimension and record multiple readings on each work piece. - Take average of readings. - Record the results. B. Take measurements 4.5” by Hook rule - Place hook rule on given different work piece. - Take dimension and record multiple readings on each work piece. - Take average of readings. - Record the results. C. Take measurements of 10.5” by Folding rule - Take suitable work piece for measurement. - Measure the dimensions of work pieces. - Compute surface area, volume, of given work pieces. - Record the results in data table. C. Take measurements of an ellipse with Trammels - Open the trammel according to required dimension. - Draw circle or arc by fixing one point in the dot and rotate. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| Competency Standard | Measure angles with angle measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Take measurements of 4.3mm by Steel rule - Take measurements 4.5” by Hook rule - Take measurements of 10.5” byFolding rule - Take measurements of an ellipse with Trammels |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Place ruler on different given work pieces. |  |  |
| - Take dimension and record multiple readings on each work piece. |  |  |
| - Take average of readings. |  |  |
| - Record the results. |  |  |
| - Place hook rule on given different work piece. |  |  |
| - Take dimension and record multiple readings on each work piece. |  |  |
| - Take average of readings. |  |  |
| - Record the results. |  |  |
| - Take suitable work piece for measurement. |  |  |
| - Measure the dimensions of work pieces. |  |  |
| - Compute surface area, volume, of given work pieces. |  |  |
| - Record the results in data table. |  |  |
| - Open the trammel according to required dimension. |  |  |
| - Draw circle or arc by fixing one point in the dot and rotate. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology (Metrology Level-2) |
| --- | --- |
| Competency Standard | Measure angles with angle measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Take measurements of 4.3mm by Steel rule - Take measurements 4.5” by Hook rule - Take measurements of 10.5” byFolding rule - Take measurements of an ellipse with Trammels |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Placed ruler on different given work pieces. |  |  |  |  |  |
|  | Taken dimension and record multiple readings on each work piece. |  |  |  |  |  |
|  | Taken average of readings. |  |  |  |  |  |
|  | Recorded the results. |  |  |  |  |  |
|  | Placed hook rule on given different work piece. |  |  |  |  |  |
|  | Taken dimension and record multiple readings on each work piece. |  |  |  |  |  |
|  | Taken suitable work piece for measurement. |  |  |  |  |  |
|  | Measured the dimensions of given work pieces. |  |  |  |  |  |
|  | Computedthe surface area, volume, of given work pieces. |  |  |  |  |  |
|  | Recorded the results in data table. |  |  |  |  |  |
|  | Opened the trammel according to required dimension. |  |  |  |  |  |
|  | Drawn circle or arc by fixing one point in the dot and rotate. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Measure angles with angle measuring Instruments |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Explain measurements? |  |  |
|  | Explain Dimensions and quantities? |  |  |
|  | Explain linear measurement tools? |  |  |
|  | Describe types of measurements and its units? |  |  |
|  | Decimal and fraction of an inch? |  |  |
|  | Measurement techniques? |  |  |
|  | Explain of area, volume of geometric shapes.? |  |  |
|  | Describe line, arc and circle measurements? |  |  |
|  | Take suitable work piece for measurement? |  |  |
|  | Measure the dimensions of work pieces.? |  |  |
|  | Compute surface area, volume, of given work pieces. |  |  |
|  | Record the results in data table. |  |  |
|  | Open the trammel according to required dimension |  |  |
|  | Draw circle or arc by fixing one point in the dot and rotate. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________