Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Perform Levelling |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 2Hourtime frame (for practical demonstration & assessment): - Exercise of cast iron, granite and glass surface plate. - Check level of surfaces with straight edge and spirit level. - Check level by Engineer’s level. - Measurements with Engineer’s parallel. |
| Time: 1.5 Hour. | During a practical assessment, under observation by an assessor, you are required to: |
| Minimum Evidence Required | - Exercise of cast iron, granite and glass surface plate. - Place the work piece with angle plate on surface plate.. - Check square-ness and parallelism of components.. - Check the square-ness of angle plate with dial indicator.. - Check level of surfaces with straight edge and spirit level. - Place straight edge diagonally on the surface plate. - Place spirit level on the straight edge.. - Check the level with bubble.. - Adjust the level by feeler gauge.. - Check level by Engineer’s level. - Clean the level and surface. - Place the level on work piece.. - Record the difference by changing the position of level.. - Calculate mean value.. - Maintain the level of plane by providing packing as per requirement. - measurements with Engineer’s parallel. - Insert the engineer’s parallel in work piece.. - Measure the taper or diameter of cylindrical surface.. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| Competency Standard | Perform Levelling |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Exercise of cast iron, granite and glass surface plate. - Check level of surfaces with straight edge and spirit Level. - Check level by Engineer’s level. - Measurements with Engineer’s parallel.. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Place the work piece with angle plate on surface plate. |  |  |
| - Check square-ness and parallelism of components. |  |  |
| - Check the square-ness of angle plate with dial indicator. |  |  |
| - Place straight edge diagonally on the surface plate |  |  |
| - Place spirit level on the straight edge. |  |  |
| - Check the level with bubble. |  |  |
| - Adjust the level by feeler gauge. |  |  |
| - Clean the level and surface |  |  |
| - Place the level on work piece. |  |  |
| - Record the difference by changing the position of level. |  |  |
| - Calculate mean value. |  |  |
| - Maintain the level of plane by providing packing as per requirement |  |  |
| - Insert the engineer’s parallel in work piece. |  |  |
| - Measure the taper or diameter of cylindrical surface. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Perform Levelling |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Take Measurement with Square head. - Perform leveling with square head as spirit level. - Measure depth with square head as depth gauge. - Measure height with square head as height gauge. - Perform leveling /measure angle of surfaces with protractor Head. - Perform centering with center head. - Find diameter of round bar. |
| --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Placed the work piece with angle plate on surface plate. |  |  |  |  |  |
|  | Checked square-ness and parallelism of components. |  |  |  |  |  |
|  | Checked the square-ness of angle plate with dial indicator. |  |  |  |  |  |
|  | Placed straight edge diagonally on the surface plate |  |  |  |  |  |
|  | Placed spirit level on the straight edge. |  |  |  |  |  |
|  | Checked the level with bubble. |  |  |  |  |  |
|  | Adjusted the level by feeler gauge. |  |  |  |  |  |
|  | Cleaned the level and surface |  |  |  |  |  |
|  | Placed the level on work piece. |  |  |  |  |  |
|  | Recorded the difference by changing the position of level. |  |  |  |  |  |
|  | Calculated mean value. |  |  |  |  |  |
|  | Maintained the level of plane by providing packing as per requirement |  |  |  |  |  |
|  | Inserted the engineer’s parallel in work piece. |  |  |  |  |  |
|  | Measured the taper or diameter of cylindrical surface. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Perform Levelling |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Explain Explain squareness ? |  |  |
|  | Explain parallelism ? |  |  |
|  | Explain Measurement techniques? |  |  |
|  | Describe difference of any two Geometric shapes? |  |  |
|  | Describe measurements system of units (SI / Biritish)? |  |  |
|  | Explain conversion fectors? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________