Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Mechatronics Technology |
| --- | --- |
| Competency Standard | - Verify Basic Laws of Electrical Machines. - Analyze an Alternator. - Analyze Single Phase Motors - Analyze Special Purpose Motors. - Analyze Three Phase Motors. |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Operate three Phase Motor on dual direction and calculate its load. |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Select threephase Motor. - Perform open circuit test on three phase motor. - Perform short circuit teston three phase motor. - Calculate starting & running current. - Calculate input powers and output powers. - Calculate voltagesofthree phasecalculated powers. - Connect motoron star to delta connection. - Connect three Phase motor in dual direction. - Find the efficiency of three phase motor |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Mechatronics Technology |
| Competency Standard | - Verify Basic Laws of Electrical Machines. - Analyze an Alternator. - Analyze Single Phase Motors - Analyze Special Purpose Motors. - Analyze Three Phase Motors. |
| Purpose of Assessment | Summative Assessment |
| Assessment Task |  |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select three phase Motor. |  |  |
| - Perform open circuit test on three phase motor. |  |  |
| - Perform short circuit test on three phase motor. |  |  |
| - Calculate starting & running current. |  |  |
| - Calculate input powers and output powers. |  |  |
| - Calculate voltages of three phase calculated powers. |  |  |
| - Connect motor on star to delta connection. |  |  |
| - Connect three Phase motor in dual direction. |  |  |
| - Find the efficiency of three phase motor |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Mechatronics Technology |
| --- | --- |
| Competency Standard | - Verify Basic Laws of Electrical Machines. - Analyze an Alternator. - Analyze Single Phase Motors - Analyze Special Purpose Motors. - Analyze Three Phase Motors. |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select three phase Motor. |  |  |  |  |  |
|  | Perform open circuit test on three phase motor. |  |  |  |  |  |
|  | Perform short circuit test on three phase motor. |  |  |  |  |  |
|  | Calculate starting & running current. |  |  |  |  |  |
|  | Calculate input powers and output powers. |  |  |  |  |  |
|  | Calculate voltages of three phase calculated powers. |  |  |  |  |  |
|  | Connect motor on star to delta connection. |  |  |  |  |  |
|  | Connect three Phase motor in dual direction. |  |  |  |  |  |
|  | Find the efficiency of three phase motor |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Mechatronics Technology |
| --- | --- |
| Competency Standard | - Verify Basic Laws of Electrical Machines. - Analyze an Alternator. - Analyze Single Phase Motors - Analyze Special Purpose Motors. - Analyze Three Phase Motors. |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Why we use star to Delta connection? |  |  |
|  | Explain the difference of starting and running current? |  |  |
|  | How to change direction of three phase motor? |  |  |
|  | How to calculate three phase power? |  |  |
|  | How to test three phase motor? |  |  |
|  | Explain the difference between control circuit and power circuit? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________