### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Maintain Workplace Safety - Perform Workshop Practice - Perform general maintenance of Power Plants Components - Perform basic Masonry operations - Install wiring - Perform Basic Engineering Survey - Interpret Basic Technical Drawings - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: Plan and prepare circuit to control two lamps and one fan using conduit wiring system and document test results |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: Plan and prepare circuit to control two lamps and one fan using conduit wiring system and document test results. - Draw wiring layout as per instructions - Prepare tools, equipment and materials as per job requirements - Connect wire to switches or junction box according to plan layout - Draw wiring diagram of circuit according to instructions - Inspect wiring and distribution board as per procedures. - Conduct wiring tests as per job requirements. - Document test results including reading and discrepancies |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: Plan and prepare circuit to control two lamps and one fan using conduit wiring system and document test results |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Draw wiring layout as per instructions |  |  |
| - Prepare tools, equipment and materials as per job requirements |  |  |
| - Connect wire to switches or junction box according to plan layout |  |  |
| - Draw wiring diagram of circuit according to instructions |  |  |
| - Inspect wiring and distribution board as per procedures. |  |  |
| - Conduct wiring tests as per job requirements. |  |  |
| - Document test results including reading and discrepancies |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Maintain Workplace Safety - Perform Workshop Practice - Perform general maintenance of Power Plants Components - Perform basic Masonry operations - Install wiring - Perform Basic Engineering Survey - Interpret Basic Technical Drawings - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: Plan and prepare circuit to control two lamps and one fan using conduit wiring system and document test results |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Draw wiring layout as per instructions |  |  |  |  |  |
|  | Prepare tools, equipment and materials as per job requirements |  |  |  |  |  |
|  | Connect wire to switches or junction box according to plan layout |  |  |  |  |  |
|  | Draw wiring diagram of circuit according to instructions |  |  |  |  |  |
|  | Inspect wiring and distribution board as per procedures. |  |  |  |  |  |
|  | Conduct wiring tests as per job requirements. |  |  |  |  |  |
|  | Document test results including reading and discrepancies |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the primary purpose of wiring in MHP |  |  |
|  | What is the purpose of MCB in wiring installation |  |  |
|  | Which color is used for the live wire in standards |  |  |
|  | Which instruments are used to check the presence of voltage and currents |  |  |
|  | Which equipment is used for wiring leakage test |  |  |
|  | Enlist basic 5 equipment /instruments used for wiring purpose |  |  |
|  | What is function of junction box? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________