### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Basic Communication Skills - Operate and Monitor Hydro Power Systems - Perform Electrical Installation - Interpret Technical Drawings - Conduct Power System Protection and Testing - Overhaul and Repair Hydro Power Components - Supervise On-Site Civil and Structural Works - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: Perform following electrical system operation with safety measures: 1. Test relays and breakers 2. Monitor voltage and frequency |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: Perform following electrical system operation with safety measures: 1. Test relays and breakers 2. Monitor voltage and frequency - Check relays and breakers, and record the results in the maintenance logbook - Inspect the testing kit before using it to check relays and breakers. - Troubleshoot faults in the relay circuit breaker. - Monitor voltage readings on the control panel. - Adjust the generator output to maintain stable voltage levels. - Verify generator output to ensure a stable frequency. - Wear appropriate personal protective equipment (PPE) such as gloves and helmets. - Report any unsafe or dangerous conditions to your supervisor immediately. - Apply PPE and tagout procedures properly before performing maintenance. - Use workplace language and tone during interaction. - Apply verbal communication technique to convey idea. |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: Perform following electrical system operation with safety measures: 1. Test relays and breakers 2. Monitor voltage and frequency |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check relays and breakers, and record the results in the maintenance logbook |  |  |
| - Inspect the testing kit before using it to check relays and breakers. |  |  |
| - Troubleshoot faults in the relay circuit breaker. |  |  |
| - Monitor voltage readings on the control panel. |  |  |
| - Adjust the generator output to maintain stable voltage levels. |  |  |
| - Verify generator output to ensure a stable frequency. |  |  |
| - Wear appropriate personal protective equipment (PPE) such as gloves and helmets. |  |  |
| - Report any unsafe or dangerous conditions to your supervisor immediately. |  |  |
| - Apply PPE and tagout procedures properly before performing maintenance. |  |  |
| - Use workplace language and tone during interaction. |  |  |
| - Apply verbal communication technique to convey idea. |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Basic Communication Skills - Operate and Monitor Hydro Power Systems - Perform Electrical Installation - Interpret Technical Drawings - Conduct Power System Protection and Testing - Overhaul and Repair Hydro Power Components - Supervise On-Site Civil and Structural Works - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: Perform following electrical system operation with safety measures: 1. Test relays and breakers 2. Monitor voltage and frequency |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check relays and breakers, and record the results in the maintenance logbook |  |  |  |  |  |
|  | Inspect the testing kit before using it to check relays and breakers. |  |  |  |  |  |
|  | Troubleshoot faults in the relay circuit breaker. |  |  |  |  |  |
|  | Monitor voltage readings on the control panel. |  |  |  |  |  |
|  | Adjust the generator output to maintain stable voltage levels. |  |  |  |  |  |
|  | Verify generator output to ensure a stable frequency. |  |  |  |  |  |
|  | Wear appropriate personal protective equipment (PPE) such as gloves and helmets. |  |  |  |  |  |
|  | Report any unsafe or dangerous conditions to your supervisor immediately. |  |  |  |  |  |
|  | Apply PPE and tagout procedures properly before performing maintenance. |  |  |  |  |  |
|  | Use workplace language and tone during interaction. |  |  |  |  |  |
|  | Apply verbal communication technique to convey idea. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the purpose of a protection relay in an electrical system? |  |  |
|  | Why is it important to test circuit breakers regularly? |  |  |
|  | What tools are used to monitor voltage and frequency? |  |  |
|  | What is the normal range for voltage in your system? |  |  |
|  | What could happen if frequency goes outside its normal range? |  |  |
|  | How do you test a protection relay? |  |  |
|  | What safety gear should be worn when working with electrical equipment? |  |  |
|  | What is the lockout/tagout (LOTO) procedure used for? |  |  |
|  | How often should voltage and frequency be monitored? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________