### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Basic Communication Skills - Operate and Monitor Hydro Power Systems - Perform Electrical Installation - Interpret Technical Drawings - Conduct Power System Protection and Testing - Overhaul and Repair Hydro Power Components - Supervise On-Site Civil and Structural Works - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: Inspect and test turbine components, and repair/replace the components |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1 Inspect and test turbine components, and repair/replace the components - Identify and label the key components of the turbine during inspection. - Detect and record any faulty components found in the turbine system. - Follow instructions to safely disassemble turbine components. - Inspect parts of turbine. - Repair damaged parts as per instruction. - Test the turbine to ensure turbine operation. |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: Inspect and test turbine components, and repair/replace the components |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify and label the key components of the turbine during inspection. |  |  |
| - Detect and record any faulty components found in the turbine system. |  |  |
| - Follow instructions to safely disassemble turbine components. |  |  |
| - Inspect parts of turbine. |  |  |
| - Repair damaged parts as per instruction. |  |  |
| - Test the turbine to ensure turbine operation. |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Basic Communication Skills - Operate and Monitor Hydro Power Systems - Perform Electrical Installation - Interpret Technical Drawings - Conduct Power System Protection and Testing - Overhaul and Repair Hydro Power Components - Supervise On-Site Civil and Structural Works - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: Inspect and test turbine components, and repair/replace the components |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify and label the key components of the turbine during inspection. |  |  |  |  |  |
|  | Detect and record any faulty components found in the turbine system. |  |  |  |  |  |
|  | Follow instructions to safely disassemble turbine components. |  |  |  |  |  |
|  | Inspect parts of turbine. |  |  |  |  |  |
|  | Repair damaged parts as per instruction. |  |  |  |  |  |
|  | Test the turbine to ensure turbine operation. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the first step before disassembling a turbine? |  |  |
|  | Name the tool used to check shaft alignment in a turbine. |  |  |
|  | What is a common sign of fault in turbines? |  |  |
|  | What device is used to detect abnormal turbine vibrations? |  |  |
|  | What preparation is required before overhauling a turbine? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________