### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Apply Entrepreneurial Skill - Perform Advance Welding - Operate Hydraulic Machines - Perform Quantity Survey/Estimation - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control MHP plant shutdown for emergency standby electrical systems - Analyze faults in MHP plant operation - Carry out preventive maintenance procedures as part of MHP operations - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: You are required to install a pipe section fitted with appropriate flow measuring devices (e.g., venturi meter, orifice meter) and pressure gauges. Conduct flow and pressure measurements. Use a jet impact plate to record fluid force and interpret mechanical response. Record observations accurately. Assessment Task 2: You are required to operate a water pump to supply fluid to a small-scale turbine system. Ensure system priming, alignment, and proper valve operation. Run the system under specified load conditions, observe performance, and calculate mechanical output and efficiency of the turbine |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: You are required to install a pipe section fitted with appropriate flow measuring devices (e.g., venturi meter, orifice meter) and pressure gauges. Conduct flow and pressure measurements. Use a jet impact plate to record fluid force and interpret mechanical response. Record observations accurately. - Select appropriate instruments based on specifications - Install meters, gauges, and jet deflection apparatus securely - Establish leak-free and properly aligned connections using appropriate sealing and alignment techniques. - Perform measurements at specified flow conditions - Maintain safety protocols during live water testing - Document flow rate, pressure, and jet force with accuracy Assessment Task 2: You are required to operate a water pump to supply fluid to a small-scale turbine system. Ensure system priming, alignment, and proper valve operation. Run the system under specified load conditions, observe performance, and calculate mechanical output and efficiency of the turbine - Prepare pump and turbine for operation (lubrication, priming, checks) - Operate startup/shutdown sequence as per procedure - Measure flow parameters and monitor system response during operation using standard instruments - Calculate input power (electrical or hydraulic) and output (mechanical or hydraulic) - Identify signs of cavitation, vibration, or abnormal noise - Record efficiency and suggest improvement actions accurately |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: You are required to install a pipe section fitted with appropriate flow measuring devices (e.g., venturi meter, orifice meter) and pressure gauges. Conduct flow and pressure measurements. Use a jet impact plate to record fluid force and interpret mechanical response. Record observations accurately. |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select appropriate instruments based on specifications |  |  |
| - Install meters, gauges, and jet deflection apparatus securely |  |  |
| - Establish leak-free and properly aligned connections using appropriate sealing and alignment techniques. |  |  |
| - Perform measurements at specified flow conditions |  |  |
| - Maintain safety protocols during live water testing |  |  |
| - Document flow rate, pressure, and jet force with accuracy |  |  |

| Assessment Task 2 | Activity: You are required to operate a water pump to supply fluid to a small-scale turbine system. Ensure system priming, alignment, and proper valve operation. Run the system under specified load conditions, observe performance, and calculate mechanical output and efficiency of the turbine |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Prepare pump and turbine for operation (lubrication, priming, checks) |  |  |
| - Operate startup/shutdown sequence as per procedure |  |  |
| - Measure flow parameters and monitor system response during operation using standard instruments |  |  |
| - Calculate input power (electrical or hydraulic) and output (mechanical or hydraulic) |  |  |
| - Identify signs of cavitation, vibration, or abnormal noise |  |  |
| - Record efficiency and suggest improvement actions accurately |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Apply Entrepreneurial Skill - Perform Advance Welding - Operate Hydraulic Machines - Perform Quantity Survey/Estimation - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control MHP plant shutdown for emergency standby electrical system - Analyze faults in MHP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: You are required to install a pipe section fitted with appropriate flow measuring devices (e.g., venturi meter, orifice meter) and pressure gauges. Conduct flow and pressure measurements. Use a jet impact plate to record fluid force and interpret mechanical response. Record observations accurately. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select appropriate instruments based on specifications |  |  |  |  |  |
|  | Install meters, gauges, and jet deflection apparatus securely |  |  |  |  |  |
|  | Establish leak-free and properly aligned connections using appropriate sealing and alignment techniques. |  |  |  |  |  |
|  | Perform measurements at specified flow conditions |  |  |  |  |  |
|  | Maintain safety protocols during live water testing |  |  |  |  |  |
|  | Document flow rate, pressure, and jet force with accuracy |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

| Assessment Task 2 |  | Activity: You are required to operate a water pump to supply fluid to a small-scale turbine system. Ensure system priming, alignment, and proper valve operation. Run the system under specified load conditions, observe performance, and calculate mechanical output and efficiency of the turbine |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Prepare pump and turbine for operation (lubrication, priming, checks) |  |  |  |  |  |
|  | Operate startup/shutdown sequence as per procedure |  |  |  |  |  |
|  | Measure flow parameters and monitor system response during operation using standard instruments |  |  |  |  |  |
|  | Calculate input power (electrical or hydraulic) and output (mechanical or hydraulic) |  |  |  |  |  |
|  | Identify signs of cavitation, vibration, or abnormal noise |  |  |  |  |  |
|  | Record efficiency and suggest improvement actions accurately |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | What is hydraulic machines? |  |  |  |  |
|  | Enlist part of the hydraulic machines? |  |  |  |  |
|  | What fluid is commonly used in hydraulic systems? |  |  |  |  |
| 4. | State Pascal’s Law in hydraulics. |  |  |  |  |
| 5. | What is the function of a hydraulic valve? |  |  |  |  |
| 6. | Differentiate between hydraulic pressure and hydraulic reservoir. |  |  |  |  |
| 7. | How is hydraulic oil level checked in a system? |  |  |  |  |
| 8. | Enlist types of hydraulic pumps. |  |  |  |  |
| 9. | State working of the pressure relief valve. |  |  |  |  |
| 10. | What are common faults in hydraulic machines? |  |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________